## Section 7.3
Section 7.3 Humidity Test Results
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
Requirement: | The instrument shall be fully functional over the range of humidity from 40% to 93% relative humidity (RH) at 35 °C.
Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
|  | Measurement Results: Gamma |  |  |  |  | Measurement Results: Neutron
| Nominal |  |  |  |  | Nominal
| 40% RH | 93% RH | 40% RH |  |  | 40% RH | 93% RH | 40% RH
| 22° C | 35° C | 35° C |  |  | 22° C | 35° C | 35° C
1 |  |  |  | (add units) | 1 |  |  |  | (add units)
2 |  |  |  |  | 2
3 |  |  |  |  | 3
4 |  |  |  |  | 4
5 |  |  |  |  | 5
6 |  |  |  |  | 6
7 |  |  |  |  | 7
8 |  |  |  |  | 8
9 |  |  |  |  | 9
10 |  |  |  |  | 10
Mean | #DIV/0! | #DIV/0! | #DIV/0! |  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! |  | STD | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! |  | COV% | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! |  |  | Conf-Int (-) | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! |  |  | Conf-Int (+) | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range
| #DIV/0! | to | #DIV/0! |  |  | #DIV/0! | to | #DIV/0!
| low (-15%) |  | high (+15%) |  |  | low (-15%) |  | high (+15%)
Radionuclide Identification Results
|  |  | 40% | 93% | 40%
|  |  | 22° C | 35° C | 35° C
Baseline
ID 1
ID 2
ID 3
ID 4
ID 5
ID 6
ID 7
ID 8
ID 9
ID 10
Number Correct
Neutron (Cf-252) cps
ID Acceptance Criteria:
Correct Radionuclides ID: (A is correct)
Humidity Pass/Fail: Comparison of Radionuclide ID results at elevated humidity/temperatures with the Radionuclide ID results at ambient humidity/temperature being the baseline.
|  | A: | Am-241, Co-60
B:
C:
D:
Comments:
| Performed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: