## Sheet1
Section 5.2 Physical Conﬁguration
Data Sheet and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | Enclosure(s) provided for outdoor assemblies should be designed to meet NEMA 4 [R7] requirements and should be classified as IP54 as designated in IEC 60529. Manufacturer should provide guidance as to how to install the portal monitor. Controls and adjustments which affect calibration and alarm settings shall be designed so that access to them is limited to authorized people. Provisions shall be made to permit testing of visual or sound warning indicators without the use of radiation sources.
Note: | Comments are required when the requirement is not verified.
|  |  | Yes | No
Does the manufacturer state that the enclosure meets NEMA 4 requirements?
Does the manufacturer state that the enclosure is classified as IP54?
Are the controls and adjustments designed to limit access?
Can the monitor be tested without the use of radiation sources?
Type of radiation detector?
size (depth, width, and length)?
weight?
Detection system construction?
Operating parameters?
gamma alarm setting:
neutron alarm setting:
energy windows:
sigma values:
measurement time:
background integration period:
Comments:
Completed by: |  | Date:
Reviewed by: |  | Date: