## Sheet1
Section 6.3 False Alarm Test
Data Sheet and Report
Manufacturer:
| Model: |  |  |  | Serial Number:
Requirement: | When tested in an area with a stable background (only natural fluctuations) at the levels stated in Table 1, the false alarm rate shall be less than 1 per 1000 occupancies for systems that use occupancy sensors or one alarm in 2 h for monitors that do not use occupancy sensors. The manufacturer shall provide an estimate of the background level at which the monitor will no longer meet these requirements.
Note: | Comments are required when more than one alarm is observed.
Test Equipment:
|  |  | Gamma Background Reading: |  | (add units)
|  |  | Neutron Background Reading: |  | (add units)
| Ambient Conditions: |  |  | °C | %RH | mmHg
Test Results
| Number of Passes/Time for 1000 Monitoring Cycles (Specify) |  |  | Number of Alarms | Number of gamma alarms | Number of neutron alarms
Comments:
Completed by: |  |  |  |  | Date:
Reviewed by: |  |  |  |  | Date: