## Sheet1
Section 6.7 Neutron Indication in the Presence of Photons
Test Data and Report
Manufacturer
Model: | [6 empty] | Serial Number:
Requirement: | Gamma radiation at exposure rates of up to 10 mR/h (at the face of the center of the detection assembly) shall not trigger the neutron alarm.
Note: | Comments are required when the requirement is not verified.
Ambient Conditions: |  |  | °C |  | %RH | mmHg
Source Used:
Test Results
Neutron Alarm
|  | Trial Number | Yes | No
1
2
3
Comments:
Completed by: | [5 empty] | Date:
Reviewed by: | [5 empty] | Date: