## Sheet1
Section 6.4 Detector Response to Gamma Radiation
Test Data and Report
Manufacturer
Model: | [6 empty] | Serial Number:
Requirement: | An alarm shall be triggered when the measured count rate is greater than the alarm setting. This requirement shall be verified using 241Am, 232Th, 137Cs, 133Ba, 60Co and 57Co. Source activities for this test are given in Table 4. The instrument response is acceptable when a minimum of 59 alarms occur in 60 occupancies.
Note: | Comments are required when the requirement is not verified.
Test Equipment:
Gamma Background Reading: |  |  | (add units)
Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Results
Source
| 241Am |  | 137Cs |  | 60Co |  | 228Th
Source Number:
Source Activity:
| Number of occupancies | Number of alarms | Number of occupancies | Number of alarms | Number of occupancies | Number of alarms | Number of occupancies | Number of alarms
Bottom
Mid-Point Bottom/Middle
Middle
Mid-Point Middle/Top
Top
Comments:
Completed by: | [5 empty] | Date:
Reviewed by: | [5 empty] | Date: