## Sheet1
Section 6.8 Background Effects
Test Data and Report
Manufacturer
Model: | [8 empty] | Serial Number:
Requirement: | The monitor shall provide a warning indication when a change in background is large enough to cause a substantial change in alarm probability. The indication shall be visual and audible, and shall be different than monitoring alarms. NOTE: Section not required for Level 1 testing.
Note: | Comments are required when the requirement is not verified.
Test Equipment:
|  |  | Gamma Background Reading: |  |  |  | (add units)
|  |  | Neutron Background Reading: |  |  |  | (add units)
|  | Ambient Conditions: | °C |  | %RH |  |  |  | mmHg
Gamma Source Data:
Neutron Source Data:
Test Data
Test Number | 137Cs |  |  | 252Cf
| Background Change Indication |  |  | Background Change Indication
|  | Yes | No |  | Yes |  |  | No
1
2
3 | [9 empty] | `
Test Results
[6 empty] | Yes |  | No
Monitor indicated background change during exposure to 137Cs
Monitor indicated background change during exposure to 252Cf
Is the visual indication for gammas different from the gamma monitoring alarm?
Is the audible indication for gammas different from the gamma monitoring alarm?
Is the visual indication for neutrons different from the neutron monitoring alarm?
Is the audible indication for neutrons different from the neutron monitoring alarm?
Comments:
Completed by: | [8 empty] | Date:
Reviewed by: | [8 empty] | Date: