## Sheet1
Section 7.2 Relative Humidity
Test Data and Report
Manufacturer
| Model: |  |  |  |  | Serial Number:
|  | Requirement: | The monitor shall be able to operate during and after exposure to relative humidity (RH) levels of up to 93% RH at an ambient temperature of +40°C. There shall not be any observable effects from the exposure.
|  | Note: | Comments are required when the requirement is not verified.
Gamma Source Data:
Neutron Source Data:
Test Data
Acceptance Range
Gamma Background
|  | Pre-Test 22°C |  |  | Pre-Test 22°C |  |  |  | #DIV/0! | to | #DIV/0!
|  | Ambient Gamma Background | Gamma |  | Ambient Neutron Background | Neutron Response |  |  | -15% |  | +15%
| 1 |  |  | (add units) |  |  | (add units) |  | Acceptance Range - Gamma
2
| 3 | [7 empty] | #DIV/0! | to | #DIV/0!
| 4 | [7 empty] | -15% |  | +15%
5
6
| 7 | [7 empty] | Acceptance Range
| 8 | [7 empty] | Neutron Background
| 9 | [7 empty] | #DIV/0! | to | #DIV/0!
| 10 | [7 empty] | -15% |  | +15%
| Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | Acceptance Range - Neutron
| COV | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | to | #DIV/0!
[9 empty] | -15% |  | +15%
With Sources
93% Relative Humidity at 40°C
|  | Hour 1 |  | Hour 2 |  | Hour 3 |  | Hour 4 |  | Hour 5
|  | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
1
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Did the occupancy sensor trigger? | Yes
No
93% Relative Humidity at 40°C
|  | Hour 6 |  | Hour 7 |  | Hour 8 |  | Hour 9 |  | Hour 10
|  | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
1
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Did the occupancy sensor trigger? | Yes
No
93% Relative Humidity at 40°C
|  | Hour 11 |  | Hour 12 |  | Hour 13 |  | Hour 14 |  | Hour 15
|  | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
1
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Did the occupancy sensor trigger? | Yes
No
|  | 93% Relative Humidity at 40°C |  |  |  | 65% Relative Humidity at 40°C |  |  |  | 65% Relative Humidity at 22°C
Hour 16
|  | Gamma | Neutron |  |  | Gamma | Neutron |  |  | Gamma | Neutron
| 1 |  |  |  | 1 |  |  |  | 1
| 2 |  |  |  | 2 |  |  |  | 2
| 3 |  |  |  | 3 |  |  |  | 3
| 4 |  |  |  | 4 |  |  |  | 4
| 5 |  |  |  | 5 |  |  |  | 5
| 6 |  |  |  | 6 |  |  |  | 6
| 7 |  |  |  | 7 |  |  |  | 7
| 8 |  |  |  | 8 |  |  |  | 8
| 9 |  |  |  | 9 |  |  |  | 9
| 10 |  |  |  | 10 |  |  |  | 10
| Mean | #DIV/0! | #DIV/0! |  | Mean | #DIV/0! | #DIV/0! |  | Mean | #DIV/0! | #DIV/0!
Did the occupancy sensor trigger? | Yes
No
|  |  |  | Yes | No
Where there observable effects from the exposure?
Describe:
Comments:
|  | Completed by: | [5 empty] | Date:
|  | Reviewed by: | [5 empty] | Date: