## Sheet1
Section 7.3 Dust and Moisture
Test Data and Report
| Instrument: | Manufacturer Name of Instrument
| Model: | Model |  |  |  | Serial Number: | 0
| Date Performed: |  |  |  |  | Test Location:
| Temperature: |  | °C | Humidity: |  | % | Pressure: |  | in Hg.
| Requirement: | The monitor including components designed for use in an unprotected environment shall meet the requirements stated for IP code 54 (see IEC 60529). The instrument shall be protected from the ingress of dust and splashing water. For IP54, the ingress of dust is not totally prevented, but dust shall not penetrate in a quantity to interfere with satisfactory operation of the instrument or to impair safety, and water splashed against the enclosure from any direction shall have no harmful effects.
| Note: | Comments are required when a test is failed.
Test Data - Dust
| Pre-Test | Post-Test |  | Acceptance Range - Gamma
| 137 Cs | 137 Cs
1 |  |  |  | #DIV/0! | to | #DIV/0!
2 |  |  |  | -15% |  | +15%
3
4
5 |  |  |  |  | Inpection Results
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
Test Data - Moisture
| Pre-Test | Post-Test |  | Acceptance Range - Gamma
| 137 Cs | 137 Cs
1 |  |  |  | #DIV/0! | to | #DIV/0!
2 |  |  |  | -15% |  | +15%
3
4
5 |  |  |  |  | Inpection Results
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
Test Report
[7 empty] | Pass | Fail
Dust Exposure
Moisture Exposure
Comments:
| Completed by: | [5 empty] | Date:
| Reviewed by: | [5 empty] | Date:

## Sheet2
Section 7.3 Dust and Moisture
Test Data and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The monitor, including components designed for use in an unprotected environment, shall meet the requirements stated for IP code 54 (see IEC 60529), protected from the ingress of dust and splashing water. For IP54, the ingress of dust is not totally prevented, but dust shall not penetrate in a quantity to interfere with satisfactory operation of the instrument or to impair safety, and water splashed against the enclosure from any direction shall have no harmful effects.
| Note: | Comments are required when the requirement is not verified.
Test Data - Dust
| Temperature: |  | °C | Humidity: |  | % | Pressure: |  | mmHg
Source Data:
| Pre-Test | Post-Test |  | Acceptance Range - Gamma
| 137 Cs | 137 Cs
1 |  |  |  | #DIV/0! | to | #DIV/0!
2 |  |  |  | -15% |  | +15%
3
4
5 |  |  |  |  | Inspection Results
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
Test Data - Moisture
| Pre-Test | Post-Test |  | Acceptance Range - Gamma
| 137 Cs | 137 Cs
1 |  |  |  | #DIV/0! | to | #DIV/0!
2 |  |  |  | -15% |  | +15%
3
4
5 |  |  |  |  | Inspection Results
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
Test Report
Verify if monitor responses are within the acceptance ranges
[7 empty] | Yes | No
Dust Exposure
Moisture Exposure
Comments:
| Completed by: | [5 empty] | Date:
| Reviewed by: | [5 empty] | Date: