## Sheet2
Section 8.4 Conducted Disturbances Induced by Bursts and Radio Frequencies
Test Data and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The monitor should not be affected by RF fields that can be conducted onto the monitor through an external conducting cable.
| Note: | Comments are required when the requirement is not verified.
| Temperature: |  | °C | Humidity: |  | % | Pressure: | mmHg
Occupancy Mode
Test Equipment Used:
Frequency Scan Observations Without Sources
With Cs-137 and Cf-252 Sources
| Nominal |  | Gamma Source Data:
No RF
| Gamma |  | Neutron Source Data:
1 |  | (add units)
2
3 |  |  | Acceptance Range (Gamma)
4 |  |  | #DIV/0! | to | #DIV/0!
5 |  |  | low (-15%) |  | high (+15%)
6
7 |  |  | Acceptance Range (Neutron)
8 |  |  | #DIV/0! | to | #DIV/0!
9 |  |  | low (-15%) |  | high (+15%)
10
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Frequency Scan Observations with Sources
Nominal
No RF
Neutron
1 |  | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Non-Occupancy Mode
Test Equipment Used:
Frequency Scan Observations Without Sources
With Cs-137 and Cf-252 Sources
| Nominal |  | Gamma Source Data:
No RF
| Gamma |  | Neutron Source Data:
1 |  | (add units)
2
3 |  |  | Acceptance Range (Gamma)
4 |  |  | #DIV/0! | to | #DIV/0!
5 |  |  | low (-15%) |  | high (+15%)
6
7 |  |  | Acceptance Range (Neutron)
8 |  |  | #DIV/0! | to | #DIV/0!
9 |  |  | low (-15%) |  | high (+15%)
10
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Frequency Scan Observations with Sources
Nominal
No RF
Neutron
1 |  | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Comments:
| Completed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: