## Sheet2
Section 8.5 Magnetic Field
Test Data and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The monitor should be unaffected by a 30 Amperes/m (A/m) 60 Hz magnetic field. NOTE -- 1 A/m is equivalent to a free space induction of 1.26 mTesla.
| Note: | Comments are required when the requirement is not verified.
| Temperature: |  | °C | Humidity: |  | % | Pressure: |  | mmHg
Test Equipment:
Gamma Source Data:
Neutron Source Data:
Test Data with Sources
| Gamma Response | Neutron Response
1 |  |  |  | Acceptance Range - Gamma
2
3 |  |  |  | #DIV/0! | to | #DIV/0! | (add units)
4 |  |  |  | -15% |  | +15%
5
6 |  |  |  | Acceptance Range - Neutron
7
8 |  |  |  | #DIV/0! | to | #DIV/0! | (add units)
9 |  |  |  | -15% |  | +15%
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
| Initial Orientation |  |  |  | Second Orientation
| Nominal |  | 30 A/m |  | Nominal |  | 30 A/m
| Zero Intensity |  | 60 Hz |  | Zero Intensity |  | 60 Hz
| Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Data without Sources
|  | Initial Orientation |  |  |  | Second Orientation
|  | 30 A/m |  |  |  | 30 A/m
|  | 60 Hz |  |  |  | 60 Hz
|  | Gamma Alarms |  | Neutron alarms |  | Gamma Alarms |  | Neutron alarms
|  | Yes | No | Yes | No | Yes | No | Yes | No
1
2
3
4
5
6
7
8
9
10
Number of alarms
Comments:
| Completed By: |  |  |  |  | Date:
| Reviewed By: |  |  |  |  | Date: