## Sheet1
Section 5.11.2.4 Advanced Indications and Functions
Data Sheet and Report
Instrument:
Model: |  | Serial Number:
Date Performed: |  | Test Location:
Requirement: | The following information and control shall be provided for the supervisory user through the use of access controls or special commands. - Access to and control of operating parameters (radionuclide library, alarm control), - Access to and control of data logging intervals, - Access to alarm history, - Access to spectra, - Access to radionuclide identification results and control of basic indication function, - Access to occupancy data set (if occupancy sensors are used), - Access to vehicle photo (if available), - Access to radiation profiles (count rate time history data), - Access to background radiation information, - Access to alarm selection criteria including the ability to select specific radionuclides - Access to energy and/or efficiency calibration information
Note: | Comments are required when the requirement is not verified.
Test Results
|  |  |  | Yes | No
Access to and control of operating parameters (radionuclide library, alarm control)
Access to and control of data logging intervals
Access to alarm history
Access to radionuclide identification results and control of basic indication function
Access to spectra
Access to occupancy data set (if occupancy sensors are used)
Access to vehicle photo (if available)
Access to radiation profiles (count rate time history data)
Access to radiation profiles (count rate time history data)
Access to background radiation information
Access to alarm selection criteria including the ability to select specific radionuclides
Access to energy and/or efficiency calibration information
Comments:
Completed by: |  |  | Date:
Reviewed by: |  |  | Date: