## Sheet1
Section 5.3 Spectral identification
Data Sheet and Report
Instrument:
Model: |  | Serial Number:
Date Performed: |  |  | Test Location:
Requirement: | a) A displayed gamma-ray spectrum is not required during routine operation. The spectrum display shall be available by manufacturer-defined user actions. b) The monitor shall have the ability to internally store at least 1000 complete occupancy data sets. For monitors that do not use occupancy sensors, the monitor shall have the ability to store 3 hours of measurement data as defined in item c). c) Each occupancy data set shall contain collection and identification results information including: 1) Unprocessed spectrum (spectra for multi-detector systems) obtained during a single occupancy, 2) Time and date 3) Real time for alarm spectrum 4) Run time for alarm spectrum 5) Identified radionuclides, categories, and confidence level (if available) 6) Occupancy time 7) Monitor identification 8) Alarm condition (gamma-ray and/or neutron) 9) Background (gamma-ray and neutron) count rate and spectrum (includes real time and run time) 10) Gamma-ray count rate 11) Neutron count rate 12) Vehicle speed (if available) d) The monitor shall have the ability to store background count rate and spectra, and transfer that information at user selectable intervals to an external device, such as a computer. e) The monitor shall have the ability to store gamma-ray and neutron count rate time-history data. f) An indication shall be displayed or otherwise provided (e.g. “not identified”) if a radionuclide cannot be identified when or after a measurement takes place. g) If a reliability or confidence level is associated with the identification of a radionuclide(s), the confidence level shall be provided in the data set and the manufacturer shall describe the meaning of the displayed value. h) The monitor shall have the ability to perform identification measurements with an object stationary in the detection zone. This function shall be user selectable and does not supersede the requirements stated in 6.8. The recommended measurement time shall be stated by the manufacturer and should be less than or equal to 1 min.
Note: | Comments are required when the requirement is not verified.
Test Results
|  |  |  | Yes | No
Is the spectrum display available by manufacturer-defined user actions?
The monitor has the ability to internally store at least 1000 complete occupancy data sets as defined in item c)? For monitors that do not use occupancy sensors, the monitor has the ability to store 3 hours of measurement data as defined in item c)?
Each occupancy data set shall contain collection and identification results information including: |  |  |  | Verify
|  |  |  | Yes | No
Unprocessed spectrum (spectra for multi-detector systems) obtained during a single occupancy?
Time and date?
Real time for alarm spectrum?
Run time for alarm spectrum?
Identified radionuclides, categories, and confidence level (if available)?
Occupancy time?
Monitor identification?
Alarm condition (gamma-ray and/or neutron)?
Background (gamma-ray and neutron) count rate and spectrum (includes real time and run time)?
Gamma-ray count rate?
Neutron count rate?
Vehicle speed (if available)?
|  |  |  | Yes | No
The monitor has the ability to store background count rate and spectra, and transfer that information at user selectable intervals to an external device, such as a computer?
The monitor has have the ability to store gamma-ray and neutron count rate time-history data?
An indication is displayed or otherwise provided (e.g. “not identified”) if a radionuclide cannot be identified when or after a measurement takes place?
If a reliability or confidence level is associated with the identification of a radionuclide(s), the confidence level is provided in the data set and the manufacturer described the meaning of the displayed value?
The monitor has the ability to perform identification measurements with an object stationary in the detection zone. This function is user selectable and does not supersede the requirements stated in 6.8. The recommended measurement time is stated by the manufacturer and should be less than or equal to 1 min?
Comments:
Completed by: |  |  | Date:
Reviewed by: |  |  | Date: