## Sheet3
Section 7.2 Temperature Shock
Test Data and Report
Manufacturer:
| Model: | [8 empty] | Serial Number:
| Requirement: | The instrument shall be fully functional within one hour of exposure to rapid temperature changes from 22 to -20, -20 to 22, 22 to 50, and 50 to 22 °C (72 to -4, -4 to 72, 72 to 122, and 122 to 72 °F) with each change being made in less than 5 minutes. The instrument shall provide an indication if it is not fully functional.
|  | Note: | Comments are required when a test is failed.
Test Equipment Used:
Source Data:
| 22° C |  |  |  | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
[5 empty] | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1 |  | Nominal Mean
2 |  | Acceptance Range
3 |  | #DIV/0! | to | #DIV/0!
4 |  | low |  | high
5 |  | (-15%) |  | (+15%)
6
7
8
9
10
Mean | #DIV/0! |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! |  |  | COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Radionuclide Identification Analysis
|  |  | 22° C | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
|  |  |  | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1
2
3
Number Correct
Neutron (Cf-252) cps
|  |  |  | ID Acceptance Criteria: | [9 empty] | A: | Am-241, Co-60
|  |  |  | Correct Radionuclides ID: (A is correct) | [9 empty] | B:
|  |  |  | Temperature shock Pass/Fail: Comparison of ID results at test points with the ID results at ambient temperature being the baseline. | [9 empty] | C:
D:
Comments:
|  | Performed by: | [11 empty] | Date:
|  | Reviewed by: | [11 empty] | Date:

## Sheet2
Section 7.3 Temperature Shock
Test Data and Report
Manufacturer:
Instrument:
|  | Model: |  |  |  |  | Serial Number:
|  | Date Performed: | [5 empty] | Test Location:
| Requirement: | The instrument shall be fully functional within 1 h of exposure to rapid temperature changes from 22 °C to –20 °C, –20 °C to 22 °C, 22 °C to 50 °C, and 50 °C to 22 °C, with each change being made in less than 5 min. No alarms shall occur as a result of the changing temperature conditions alone. Relative humidity shall be within the range specified in Table 1.
|  | Note: | Comments are required when the requirement is not verified.
|  |  | Ambient Conditions: |  |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Sources Data:
Measurement Results
| 22° C | Exposure rate 137Cs |  |  |  | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
[6 empty] | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | (add units)
1 |  | Nominal Mean
2 |  | Acceptance Range
3 |  | #DIV/0! | to | #DIV/0!
4 |  | low |  | high
5 |  | (-15%) |  | (+15%)
6
7
8
9
10
Mean | #DIV/0! |  |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! |  |  |  | COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Readings within acceptance range? |  | Yes
No
|  |  | Gamma alarm (within 2s) |  | Yes
No
|  |  | Neutron alarm (within 5s) |  | Yes
No
|  |  | ID Trial 1 133Ba+137Cs | [18 empty] | Record all Radionuclides Identified
ID Trial 2 133Ba+137Cs
ID Trial 3 133Ba+137Cs
|  |  |  | ID Acceptance Criteria: | [10 empty] | A: | Ba-133, Cs-137
|  |  |  | Correct Radionuclides ID: (A is correct) | [10 empty] | B:
|  |  |  | Temperature shock Pass/Fail: Comparison of ID results at test points with the ID results at ambient temperature being the baseline. | [10 empty] | C:
D:
Gamma alarm: |  | Record maximum time to alarm: | [6 empty] | seconds
|  | Record minimum time to alarm: | [6 empty] | seconds
Neutron alarm: |  | Record maximum time to alarm: | [6 empty] | seconds
(if applicable)
|  | Record minimum time to alarm: | [6 empty] | seconds
Comments:
|  | Performed by: | [12 empty] | Date:
|  | Reviewed by: | [12 empty] | Date:

## Sheet1
Section 7.2 Temperature Shock
Test Data and Report
Manufacturer:
| Model: | [8 empty] | Serial Number:
| Requirement: | The instrument shall be fully functional within one hour of exposure to rapid temperature changes from 22 to -20, -20 to 22, 22 to 50, and 50 to 22 °C (72 to -4, -4 to 72, 72 to 122, and 122 to 72 °F) with each change being made in less than 5 minutes. The instrument shall provide an indication if it is not fully functional.
|  | Note: | Comments are required when a test is failed.
Test Equipment Used:
Source Data:
| 22° C |  |  |  | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
[5 empty] | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1 |  | Nominal Mean
2 |  | Acceptance Range
3 |  | #DIV/0! | to | #DIV/0!
4 |  | low |  | high
5 |  | (-15%) |  | (+15%)
6
7
8
9
10
Mean | #DIV/0! |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! |  |  | COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Radionuclide Identification Analysis
|  |  | 22° C | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
|  |  |  | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1
2
3
Number Correct
Neutron (Cf-252) cps
|  |  |  | ID Acceptance Criteria: | [9 empty] | A: | Am-241, Co-60
|  |  |  | Correct Radionuclides ID: (A is correct) | [9 empty] | B:
|  |  |  | Temperature shock Pass/Fail: Comparison of ID results at test points with the ID results at ambient temperature being the baseline. | [9 empty] | C:
D:
Comments:
|  | Performed by: | [11 empty] | Date:
|  | Reviewed by: | [11 empty] | Date: