## Section 7.4
Section 7.4 Maritime Environment
Test Data and Report
Manufacturer:
| Model: | [7 empty] | Serial Number:
Requirement: | If the manufacturer claims that the BRD is designed to operate in a maritime environment, the claim shall be verified as defined by MIL Std 810 Method 509.5.
| Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Source Data:
Measurement Results - Gamma
| Pretest | First 24 Hour Exposure | [5 empty] | First 24 Hour Drying
|  | 4h | 8h | 12h | 16h | 20h | 24h | 4h | 8h | 12h | 16h | 20h | 24h
1 | [13 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
Measurement Results - Neutron (if applicable)
| Pretest | First 24 Hour Exposure 4h: First 24 Hour Exposure; First 24 Hour Drying 4h: First 24 Hour Drying
|  | 4h | 8h | 12h | 16h | 20h | 24h | 4h | 8h | 12h | 16h | 20h | 24h
1 | [13 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
Result of inspection:
Record alarms or response changes during test:
Measurement Results - Gamma
|  | Second 24 Hour Exposure | [5 empty] | Second 24 Hour Drying
|  | 4h | 8h | 12h | 16h | 20h | 24h | 4h | 8h | 12h | 16h | 20h | 24h
| 1 | [12 empty] | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Measurement Results - Neutron (if applicable)
|  | Second 24 Hour Exposure | [5 empty] | Second 24 Hour Drying
|  | 4h | 8h | 12h | 16h | 20h | 24h | 4h | 8h | 12h | 16h | 20h | 24h
| 1 | [12 empty] | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Result of inspection:
Record alarms or response changes during test:
Verified (for all times)
[7 empty] | Yes | No
Accumulated salt residue interfered with correct operation?
Visual signs of corrosion, internal or external?
Unexpected alarms or fault indications?
Gamma response exceed acceptance range?
Neutron response exceed acceptance range (if applicable)?
Identifications same or better than in nominal test (if applicable)?
Comments:
|  | Performed by: |  |  |  |  | Date:
|  | Reviewed by: |  |  |  |  | Date:
Draft 3