## Section 6.3
Section 6.3 Detector Response to Gamma Radiation
Test Data and Report
Manufacturer:
Model: | [5 empty] | Serial Number:
| Background Reading: |  |  | (add units)
| Temperature: |  | °C |  | Humidity: |  | % RH | Pressure: |  | mmHg
Requirement: | An alarm shall be triggered when the detected radiation level is greater than the alarm setting. This requirement is verified using photons from 241Am, 57Co, 137Cs and 60Co.
Note: | Comments are required when the requirement is not verified.
Source Data:
241Am:
57Co:
137Cs:
60Co:
Test Results: Alarms
241Am
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8 |  |  |  | b
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
57Co
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
137Cs
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
60Co
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Alarm Summary
| Source |  | Total number of alarms
| 241Am |  | 0 | of | 1
| 57Co |  | 0 | of | 0
| 137Cs |  | 0 | of | 0
| 60Co |  | 0 | of | 0
Test Results: List of Identified Radionuclides (if applicable)
241Am
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1
2
3
4
5
6
7
8
9
10
57Co
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1
2
3
4
5
6
7
8
9
10
137Cs
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1
2
3
4
5
6
7
8
9
10
60Co
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1
2
3
4
5
6
7
8
9
10
Comments:
Completed by: | [6 empty] | Date:
Reviewed by: | [6 empty] | Date:
Draft 3