## Section 9.3
Section 9.3 Impact (Microphonics)
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
Requirement: | BRD’s response, both gamma-ray and neutron, shall be unaffected by microphonic conditions such as those that may occur from low intensity impacts from sharp contact with hard surfaces.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
Without sources
Gamma | Pretest |  | Impact | Side | Side | Side | Side | Side | Side
| Response |  | Number | No. 1 | No. 2 | No. 3 | No. 4 | No. 5 | No. 6
| (add units) |  |  | No. 2: Readings After Each Impact
1 |  |  | 1 | [6 empty] | (add units)
2 |  |  | 2
3 |  |  | 3
4
5
6
7 |  |  |  | No. 1: Acceptance Range
8 |  |  |  | No. 1: #DIV/0!; No. 2: to; No. 3: #DIV/0!
9 |  |  |  | No. 1: low (-15%); No. 3: high (+15%)
10
Mean | #DIV/0!
STD | #DIV/0!
COV% | #DIV/0!
Neutron | Pretest |  | Impact | Side | Side | Side | Side | Side | Side
| Response |  | Number | No. 1 | No. 2 | No. 3 | No. 4 | No. 5 | No. 6
| (add units) |  |  | No. 2: Readings After Each Impact
1 |  |  | 1 | [6 empty] | (add units)
2 |  |  | 2
3 |  |  | 3
4
5
6
7 |  |  |  | No. 1: Acceptance Range
8 |  |  |  | No. 1: #DIV/0!; No. 2: to; No. 3: #DIV/0!
9 |  |  |  | No. 1: low (-15%); No. 3: high (+15%)
10
Mean | #DIV/0!
STD | #DIV/0!
COV% | #DIV/0!
|  |  |  | No. 3: Side No. 1; No. 5: Side No. 2 | Side No. 3
[6 empty] | Yes | No | Yes | No | Yes | No
Did the gamma response remain stable during the test?
Did the neutron reading change?
Were there any functional changes due to the impacts?
Did the instrument display spurious indications?
Did the instrument alarm during the test?
If yes, then what type of alarm? | [5 empty] | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
|  |  |  | No. 3: Side No. 4; No. 5: Side No. 5 | Side No. 6
[6 empty] | Yes | No | Yes | No | Yes | No
Did the gamma response remain stable during the test?
Did the neutron reading change?
Were there any functional changes due to the impacts?
Did the instrument display spurious indications?
Did the instrument alarm during the test?
If yes, then what type of alarm? | [5 empty] | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
With Sources
Gamma | Pretest |  | Impact | Side | Side | Side | Side | Side | Side
| Response |  | Number | No. 1 | No. 2 | No. 3 | No. 4 | No. 5 | No. 6
| (add units) |  |  | No. 2: Readings After Each Impact
1 |  |  | 1 | [6 empty] | (add units)
2 |  |  | 2
3 |  |  | 3
4
5
6
7
8 |  |  |  | No. 1: Acceptance Range
9 |  |  |  | No. 1: #DIV/0!; No. 2: to; No. 3: #DIV/0!
10 |  |  |  | No. 1: low (-15%); No. 3: high (+15%)
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Neutron | Pretest |  | Impact | Side | Side | Side | Side | Side | Side
| Response |  | Number | No. 1 | No. 2 | No. 3 | No. 4 | No. 5 | No. 6
| (add units) |  |  | No. 2: Readings After Each Impact
1 |  |  | 1 | [6 empty] | (add units)
2 |  |  | 2
3 |  |  | 3
4
5
6
7
8 |  |  |  | No. 1: Acceptance Range
9 |  |  |  | No. 1: #DIV/0!; No. 2: to; No. 3: #DIV/0!
10 |  |  |  | No. 1: low (-15%); No. 3: high (+15%)
Mean | #DIV/0!
STD | #DIV/0!
COV | #DIV/0!
Radionuclide identification Measurement Results for 57Co and 60Co Simultaneously (if applicable)*
|  | Initial Orientation |  | No. 2: Second Orientation; No. 5: Third Orientation
|  | Nominal | Post Test |  | Nominal | Post Test |  | Nominal | Post Test
|  | (add units) | (add units) |  | (add units) | (add units) |  | (add units) | (add units)
| 1 | [8 empty] | *list all identified nuclei
2
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Completed by: |  |  | No. 4: Date:
| Reviewed by: |  |  | No. 4: Date:
Draft 3