## Section 6.4
Section 6.4 Detector Response to Neutron Radiation
Test Data and Report
Manufacturer:
Model: | [5 empty] | Serial Number:
Background Reading: |  |  | (add units)
Temperature: |  | °C |  | Humidity: |  | % RH | Pressure: |  | mmHg
Requirement: | When provided, an alarm shall be triggered when BRD is exposed to a 252Cf neutron emission rate of 20,000 n/s (± 20%) at a transient speed of 1.2 m/s at a distance of 1.5 m. Alarms shall activate within 2 seconds of the source being at the closest point to the detector. The source is encapsulated in 1 cm steel and 0.5 cm lead.
Note: | Comments are required when the requirement is not verified.
Source Data:
252Cf - Unmoderated:
252Cf - Moderated
Test Results
252Cf - Unmoderated
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
252Cf - Moderated
| Horizontal Plane | [5 empty] | Vertical Plane
| 0° | 45° | 90° | 135° | 180° |  | 0° | 45° | 90° | 135° | 180°
1 | [5 empty] | (y/n entries) | [5 empty] | (y/n entries)
2
3
4
5
6
7
8
9
10
Number of Alarms | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Alarm Summary
| Source |  |  | Total number of alarms
| 252Cf - Unmoderated: |  |  | 0 | of | 0
| 252Cf - Moderated |  |  | 0 | of | 0
Comments:
Completed by: | [6 empty] | Date:
Reviewed by: | [6 empty] | Date:
Draft 3