## Section 9.1
Section 9.1 Vibration
Test Data and Report
Manufacturer:
|  |  | Model: |  |  | Serial Number:
|  | Requirement: | BRDs shall withstand exposure to vibrations associated with the operation of handheld or hand-carried equipment. The physical condition and functionality of a BRD shall not be affected by the exposure (e.g., solder joints shall hold, nuts and bolts shall not come loose). The test conditions chosen are based on a review of US Military Standard 810 and IEC 60721-3-7, “Classification of groups of environmental parameters and their severities – Portable and non-stationary use”.
|  |  | Note: | Comments are required when the requirement is not verified.
|  |  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data Gamma:
Source Data Neutron:
Measurement Results With Cs-137
| Initial Orientation |  |  |  | Second Orientation |  |  |  | Third Orientation
| Nominal | At 30 min | Post Test |  | Nominal | At 30 min | Post Test |  | Nominal | At 30 min | Post Test
| (add units) | (add units) | (add units) |  | (add units) | (add units) | (add units) |  | (add units) | (add units) | (add units)
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! |  | Conf-Int (-) | #DIV/0! | #DIV/0! |  | Conf-Int (-) | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! |  | Conf-Int (+) | #DIV/0! | #DIV/0! |  | Conf-Int (+) | #DIV/0! | #DIV/0!
Acceptance Range
| Initial Orientation: | #DIV/0! | to | #DIV/0!
|  | low -15% |  | high +15%
| Second Orientation: | #DIV/0! | to | #DIV/0!
|  | low -15% |  | high +15%
| Third Orientation: | #DIV/0! | to | #DIV/0!
|  | low -15% |  | high +15%
Measurement Results With Cf-252 (if applicable)
| Initial Orientation |  |  |  | Second Orientation |  |  |  | Third Orientation
| Nominal | At 30 min | Post Test |  | Nominal | At 30 min | Post Test |  | Nominal | At 30 min | Post Test
| (add units) | (add units) | (add units) |  | (add units) | (add units) | (add units) |  | (add units) | (add units) | (add units)
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! | #DIV/0! |  | Conf-Int (-) | #DIV/0! | #DIV/0! |  | Conf-Int (-) | #DIV/0! | #DIV/0!
| Conf-Int (+) | #DIV/0! | #DIV/0! |  | Conf-Int (+) | #DIV/0! | #DIV/0! |  | Conf-Int (+) | #DIV/0! | #DIV/0!
Acceptance Range
| Initial Orientation: | #DIV/0! | to | #DIV/0!
|  | low -15% |  | high +15%
| Second Orientation: | 0 | to | 0
|  | low -15% |  | high +15%
| Third Orientation: | #DIV/0! | to | #DIV/0!
|  | low -15% |  | high +15%
Radionuclide identification Measurement Results for 57Co and 60Co Simultaneously (if applicable)*
|  | Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
|  | Nominal | Post Test |  | Nominal | Post Test |  | Nominal | Post Test
|  | (add units) | (add units) |  | (add units) | (add units) |  | (add units) | (add units)
| 1 | [8 empty] | *list all identified nuclei
2
3
4
5
6
7
8
9
10
Number Correct
Verified
[6 empty] | Initial Orientation: |  | Second Orientation: |  | Third Orientation:
[6 empty] | Yes | No | Yes | No | Yes | No
Unexpected alarms, spurious indications, or reproducible changes in response?
Gamma response exceed acceptance range?
Neutron response exceed acceptance range (if applicable)?
Any external damage after the test?
All control functions operate correctly after the test?
Identifications same or better than in nominal test (if applicable)?
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date:
Draft 3