## Section 7.5
Section 7.5 Extreme Temperature Start Up
Test Data and Report
Manufacturer:
| Model: |  |  |  |  | Serial Number:
Requirement: | BRDs shall be able to operate when switched on at the operational temperature limits.
Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Source Data:
Measurement Results
|  |  | Gamma |  |  |  |  | Neutron (if applicable)
|  |  | Nominal | - 20 °C | +50 °C |  |  | Nominal | - 20 °C | +50 °C
|  |  | (add units) | (add units) | (add units) |  |  | (add units) | (add units) | (add units)
|  | 1 |  |  |  |  | 1
|  | 2 |  |  |  |  | 2
|  | 3 |  |  |  |  | 3
|  | 4 |  |  |  |  | 4
|  | 5 |  |  |  |  | 5
|  | 6 |  |  |  |  | 6
|  | 7 |  |  |  |  | 7
|  | 8 |  |  |  |  | 8
|  | 9 |  |  |  |  | 9
|  | 10 |  |  |  |  | 10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! |  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
|  | STD | #DIV/0! | #DIV/0! | #DIV/0! |  | STD | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Conf-Int (-) | #DIV/0! | #DIV/0! |  |  | Conf-Int (-) | #DIV/0! | #DIV/0!
|  |  | Conf-Int (+) | #DIV/0! | #DIV/0! |  |  | Conf-Int (+) | #DIV/0! | #DIV/0!
|  |  |  | Acceptance Range - Gamma |  |  |  |  | Acceptance Range - Neutron
|  |  | #DIV/0! | to | #DIV/0! |  |  | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15% |  |  | low 15% |  | high 15%
Radionuclide Identification Results for 57Co and 60Co Simultaneously (if applicable)*
|  |  | Nominal | - 20 °C | +50 °C
|  | 1 |  |  |  | *list all identified nuclei
2
3
4
5
6
7
8
9
10
Number Correct
Verified (for all T)
[8 empty] | Yes | No
Gamma response exceed acceptance range?
Neutron response exceed acceptance range (if applicable)?
Identifications same or better than in nominal test (if applicable)?
Comments:
| Performed by: | [6 empty] | Date:
| Reviewed by: | [6 empty] | Date:
Draft 3