## Section 6.7-Directional
Section 6.7 Angular Dependence and Verification of Directional Indication
Test Data and Report
Manufacturer:
| Model: | [5 empty] | Serial Number:
| Background Field: |  |  | (add units)
| Temperature: |  | °C |  | Humidity: |  | % RH |  | Pressure: |  | mmHg
| Requirement: | The response (count rate or exposure rate) of the BRD over a single 360º horizontal plane (centerline of source and BRD) shall be provided by the manufacturer. This requirement shall be tested using 57Co, 137Cs, and 60Co, and for neutron, moderated and unmoderated 252Cf. Results regarding the angular response of the BRD operated without a phantom may be provided by the manufacturer.
| Note: | Comments are required when the requirement is not verified.
Test Results - Verification of Directional Indication
57Co
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
137Cs
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Source Data: | 60Co
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
252Cf Unmoderated
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
252Cf Moderated
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Comments:
|  | Completed by: | [6 empty] | Date:
|  | Reviewed by: | [6 empty] | Date:
Draft 3

## Section 6.7-AngDep
Section 6.7 Angular Dependence and Verification of Directional Indication
Test Data and Report
Manufacturer:
| Model: | [5 empty] | Serial Number:
|  | Background Field: |  |  | (add units)
| Temperature: |  | ° C |  | Humidity: |  | % |  | Pressure: |  | In. Hg.
Test Results - Angular Dependence
57Co
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
137Cs
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Source Data: | 60Co
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
252Cf Unmoderated
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
252Cf Moderated
Source Data:
Horizontal Plane
|  |  | 0° | 45° | 90° | 135° | 180° | 225° | 270° | 315°
|  | 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Comments:
|  | Completed by: | [6 empty] | Date:
|  | Reviewed by: | [6 empty] | Date:
Draft 3