## Extrinsic Fluorescence
Template for Reporting Data: Extrinsic Fluorescence
Please complete the green boxes to the extent possible.
Lab (e.g. NIST)
1. Method Information
Manufacturer
Model (instrument version)
Software
Cuvette path length (cm)
Temperature (˚C)
Sample volume (µL)
Dilution factor
Excitation wavelength (nm) | 372
Excitation slit width
Emission wavelengths (nm) | 400 to 600
Emission slit width (nm)
Extrinsic fluorescent dye | 8-Anilino-1-napthalene-sulfonic acid
Concentration of dye | 50 uM
Step size
Integration time
2. Summary of data
Analyst Initials
Dates of measurements
Hours samples were stored at (2-6)˚C prior to measurement
For every wavelength:
Buffer + dye = Buffer *
Sample + dye = Sample *
Conc*= concentration of analyzed sample as determined by UV280 (mg/mL) | Conc* of Amgen mAb Unstress = | Conc* of NISTmAb Unstress = | Conc* of Amgen stir stress = | Conc* of NISTmAb stir stress = | Conc* of Amgen light stress = | Conc* of NISTmAb light stress =
Sample § = (Sample * - Buffer *) |  | Perform this calculation on a separate, blank Excel sheet
Buffer Subtracted Fluorescence Intensity (a.u.)
Emission Wavelength (nm) | Sample 1 §: Amgen mAb Unstress | Sample 2 § : NISTmAb Unstress | Sample 3 §: Amgen stir stress | Sample 4 § : NISTmAb stir stress | Sample 5 § : Amgen light stress | Sample 6 §: NISTmAb light stress
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
3. Additional Notes/Comments: