## Revisions
Laboratory Name:
This file contains the inventory and template form for software quality assurance.
FileName: | C:\Users\pcorey\Desktop\delete\[software-inventory-validation-glp-15.xlsx]Revisions
Version | Date | Initials | Modifications
1.0 | 2009-04-01 | GH | Basic Software Inventory - original file
2 | 2010-06-25 | GH | Sheets added for Revisions, Computer Inventory, COTS, and Assessment Form A; Codes removed from Software Inventory; Measurement Parameters added to Inventory
2.1 | 2010-06-25 | TS | Technical Assessment form modified and inserted as Form A.
3 | 2014-04-14 | GH | Updated list of Inventory based on OWM website Job Aids with SOPs
4 | 2019-11-14 | GH | Removed all examples of spreadsheets on Inventory and converted to latest Excel from 2003 version

## Computer Inventory
Laboratory Computer Inventory
Computer | Model | Service Tag No. | ID Tag No. | Location | Operating System | Processor | Installed | Status | Maintenance | Network

## COTS
Commercial-off-the-Shelf (COTS) Software Used in the Laboratory
Software Program | Version | Source | Date Implemented

## Software Inventory Validation
Software Inventory and Status
Laboratory:
File Name | Description of Purpose | Used for Procedure | Authorized Users | Program Source | Validation File Name/Location
Laboratory Operations
Mass III
Wheelload Weigher/Weight Carts
Mass II
Mass I
Gravimetric Volume I
Volume Transfer II
Volume Transfer LPG/SVP
Length
Temperature
Time and Frequency
Other Measurement Parameter - TBD

## Form A
Lab: |  |  |  | Software Verification & Validation
Software Description: |  |  |  | Date:
Codes | Assessment | Pass/Fail | Result/Observations (Attach Evidence or Describe)
A. Software Inspection | Spreadsheet is clear and makes sense
There are instructions for use
| Instructions and data input appear on the visible portion of the first worksheet |  |  |  | Pass
| Data-entry fields are labeled and color coded (it is recommended to avoid red and green) |  |  |  | Fail
| The type/name of procedure used is clearly specified |  |  |  | N/A
The number of digits to be rounded to is specified*
The user is warned/notified whenever data-entry fields are left blank*
Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations
The software opens at the right location within the file
Unused fields/cells are locked
Rows/columns that the operator need not see are hidden
Unused worksheets are removed
Worksheets are named appropriately
Pass/Fail criteria are specified in instructions*
Pass/Fail cells are automated (Not data-entry)
Calculation fields are properly labeled
Units are expressed properly and correctly*
B. Mathematical Specification | The appropriate procedure is used*
The formulae and methods chosen from that procedure are specified*
Sources and references for formulae are specified
The chosen procedure, its methods, and its formulae, are appropriate to the level of precision/uncertainty*
C. Code Review | The formulae in the fields exactly match the procedure*
Repeated calculations appropriately reference the correct cells*
Calculations, when tested using standard data or reference test data, show appropriate accuracy*
Rounding is done at the appropriate locations in the file*
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences.*
Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa
“Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used
E. Component Testing | Conditional logic cells handle negative values properly
Conditional logic cells withstand a Boundary Value test
Each macro used is functional*
Each command/button is functional*
Combinations of interdependent macros are functional
Plotted graphs are accurate*
Plotted graphs and its axes are properly labeled
Worksheets/reports print properly, if needed to
Conditional (color and non-color) formatting is functional
F. Numerical Reference Results | Look-up tables and lists match the latest calibration report.*
Uncertainties match the latest Scope*
Values that reference another workbook or spreadsheet are dated
When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct*
The evaluation of the embedded data is dated and documented
The instructions worksheet includes a list of all additional files and plug-ins needed for it to run properly
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented*
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty*
Conclusions and results are apparent (if appropriate)*
J. Security | Equation and calculation cells are protected against inadvertent editing
Cells are locked in place; they cannot be moved/dragged
Confidentiality of passwords is appropriate
Files are backed up automatically
Additional back-up is available at alternate facilities
Files on network drives cannot be accidentally deleted
*Failing these tests could drastically change results of spreadsheet
| Number of Passes | 0 | 0%
| Number of Fails | 0 | 0%
| Number of N/A's | 0 | 0%
Additional Notes:
| Signed |  | Title