## Slide 1: Next-generation components for next-generation quantum networks Ivan A. Burenkov

## Slide 2: Core team
Nur F. R. Annafianto
Nijil
Lal
Daehyun
Ahn
Cory
Nunn
Sergey V.
Polyakov
Ivan B.
Francesco
Atzori
(INRiM)
M. V.
Jabir

## Slide 3: Next-generation components
~ 100 km

## Slide 4: Next-generation quantum networks
~ 100 km
Short term: Coexistence, faint light communication, and innovative quantum protocols for the physical layer security
Long Term: Functional quantum networks
Indistinguishable photons
Quiet
Synchronized
Polarization Stabilized
Phase Stabilized
Verified

## Slide 5: Next-generation components
~ 100 km

## Slide 6: Coexistence: Experimental results
Quantum channels
Classical channels
I. Burenkov et al., Opt. Express 31, 11431 (2023)
Cl. synchronization & up to 100 q. channels
Lmax=?
Metropolitan-scale: how long?
Can you really reach <1 photon/bit?

## Slide 7: Yes, 1 photon/bit is possible
@Perr=15%
PRL 128, 040404 (2022) * AVS Quantum Sci. 3, 025301 (2021) * npj Quantum Information 8, 63 (2022)
AVS Quantum Sci. 5, 015001 (2023) * Phys. Rev. A, 108, 052203 (2024)
Q. measurement
SNL
→
→

## Slide 8: Implications for QN
Quantum-enabled Error correction
US Patent US10382141B2 “Communication linker for communication linking”
US Patent US12387129B2 “Systems and methods for quantum-enabled error correction”
US non-provisional Patent Application 19/013,394 “System and method for monitoring optical communication channel”
US non-provisional Patent Application 19/198,700 “Optical Phase stabilization by quantum measurement”
US provisional Patent Application 63/863,106 “Quantum-compatible multi-channel phase stabilization in long fiber communication channels”
Quantum physical channel
protection
Optica 13 (3), 515-518 (2026)
Optica 12 (5), 570-576 (2025)
Phys. Rev. A, 108, 052203 (2024)
AVS Quantum Sci. 5, 015001 (2023)
AVS Quantum Sci. 5, 031403 (2023)
npj Quantum Information, 8, 63 (2022)
PRL 128 (4), 040404 (2022)
Non-cloning theorem
Fundamental minimal discrimination error
Quantified eavesdropping detection
Quantified adversarial information gain
Notes: Saikat's Center for Quantum Networking and DC-QNet

## Slide 9: Quantum quiet fiber (phase + crosstalk)
Optica 13 (3), 515-518 (2026)
Optica 12 (5), 570-576 (2025)
US Patent Application 19/198,700
US provisional Patent Application 63/863,106
WDM: DARK payload channel!
Phase stabilization over 150 s
Phase noise ~0.10 rad RMS
Allan deviation <0.07 rad
<500 photons/s payload noise
TDM: 50% duty factor
Only 650,000 photons/s
Real-world quantum adv.
Phase noise 0.14 rad RMS
120 as sensitivity!

## Slide 10: Synchronized Network Sources
High power  high count rates
SPDC photons in single spatiotemporal mode ( ps)
Single-mode pump  more SPDC photons are useful
optical fiber
??? km
0.144 ± 0.014
Indistinguishability,
C = 0.83 ± 0.05
Quantum Interference
Network Synchronization
Future extension
Optics Express 32, 18257-18267 (2024)

## Slide 11: NIST QN: Synchronized Network Sources
Optics Express 33, 31258-31268 (2025)

## Slide 12: NIST QN: Synchronized Network Sources
Optics Express 33, 31258-31268 (2025)

## Slide 13: Functional QN and its benchmarking
Verifier state:
[]
[]
[]
Target State, =
Target State, =
Target State, =
Target State, =
  Most QN experiments are “prepare and measure.”
  Ours are functional
HOM
Optics Express 32, 18257-18267 (2024)
J. Opt. Comm. Net. 16 (8), 781-787
Optics Express 33, 31258-31268 (2025)
Optics Express 33, 54501-54512 (2025)
Over 90% single mode photons
Stock components
Single Rail and Dual Rail entanglement
30 ps >> achievable jitter in QN

## Slide 14: QDs for quantum networks
Double solid immersion lens (SIL)
Features
Single-photon dynamics
Second-order spectroscopy
SNSPD 1
SNSPD 2
Laser Sync.
QD emission
InAs/InP QD grown on DBR
InP SIL + Polymer SIL
Small ∆EFSS energy difference
Notes: (two-time HBT)
(HOM)

## Slide 15
Does your detector lie? Detector Tomography
LS
MLE
Bayesian
UNKNOWN
Simulation
Experiment
CLEO 2026
Input, photon #
Input, photon #
Output, photon #

## Slide 16: Quantum Optics Group: Impact and Results

## Slide 17: Thank you!
Ahn, D. Robust phase stabilization of a dark quantum channel over a 120 km deployed fiber link, Optica 13 (3), 511-518, 2026
Lal, N. Indistinguishability of arbitrary photons for entanglement generation in scalable quantum networks, Optics Express 33 (26), 54501-54512, 2025
Nunn, C. Picosecond synchronization of mode-locked lasers for metropolitan-scale quantum networks, Optics express 33 (15), 31258-31268, 2025
Jabir, M.V. Enabling phase stabilization of quantum networks via displacement-enhanced photon counting, Optica 12 (5), 570-576, 2025
Yoon, S. Quantum plasmonic sensing by Hong–Ou–Mandel interferometry, Metrologia 61 (5), 055001, 2024
Rahmouni, A. 100-km entanglement distribution with coexisting quantum and classical signals in a single fiber, Journal of Optical Communications and Networking 16 (8), 781-787, 2024
Lal, N. Synchronized source of indistinguishable photons for quantum networks, Optics Express 32 (10), 18257-18267, 2024
Jabir, M.V. Modulation-agnostic single-shot estimation of quantum measurement confidence, Physical Review A 108 (5), 052203, 2023
Bienfang, J.C. Single-photon sources and detectors dictionary, US Department of Commerce, National Institute of Standards and Technology, 2023
Burenkov, I.A. Suppressing communication errors using quantum-enabled forward error correction, AVS quantum science 5 (3), 2023
Burenkov, I.A. Synchronization and coexistence in quantum networks, Optics Express 31 (7), 11431-11446, 2023
Jabir, M.V. Versatile quantum-enabled telecom receiver, AVS Quantum Science 5 (1), 2023
Jabir, M.V. Energy and bandwidth efficiency optimization of quantum-enabled optical communication channels, npj Quantum Information 8 (1), 63, 2022
Sabines-Chesterking, J. In situ flow cytometer calibration and single-molecule resolution via quantum measurement, Sensors 22 (3), 1136, 2022
Burenkov, I.A. Experimental shot-by-shot estimation of quantum measurement confidence, Physical Review Letters 128 (4), 040404, 2022
Burenkov, I.A. Practical quantum-enhanced receivers for classical communication, AVS quantum science 3 (2), 2021

## Slide 18: Quantum enhancement
Phase estimation with displacement measurement has higher fisher information than classical measurement, therefore better precision.

## Slide 19: Quantum advantage (QA)

## Slide 20: Phase locking with faint light
Interference visibility measurement
Stability measurement
We use only approximately 650,000 photons per second
V=

## Slide 21
Characterizing the indistinguishability of independent heralded single photons (corresp. Verifier and Target arms)
Laser
FBS
idler
VBG
ppKTP type 2
PBSS
signal
Variable Optical Delay
Long path
Short path
PBSver
PBStar
Qver
Qtar
Htar
Hver
PBSM
PBSB
PBSA
Verifier state
Target state
HA
HB
e2
e1
f1
h (double-heralding)
Indistinguishability Test
(Interference visibility measured and verified at both e1f1 & e2f2 ports)
Indistinguishability measured as, Coalescence, C = 0.85(9)
Double-Heralded Coincidence Counter
f2
QNCIPS 1 (Quantum-Network-Compatible Indistinguishable Photon Source)
1 Optics Express, 32 (10), pp. 18257-18267 (2024)
Laser : Mode-locked Ti:Sapphire laser, 10 ps pulse duration, 80 MHz.
VBG : volume Bragg grating (0.1 nm).
PBS : polarizing beam splitter, H : half wave plate, Q : quarter wave plate.
Long path is delayed by 9 pulse separations (= 112.5 ns).
HA & HB at .
Not shown: Fiber polarization-controllers before the single-photon detectors (SNSPDs). Fiber polarization-controllers before the optical delay stage and at the end of long-path and short-path fibers.
Target photon
Verifier photon

## Slide 22
120 km
DWDM Mux
Quantum
Reference 1
Payload
Reference 2
FB
DWDM Demux
FF

## Slide 23: Core team
Nur F. R. Annafianto M. V. Jabir
Nijil Lal
Daehyun H. Ahn
Cory Nunn
Sergey V. Polyakov
Ivan
Francesco Atzori (INRiM)