## Slide 1: Applications of MV Power Electronics for Advanced Distribution Grids
Thomas E. McDermott, Ph.D., P.E., FIEEE
Email: tem42@pitt.edu
Phone: 412-648-9585
April 15, 2016
Where does the present grid really fall short?
Community resilience
Photovoltaic inverter integration
Electric vehicle charging

## Slide 2: The electric power system can serve as the integrating platform for sustainable energy.

## Slide 3: Portable AC/DC micro-grids, held as national assets, can improve resiliency to extreme events.

## Slide 4: A Flexible Micro-grid Architecture for Communities would leverage existing resources.
Intelligent Interconnection
Device (IID) Functions:
Protection
Dispatch
Control

## Slide 5: A hybrid MVAC / MVDC distribution architecture can more efficiently manage storage and renewables.

## Slide 6: Too many photovoltaic inverters are installed with wasteful Volt-Watt functions.
Estimated % Voltage Change:
(R, X in ohms, Sn in MVA, Un in kV)

## Slide 7: Electric vehicle charging (and V2G) can be simpler with DC grid than with AC grid.
“Design and Simulation of a DC Electric Vehicle Charging Station Connected to a MVDC Infrastructure”, Sparacino et. al.

## Slide 8: Identified commercial garage locations from parking maps and other sources.
NYSERDA Technical Update, “Transportation Electrification in New York State”, June 2011.