## Sheet1
Building 12-Stair B | [10 empty] | Floor 1 | [6 empty] | Floor 2 | [6 empty] | Floor 3 | [6 empty] | Floor 4 | [6 empty] | Floor 5 | [6 empty] | Floor 6
These data are a contribution of the National Institute of Standards and Technology.
See the project website for details on the content and use of the data.
http://fire.nist.gov/fire/egress/
Travel Distances from Camera Positions to Stairwell Exit (m)
Distance to Building Exit
Camera on Floor F=yes | Floor | When Entering View From Floor Above |  | Leave view to building exit | Effective Landing Area
F | 1 | 2.1952 |  |  | 1.5113
F | 2 | 18.4044 |  | 15.2811 | 1.4269
F | 3 | 28.7546 |  | 25.6313 | 1.4269
F | 4 | 39.1048 |  | 35.9815 | 1.4269 |  | Floor legend
F | 5 | 49.455 |  | 46.3317 | 1.4269
F | 6 | 59.1213 |  | 56.6819 | 1.4269
Evacuee Stairwell Movement Data
* See key of column contents at end of spreadsheet
[16 empty] | Alarm Time | [6 empty] | Alarm Time | [6 empty] | Alarm Time | [6 empty] | Alarm Time | [6 empty] | Alarm Time | [6 empty] | Alarm Time
[16 empty] | (min) | (sec) | [5 empty] | (min) | (sec) | [5 empty] | (min) | (sec) | [5 empty] | (min) | (sec) | [5 empty] | (min) | (sec) | [5 empty] | (min) | (sec)
[16 empty] | 21 | 15.45 | [5 empty] | 21 | 41.34 | [5 empty] | 22 | 0.2 | [5 empty] | 22 | 19.24 | [5 empty] | 22 | 40.19 | [5 empty] | 22 | 55.94
C | Evacuee # | Gender | Carrying Anything? | Large Body Size | Jacket? | Group? | Helping? | Floor First Seen | Floor Entered | Evacuee Description | Location | Handrail | Treads Behind | Enter Time |  | Exit Time |  | Location | Handrail | Treads Behind | Enter Time |  | Exit Time |  | Location | Handrail | Treads Behind | Enter Time |  | Exit Time |  | Location | Handrail | Treads Behind | Enter Time |  | Exit Time |  | Location | Handrail | Treads Behind | Enter Time |  | Exit Time |  | Location | Handrail | Treads Behind | Enter Time |  | Exit Time
|  | M or F ?=unsure | X=yes | X for > 1/2 stair width | X=yes | X=yes |  |  |  | hair/shirt/pants - notes | I O M | I O B A |  | (min) | (sec) | (min) | (sec) | I O M | I O B A |  | (min) | (sec) | (min) | (sec) | I O M | I O B A |  | (min) | (sec) | (min) | (sec) | I O M | I O B A |  | (min) | (sec) | (min) | (sec) | I O M | I O B A |  | (min) | (sec) | (min) | (sec) | I O M | I O B A |  | (min) | (sec) | (min) | (sec)
E | 1 | F | [6 empty] | 4 | curly dark/brown jacket on white with flowers shirt/black | I | I | 4 | 0 | 55.81 | 0 | 57.74 | M | I | 1-0 | 0 | 40.93 | 0 | 43.47 | M | I | 2-2 | 0 | 30.44 | 0 | 33.91 | M | I | 0-2 | 0 | 20.11 | 0 | 23.02
E | 2 | F | [6 empty] | 4 | long dark/white/blue skirt | I | I | 4 | 0 | 58.48 | 1 | 1.25 | M | I | 1-0 | 0 | 43.13 | 0 | 45.6 | M | I | 2-2 | 0 | 32.48 | 0 | 35.58 | M | I | 0-2 | 0 | 21.31 | 0 | 25.32
E | 3 | F | x | [5 empty] | 4 | dark/purple/blue jeans - carrying a brown bag on the right shoulder | M |  | 4 | 1 | 0.88 | 1 | 3.38 | M | I | 1-0 | 0 | 44.77 | 0 | 47.04 | M | I | 2-2 | 0 | 33.51 | 0 | 36.95 | O |  | 0-2 | 0 | 22.25 | 0 | 25.85
E | 4 | F | x |  |  |  |  | 6 |  | curly dark/white-brownish/black skirt - carrying a green and white bag on the left shoulder | O |  | 4 | 1 | 49.63 | 1 | 52.97 | O |  | 1-0 | 1 | 25.74 | 1 | 30.41 | O |  | 2-2 | 1 | 7.58 | 1 | 14.12 | O |  | 2-2 | 0 | 51.51 | 0 | 56.55 | M | I | 2-2 | 0 | 39.34 | 0 | 42.71 | M | I | 0-3 | 0 | 31.59 | 0 | 37.5
E | 5 | F | x |  |  |  |  | 6 |  | dark/grey/black and white skirt - carrying a brown bag on the right shoulder | I | I | 4 | 1 | 49.86 | 1 | 53.9 | I | I | 1-0 | 1 | 26.17 | 1 | 29.81 | I | I | 2-2 | 1 | 9.18 | 1 | 14.66 | M | I | 2-2 | 0 | 53.25 | 0 | 58.38 | I | I | 2-2 | 0 | 33.5 | 0 | 38.4 | M | I | 0-3 | 0 | 21.75 | 0 | 30.76
E | 6 | F | x |  |  |  |  | 6 |  | dark long with a tail/black on a white a shirt/blue jeans - carrying a yellow bag on the left shoulder | I | I | 4 | 1 | 52.03 | 1 | 55.4 | I | I | 1-0 | 1 | 28.68 | 1 | 31.98 | M | I | 2-2 | 1 | 13.72 | 1 | 17.99 | M |  | 2-2 | 1 | 0.99 | 1 | 4.99 | I | I | 2-2 | 0 | 46.51 | 0 | 51.58 | I | I | 0-3 | 0 | 35.87 | 0 | 44.07
E | 7 | M | x |  |  |  |  | 6 |  | bald/grey-green jacket/dark - carrying a folder (maybe with a laptop) in the LH | O |  | 4 | 1 | 52.4 | 1 | 55.7 | O |  | 1-0 | 1 | 28.48 | 1 | 32.58 | M | I | 2-2 | 1 | 12.15 | 1 | 16.82 | M | I | 2-2 | 0 | 55.98 | 1 | 2.05 | O | O | 2-2 | 0 | 41.84 | 0 | 45.08 | O | O | 0-3 | 0 | 32.96 | 0 | 39.44
E | 8 | F | x |  |  |  |  | 6 |  | blonde/black/black - carrying a cellphone in the LH | I | I | 4 | 1 | 58.57 | 2 | 2.01 | I | I | 1-0 | 1 | 35.98 | 1 | 39.09 | M | I | 2-2 | 1 | 19.06 | 1 | 24.1 | M | I | 2-2 | 1 | 3.42 | 1 | 9.4 | M | I | 2-2 | 0 | 49.78 | 0 | 53.85 | M | I | 0-3 | 0 | 40.6 | 0 | 47.64
E | 9 | F | x |  |  |  |  | 6 |  | long dark/black/black - carrying a soda in the RH and a black bag on the right shoulder | O | O | 4 | 1 | 59.04 | 2 | 2.71 | O |  | 1-0 | 1 | 37.05 | 1 | 40.19 | O | O | 2-2 | 1 | 20.33 | 1 | 25.2 | O | O | 2-2 | 1 | 4.02 | 1 | 9.8 | O | O | 2-2 | 0 | 45.81 | 0 | 51.25 | O | O | 0-3 | 0 | 34.43 | 0 | 43.31
E | 10 | M | [5 empty] | 6 |  | brown/dark blue/blue jeans | I |  | 4 | 2 | 2.31 | 2 | 4.61 | M |  | 1-0 | 1 | 49.13 | 1 | 51.43 | M |  | 2-2 | 1 | 39.45 | 1 | 42.58 | M |  | 2-2 | 1 | 29.98 | 1 | 33.25 | M |  | 2-2 | 1 | 21.41 | 1 | 24.65 | M |  | 0-3 | 1 | 14.3 | 1 | 19.68
E | 11 | M | [5 empty] | 6 |  | baseball cap/black/blue jeans | M | I | 4 | 2 | 6.98 | 2 | 8.78 | M | I | 1-0 | 1 | 53.74 | 1 | 55.8 | M | I | 2-2 | 1 | 44.35 | 1 | 47.59 | M | I | 2-2 | 1 | 34.59 | 1 | 37.79 | M | I | 2-2 | 1 | 24.08 | 1 | 27.38 | M | I | 0-3 | 1 | 15.81 | 1 | 22.04
E | 12 | M | x |  |  |  |  | 6 |  | black/white azur shirt/brown - carrying documents in the LH | I | I | 4 | 2 | 11.38 | 2 | 13.65 | M | I | 1-0 | 1 | 58.11 | 2 | 0.28 | M | I | 2-2 | 1 | 49.7 | 1 | 52.26 | M | I | 2-2 | 1 | 41.19 | 1 | 43.9 | M | I | 2-2 | 1 | 32.96 | 1 | 35.39 | M | I | 0-3 | 1 | 26.68 | 1 | 31.39
Key to evacuee data column headings
Column | Heading | Column Contents
A- | C | Code that indicates type of data in the current row of the spreadsheet: C for column headings F for distances from floor to exit and E for data collected for each evacuee
B- | Evacuee # | Unique number assigned to each evacuee. Numbered from 1 to the number of unique evacuees identified from the original video record
C- | Gender | M for male F for female ? May be included if gender is not clear from original video record
D- | Carrying Anything? | Indicates whether evacuee was carrying anything during evacuation.
E- | Large Body Size | Indicates whether evacuee occupied more than 1/2 the stair width during evacuation. This may indicate a possible obstruction to flow if other evacuees cannot move past evacuee if evacuee slows for stops during evacuation
F- | Jacket? | Indicates whether evacuee was carrying an overcoat/jacket during evacuation
G- | Group? | Indicates whether evacuee was travelling with other evacuees throughout evacuation
H- | Helping? | Indicates whether evacuee was assisting or being assisted by another evacuee during the evacuation. Includes details of assistance
I- | Floor First Seen | Highest floor in stalrwell where evacuaee was first observed on the original video record. If blank - evacuee entered from a floor above the highest recorded camera position.
J- | Occupant Description | Hair color - description of clothing - and any items evacuee carries during evacuation. Used to uniquely identify evacuees during data collection. LH/RH for carrying in left hand/right hand LA/RH for carrying on left arm/right arm
K- | Location | Indicates whether evacuee descended stairwell near the inside handrail the outside handrail or near the middle of the staircase
L- | Handrail | Indication of handrail usage by evacuee: I for inside handrail O for outside handrail B for both handrails A for alternating handrail use. If blank this may indicate either that the occupant did not use the handrail or that the handrail use could not be seen in the original video record
M- | Enter Time | Time (from beginning of original video record) that evacuee first entered the camera view on the current floor in minutes and seconds
N-
O- | Exit Time | Time (from beginning of original video record) that evacuee left the camera view on the current floor in minutes and seconds
P-
* Columns K through P are repeated for each camera in the stairwell