## NTA
Template for Reporting Data: Nanoparticle Tracking Analysis
Please complete the green boxes to the extent possible.
Lab Name (e.g. NIST)
1. Method Information
Manufacturer
Model
Laser wavelength
Software version
Magnification
Cell thickness
Temperature | 25 ˚C
Viscosity | 8.90 x 10-4 Pa·s
Pump flow rate (mL/min) (if available)
Video capture duration (s)
Frame rate
Camera gain
Camera shutter
Total number of valid tracks
Minimum track length (auto, if possible)
Minimum expected size (auto preferred, if possible)
Detection threshold (user set)
Nominal sample volume for each replicate (mL)
Controls (e.g., polystyrene latex beads)-material and size
2. Summary of data
Analyst Initials
Dates of measurements
Sample Identity
Sample Name | Amgen mAb Buffer |  | NISTmAb Buffer |  | Shipping #1 Amgen mAb Stir |  | Shipping #1 NIST mAb Stir |  | Shipping #2 Amgen mAb Stir |  | Shipping #2 NISTmAb Stir |  | Amgen mAb light |  | NISTmAb light |  | Amgen Unstressed |  | NISTmAb Unstressed
Hours samples were stored at (2-6)˚C prior to measurement |  | minimal <1 hour
Dilution factor
Centrifugation speed and time (rcf and min), if performed
Number of all completed tracks
Number of all completed tracks for particles greater than 100 nm
Number of replicate meas.
Average Hydrodynamic Diameter (nm) | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev: | Avg: | Stdev:
Hydrodynamic Diameter (nm) | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev | Avg Particle Concentration (1/mL) | Stdev
| Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution |  | Corrected for dilution
≥ 100 nm
≥ 150 nm
≥ 200 nm
≥ 250 nm
≥ 300 nm
≥ 350 nm
≥ 400 nm
≥ 450 nm
≥ 500 nm
≥ 550 nm
≥ 600 nm
≥ 650 nm
≥ 700 nm
≥ 750 nm
≥ 800 nm
≥ 850 nm
≥ 900 nm
≥ 950 nm
≥ 1000 nm
3. Additional Notes/Comments:
(Mention if samples were run alongside other particle methods and if so, what other methods?)
Note on A22: Telikepalli, Srivalli (Fed): Minimum brightness of pixels to be considered for tracking