## Cover Sheet
OSAC Program Office Use Only
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | Standard for Interpreting, Comparing and Reporting DNA Test Results Associated with Failed Controls and Contamination Events
OSAC Unit | Human Forensic Biology
Unit Chair
Name: | Beth Ordeman
Affiliation:
Unit Technical Contact
Name: | Charlotte Word
Affiliation:
Resolution Vote Outcome: | The subcommittee voted in the May 2021 Meeting: (28 yes, 0 No, 0 Abstain).
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission. | Not applicable, document was in the pilot therefore the OSAC 02 form was not sent
Categories for adjudication of all public comments.
Term | Definition
Not Germane | This type of Adjudication is used when the comment is not relevant to the document.
Persuasive | This type of Adjudication is used when there is general agreement with the comment and a revision of the standard will be required prior to OSAC Registry Approval.
Not persuasive | Justification for Not Persuasive must be provided. This type of Adjudication may be used if: (1) the same comment was previously submitted during the SDO public comment period, found by the SDO to be not persuasive and the OSAC Subcommittee holds the same opinion.* (2) the comment does not a require a revision of the standard prior to OSAC Registry Approval.
Withdrawn | This type of Adjudication is used when a comment has been withdrawn by a submitter.
No response needed | This type of Adjudication is used when the comment does not seek any improvement in the standard, as when the comment only expresses support for the standard being placed on the OSAC Registry.
*If multiple comments are similar, the OPO will review the Subcommittee adjudication to ensure similarity in the Type of Adjudication (e.g., Persuasive, Not Persuasive, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Note on A12: ====== ID#AAAAIiLsw80 OSAC for Forensic Science (2021-03-23 19:06:34) This link will be provided by OPO

## Comments
| Standard Number |  |  | 2020-S-0004
| Standard Title |  |  | Standard for Interpreting, Comparing and Reporting DNA Test Results Associated with Failed Controls and Contamination Events
| Date of Comment Submission |  |  | 2021-04-02
| Name of Commenter(s) |  |  | see below
Organization of Commenter (if any)
| Email Address of Commenter (will not be published) |  |  | see below
| Overall Opinion: Should the OSAC Proposed Standard be placed on the OSAC Registry? |  |  | Suitable for the Registry 'AS IS'. | Requires Revisions. If selected, comments are REQUIRED below.
| Select One Option. |  |  |  | X
Provide comments on the "Proposed OSAC Standard”, use the following rows.
# | Document Line Number | Name, Email | Select Comment Type: Editorial, General Comment, Technical-Affirmative, Technical-Negative | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes
* | 263 | Jocelyn Carlson | Editorial | pipet | pipette | I suspect pipette is the more commonly used spelling however this post (https://www.artel.co/pipette-vs-pipet/) was informative on the topic. | Persuasive | Changed to "pipette"
| 303 | Jocelyn Carlson | Editorial | (in this example, | (as an example, | Its unclear what example the text is referring to | Persuasive | This text was changed in response to this comment and comment #3 below.
| 303 | Jocelyn Carlson | Tech-Negative | a positive control from the previous day's run on the same electrophoresis instrument | Delete or select a more appropriate example of a surrogate control. | I dissagree with the example as an appropriate surrogate control for a failed amp control. I agree with the concept of a surrogate contol but yesterday's CE control may not account for issues with the samples during amp or today's CE run. While I recognize it is highly unlikely for an amp with today's kit chemistry to result in the incorrect types and yesterday's control could be used to show the typing software is functioning, I think this example does not adaquately meet the requirement of a positive amp control. Possibly a better option would be to confirm the amp reaction by reamping a sample in the failed control's amp set as a surrogate positive. That might not be possible if all samples were consumed forensic samples, but the current example doesn't seem adequate. | Persuasive | This example was removed. Additional informative text was included for improved clarity.
1 | 32-34 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | not intended to support the reporting of data associated with failed controls and/or contamination events without the associated prerequisite for thorough evaluation of the possible cause and impact of the events on the data obtained. | does not permit the reporting of data associated with failed controls or contamination events in the absence of a thorough evaluation of the possible cause and impact of the events on the data. | The suggested text states what we hope is the intended meaning more directly and avoids the widely disparaged construction "and/or." See https://www.chicagomanualofstyle.org/qanda/data/faq/topics/Usage/faq0138.html | 1) Persuasive; 2) Non-persuasive | 1) "and/" was deleted; 2) the sentence was not further modified as the language suggested did not provide clarification of the intented meaning, and "permit" is a word similar to "shall" that is normative statement not appropriate for use in a Foreword according to the SDO where this document will be next submitted.
2 | 32 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | This document is not intended to support the reporting of data associated with failed controls and/or | "Support" should be deleted and replaced with "permit". | The suggested revision makes clear that reporting does not obviate the need to evaulate the possible cause and impact of the events on the data obtained. | Non-persuasive | See response to comment #4 above.
3 | 38-39 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | All hyperlinks and web addresses shown in this document are current as of the 39 publication date of this standard. | Delete | Why would the standard contain nonfunctional hyperlinks as of its publication date on the OSAC Registry? ASB may be in the habit of including this pointless remark in its publications, but that is no reason for OSAC to endorse it in an OSAC Preferred Standard. If ASB wants thse lines added before it publishes its standard, it can add them. | Persuasive | This statement was deleted.
4 | 56 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | associated with control failures or contamination where re-testing is not performed | "re-testing is not performed" should be replaced with "when re-testing is not possible" | Re-testing should always be the first opiton. | Non-persuasive | This topic has been extensively discussed numerous times during the writing of this standard and underlies one of the main purposes of this standard. It is the position of the working group and the Biology SAC and Human Biology subcommittee that re-testing is not the best option when root cause analysis has determined the associated results to be unaffected and re-testing would be wasteful of evidence and resources. This standard allows for the evaluation and reporting of the data when re-testing is not a wise option or impossible.
5 | 58-59 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | These standards may be applied to any type of forensic DNA testing technology and methodology when conducted in an accredited forensic laboratory. | These standards apply to any type of forensic DNA testing technology and methodology in an accredited laboratory. They are not intended to permit unaccredited laboratories or persons not affiliated with an accredited laboratory from reporting results when contamination is detected. | "May" makes the entire standard optional, and it should should not be limited to accredited laboratories, and the new sentence clarifies the intended scope of the standard. | Persuasive | This sentence was deleted as it is not necessary to the Scope or the intended use of this standard as stated elsewhere in the document.
6 | 67-69 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | comparison The process of examining two or more DNA data sets to assess the degree of similarity or difference. | comparison The process of examining two or more DNA data sets to assess the degree of similarity in the DNA samples. | The purpose of the assessment of "DNA data sets" is to supply information on the degree of similarity (which could range from entirely different to identical) in the DNAs to which the data pertain. | Non-persuasive | This definition is from the published ANSI/ASB Standard 40 and is retained here unchanged for clarity and consistency. Standard 40 is a recommended companion standard important to implementing this standard in a laboratory. | ANSI/ASB 040: \http://www.asbstandardsboard.org/wp-content/uploads/2019/10/Std_040_e1.pdf
7 | 81-84 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | forensic sample A biological sample originating from and associated with evidence from a crime scene. A sample associated with evidence from a crime scene may include a sample that has been carried away from the crime scene. | Replace "crime scene" with "crime scene or individual." Or better, delete "originating from and." | The phrase "crime scene" is not very appropriate for a body, and the DNA associated with the apparent crime may not have originated there. | Non-persuasive | This definition is from the current FBI Quality Assurance Standards and is retained here unchanged for clarity and consistency. The FBI Quality Assurance Standards are mandatory standards in accredited US forensic laboratories. | Quality Assurance Standards for Forensic DNA Testing Laboratories https://www.fbi.gov/file-repository/quality-assurance-standards-for-forensic-dna-testing-laboratories.pdf/view
8 | 88-91 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | The process of evaluating DNA data for purposes including, but not limited to, defining assumptions related to mixtures and single source profiles, distinguishing between alleles and artifacts, assessing the possibility of degradation, inhibition, and stochastic effects, and determining whether the data are suitable for comparison. | Delete ", but not limited to," (which is implicit in "included"), delete "including," and make the list exhaustive. | The definition of "interpretation" as the process of evaluating for purposes A,B,C, as well as others, is incomplete. | Non-persuasive | This definition is from the published ANSI/ASB Standard 40 and is retained here unchanged for clarity and consistency. Standard 40 is a recommended companion standard important to implementing this standard in a laboratory. Furthermore, it is not possible to have an exhaustive list since the options may change based on the specific technology and methodology being used. | ANSI/ASB 040: \http://www.asbstandardsboard.org/wp-content/uploads/2019/10/Std_040_e1.pdf
9 | 97, 107-108, 122 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | include, but are not limited to, | Shorten to "include" | "but are not limited to" is implicit in "include" | Persuasive for negative control and positive control; Non-persuasive for unsuitable for comparison | "But not limited to" was deleted from the two control definitions. It was not deleted from definition 3.10 since this sentence is from the published ANSI/ASB Standard 40 and the list would likely vary depending on the technology and methodology being used. | ANSI/ASB 040: \http://www.asbstandardsboard.org/wp-content/uploads/2019/10/Std_040_e1.pdf
10 | 112 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | purposes | purpose | grammar | Persuasive | This sentence was modified to say "for the purpose of..."
11 | 116-118 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | suitable for interpretation Data deemed appropriate for interpretation (3.5) based on the laboratory’s validation studies and documented and verified interpretation protocol. | Provide a definition of what "suitable for interpretation" means. | First, there is a difference between data that are suitable for interpretation and data that are deemed suitable for interpretation. Thus, "unsuitable for intepretation" is not defined in terms what is deemed unsuitable, and "suitable for interpretation" should have a parallel definition. Second, the definition is empty. It merely states that data are suitable for intepretation when they are suitable for interpretation according to a laboratory's protocol. | Non-persuasive | The suitability of data for interpretation is obligatory to the technology/methodology used, the relevant validation studies conducted and the laboratory protocol developed from the validation studies, yet differences are to be expected based on those same parameters. This definition was added at the request of the STRP and was not part of the originally submitted document.Also see the response to #15 below.
12 | 117 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | Data deemed appropriate for interpretation (3.5) based on the laboratory’s validation studies and documented and verified interpretation protocol | Insert "the developer's and" so that the sentence reads "Based on the developer's and the laboratory's … | The developer's validation studies should be included with the laboratory's validation studies when determining what data is appropriate. | Persuasive | The definition was modified to include developmental validation studies.
13 | 124-125 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | This decision is based on the laboratory’s validation studies and documented and verified interpretation and comparison protocol. | Change "is based" to "shall be based" | A normative statement is more appropriate than a descriptive one here. | Non-persuasive | This statement was not changed since the suggestion does not alter the meaning, the statement is based on requirements in ANSI/ASB Standards 20 & 40 (both recommended companion documents to this standard), and "shall" is not permitted in definitions per the SDO selected for developing this standard. | ANSI/ASB 040: http://www.asbstandardsboard.org/wp-content/uploads/2019/10/Std_040_e1.pdf ANSI/ASB 020: https://asb.aafs.org/wp-content/uploads/2018/09/020_Std_e1.pdf
14 | 124 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | This decision is based on the laboratory’s validation studies |  | The developer's validation studies should be included with the laboratory's validation studies when determining what data is appropriate | Persuasive | The definition was modified to include developmental validation studies.
15 | 128-138 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | 128 4.1 The laboratory protocol shall define what constitutes: 130 4.1.1 Contamination in a negative control 132 4.1.2 Contamination in a positive control 134 4.1.3 Contamination in forensic or reference sample DNA test results 136 4.1.4 A failed positive control 138 4.1.5 A failed negative control | Rewrite to have a standard definition of when these events occur. | A "standard" that says to go out and write a protocol to cover something is not a standard. It is a formality that omits the guidance that an expert group should be providing. | Not Germane | This recommendation is outside the scope of this standard. This standard provides the foundation for Interpreting, Comparing and Reporting DNA Test Results in a laboratory that has already conducted the appropriate studies and developed a protocol to include the required definitions. This suggestion will be provided to OSAC and ASB as consideration for a future document.
16 | 142-145, 158 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | ... include, as appropriate, a 143 determination of the possible cause and effect of the failed control or contamination, and an 144 assessment of the risks associated with moving forward with data interpretation vs. those associated 145 with re-testing. | Either delete "as appropriate" in line 142 or define when it is or is not appropriate. | More specificty is necessary. | Persuasive | "As appropriate" was deleted in both locations.
17 | 157 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | If the DNA test results are determined to be compromised to the extent of being unsuitable for interpretation and retesting is conducted, it may be necessary to report results, interpretations and comparisons, as appropriate, from both the original and second tests. | replace "it may" with "it is" and delete "as appropriate" | Even if a second test is run, full documentation of the first test should be required so that independant experts can review the full course of the work done and have the information needed to form an independant assessment of each test. | Persuasive | See response to comment #19 above. We agree that documentation and retention is imperative; please see Requirements 4.2 and 4.5 for the necessity of the documentation and maintenance of such information.
18 | 160-162 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | 160 4.3 When reporting interpretations and comparisons impacted by a failed control or contamination 161 event, the report shall identify the associated DNA test results and a description of the nature of the 162 event. | Change lines 161-162 to "event, the report shall note and describe the failed control of contamination events along with the findings." | One does not normally "identify … a description" | Persuasive | The sentence was modified to correct grammar and word usage. It now reads "…and describe the nature…"
19 | 164-165 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | 164 4.4 The laboratory shall have a written protocol for the release of identifying information for the 165 source of the contamination. | Provide the required elements of the protocol, including a requirement for disclosing the identity of the source of the contamination when that is known. | A "standard" that says to go out and write a protocol to cover something is not a standard. It is a formality that omits the guidance that an expert group should be providing. | Not Germane | This recommendation is outside the scope of this standard. This standard requires the laboratory to have a protocol for releasing the information. It is not possible for OSAC (or an SDO) to include a requirement in a standard that may be in conflict with varying legal requirements in different jurisdictions. Also see OSAC 2020-N-0007 regarding the management and use of elimination databases. | OSAC 2020-N-0007, Best Practice Recommendations for the Management and Use of Quality Assurance DNA Elimination Databases in Forensic DNA Analysis
20 | 164 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | T-N | The laboratory shall have a written protocol for the release of identifying information for the source of the contamination. | This information is required for an independant review of the testing and should be provided to the prosecutor or the defense upon request. | This information is required for an independant review of the testing and should be provided to the prosecutor or the defense upon request. | Not Germane | This statement is outside the scope of this standard. Relevant documentation and maintaince is required under Requirements 4.2 and 4.5 in the case record, which is typically requested through legal discovery processes.
21 | 167 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | The case record for each sample associated with a failed control or contamination event must include documentation of the following for the affected sample(s), as applicable: | Add "and a central log or document" after case record. | Contanimantion events should be recorded centrally as well as in the case file. | Not Germane | This recommendation is outside the scope of this standard, which pertains to the Interpretation, Comparison and Reporting of DNA Test Results. The suggested modification suggests requirements applicable to the overall Quality Control/Quality Assurance program in the laboratory.
22 | 208 | Barry Scheck (Chair), Lynn Garcia, Julia Leighton, Chris Plourd, and Jennifer Friedmn | E | Supplemental Information – Foundational Principles | Supplemental Information – History and Principles | The revised label may be a better description, but the change is not important. | Persuasive | The title was changed to "Historical Perspectives."

## 2.Comment Samples (hidden)
| Standard Number |  | 2021-S-xxxx
| Standard Title |  | This is a title for the sample open comment template.
| Date of Comment Submission |  | 2021-02-10
| Name of Commenter(s) |  | Donna Sirk
| Organization of Commenter (if any) |  | None (DO NOT PUBLISH)
| Email Address of Commenter (will not be published) |  | comments@nist.gov
| Overall Opinion: Should the OSAC Propoped Standard be placed on the OSAC Registry? |  | Suitable for the Registry 'AS IS'. | Requires Revisions. If selected, comments are REQUIRED below.
| Select One Option. |  |  | X
Provide comments on the "Proposed OSAC Standard”, use the following rows.
# | Document Line Number | Select Comment Type: Editorial, General Comment, Technical-Affirmative, Technical-Negative | Current Language | Suggested Language or Revision | Rationale
1 | 45 | ED | …from 0001 plant are ….. | …from 0001 plane are …. | Typographical error: Typo - change "plant" to "plane"
2 | 73-76 | GE | Supporting references within standard | Add supporting references to document. | "Please take a look at all of the IUCR Vol H. https://onlinelibrary.wiley.com/iucr/itc/Ha/contents/ This is a solid review/guide that currently exists for the community on most of the topics covered, including a subsection on forensics science. "
3 | 28 | TECH-AFFIRM | "XRD is typically used with other methods for characterization of geological materials….". | The last sentence in 11.3 is important and needs to be moved up, or at least the concept needs to be introduced earlier in the subsection. | Consider this as an improvement.
4 | 32 | TECH-NEGATIVE | "Substantial color contrast alone, is sufficient to exclude a common source of two soils being compared." | A reference is needed | This statement needs a reference that can adequately substantiate this claim.
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Note on D12: ====== ID#AAAAIiLsw8k Sirk, Donna (2021-05-19 13:20:05) General: General comment on content without providing suggested revision language. Clarification on a specific section can be requested, if the meaning is not clear and alternative language cannot be suggested. Editorial: Correction of a spelling mistake, grammar, consistency, formatting, error, etc. Tech-Affirm: Technical suggestion to improve the content of the standard; however, the "OSAC Proposed Standard" can be placed on the OSAC Registry and sent to the SDO. Tech-Negative: Negative technical comment on the content of the standard; however, the "OSAC Proposed Standard" should not be placed on the OSAC Registry and sent to the SDO.

## Instructions
OSAC Open Comment Period Template and Instructions
The Organization of Scientific Area Committees (OSAC) for Forensic Science is considering placing a Draft "OSAC Proposed Standard" on the OSAC Registry and submitting to an SDO. This form allows individuals and organizations to comment on whether the draft should be placed on the OSAC Registry and to propose specific improvements before a draft is published as an OSAC Proposed Standard. To propose improvements: - Direct comments to specific subsections. - Propose text or revisions that would satsify the concern. - Describe each item in its own row within the Comments Tab. - Be concise when completing corresponding columns in the Comment Tab. - Comments without suggested language may not be considered. - Name your file in the following manner: LAST NAME_FIRST NAME_STANDARD NUMBER_comments. - Email the file to comments@nist.gov. - Comments submitted, including the commenter's name and/or affiliation, will be made available to the public. If a commenter wishes to withhold their name and/or affiliation from web posting, note "DO NOT PUBLISH" along with the commenter's name and affiliation on the Comments Tab. Thank you for taking the time to provide feedback on this document.
Type of Comments Accepted
Abbreviation | Comment Type | Comment Type Description
GE | General Comment | General comment on content without providing suggested revision language. Clarification on a specific section can be requested, if the meaning is not clear and alternative language cannot be suggested.
ED | Editorial | Correction of a spelling mistake, grammar, consistency, formatting, error, etc.
TE-AFFIRM | Technical - Affirmative | Technical suggestion to improve the content of the standard; however, the "OSAC Proposed Standard" can be placed on the OSAC Registry and sent to the SDO.
TE-NEG | Technical - Negative | Negative technical comment on the content of the standard; however, the "OSAC Proposed Standard" should not be placed on the OSAC Registry and sent to the SDO.