## START HERE Cover Sheet
OSAC Program Office Use Only
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2021-S-0028 - Standard for Use of Serological Testing Methods Associated with Forensic Investigations
OSAC Unit | Human Forensic Biology
Unit Chair
Name: | Beth Ordeman
Affiliation:
Unit Technical Contact
Name: | Christie Smith
Affiliation:
Resolution Vote Outcome. | Yes: 22 Abstain: 1 Absent: 7
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not germane | The comment is not relevant to the document or its scope.
No response needed | The comment either supports the standard as written or does not seek any change to it.
No change | The OSAC Proposed standard will not be revised based on this comment.
Revision will be made | The OSAC Proposed standard will be revised based on this comment.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision will be made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale

## Comments
| Standard Number |  |  | 2021-S-0028
| Standard Title |  |  | Standard for Use of Serological Testing Methods Associated with Forensic Investigations
| Date of Open Comment Submission |  |  | 2021-08-03
| Name of Commenter(s) |  |  | See various commenters below
| Organization of Commenter (if any) |  |  | See various commenters below
| Email Address of Commenter (will not be published) |  |  | See various commenters below
TABLE OF COMMENTS
# | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field)
Public Comments
1 | 177 | Meegan O. Fitzpatrick, NYSP | Order in which evidence within a single case is tested | I am curious what the intent was of this requirement, as order in our lab may be impacted by exam room space and analyst time constraints. Was this meant to refer to separate time/separate space or examination of evidence before reference materials? Based on the intent of this, it may create a hardship or may be a difficult policy to write. | none provided | revision will be made | meant to pertain to workflow: most intimate and work way out b/c processing in a vacuum type scenario could be more detrimental. For example, anlaysts need to know what type of extraction to peform.
2 | 220-225 | Meegan O. Fitzpatrick, NYSP | Any deviation made to a validated analytical procedure should be documented. The performance of a deviation to any analytical procedure shall be evaluated prior to use on evidence. The evaluation shall be accomplished by comparison to the original analytical procedure using similar samples. The deviation shall be approved by technical management required by laboratory policy, prior to use on evidence. Staff notification, training, and competency testing of this deviation shall be documented. | I think this is really making it difficult to make a case required deviation with technical leader approval without having to essentially perform at least a performance check. This appears to go beyond what is required by ISO17025 and may be difficult for labs to work within this scope. My understanding of this is a deviation standard is that the deviation would permanently change the procedure, therefore requiring competency testing and training. However, if the deviation is only required due to a specific item of evidence in the case, the procedure would not be impacted once the examination is completed, and therefore not need trianing and competency testing. | none provided | revision will be made | will change "deviation" to "material modification"; 4.3.2h deals with the occasional casework misstep
3 | 132-135 | Meegan O. Fitzpatrick, NYSP | All serological laboratory personal shall receive training and successfully complete a competency test prior to performing any analytical procedure or following material modification(s) to an analytical procedure performed by the laboratory. | I think this is speaking more to a permanent modification to a procedure, but wanted clarification. | none provided | No response needed | this is talking about permanent modifications; 4.3.2h deals with occasional casework deviation(s)
4 | 236-238 | Catherine Knutson, Minnesota Bureau of Criminal Apprehension - Forensic Science Services | 4.3.8 "The records shall be sufficient so that another qualified individual can evalute what was tested and interpret the test results." | "The records shall be sufficient so that another qualified individual can evaluate what was tested and interpret the data." | The use of the phrase "interpret the test results" can mean photos of the actual tests are needed. Changing "test results" to "data" would allow for the reliance on the record of the test results. This also aligns with other forensic standards currently in use. | no change | We chose the wording to match the swgdam sero guidelines. The photo isn't the result, it's the documentation of what you see (the actual visual indication such as a two pink lines on a Hematrace card would indicate a positive results).
5 | 268 | Catherine Knutson, Minnesota Bureau of Criminal Apprehension - Forensic Science Services | 4.5.2 "The laboratory shall have a documented program for proper maintenance and calibration for equipment." | 4.5.2 "The laboratory shall have a documented program for proper maintenance and calibration, where applicable, for equipment." | Very few serological tests require "calibrated" equipment. It should be clarified that this is only necessary when applicable to the equipment being used. | revision will be made | 4.5.2a will become a new stardard to require the lab to define what is critical equpment AND will add the word "critical" here
6 | 311 | Catherine Knutson, Minnesota Bureau of Criminal Apprehension - Forensic Science Services | 4.6.3 "Prior to release of the report and associated case notes, the laboratory shall conduct and document a technical review of the documents to ensure conclusions and supporting test results are reasonable and within the constrainted of scientific knowledge." | "The laboratory shall have a procedure for the technical review of technical records. The procedure shall include the frequency at which technical reviews are necessary." | There are no current standards that require 100% technical review. Technical review policy should be based on a risk assessment by the laboratory and the requirements for frequency of technical review should be determined and documented by the laboratory. Also, the additional description of what a technical review entails is unnecessary as it is included in the definition. | no change | This is the first serology standard; from SWGDAM sero guidelines "labs should conduct TR and AR of ALL…." The intent of the standard is to require it due to it being a precursor for DNA testing which requires 100% TR and AR.
7 | 327 | Catherine Knutson, Minnesota Bureau of Criminal Apprehension - Forensic Science Services | 4.6.4 "Prior to release of the report and associated case records, the laboratory shall conduct and document an administrative review for consistency with laboratory policies and for editorial correctness." | "The laboratory shall have a procedure for the administrative review of reports and associated case records. The procedure shall include the frequency at which administrative reviews are necessary." | There are no current standards that require 100% administrative review. Administrative review policy should be based on a risk assessment by the laboratory and the requirements for frequency of the review should be determined and documented by the laboratory. Also, the additional description of what an administrative review entails is unnecessary as it is included in the definition. | no change | This is the first serology standard; from SWGDAM sero guidelines "labs should conduct TR and AR of ALL…." The intent of the standard is to require it due to it being a precursor for DNA testing which requires 100% TR and AR.