## START HERE Cover Sheet
OSAC Program Office Use Only
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | OSAC 2022-S-0017 Standard Guide for Microspectrophotometry in Forensic Fiber Analysis
OSAC Unit | Trace Materials
Unit Chair
Name: | Diana Wright
Affiliation:
Unit Technical Contact
Name: | Candie Shegogue
Affiliation:
SC or FSSB QTG Review Completed Date | within SC review
Resolution Vote Outcome. | Yes: 27 Votes No: 0 Votes Abstain: 1 Votes;1/16/2023
Categories for adjudication of all PUBLIC COMMENTS.
Resolution /Disposition ---- Term | Definition
Not germane | The comment is not relevant to the document or its scope.
No response needed | The comment either supports the standard as written or does not seek any change to it.
No change | The OSAC Proposed standard will not be revised based on this comment.
Revision will be made | The OSAC Proposed standard will be revised based on this comment.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision will be made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale

## Comments
|  |  |  | Standard Number | OSAC 2022-S-0017
|  |  |  | Standard Title | Standard Guide for Microspectrophotometry in Forensic Fiber Analysis
Date of Open Comment Submission
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
Public Comment | 1 | 232-234 | Meggan King Dempsey | 9.2.1. In order to reduce sample degradation (i.e., photo-degradation), the amount of time the sample is illuminated when it is not being actively analyzed is minimized (9, 20). The potential for sample degradation can be assessed on known samples prior to analyzing questioned fibers. | 9.2.1. The potential for sample degradation should be assessed on known samples prior to analyzing questioned fibers. Perform an instrument-induced photobleaching assessment on a known fiber which spans the anticipated length of time it will take to collect all necessary spectra from a single fiber (23). 9.2.1.1. In order to reduce sample degradation (i.e., photo-degradation), the amount of time the sample is illuminated when it is not being actively analyzed should be minimized (9, 20). This can be achieved by inserting a UV blocking filter during times when spectra are not actively being collected (23). | None Provided | The OSAC Proposed standard will be revised based on this comment. | Added wording to include UV blocking filter |  | None to provide. QTG reps reviewed adjudication within the SC.
Public Comment | 2 | 107 | Meggan King Dempsey | 6.3 Known and questioned samples are mounted and prepared in the same manner. | 6.3 Known and questioned samples are mounted and prepared in the same manner. 6.3.1. Individual fibers should be well dispersed throughout a slide preparation. This will avoid unnecesary radiation exposure to nearby fibers during spectral acquisition. Keep in mind that the area bing exposed to the light source can extend beyond the field of view as seen through the eyepieces (23). | None Provided | The OSAC Proposed standard will be revised based on this comment. | Sentenced modified.
Public Comment | 3 | Reference addition | Meggan King Dempsey | Not currently listed in references. I labeled it as (23) in comments #1 and #2 above (Dempsey #1 and #2), for ease of continuity within this spreadsheet. I have attached a PDF of the journal article, as its publication is forthcoming. | Buzzini, P., King Dempsey, M., Laughlin, G.J., and Sparenga, S.B., "The Effect of Ultraviolet Radiation on Dyed Man-Made Textile Fibers Using UV-Vis Microspectrophotometry (MSP): Technical Aspects on Spectral Alterations in Time," The Microscope, Vol. 69, No. 1, 2022, pp. 3-24 | None Provided | The OSAC Proposed standard will be revised based on this comment. | added reference