## START HERE Cover Sheet
OSAC Program Office Use Only |  |  | Comment Adjudication_TO SC
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2022-S-0037 Standard for DNA-Based Taxonomic Identification for Forensic Entomology
OSAC Unit | CSI
Unit Chair
Name: | C.S. DeFrance
Affiliation:
Unit Technical Contact
Name: | Jeffrey Wells
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date | 2024-06-27
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome. | 15 yes, 0 no
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition | Rationale
Not germane The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope. | No additional rationale from the SC
No response needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it. | No additional rationale from the SC
No change The OSAC Proposed standard will not be revised based on this comment. | The OSAC Proposed standard will not be revised based on this comment. | SC must state WHY the standard will not be revised.
Revision was made The OSAC Proposed standard was revised based on this comment. | The OSAC Proposed standard was revised based on this comment. | SC must state WHAT revisions were made to address the comment.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment. | No additional rationale from the SC
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision was made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale

## Comments
|  |  |  | OSAC Proposed Standard Number | 2022-S-0037
|  |  |  | Standard Title | Standard for DNA-Based Taxonomic Identification for Forensic Entomology
|  |  |  | Date of Open Comment Submission | 2023-03-06
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
Public Comment | 1 | Forward, ln 1 | Kathy Moore | "guidance to scene investigators and scene reconstructionist" | guidance to scene investigators and scene reconstructionists [add an "s"] | grammatical | The OSAC Proposed standard was revised based on this comment. | We added the s.
Public Comment | 2 | sec 3.5 | Kathy Moore | "The Basic Local Alignment Search Tool (BLAST) is an algorithm for comparing and finding similarities between a query biological sequence and sequences deposited into the database and calculates a statistical significance of similarity. BLAST was developed and is currently run by the National Center for Biotechnology Information (NCBI) (Altschul et al, 1990)." | harmonize with definition 3.2 in OSAC 2021-S-0006. Also, I would be wary of the use of "statisical significane of similarity", which can be misunderstood to be equivalent with statistical significance of a correct match. | The Wildlife subcommitte has already produced a document covering use of BLAST in taxonomic assignment. | The OSAC Proposed standard was revised based on this comment. | We replaced lines 34-36 "The Basic Local Alignment Search Tool (BLAST) is an algorithm for comparing and finding similarities between a query biological sequence and sequences deposited into the database and calculates a statistical significance of similarity." with definition 3.2 in OSAC 2021-S-0006 (with some minor grammatical corrections).
Public Comment | 3 | 3.7 | Kathy Moore | "Controls. Samples of known types run in parallel with experimental, reference, or evidence samples that are used to demonstrate that a procedure is working correctly (OSAC Lexicon). A negative control has no added template DNA; therefore, a result consistent with DNA present suggests contamination. A positive control has standard DNA of known genotype added; therefore, a result consistent with the expected genotype indicates that the protocol is reliable." | This is not the OSAC definition. There are already definitions for control (generally) and positive and negative controls, and I'm not sure this definition is an improvement | none provided | The OSAC Proposed standard was revised based on this comment. | We replaced that text with "Samples of known type, run in parallel with experimental, reference, or evidence samples that are used to demonstrate that a procedure is working correctly. "
Public Comment | 4 | 3.2.0 | Kathy Moore | "Reference genotype. A genotype from a specimen is considered to have been accurately identified to a given taxonomic level (add to OSAC lexicon)." | missing "that" in between "specimen" and "is". Also see ASB019 definition 3.9 for "reference material" and consider harmonizing | none provided | The OSAC Proposed standard was revised based on this comment. | The missing "that" was added. However, we don't think it is appropriate to harmonize with definition (3.9) because we interpret it as applying to identity testing. This is not the forensic entomology application, which is almost always species determination.
Public Comment | 5 | 3.24 | Kathy Moore | Species. The level of taxonomic classification is denoted by a binomial (two-word) name in Latinate form (Notton 2001). | See ASB048 for Wildlife's definition of species: 3.30-species-The fundamental unit of taxonomic classification. There is no singular species definition in biology. Essentially the term denotes a group of organisms with a unique shared evolutionary lineage. | definition of "species" is fraught. | The OSAC Proposed standard will not be revised based on this comment. | We use this wording because of the endless debate concerning species concepts. By refering only to the uncontroversial nomenclature end product of all concepts, the binomial, we take no side in the controversy.
Public Comment | 6 | 3.23 | Kathy Moore | Stop codon- A three-base DNA sequence that codes for or signals the end of the protein sequence. The exact sequence 139 of nucleotides terminating the protein-coding region depends on the particular genetic locus (Watson et al., 140 2014). | suggest adding "and taxon" after locus | Different codes for, for example: vert/invert and mtDNA/nDNA | The OSAC Proposed standard was revised based on this comment. | The word taxon was added.
Public Comment | 7 | 4.3.1 | Kathy Moore | Written protocols shall exist and be available for inspection for all extraction methods used in the laboratory. | Strike "exist and," since if they are available for inspecion, they must exist. Also clarify who the potential inspector is: "Written protocols shall be available for inspection [by whom?] for all extraction methods used in the laboratory." | none provided | The OSAC Proposed standard was revised based on this comment. | We accept the deletion, but not the clarification. We don't see it as our role to limit the pool of people who might need to see the written protocols.
Public Comment | 8 | ln 212 | Kathy Moore | "Protocols covering…" | Not numbered, but should be 5.1.4? | none provided | The OSAC Proposed standard was revised based on this comment. | 5.1.4 added
Public Comment | 9 | ln 209 | Kathy Moore | "A misplaced stop codon or other result…" | This sentence in this informational, and should probably be a note. Also, there is no reccommended course of action in 5.1.3; it just tells you how to determine if it's a psuedogene, not what to do if it is | none provided | The OSAC Proposed standard was revised based on this comment. | We added the sentence "A pseudogene sequence should not be compared to functional gene sequences for the purpose of specimen identification."
Public Comment | 10 | 5.2 | Kathy Moore | "Taxonomic identification" | We tried to use "taxonomic assignment" where we could to indicate that it was different from individualization, and also that we were not describing new species, just assigning unknowns to bins that were already described. This was in response to a lot of misunderstanding about taxonomic identification in our comments | none provided | The OSAC Proposed standard will not be revised based on this comment. | "Identification" is a familiar term with a long history of use in this way. We understand our mandate to be to codify disciplinary standards as they currently exist.
Public Comment | 11 | 5.2.1, ln 220 | Kathy Moore | "comparison to reference genotypes considered to be reliable for this purpose" | I would strike "considered to be reliable for this purpose," since you have already defined reference genotypes, and commenters may panic if they think you have a sliding scale of reliability depending on purpose | none provided | The OSAC Proposed standard was revised based on this comment. | That passage was deleted.
Public Comment | 12 | ln 222 | Kathy Moore | "To be reliable, the reference genotypes shall" | The reference genotypes used for taxonomic assignments shall | you should probably look at OSAC 2021-S-006, which is all about how to judge reliability of reference sequences | The OSAC Proposed standard will not be revised based on this comment. | Our main issue is that using these other methods (i.e. Genbank hits) as a means of identification is flawed unless there is evidence that the test itself is valid, and the test for species identification using DNA is valid, and is determined to be valid when all the species are phylogenetically resolved.
Public Comment | 13 | 5.2.3 | Kathy Moore | ...but it shall not be the sole basis for the final taxonomic determination. | This section may be in conflict with 2021-S-0006, but that depends on what you consider the "sole basis" to mean. The Wildlife standard goes into great detail about how to vet sequences on which conclusions rest by taking a deep dive into the literature related to an accession. So it's not "solely" based on the results displayed from a GenBank hit, but can be based on a GenBank hit that has appropriate metadata | none provided | The OSAC Proposed standard will not be revised based on this comment. | As we see it method validation requires that the reference database and algorithm be exactly specified. Certainly one can, and often should, design a DNA-based species diagnostic test that includes reference sequences from NCBI. However, basing the casework identification of a specimen using a BLAST search of GenBank is probabmatic for forensic science because the database is constantly changing. If identification by BLAST is empirically validated for a given taxonomic group, future analyses won't be able to employ that validated test because it no longer exists.
Public Comment | 14 | 238 | Kathy Moore | "Failure to use an appropriate taxon selection" | Replace with "Incomplete taxon sampling" | this is language commonly used in the literature | The OSAC Proposed standard was revised based on this comment. | Those words were used.
Public Comment | 15 | 246-247 | Kathy Moore | "reference database should represent the genotype(s)/haplotype(s) of" | reference database should include the genotype(s)/haplotype(s) of | none provided | The OSAC Proposed standard was revised based on this comment. | Those words were used.
Public Comment | 16 | 244-251 | Kathy Moore | "For species identification…" | There are distance and tree-based approaches, and many, many variables. One of the best papers I've found is Ross et al 2008, Testing the Reliability of Genetic Methods of Species Identification via Simulation. Syst. Biol. 57(2):216–230, which goes a little beyond reciprocal monphyly and sister taxa | none provided | The OSAC Proposed standard will not be revised based on this comment. | We describe the current standards for insect identification using phylogenetic analysis of sequence data. However, as we stated phylogentic analysis is not the only method used for this application. Also influencing this document is the community view that whatever the analysis it shold be validated in an exactly specified form.
Public Comment | 17 | 252 | Kathy Moore | The reporting of phylogenetic results shall include the phylogenetic data file and the software analysis log | I'm not sure what the software analysis log is. We also don't routinely include the data files in our report, but do mandate it be in the case file; the tree is usually in the bench notes. We found that bootstrap values, for instance, were pretty confusing to report recipents--they thought they were confidence scores. | none provided | The OSAC Proposed standard was revised based on this comment. | We added "if available" to the end of that sentence. Some phylogenetics packages generate a log record of every step, every user decision and analysis performed. We believe if it can be generated it should be generated, in the general spirit of having more evidence of what was done is better than having less.
Public Comment |  | NONE | Kathy Moore | Commenter provided a supporting document for SC's review. | NONE | none | The OSAC Proposed standard will not be revised based on this comment. | We're not sure what this means.
Task Group Comment | 1 | 5.2.1 | OSAC LTG Andrea Roth | “considered to be reliable” | ”shown to be valid” or “shown to be reliable based on empirical data” | The "considered to be reliable" language is problematic because it doesn't specify who should be making that assessment, and, moreover, that "reliability" is meant in a scientific (not judicial) sense. | The OSAC Proposed standard was revised based on this comment. | Deleted in response to this and another comment above.
Task Group Comment | 2 | 5.2.2b | OSAC LTG Andrea Roth | to be reliable, … have been reported in a scientific publication.. considered to be diagnostic | Add to beginning of 5.2.2, “"To be reliable, the reference genotypes shall, at a minimum:" Or add to end of 5.2.2.b: “This requirement is necessary, but not sufficient, to show validity” | This language implies that this is all that is required to be considered reliable. It should specify that these requirements are necessary but may not be sufficient. | The OSAC Proposed standard was revised based on this comment. | We adopted "The reference genotypes shall, at a minimum:"
Task Group Comment | 3 | 5.2.2a | OSAC LTG Andrea Roth | be associated with voucher specimens | add to end of sentence, “where the association is sufficiently strong to support the claimed classification based on empirical data.” | It's not clear that association with a voucher specimen is enough to establish reliability. At the very least, should there be some indication of the strength of association? And if the strength is not required for "reliability," it should at the very least be reported so others can make an assessment of that association. | The OSAC Proposed standard was revised based on this comment. | We added those words.
Task Group Comment | 4 | 5.2.4 | OSAC LTG Andrea Roth | "Knowledge of the local carrion insect fauna is required to do this properly" | add to end of this sentence: “Such knowledge must be attained through training that consists of …” | "Knowledge of the local carrion insect fauna is required to do this properly" is problematic because it doesn't specify how that knowledge is established or documented. More details about the specific training required to demonstrate adequate knowledge should be included here. | The OSAC Proposed standard was revised based on this comment. | This is not something typically learned through any kind of training. Text changed to "Knowledge of the local carrion insect fauna, either through personal experience or as documented in the published literature, is required to do this properly. "
Task Group Comment | 5 | 5.2.4, line 236 | OSAC LTG Andrea Roth | “not necessarily made by an exact match” | "Identification may be made even if all sequences of the reference are not found in the specimen." | Line 236 ("not necessarily made by an exact match") suggests that "an exact match" may be possible. This should be revised so as to eliminate that implication. For example: "Identification may be made even if all sequences of the reference are not found in the specimen." | The OSAC Proposed standard will not be revised based on this comment. | An exact match, including to an incorrect species, is possible.
STR Comment | 1 | 3 | K. Meiklejohn | This document outlines the current best practices to be used when employing DNA-based techniques to identify species, or higher taxonomic categories, of entomological origin for forensic investigation purposes | This document outlines the current best practices to be used when employing DNA-based techniques to identify species, or higher taxonomic categories, of entomological origin (including but not limited to flies and beetles) for forensic investigation purposes | The scope is meant for a broad readersip, so providing some context as to what is meant by entomological evidence and the most likely families would be helpful for the lay person(s) | The OSAC Proposed standard will not be revised based on this comment. | In our experience the typical layman is not familier with any insect taxonomic families.
STR Comment | 2 | 6 | K. Meiklejohn | none provided | Considering adding some language to detail what life stages this document covers: eggs, pupae, larvae, adults etc | The scope is meant to set the stage of the entire document, so having more detail and context in here would be valuable for the end user for what this is applicable to. | The OSAC Proposed standard was revised based on this comment. | We inserted in line 4 "The proposed recommendations apply to any insect life stage considered to be potential evidence in a forensic investigation."
STR Comment | 3 | 6 | K. Meiklejohn | none provided | Considering adding: "Forensic scientists using these standards are expected to have a working understanding of DNA sequencing, taxonomy, and phylogeny." | The scope is meant to set the stage of the entire document, so having more detail and context in here as to who should be using this standard would be helpful. | The OSAC Proposed standard was revised based on this comment. | We used those words.
STR Comment | 4 | 33 | K. Meiklejohn | Definition for "BLAST search" | Definition used in OSAC Proposed Standard 2021-S-0006: Basic Local Alignment Search Tool BLAST The a) BLAST algorithm, and b) a suite of database search programs that implement variations of this algorithm to generate alignments between a nucleotide or protein sequence in a query, and nucleotide or protein sequences within a database. | Consider using the same definition as used in other OSAC documents | The OSAC Proposed standard was revised based on this comment. | We replaced Lines 34-36 "The Basic Local Alignment Search Tool (BLAST) is an algorithm for comparing and finding similarities between a query biological sequence and sequences deposited into the database and calculates a statistical significance of similarity." with definition 3.2 in OSAC 2021-S-0006.
STR Comment | 5 | 101 | B Singh | Tarone et.al. 2015 | Tarone et al. 2015 | Typo | The OSAC Proposed standard was revised based on this comment. | Typo corrected as suggested.
STR Comment | 6 | 128 | K. Meiklejohn | Definition for "Sequencing" | Current OSAC lexicon definition for "Sequencing, DNA" = Determination of nucleotide sequences in single-stranded DNA. | Is there a reason why the OSAC Lexicon definition of Sequencing wasn’t used here? While the definition given in this docment is more detailed, I believe NIST is trying to consolidate definitions on terms spanning different SAC/SC | The OSAC Proposed standard was revised based on this comment. | We replaced "A method for determining the order of bases in a DNA molecule." with "A laboratory technique used to determine the sequence of bases (A, C, G, and T) in a DNA molecule. (OSAC Lexicon)."
STR Comment | 7 | 159 | K. Meiklejohn | Pre-PCR and post-PCR activities of the laboratory shall be separated by space to avoid contamination of questioned samples. | "Pre-PCR and post-PCR activities of the laboratory shall be separated by space and/or time to avoid contamination of questioned samples." Alternatively, a NOTE could be added to state that while space separation is ideal, it may not be possible in all cases and should at a minimum include time separation. | The end user of this proposed standard would be heavily dominated by academics (given very few forensic laboratories have a forensic enomologist on staff). While I agree this is best practice and required by FBI QAS for accreditated labs doing DNA work, it may not be practical in an academic setting. If a lab can't achieve this they may not bother with the entire standard. | The OSAC Proposed standard was revised based on this comment. | Revised to add a should to the sentence in question and a subsequent sentence: If separation by space not be possible / feasible, analysis shall be separated in time with a thorough cleaning with proper decontaminants (e.g., bleach or UV light) occurring between events.
STR Comment | 8 | 159 | JW | shall be separated by space to avoid… | Does space need defined? Hood Space, room space ? | none provided | The OSAC Proposed standard will not be revised based on this comment. | The point of avoiding contamination is made here. How labs choose to separate in space (or time as noted above) is up to the labs and analysts to justify with this goal in mind.
STR Comment | 9 | 161 | K. Meiklejohn | Equipment and supplies shall not be transferred from post-PCR to pre-PCR areas unless decontaminated, e.g., using bleach, with associated documentation. | none provided | Depending on response to comment 6, this requirement might need to be modified given they may encompass the same area (or even the same thermal cycler used for PCR and sequencing reactions) | The OSAC Proposed standard will not be revised based on this comment. | Changes are not necessary as decontamination highlighted in response to comment 7.
STR Comment | 10 | 162 | JW | …e.g., using bleach, …. | Should there be a concentration of bleach specfic or 100%? | none provided | The OSAC Proposed standard was revised based on this comment. | Revised to specify at least 10% solution, prepared the same day as used for decontamination.
STR Comment | 11 | 167 | JW | …images with a size scale…. | …images with a size reference scale…. | none provided | The OSAC Proposed standard was revised based on this comment. | Changed to "A detailed description of the specimen, including close-up images of taxon-diagnostic characters with a size reference scale, shall be recorded prior to any sample processing for DNA extraction. "
STR Comment | 12 | 167 | K. Meiklejohn | A detailed description of the specimen, including close-up images with a size scale, shall be recorded prior to any sample processing for DNA extraction | A detailed description of the specimen, including close-up images with a size scale (e.g., spiracles for larvae, genitalia for adults, lateral and dorsal view for adults), shall be recorded prior to any sample processing for DNA extraction | Consider adding some suggestions of the type of photographs to be included so that they serve the intended purpose for documentation (i.e., a photograph of the leg would likely be useless) | The OSAC Proposed standard will not be revised based on this comment. | Our view is that someone who does not know the important structures to document should not be doing this analysis
STR Comment | 13 | 167 | Dahlem | A detailed description of the specimen, … | Clear and well focused photos with a size scale shall … | Someone without a very good knowledge of insect morphology could try to provide a description, but it would not be useful for identification. Good photos of the specimen may be much more useful. Perhaps some language on what to photograph would be helpful. For a fly, the head, dorsal and ventral views, especially of the thoracic setation, the wings, and the genitalia or tip of abdomen to start with. | The OSAC Proposed standard will not be revised based on this comment. | Please see the above responses to comments on this passage.
STR Comment | 14 | 170 | K. Meiklejohn | For soft larvae, a flap may be cut in the cuticle to minimize the destruction of surface features when removing internal tissue | For soft larvae, a flap should be cut in the cuticle to minimize the destruction of surface features when removing internal tissue | Check OSAC preferred language but I think it is shall/should not shall/may. | The OSAC Proposed standard was revised based on this comment. | Changed to should.
STR Comment | 15 | 170 | JJP | none provided | Include details of how to process other commonly encountered insect evidence (eggs, puparia) | Current revision only includes details for larvae and adults. | The OSAC Proposed standard was revised based on this comment. | Inserted "Similarly, a. window may be cut in a middle segment of a pupa. Extracting DNA from an egg may require destruction of the specimen."
STR Comment | 16 | 172 | Dahlem | none provided | Need to add a sentence about the importance of retaining the genitalia. | For so many species, detailed observation of the genitalia can allow species level identification. It is the most important part to keep. | The OSAC Proposed standard was revised based on this comment. | Changed to "The remains of any specimen used for DNA extraction, particularly adult genitalia if available, should be preserved for future examination."
STR Comment | 17 | 173 | K. Meiklejohn | The remains of any specimen used for DNA extraction should be preserved for future examination. | The remains of any specimen used for DNA extraction should be preserved for future examination in at least >95% ethanol. | Consider providing addotional details on how it should be stored for preservation. | The OSAC Proposed standard will not be revised based on this comment. | We did also suggest freezing. Other suggestions could be offered but we don't have a sense of priority, i.e., any that warrants inclusion more than any other.
STR Comment | 18 | 174 | JJP | Specimens potentially useful for future molecular genetic analysis | How would the analyst differentiate between 'potentially useful'. Recommendation to just state to store in 90% ethanol or freezing. | Misleading language and confusion as to what deems 'potentially useful'. Could include a range of anlayses | The OSAC Proposed standard was revised based on this comment. | Changed to "Specimens intended for future molecular". Given suggestion that this is a document for colleagues familiar with such analyses, the reader should have an idea what that means to them before collection (i.e., when they intend to perform analyses). 90+% ethanol not necessarily ideal for all applications and will conflict with recommendations for morphological analyses.
STR Comment | 19 | 175 | JJP | by freezing | Recommendation to include what temperature range (-20 or -80) | none provided | The OSAC Proposed standard will not be revised based on this comment. | Although -80 C will reduce DNA degradation compared to -20 C, we don't think this is a practical concern.
STR Comment | 20 | 175 | JW | …(e.g., by freezing or in >90% ethanol). | Should a cold temperature be listed here for freezing, e.g., -20 or -80? | none provided | The OSAC Proposed standard will not be revised based on this comment. | Please see the previous rationale.
STR Comment | 21 | 179 | K. Meiklejohn | Each DNA extraction set shall include at least one reagent blank as a negative control, which is analyzed concurrently with casework samples | none provided | Consider defining what is meant by "extraction set". Is this every batch processed of if an analyst is doing multiple "sets" per day of the same kit/lot number could one RB be sufficient? | The OSAC Proposed standard was revised based on this comment. | Changed to "Each DNA extraction set, i.e., extraction of more than one sample at the same time, shall include at least one reagent blank as a negative control, which is analyzed concurrently with casework samples."
STR Comment | 22 | 181 | JW | …by time or space… | Does time amount or space in area need to be included here? | none provided | The OSAC Proposed standard will not be revised based on this comment. | We are not aware of any discipline standard.
STR Comment | 23 | 187 | K. Meiklejohn | Primers used for PCR amplification shall be documented in the case file, and primer sequences shall be available in laboratory documentation. | none provided | Consider adding a note that the regions targeted for amplification/sequenicng should be those shown to be taxonomically informative for the group in question. | The OSAC Proposed standard will not be revised based on this comment. | Someone expert enough to perform the analysis would know the correct target.
STR Comment | 24 | 209 | K. Meiklejohn | A misplaced stop codon or other result inconsistent with the biological characteristics of the target gene protein will suggest that the genotype is an artifact or an incorrect locus such as a pseudogene. | A misplaced stop codon or other result inconsistent with the biological characteristics of the target gene protein will suggest that the genotype is an artifact or an incorrect locus such as a pseudogene and shall be not analyzed any further. | Context is missing as to what to do if sequence is indicative of an artifact or pseudogene | The OSAC Proposed standard was revised based on this comment. | We used those words.
STR Comment | 25 | 224-226 | Dahlem | 5.2.2b dealing with publication of reference genotypes | I think that this entire subheading should be deleted as part of the description of a reliable genotype | Many reliable IDs are available on GenBank that come from unpublished works, or research that does not involve detailed description of the species. While this would be a great aspiration, it does not deal with current reality. Species may be identified by an expert and then the paper does not get published. It might come from a source looking at environment, ecology, behavior, or other aspects other than a molecular phylogenetic research paper. It might come from thesis work that is never published, or work that should have been published but for some reason it was not, or from published works that were not uploaded into GenBank after submission of the DNA sequences. This is very true in the Sarcophagidae as I checked GenBank for IDs that I have made that are available and many (most) of these are cited as unpublished. This will cause big problems for the phylogenetic analysis for species identification if these sequences are not included. | The OSAC Proposed standard will not be revised based on this comment. | Identified by an expert but without the documentation we specify would mean accepting the data based on authority alone.
STR Comment | 26 | 227 | K. Meiklejohn | A BLAST search of the entire genotype database of the National Center for Biotechnology Information (or comparable database) is acceptable for a preliminary identification, but it shall not be the sole basis for the final taxonomic determination. | Consider adding a note to reference 2021-S-0006, which provides criteria to evaluate GenBank accessions for use in taxonomic assignment. We just completed a blinded interlab on this proposed standard and when labs were asked to taxonomically assign an unknown using only GenBank results and following 2021-S-0006 they were correct 98% at the species level and 100% at the genus level. So the up shot is GenBank can be used reliably for taxonomic assignment when some ground rules are in place. | This section may be in conflict with 2021-S-006, which provides detailed criteria on how to evaluate thre reliability of individual accessions returned in a GenBank BLAST search. | The OSAC Proposed standard will not be revised based on this comment. | While we agree with the majority of the 2021-S-006, we believe for insects that 4.3.1.b is a must (in the standard, only 2/4 standards need to be met to use Genbank records as a species ID tool). There are many instances with the forensic flies that a DNA-based assay does not work for all species, and only when the test works (i.e. phylogenetic resolution) can it be used for species ID. | 4.3.1.b. Sequence(s), when downloaded, aligned with sequences from closely-related species and used to construct a phylogram, results in a species-level topology concordant with expectations from the peer-reviewed literature.
STR Comment | 27 | 230-252 | K. Meiklejohn | Criteria 5.2.4 and 5.2.5 have a lot of text underneath these. | Check if this conforms to the OSAC Stnadrsd structure, or whether these additonal 'paragrpah's of information should be subsections of the criteria or notes | none provided | The OSAC Proposed standard may be revised based on this comment. | Will check and conform to the expected format.
STR Comment | 28 | 247 | Dahlem | … multiple unrelated individuals of each species. | add "if available" | For many species only one sequence is currently available. These should be used, but recognized that multiples would be better but that is not always possible | The OSAC Proposed standard was revised based on this comment. | We added "if available."
STR Comment | 29 | 249-250 | Dahlem | …search the published literature and databases for evidence of non-monophyly … | delete this sentence (and maybe the next) | This is not feasible for a someone who is not a systematic specialist on the taxonomic group in question. How would they know? We are asking people to possibly make evaluations based on information above their head. There are many cases of molecular phylogenetic work conflicting with morphological analyses. | The OSAC Proposed standard will not be revised based on this comment. | Indeed a molecular phylogeny can be of no use for species determination. In that case the molecular approach should not be used. If the analysts doesn't have the knowledge to assess the situation, i.e., knowing the species that must be included in the reference dataset and whether they are reliably distinguished by the molecular test, that person shouldn't be doing this.
STR Comment | 30 | General | K. Meiklejohn | Use of the term "taxonomic identification" | Consider replacing with "taxonomic assignment" to be consistent with other OSAC work products | While this term is defined in the definitions, identification is often associated with either inidvidualization (from the human context) or species level assignment only. For 2021-S-0006 we were intentional in using "taxonomic assignment" to avoid this confusion. | The OSAC Proposed standard will not be revised based on this comment. | As stated above, we disagree with the committee concerning the message of using assigned rather than identification. In our opinion taxonomic identification is well-understood to apply to more than one taxonomic level, and we see our mandate to be to codify existing standards and not reform.

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1 | Kathy Moore |  |  | NOAA/NMFS/NWFSC |  |  | 2023-03-06
2 | Andrea Roth |  |  | OSAC LTG |  |  | 2023-03-06
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25