## START HERE Cover Sheet
OSAC Program Office Use Only |  |  | Comment Adjudication_TO SC
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2022-S-0041 Best Practice Recommendations for Internal Validation of DNA Extraction Methods
OSAC Unit | Human Forensic Biology
Unit Chair
Name: | Beth Ordeman
Affiliation:
Unit Technical Contact
Name: | Susan Greenspoon
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome.
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition | Rationale
Not germane The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope. | No additional rationale from the SC
No response needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it. | No additional rationale from the SC
No change The OSAC Proposed standard will not be revised based on this comment. | The OSAC Proposed standard will not be revised based on this comment. | SC must state WHY the standard will not be revised.
Revision was made The OSAC Proposed standard was revised based on this comment. | The OSAC Proposed standard was revised based on this comment. | SC must state WHAT revisions were made to address the comment.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment. | No additional rationale from the SC
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision was made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale
Note on A16: ====== ID#AAAANtMpke8 OSAC for Forensic Science (2021-03-23 19:06:34) This link will be provided by OPO

## Comments
|  |  |  | OSAC Proposed Standard Number | 2022-S-0041
|  |  |  | Standard Title | Best Practice Recommendations for Internal Validation of DNA Extraction Methods
|  |  |  | Date of Open Comment Submission | 2023-01-03
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
Public Comment |  | best
Task Group Comment | 1 | 4.2, 4.3, 4.4,4.8, 4.9 | Andrea Roth, LTG Chair | should | change to SHALL | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | Revision was made | 4.1 was moved to standard document since we used the word shall and it should be required. | The other listed general considerations will remain as should since this is NOT a standard document, but is instead a best practrice recommendations companion document. There will be examples where the bpr general consideration will not be applicable, hence the use of should. | updated resolution
Task Group Comment | 2 | 4.5 | Andrea Roth, LTG Chair | should | change should to shall and provide more guidance as to what monitoring entails or how to do so | not clear enough to give labs guidance in terms of what Daubert is looking for when deciding whether a discipline is governed by “standards” | No change | This is a bpr and not a standard. |  | updated resolution
Task Group Comment | 3 | 5.1.2 | Andrea Roth, LTG Chair | "Compared to previous results" - | Clarify / rewrite | confusing what this is referring to. Is it control results for the tool or the prior tool? Needs clarification | No change | not applicable/cannot understand what the rationale pertains to. |  | updated resolution
Task Group Comment | 4 | 5.1.3.1 | Andrea Roth, LTG Chair | "or using data generated from another experiment within the internal validation" - | add “provided that the way the data was generated is appropriate for reliance in another capacity and robust enough | otherwise wouldn’t be appropriate, right? | No change | If it didn't fultill the requirements of the standard, it would not be applicable. |  | updated resolution
Task Group Comment | 5 | 5.1.3.2 | Andrea Roth, LTG Chair | "can inform" | Should quantify/ qualify how it can be used or considered | confusing and unclear what "can inform" means in terms of what the analyst/ lab can or cannot do with that data. Should quantify/ qualify how it can be used or considered | No change | The quantitative aspect doesn't add anything. It must be left up to each laboratory to evaluate the data and interpret its meaning. |  | updated resolution
Task Group Comment | 6 | 5.1.5.2 | Andrea Roth, LTG Chair | should | change to SHALL | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | Revision was made | 5.1.5.2 deleted. It is already included in the standard document: 4.1.2 Discordant data observed when comparing identical genetic markers using sample(s) from the same individual, and a potential explanation for any discordant results shall be documented in the final validation document. |  | updated resolution
Task Group Comment | 7 | 5.1.5.2 & 5.1.6.1 | Andrea Roth, LTG Chair | none provided | - discordance should be defined in terms section or qualified in some way in terms of what discordance would not or would invalidate the concordance study. 5.1.6.1 needs more qualification or concrete parameters in terms beyond the common reasons which does not read as an exhaustive list. | none provided | Revision was made | The following example for a discordant result was added to 5.1.5.2. Discordance might be the production of a partial profile instead of the expected complete profile for a sample with sufficient DNA quantity. As described, these are common reasons, but an exhaustive list can't be provided. Less common reasons may require technical assistance from the manufacturer. |  | updated resolution
Task Group Comment | 8 | 5.2.2 | Andrea Roth, LTG Chair | none provided | add “and use of the method shall be limited to casework that falls within the parameters of the samples tested” | otherwise not valid, right? | No change | It's not possible to test every sample type that may be encountered in the forensic casework. |  | ok
Task Group Comment | 9 | 5.2.3.2 | Andrea Roth, LTG Chair | should | change to MUST | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 10 | 5.2.3.3 | Andrea Roth, LTG Chair | should | change to MUST or SHALL | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 11 | 5.2.3.4 | Andrea Roth, LTG Chair | Mixture samples may be utilized to evaluate the ability of the method to recover DNA from minor contributors and to inform the laboratory on major/minor determination. | change may to shall? | seems like this should be a requirement if the lab intends to use the method on these kind of evidence samples | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 12 | 5.2.4.1 | Andrea Roth, LTG Chair | “Samples may include” | The samples must include samples like those the method will be used on, so while it may not be required to include all of the sample types listed, the lab must include all those for intended use. | none provided | No change | Not applicable, does not seem to apply to 5.2.4.1. |  | updated resolution
Task Group Comment | 13 | 5.2.5 | Andrea Roth, LTG Chair | compatible | define | define compatible? Against what standard/ measure will that be | Revision was made | Added language to clarify: For example, certain sample types may interfere with the extraction chemistry. |  | updated resolution
Task Group Comment | 14 | 5.2.5.2 & 5.2.5.3 - | Andrea Roth, LTG Chair | Compare the amount of DNA recovered to expected quantities or results from previous methods, if applicable. ; DNA typing results from samples should be compared to any previous results, where applicable. | applicable or available or both? | applicable or available or both? This is not entirely clear on when it would be or would not be applicable. Not sure if that matters | No change. | If a lab is not replacing an exsiting extraction chemistry, then no prior results will be availble to which a comparison could be made (so, not applicable). |  | updated resolution
Task Group Comment | 15 | 5.2.5.3.1 | Andrea Roth, LTG Chair | “should be performed” | “shall be” | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 16 | 5.2.5.4 | Andrea Roth, LTG Chair | should | shall | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 17 | 5.2.6.1 - | Andrea Roth, LTG Chair | “should be used to inform laboratory procedures and workflow” | clarify or delete | vague and unclear what is meant by used to inform? is this defining the factor space? Limiting the use of the tool? Something else? | Revision was made | The wording has been changed to clarify: The results from this study should be used to develop laboratory procedures for use in casework or databank operations. |  | updated resolution
Task Group Comment | 18 | 5.3.1 | Andrea Roth, LTG Chair | shall determine | clarify | how? By what standard or protocols or guidelines? What is the measure? | No change | This is just repeating the standard which exists in the standard document. Below this standard are the guidelines for performing this inhibition and/or degradation assessment. |  | updated resolution
Task Group Comment | 19 | 5.3.5.1 | Andrea Roth, LTG Chair | should | shall | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 20 | 5.4.4.4.1 | Andrea Roth, LTG Chair | If comparison with a previous method and using the same samples is not possible, then comparison with validation data from the previous method using similar samples should be performed. | delete? | is this sound? | No change. | This is sound, given the limitations stated. |  | updated resolution
Task Group Comment | 21 | 5.4.5.1 - | Andrea Roth, LTG Chair | should | must | Is there a particular error rate / confidence interval or other analytical threshold to determine what is suitable? | Revision was made | The following modification to the guidance was made along with an example: The laboratory should evaluate the DNA yields to determine the suitability for use with casework for the sample types tested. For example, if the new extraction method fails to generate sufficient DNA for a specific type of sample (e.g. blood), but appears to perform efficiently for other samples, that information should inform the laboratory about the new method’s suitability for the variety of sample types for which it is intended. |  | updated resolution
Task Group Comment | 22 | 5.5.2 | Andrea Roth, LTG Chair | should | shall | Make this a shall if this is a “standard” (which it is) or make explicit it isn’t a standard (in terms of Daubert factor looking for when deciding whether a discipline is governed by “standards”) | No change | This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 23 | 5.5.4.3 & 5.5.4.4 | Andrea Roth, LTG Chair | should | shall | if “where practicable” is being added as a qualifier, then change “should” to “shall” as there is not a principled reason articulated within the standard as to why it should be aspirational instead of required/ mandatory | Partial revision was made | "Where practicable" has been removed. This is not a standards document. This is a best practices document that is a companion to the standard. |  | updated resolution
Task Group Comment | 24 | 5.5.5 & 5.5.6 | Andrea Roth, LTG Chair | should | shall | We would change the should to shall in both of these, because this is such an important step/ part of validation. Otherwise there is no way to ensure repeatability and reproducibility will be part of validation, and scientifically it seems that this must always be included along with accuracy and precision. Also the current should language is inconsistent with the shall language of 5.5.1 | No change. | 5.5.1 is the standard and requires repeatability and reproducibility studies. The points after 5.5.1 are the best practice recommendations on how to achieve this goal. Standard 5.5.1 contains shall instead of should. This BPR document provides recommended methods and actions. |  | updated resolution
Task Group Comment | 25 | 5.6.3.1 | Andrea Roth, LTG Chair | the following should be considered… | add “this is not an exhaustive list | otherwise suggests this is it | Revision was made | 5.6.3.1 has been modified to: The following is a list of possible sources, but is not all-inclusive, for the origin of contamination. For 5.6.3.2-5.6.3.5, the etc's have been removed as unnecessary.. |  | updated resolution
Task Group Comment | 26 | 5.6.3.2 - | Andrea Roth, LTG Chair | change “may be” to “should be” | should be | if best practices, then - | No change. | May be indicates that additional controls might not be necessary. |  | updated resolution
Task Group Comment | 27 | 5.6.5.1 | Andrea Roth, LTG Chair | should | shall | change the should to shall otherwise it is in conflict with the shall language of 5.6.1. | No change. | It is not in conflict since some labs may specifically design a contamination test versus evaluating all of the reagent blanks and controls used throughout the process. |  | updated resolution
Task Group Comment | 28 | page 4, 3.5. | Pate Skene, HFTG Chair | Developmental Validation Accumulation of test data and determination of conditions and limitations of a new methodology; this generally occurs while the conditions and parameters are being worked out prior to the establishment of a defined assay, procedure or product. | Systematic collection of test data and determination of conditions and limitations of a new methodology; determined during the development and testing of conditions and parameters prior to the establishment of a defined assay, procedure or product. | Original choice of words implies a random, non-deliberate process (assuming that the process will follow specific parameters and decision criteria) | Revision was made | The definition has been updated to match the Lexicon: The acquisition of test data and determination of conditions and limitations of a new methodology; this generally occurs while the conditions and parameters are being worked out prior to the establishment of a defined assay, procedure or product. Internal validation studies typically follow developmental validation studies. | q | suggest: Definition updated to match ASB 077 and 038
Task Group Comment | 29 | page 5, 3.8. | Pate Skene, HFTG Chair | Internal validation Accumulation of test data within the laboratory for developing the laboratory standard operating procedures and demonstrating that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. | Internal validation Systematic collection of test data within the laboratory for developing the laboratory standard operating procedures and demonstrating that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. | The word 'accumulation' implies a random, non-intentional process | Revision was made | The defintiion has been updated to match the Lexicon: The accumulation of test data within the laboratory for developing the laboratory standard operating procedures and determining the limits of the method(s). Internal validation demonstrates that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. | q | suggest: Definition updated to match ASB 077 and 038
Task Group Comment | 30 | page 5, 3.1.3. | Pate Skene, HFTG Chair | Sensitivity studies Studies performed during validation of DNA or other test methods designed to define the limits of the method. | none provided | Unclear what is referred to here by studies - empirical studies? Case studies? | Revision was made | The definition has been updated to match the Lexicon: Experiments performed to define the lower and upper limits/bounds of an assay to accurately detect an analyte. Experiments include a serial dilution performed during developmental and/or internal validation of methods. | q | suggest: Definition updated to match ASB 077
Task Group Comment | 31 | page 6, 4.8. | Pate Skene, HFTG Chair | Additional studies should be performed on any modifications made to the DNA extraction method which could affect results (e.g. addition of chemicals beyond what is included in vendor kits, addition of BSA, change in incubation times, change to number of wash steps, etc.). | none provided | Unclear what is referred to here by studies - empirical studies? Case studies? | Revision was made | The word, studies, was changed to experiments. |  | updated resolution
Task Group Comment | 32 | page 6, 4.9. | Pate Skene, HFTG Chair | Additional studies should be performed on any modifications made to consumables used during the DNA extraction method which could affect the results (e.g. introduction of lyse and spin tubes). | none provided | Unclear what is referred to here by studies - empirical studies? Case studies? | Revision was made | The word, studies, was changed to experiments. |  | updated resolution
Task Group Comment | 33 | page 8, 5.2.3.1. | Pate Skene, HFTG Chair | This study may be used to assess relative DNA extraction performance through comparison with another validated DNA extraction method or developmental validation. | This testing may be used to assess relative DNA extraction performance through comparison with another validated DNA extraction method or developmental validation. | Unclear what the word study is referring to here - replace with the word testing to refer to previous item. | Revision was made | Replaced study with experiment. |  | updated resolution
Task Group Comment | 34 | page 8, 5.2.3.5. | Pate Skene, HFTG Chair | This study can assist in identifying optimal extraction volumes/weights/inputs, and/or appropriate sampling strategies for some extraction substrates. | This testing can assist in identifying optimal extraction volumes/weights/inputs, and/or appropriate sampling strategies for some extraction substrates. | Unclear what the word study is referring to here - replace with the word testing | Revision was made | Replaced study with experiment. |  | updated resolution
Task Group Comment | 35 | page 9, 5.2.6.1. | Pate Skene, HFTG Chair | The results from this study should be used to inform laboratory procedures and workflow. | The results from this comparison should be used to inform laboratory procedures and workflow. | Unclear what the word study is referring to here - replace with the word comparison to refer to previous section. | Revision was made | Replaced study with experiment. |  | updated resolution
Task Group Comment | 36 | page 9, 5.3.2 | Pate Skene, HFTG Chair | Objective: The purpose of this study is to determine if the DNA extraction method introduces inhibition or causes degradation. | Objective: The purpose of this test is to determine if the DNA extraction method introduces inhibition or causes degradation. | Unclear what the word study is referring to - replace with the word test | Revision was made | Replaced study with experiment. |  | updated resolution
Task Group Comment | 37 | page 10, 5.3.6.1 | Pate Skene, HFTG Chair | The data from this study shall inform the laboratory as to the applicability of this extraction method to case samples. | The data from this test shall inform the laboratory as to the applicability of this extraction method to case samples. | Unclear what the word study is referring to - replace with the word test | Revision was made | Replaced study with experiment. |  | updated resolution
STR Comment | 1 | General | Inman | Quantitation is likely a separate standard, but is inextricably linked to extraction. It seems like it’s a least worth discussing the relationship somehow. This is particularly problematic when talking about reproducibility, comparability, accuracy, and precision. Unless those are measured without using quantitation, one can't easily deconvolve the effect of extraction vs. quantitation, without adding a section on replicate testing during the both the extraction and quantitation steps. |  |  | No change. | It is understood in forensic biology that the primary, but not sole method, of evaluating an extraction chemistry is by use of a quantitation system. |  | updated resolution
STR Comment | 2 | General | John Butler | For example in 5.3.6.1, data from this study shall inform the laboratory as to the application of this extraction method to case samples | Include what are the desirable attributes of an extraction method? For example, maximum recovery of tyable DNA and minimum introduction of any contamination DNA. How should susceptibility of the DNA extraction method to the introduction of inhibition, degradation, or contamination DNA be determined and assessed within tested samples? | The focus is generally on what should/could be done surround DNA extraction methods yet there is not enough information to be helpful. There needs to be more on how to assess, conduct, compare, document, etc. to match the standard and to help meet the FSSB requirements for method validation standards. This concern is a much wider issue than just this one document. | Revision was made | The following statements have been inserted under general considerations: The experiments designed to characterize a new extraction method should include defining the range of samples for which it is suitable (including concordance evaluation), the limits of yield produced from different sample types, and if the susceptibility to contamination is within a range deemed acceptable by the laboratory. |  | updated resolution
STR Comment | 3 | 62 | John Butler | Internal Validation (OSAC 2022-S-0040 3.6 and 2022-S-0041 3.8): Accumulation of test data within the laboratory for developing the laboratory standard operating procedures and demonstrating that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. | Internal Validation (ASB 038 3.3): The accumulation of test data within the laboratory for developing the laboratory standard operating procedures and determining the limits of the method(s). Internal validation demonstrates that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. | definition does not match the normative reference (umbrella document) ASB 038 Standards for Internal Validation of Forensic DNA Analysis Methods | Revision was made | Definition was changed to match ASB 077 and 038. If the experiments are designed to compare a new extraction method with an existing method in use by the laboratory, then comparative studies should be performed using statistical means, when necessary or useful, to evaluate concordance, DNA yields for specific sample types expected to be extracted using the new chemistry, the ranges of DNA yields for different biological quantities, and if the susceptibility to contamination is similar than the current method. |  | updated resolution
STR Comment | 4 | 97 | Inman | Applicable DNA quantitation and amplification controls should be run with all sample sets. | none provided | An amp control is typically started at the amp stage. Is the presence at this point meant to say start an amp control at the extraction stage, or do it in the normal fashion? Or because this is in the general considerations section, it may not apply to this standard except when typing the samples? | No change. | The amp controls are used at the amp stage. |  | updated resolution
STR Comment | 5 | 108 | Inman | Suitability of a DNA extraction method for its intended use may not be solely defined by sensitivity, yield, or quality. | replace 'may' with need | Should this word be “need”, as in need not be solely defined. As written, it reads as if some other criteria must also be defined. I think the intent it to say that other considerations may also be valid or legitimate means of determining suitability. | Revision was made | May has been changed to need. |  | updated resolution
STR Comment | 6 | 108-109 | TLV | 4.7 Suitability of a DNA extraction method for its intended use may not be solely defined by sensitivity, yield, or quality. | Feels like something additional needs to be added to close out the pointed 'may not be defined by XYZ' - could examples be added of what is being referred to as a possible option here? | This directive seems to leave something lacking. If it's not defined by solely sensitivity, yield, or quality, do we need to give examples of what it could be defined by? Appropriateness for substrate type or target cell type, etc? | Revision was made | Now 4.6. Wording was added: For example, the extraction method used for buccal reference samples may not produce the highest yield or best quality of DNA, however, it performs sufficiently well for that specific application to be deemed acceptable. |  | updated resolution
STR Comment | 7 | 130 | Inman | The laboratory shall demonstrate concordance of the new DNA extraction method to previously validated methods or published results. | The laboratory shall demonstrate that the new DNA extraction method results in the same DNA types as those expected from a previously validated or published method. | The purpose of some extraction methods may be to improve the extraction efficiency (get more DNA out). So you don’t want concordance all of the time; you may want better. If by concordance you mean the same types, then this is out of place, or requires re-wording. | No change. | Concordance is defined in the document as: Agreement between DNA typing results. Yield and efficiency are addressed elsewhere. |  | updated resolution
STR Comment | 8 | 147, 204 vs. 259, 283 | Amber Rasmussen | Quantify the amount of DNA and perform DNA typing on all samples. OR Quantify and perform DNA typing on all samples. | Use consistent language | none provided | Revision was made | Language was changed to be consistent throughout document. |  | updated resolution
STR Comment | 9 | 149 | Inman | Concordance should be evaluated by comparing the DNA typing results of the DNA extraction method to the results from a previously validated method or published results (e.g. proficiency test consensus profile, NIST Standard Reference Material (SRM) or purchased sample with published results) | none provided | This section explains the standard above. It is clearly meant to indicate that samples extracted by the new method should result in the same types as those types determined by a previously validated method.The standard,on the other hand, merely states that "..the new DNA extraction method to previously validated methods..." without the modifying language that is present in the BP document is misleading. | No change. | See the definition for concordance: Agreement between DNA typing results. |  | updated resolution
STR Comment | 10 | 159-160 | TLV | 5.1.5.2 Observed discordance should be documented and if possible, a reason provided | 5.1.5.2 Observed discordance should be documented, and the accompanying reason provided. | In the parent standard it is listed as a 'shall be documented' for this standard, but this language softened to 'if possible' which is in conflict. | No change. | It may not always be possible to provide a reason for the discordance. The standard requires that it be documented, but we cannot require an explanation for the discordance if none is available. |  | updated resolution
STR Comment | 11 | 164-165 | TLV | 5.1.6.1 Observed discordance may not invalidate…. | Move 5.1.6.1 to 5.1.5.2.1 as a sub-bullet to the observed discordance documentation statement. | It doesn't follow to me that the validate/invalidate commentary is related specifically to implementation, but rather should be a discussion of results within the data analysis and results section. | Revision was made | The standard was modified to be consistent with the BPR. Guidance for providing a possible explanation is solely in the BPR doc. Standard: Discordant data observed when comparing identical genetic markers using sample(s) from the same individual shall be documented in the final validation document. |  | updated resolution
STR Comment | 12 | 164-165 | TLV | 5.1.6.1 Observed discordance….. | 5.1.6.1 The data from this study shall inform the laboratory as to the applicability of this extraction method in comparison to previously validated methods currently in use within the laboratory. | Suggestion is above to move the current language to data analysis and results so this would replace the language, with more reference to how it might fit in with their current extraction methods that it is being compared to. | Revision was made | Modified line to included the new method's applcability: 5.1.3.2 Concurrent comparison of the new extraction method to previously validated methods can inform the laboratory if differences in results are due to the extraction procedures or downstream variables and its general applicability. |  | updated resolution
STR Comment | 13 | 187 | Inman | The DNA extraction method being validated should generate reproducible results for pristine samples and consistent results for challenged samples. | none provided | This requires some criteria that defines what reproducible means, e.g., replicate samples must be within +/- some range. But it seems like this should be more about using validation to establish the reproducibility of the method, rather than demanding that a method be ‘reproducible’ within some defined limits. | Revision was made | Suggested statistical analyses, where applicable, are forthcoming either in the standard or BPR document. | Q | Suggested: Criteria were added where possible
STR Comment | 14 | 194 | Inman | Mixture samples may be utilized to evaluate the ability of the method to recover DNA from minor contributors and to inform the laboratory on major/minor determination. | none provided | This has more do with the typing method than the extraction method. I’m not sure I can think of a method that extracts the major donor and not the minor. As written, it's not really clear what problem it's trying to solve | Revision was made | That line 5.2.3.4 has been removed. |  | updated resolution
STR Comment | 15 | 213-214 | Amber Rasmussen | 5.2.4.2.4 Adulterated samples (e.g. latent print processing reagents, gun oil, etc.). | suggest add non-human DNA to examples | For extraction methods with a maximum recovery (e.g. bead based methods), high amounts of non-human DNA may impact the recovery of human DNA | No change. | It is well known that these extraction methods are not specific to human DNA and both animal and bacterial/fungal DNA can interfere with human DNA yields. |  | Suggest: It is well known that non-human DNA may impact human DNA yields. This is covered under the sample types encountered in casework.
STR Comment | 16 | 215 | Inman | Degraded samples, including differential degradation in mixed samples. | none provided | This seems duplicative of section 5.3; why are there two references to the same phenomenon? It seems to me that all of section 5.3 can/should be incorporated into Section 5.2, as much of 5.3 is duplicative. Further, Section 5.2 lays out an Experimental Method (5.2.4); there's no obvious reason why degradation and inhibition warrants its own section. | No change. | The standard of 5.3 is determining whether or not the extraction method introduces inhibition or degradation of the DNA versus how the extraction performs with degraded or inhibited samples. | 5.3.1 Standard: The laboratory shall determine the susceptibility of the DNA extraction method to the introduction of inhibition or degradation. | updated resolution
STR Comment | 17 | 241-242 | TLV | 5.2.6.1 The results from this study should be used to inform laboratory procedures and workflow. | 5.2.6.1 The results from this study should be used to inform laboratory procedures, appropriate substates and types of samples, and workflow. | Adding in more specifications about sample substrate types as this study should specifically focus on what substrates would be used for which extraction type, and those should be identified through this study for future use. | revision was made | 5.2.6.1 has been modified to: The results from this experiment should be used to develop laboratory procedures for use in casework or databank operations. No change since laboratory procedures encompasses sample type, substrate and other information. |  | updated resolution
STR Comment | 18 | 281 | Amber Rasmussen | none provided | Insert section on Considerations to be consistent with other sections; Suggest that quantitation results may be utilized to assess recovery and that DNA typing results be evaluated with sample input volumes considered | The amplification input volume may determine STR results rather than sensitivity of the exttraction method. | No change | DNA yield evaluation is already addressed in the document. Amplification and quantitation considerations are addressed in those specific documents. |  | updated resolution
STR Comment | 19 | 290 | Amber Rasmussen | 5.4.4.1 Analyze the resulting data using the laboratory’s analysis parameters. | Remove | This is covered by General Consideration 4.1.Similar instruction is not included in other sections. | Revision was made | 5.4.4.1 has been removed. |  | updated resolution; Section 5.4.4 needs to be renumbered
STR Comment | 20 | 296-297 | Amber Rasmussen | 5.4.4.3 Compare the DNA typing results from replicate extractions to determine consistency of the DNA extraction method. | Move to Section 5.5.5 | This is more applicable to reproducibility/precision than sensitivity. | No change. | Many of the test performed can be used to satisfy multiple requirements. |  | updated resolution
STR Comment | 21 | 313 | Inman | The laboratory shall demonstrate the precision and accuracy of the DNA extraction method through repeatability and reproducibility studies. | none provided | I've copied this commentary from the Standards document. I’m not sure this is actually possible; it depends on the quant method, inextricably bound to the extraction method. Further, I think that one determines precion and accuracy, rather than demonstrating it. The Objective (5.5.2) section in this document, however, clarifies that what is desired is the inter-operator precision, NOT the method precision or accuracy. That seems like a legitimate requirement, but the standard should be clarified to reflect that difference. | Revision was made | accuracy was removed from the standard requirement |  | updated resolution
STR Comment | 22 | 313 | Amber Rasmussen | 5.5.1 Standard: The laboratory shall demonstrate the precision and accuracy of the DNA extraction method through repeatability and reproducibility studies. | Remove "and accuracy" | Accuracy is not applicable. All other portions of this section correspond to precision rather than accuracy. | Revision was made | accuracy was removed from the standard requirement |  | updated resolution
STR Comment | 23 | 316 | TLV | 5.5.2 Objective: The method should consistently yield comparable quantities of DNA with…. | The method should consistently yield comparable and expected quantities of DNA | For the accuracy portion of this study, should we be expecting to see a particular yield in order to ensure the method is recovering the amounts of DNA we expect - in relation to some standard amount that is provided within the samples? | Revision was made | accuracy was removed from the standard requirement |  | updated resolution
STR Comment | 24 | 317 | TLV | with minimal operator-to-operator variability | operator-to-operator (and/or instrument-to-instrument, if applicable) variability | Most often this would be the experiment would allow the laboratory to evaluate instrument-to-instrument variability if using multiple instruments within their laboratory. | Revision was made | Language was changed to include and/or instrument-to-instrument variability as requested. |  | updated resolution
STR Comment | 25 | 326-327 | TLV | 5.5.4.1 Samples should be single-source DNA of good quality and not limited in concentration. | Move this to 5.5.3.2 as a consideration for sample type. | For other sections (ex. references and casework-like samples 5.2.3) the sample type and amount is identified in the considerations section, not within the experimental method section itself. | No change | Low template and mixture samples will in themselves introduce variability so high quality, single source samples allows for an assessment of the extraction method itself. |  | ok
STR Comment | 26 | 351 | Inman | Contamination | none provided | Is it worth differentiating between wholesale contamination and drop-in (single alleles)? To some extent it's covered by the phrase "exogenous DNA" elsewhere, but it seems like differentiating between the two is useful when 1) trying to determine the source of 'contamination', and 2) determining the drop-in for inclusion in the interpretation guidelines (for example, as a parameter in probabilistic genotyping). | revision was made | This has been addessed in 5.6.5.2: If observed, the source of the contamination should be characterized (i.e. differentiating between a drop-in allele event and extensive contamination), attribution attempted and the rate of occurrence estimated. |  | updated resolution
STR Comment | 27 | 376 | TLV | 5.6.4 Experimental Method: Not applicable | 5.6.4 Experimental Method: 5.6.5.1 Quantify and perform DNA typing on all reagent blank controls that are run alongside each sample set. | parrotting 4.2 and expanding to add an experimental method for those controls for this section to make it more clearly defined. | revision was made | Moved and included these lines under experimental method: 5.6.4.1 All validation samples, including the extraction (reagent) blank controls, should be evaluated for the presence of exogenous DNA. 5.6.4.2 Quantify and perform DNA typing on all reagent blank controls that are run with each sample set. |  | updated resolution
STR Comment | 28 | References | John Butler | Guidelines and Considerations for Evaluating or Validating Extraction Chemistry. Applied Biosystems. Forensic News. July, 2010. | Include URL to second reference in Appendix A (http://tools.thermofisher.com/content/sfs/brochures/cms_086052.pdf) | none provided | Revision was made | URL added to reference. https://assets.thermofisher.com/TFS-Assets/LSG/Specification-Sheets/cms_086052.pdf |  | updated resolution
STR Comment | 29 | References | John Butler | ENSFI. Recommended Minimum Criteria for the Validation of Various Aspects of the DNA Profiling Process. http://www.enfsi.eu/sites/default/files/documents/minimum_validation_guidelines_in_d na_profiling_-_v2010_0.pdf | Correct URL for third reference in Appendix A (https://enfsi.eu/wp-content/uploads/2016/09/minimum_validation_guidelines_in_dna_profiling_-_v2010_0.pdf) | none provided | Revision was made | URL corrected: https://enfsi.eu/wp-content/uploads/2016/09/minimum_validation_guidelines_in_dna_profiling_-_v2010_0.pdf) |  | updated resolution
STR Comment | 30 | References | John Butler | Lee SB, Shewale JG (2017). DNA Extraction Methods in Forensic Analysis. In Encyclopedia of Analytical Chemistry, editors John Wiley & Sons, Ltd. DOI: 10.1002/9780470027318.a1104m.pub2. | Consider selecting a different reference that is open access and publicly accessible if possible (although I was able to obtain a ResearchGate version via Google Scholar) | Look for references that illustrate the types of DNA extraction experiments that are being recommended, not just general source material (is there a model article showing helpful studies with DNA extraction that can be cited from the sub-committee's perspective?) | No change | reference in question is publicably accessible.. |  | ok
Note on C10: ====== ID#AAAAmp71lh0 tc={AB3235D2-513D-3140-8CA1-C238D7EF9A27} (2023-01-04 15:42:16) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: THESE ARE BY SECTION rather than line.
Note on C36: ====== ID#AAAAmp71lh4 tc={2FD21D14-0D53-0F4F-9AB2-9BC00F9D0C1D} (2023-01-04 15:42:16) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: THESE ARE BY SECTION rather than line.

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1 | Andrea Roth |  | OSAC LTG Chair |  |  |  | 2023-01-03
2 | Pate Skene |  | OSAC HFTG Chair |  |  |  | 2023-01-03
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25