## START HERE Cover Sheet
OSAC Program Office Use Only |  |  | Comment Adjudication_TO SC
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2025-S-0011 Standard Practice for Polarized Light Microscopy in the Forensic Examination and Comparison of Soils
OSAC Unit | Trace Materials
Unit Chair
Name: | Sandy Koch
Affiliation:
Unit Technical Contact
Name: | Ethan Groves
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome.
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition | Rationale
Not germane The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope. | No additional rationale from the SC
No response needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it. | No additional rationale from the SC
No change The OSAC Proposed standard will not be revised based on this comment. | The OSAC Proposed standard will not be revised based on this comment. | SC must state WHY the standard will not be revised.
Revision was made The OSAC Proposed standard was revised based on this comment. | The OSAC Proposed standard was revised based on this comment. | SC must state WHAT revisions were made to address the comment.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment. | No additional rationale from the SC
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision was made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale
Note on A16: ====== ID#AAAANtMpke8 OSAC for Forensic Science (2021-03-23 19:06:34) This link will be provided by OPO

## Comments
|  |  |  | OSAC Proposed Standard Number | 2025-S-0011
|  |  |  | Standard Title | Standard Practice for Polarized Light Microscopy in the Forensic Examination and Comparison of Soils
|  |  |  | Date of Open Comment Submission | 2025-01-13
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Comments - Summary comments
Public Comment | 1 |  |  | None Received
Task Group Comment | 1 |  |  | None Received
STR Comment | 1 | All | Kammrath | n/a | n/a | Thank you for making this important standard which demonstrates the scientific foundation of PLM for mineral identification & provides valuable information for others to follow. I have only minor edits, as this is very thoughtfully and clearly prepared, with solid methodology and recommendations for interpretation. | No response needed |  |  | **Overall note - please compare definitions against the Terminology task group spreadsheet of agreed upon definitions that are being put forward as part of the new trace terminology guide.
STR Comment | 2 | 43 | Kammrath | "This OSAC Proposed Standard was written by the Seized Drugs Subcommittee of the Organization" | update with appropriate subcommittee | I don’t think the seized drug committee wrote this standard, and the appropriate committee should be recognized | Revision was made | Corrected subcommittee authorship.
STR Comment | 3 | 43 | WAR | written by the Seized Drugs Subcommittee | written by the Trace Materials Subcommittee | Correcting subcommittee name | Revision was made | Corrected subcommittee authorship.
STR Comment | 4 | 137 | Kammrath | n/a | Add the term "anisotropic " to the terminology list. | none provided | Revision was made | Definition added
STR Comment | 5 | 140 | WAR | there are no definitions for epsilon, omega, alpha, beta or gamma | Add definitions for epsilon, omega, alpha, beta or gamma. The are defined in ASTM E3423 which also came out of OSAC | These are used in the documet without defining them. | Revision was made | Definitions from E3423 for these terms added. |  | Check 3.2.19 - the a axis? extra a?
STR Comment | 6 | 141 | JCB | NA | If there is a defintion of "isotropic" there should be a defintion of "anisotropic" | none provided | No change | Definitions from E3423 for these terms added.
STR Comment | 7 | 148 | JCB | none provided | Add "The Becke line moves into the material possessing the higher refractive index when the focus is raised (i.e., the stage is lowered). | none provided | No change | This information is captured in Becke line method. |  | Please use agreed upon definition/discussion that will be moved to E1732. A bright halo near the boundary of a transparent material that is mounted in a medium that differs from its refractive index. Discussion: The halo moves toward the higher refractive index medium as the position of the focus is raised (stage is lowered) and towards the lower refractive index medium when focus is lowered (stage is raised). Discussion: When the refractive index of the material and the refractive index of the mounting medium are equal, the Becke line is no longer visible.
STR Comment | 8 | 149-151 | Kammrath | "3.2.4 birefringence, n – The numerical difference between the refractive indices of the fast and slow rays of anisotropic substances; the maximum birefringence is the difference between alpha and gamma (biaxial) or epsilon and omega (uniaxial). | there is no definition of fast rays, slow rays, anisotropic substances, alpha, gamma, epsilon or omega, which makes this definition challenging for non-microscopists. These should be defined or referenced. | Too many undefined but specialized terms, thus this definition is not helpful in its current form. | Revision was made | term replaced wtih definition from trace materials subcommittee
STR Comment | 9 | 152-153 | JCB | a device…anisotropic specimen | a crystal of known retardation and orientation that can be used to ascertain optical properties of an anisotropic crystal | none provided | Revision was made | term replaced wtih definition from trace materials subcommittee |  | Please use agreed upon defintion/discussion that is being moved forward to E1732. an optical device that can be inserted into the optical path of a polarized light microscope to introduce a fixed or variable retardation. Discussion: Compensators may employ a fixed mineral plate of constant or varying thickness or a mineral plate that is rotated, or have its thickness varied by tilting, to alter the thickness presented to the optical path (and retardation introduced)
STR Comment | 10 | 155 | JCB | or interference | or an interference | none provided | Revision was made | Agree with reviewer
STR Comment | 11 | 157 | JCB | colored Becke line fringes | colored fringes | none provided | Revision was made | Definition removed
STR Comment | 12 | 161-162 | JCB | the condition…crossed polarizers | the orientation in which the vibration directions of a light through a birefringent particle are aligned with the privledged directions of the analyzer and polarizer in which the particle appears black between crossed polars | none provided | No change | Definition is from E2228, kept as is. |  | Please use the agreed upon definition that will go forward to E1732: the condition in which a birefringent particle appears dark when viewed between crossed polarizers.
STR Comment | 13 | 163-164 | Rolando Carol | a categorical label that identifies particle(s) that are defined by a consistent set of parameters (e.g., morphological, descriptive, chemical), that differentiates them from the larger population of grains in the soil. | a categorical label that identifies a particle or particles that are defined by a consistent set of parameters (e.g., morphological, descriptive, chemical), that differentiates them from the larger population of grains in the soil. | Editorial comment, grammatical | No change | Editorial comment
STR Comment | 14 | 171 | JCB | during conoscopic | during the conoscopic | none provided | No change | Editorial suggestion not added. This defintion has already been used in an ASTM E30 standard.
STR Comment | 15 | 172-173 | JCB | extinction positions…by which | extinction positions and birefringence manifested by interference colors corresponding to the full cone of light rays by which | none provided | No change | Keeping definition from source publication. Also this defintion has already been used in an ASTM E30 standard.
STR Comment | 16 | 175-177 | JCB | of an object…the object | of a transparent specimen in which the refractive index remains constant irrespective of the vibration direction of the light through the specimen. | none provided | No change | Keeping definition from source publication. Also this defintion has already been used in an ASTM E30 standard.
STR Comment | 17 | 178-180 | JCB | a three…for solids | a theoretical three-dimensional model that shows the relationship between the vibration directions of light and the corresponding refreactive indices for transparent solids. | none provided | revision was made | Incorporated suggestion to definition
STR Comment | 18 | 182 | JCB | the crystal is positive | the optic sign is positive | none provided | revision was made | incorporated suggestion to definition
STR Comment | 19 | 183 | JCB | the crystal is negative | the optic sign is negative | none provided | revision was made | incorporated suggestion to definition
STR Comment | 20 | 185-187 | JCB | the property..the sample | color change in a transparent specimen due to the preferential absorption of wavelengths of light along the crystallographic axes when illuminated with plane polarized light (called "dichroism" for substances with two refractive indices). | none provided | No change | Keeping definition from source publication. Also this defintion has already been used in an ASTM E30 standard.
STR Comment | 21 | 192 | JCB | in some medium | through another medium (unitless). | none provided | No change | Keeping definition from source publication. Also this defintion has already been used in an ASTM E30 standard. |  | Please keep the already published E1732 definition. the ratio of the velocity of light in a vacuum to the velocity of light in some medium.
STR Comment | 22 | 194 | JCB | material | specimen | none provided | No change | Keeping definition from source publication. Also this defintion has already been used in an ASTM E30 standard.
STR Comment | 23 | 195 | JCB | established via | evaluated using contrast and | none provided | No change | Kept trace materials preferred definition wording |  | Please keep the agreed upon definition the estimate of the refractive index of a material in relation to the index of its surrounding medium, often established via the Becke line method.
STR Comment | 24 | 197 | JCB | times | multiplied by | none provided | Revision was made | Updated definition. |  | Please use the agreed upon definition: the actual distance of one of the doubly refracted rays behind the other as they emerge from an anisotropic material; dependent upon the difference in the two refractive indices and the thickness of the material.
STR Comment | 25 | 198 | JCB | orientation | vibrations directions | none provided | Revision was made | Incorporated reviewer suggested language
STR Comment | 26 | 198 | WAR | retardation, n – the birefringence times the thickness of the material. | retardation, n – the distance of one of the doubly refracted rays behind the other as they exit an anisotropic partcicle. Retardation is relative to the thickness of the particle and the difference in velocity of the two rays. (this is from Delly's Essentials and same or similar to McCrone, Delly Particle Atlas IV.) | The current wording only describes the relationship between retardation, birefringence and thickness of the material/particle without defining what retardation actually represents. | revision was made | Updated to trace materials defintition for this term |  | Please use the trace materials agreed upon definition.
STR Comment | 27 | 198-199 | Kammrath | "3.2.21 sign of elongation, n – relationship between the orientation of the fast and slow rays relative to the long axis of a transparent material. " | without definition or reference to what the fast & slow rays are, this definition is challenging to understand. | The two undefined but specialized terms make this definition not helpful in its current form. | No change | The discussion point following this section defines fast and slow rays.
STR Comment | 28 | 205 | Karas | Source of soil | Only used in section 3.2.22 and 3.2.22.1 term not used elsewhere in the standard. | Stated in Terminology section of Instructions that all terms are used elsewhere in the standard. | Revision was made | Removed.
STR Comment | 29 | 217 | Karas | GRAMMAR - polarized light microscopy | Use PLM here as it is defined on line 99. Also see lines 246 and 681. | PLM defined previously | Revision was made | Updated per suggestion
STR Comment | 30 | 219 | JCB | enable examination | enable the examination | none provided | No change | non-persuasive
STR Comment | 31 | 220 | JCB | describes use | describes the use | none provided | Revision was made | incorporated suggestion
STR Comment | 32 | 227 | JCB | or observation | or the observation | none provided | revision was made | incorporated suggestion
STR Comment | 33 | 239 | Karas | ...color determination, XRD, or SEM-EDS) | Define acronymns XRD and SEM-EDS | Terms used in document, Terminology section of instructions stated acronymns need to be defined | revision was made | incorporated suggestion
STR Comment | 34 | 241 | Karas | GRAMMAR - Use of such as | First example of a 'such as' or 'for example' (see line 489) with a list that could be 'e.g.,' a non-exhaustive list of examples Other times 'i.e.,' in other words would be appropriate. See line 346. | Inconsistent use of e.g., i.e., and parentheses throughout document. Also, for the hyperlinked references in the body of the document, they also are inconsistent, although 5.4 in the instructions may be part of the reason. See lines 204 and 211 (3McCrone-2006) | Revision was made | e.g. replaces i.e. and "for exmaple" in several occurances. Howerver one use of "such as" remains. The cited reference in the body were corrected.
STR Comment | 35 | 261 | Karas | GRAMMAR - Bertrand lens - used for conoscopic examinations. | Inconsistent punctuation in sections 6.1, 6.2, 6.3, 6.4 with a period at end of some statements and other times there is not a period. | Consistency | Revision was made | Consistent punctuation added
STR Comment | 36 | 264 | JCB | eye piece | occular | none provided | No change | non-persuasive
STR Comment | 37 | 268-269 | JCB | x | X | change lowercase to uppercase | no change | non-persuasive
STR Comment | 38 | 286 | Karas | GRAMMAR - 6.3 Sample preparation materials | 6.3 Sample Preparation Materials | Italicize? - Consistency with other headings in this section, but other section these headings are not always italicized. | Revision was made | Updated for uniformity across document
STR Comment | 39 | 307 | JCB | for microscopical | for the microscopical | none provided | no change | non-persuasive
STR Comment | 40 | 308 | Karas | GRAMMAR - Prepare known and … | The known and questioned samples to be compared are to be/should be prepared in the same manner. | Tone changes from 3rd person to 2nd person which is inconsistent in document. Since guidance document - is only should be used? | Revision was made | language changed to "When comparinged samples, specimens should be prepared in the same manner."
STR Comment | 41 | 309 | JCB | same manner. | same manner when applicable. | none provided | No change | non-persuasive
STR Comment | 42 | 314 | JCB | from removal | from the removal | none provided | Revision was made | incorporated suggestion
STR Comment | 43 | 315 | Kammrath | 13-KSSL | 13 | There are several instances where the reference has a tag after it. These should be checked and removed. This is one example. | Revision was made | Updated for uniformity across document
STR Comment | 44 | 324 | Karas | The USDA | No reference to USDA document | Inconsistent with other documents are referenced. | Revision was made | added citation to Ch 3 of Soil Survey Manual
STR Comment | 45 | 327 | JCB | fractions and | fractions studied and | none provided | Revision was made | incorporated suggested language
STR Comment | 46 | 328-353 | Rolando Carol | All of 7.4 | Should this section include "shall" statements when deciding between preferred methods of mounting? | Under the assumption that this standard practice is intended for guidance with best recommendations, this section might be enhanced by using "shall" statements to recommend preferred methods over less preferred methods. If method choice is up to the examiner with no real guidance on which methods should be preferred and why, examiners could ultimate proceed without following this standard. In other words, there may be a lot of room for subjective interpretation of methods. | No change | This intentioally does not require a specific mount procedure to allow flexibiltiy. Rather general recommndations are made.
STR Comment | 47 | 352 | JCB | media and | media, washed, and | none provided | revision was made | incorporated suggested language
STR Comment | 48 | 359 | WAR | PLM can also document grain morphological… | PLM can also be used to determine grain morphological… | PLM does not "documen"t per se, but does allow the examiner to determine (and document) grain morphology, etc. | Revision was made | incorporated suggested language
STR Comment | 49 | 361 | Kammrath | 3McCrone 2006 | 3 | There are several instances where the reference has a tag after it. These should be checked and removed. This is a 2nd example. | revision was made | updated for uniformity
STR Comment | 50 | 361 | Karas | GRAMMAR - For comparisons, use similar illumination and… | For comparisons, similar illumination and…should be used. | Tone changes from 3rd person to 2nd person which is inconsistent in document. | revision was made | incorporated suggested language
STR Comment | 51 | 369 | Karas | GRAMMAR - coatings, use a combination… | coatings, a combination of transmitted, ….should be used. Line 371 also needs to change to 'a plane-polarized light should be used while rotating the stage (Figure 1). | Tone changes from 3rd person to 2nd person which is inconsistent in document. | Revision was made | incorporated suggested language
STR Comment | 52 | 369-370 | JCB | transmitted reflected illuminations, or a combinations thereof. | transmitted and reflected illuminations. | none provided | Revision was made | incorporated suggested language
STR Comment | 53 | 381 | Karas | GRAMMAR - use of term examiner | Examiner used only 4 times, is this needed? One use of analyst in 676. | Stick to procedure language. Line 105 addresses this is forensic science practictioners (or perhaps stick to that term instead of examiner or analyst). | Revision was made | rephrased to remove use of examiner and analyst from all but documentation section
STR Comment | 54 | 384 | Karas | GRAMMAR - To assess these RI values, | RI not defined and only used in lines 384 and 393, other times refractive index spelled out. | Consistency | Revision was made | incorporated initialism into definition and used abbreviation throughout document
STR Comment | 55 | 386 | WAR | To assess these RI values, | To assess these refractive index (RI) values, | RI is not described as an abbreviation for refractive index. This is suggested to clarify that RI means refractive index; RI is frequently used even though n is the symbol for refractive index. | No change | incorporated initialism into definition and used abbreviation throughout document
STR Comment | 56 | 390 | Karas | GRAMMAR - Dispersion colors - | Dispersion Colors throughout 8.3, 9.2, 9.3, 10.1.2.5, 10.1.3, 10.2.1, 10.1.2.5 | Inconsistent capitalization or italicized words prior to a hyphen or when distinguishing topics throughout document | No change | Updates to italicizations made based on prior comment
STR Comment | 57 | 398 | Kammrath | 9-Bloss | 9 | There are several instances where the reference has a tag after it. These should be checked and removed. This is a 3rd (and last) example. There are more in this document. | Change was made | corrected
STR Comment | 58 | 403 | JCB | staining - use | staining - the use | none provided | change was made | incorporated suggested language
STR Comment | 59 | 407 | JCB | displaying | possessing | none provided | change was made | incorporated suggested language
STR Comment | 60 | 423 | JCB | of extinction | of the extinction | none provided | No change | non-persuasive
STR Comment | 61 | 423 | JCB | to mineral | to a mineral's | none provided | Revision was made | incorporated suggested language
STR Comment | 62 | 475 | JCB | parts | structures | none provided | revision was made | incorporated suggested language
STR Comment | 63 | 477 | JCB | fossil | fossilized | none provided | revision was made | incorporated suggested language
STR Comment | 64 | 502-533 | Rolando Carol | All of 9.2 | When two or more samples will be compared, do examiners know this ahead of time, before beginning their analysis of the first sample? Further, are all samples to be compared analyzed by the same analyst? Could each sample be analyzed by a separate examiner? This could help prevent bias in the form of keeping a prior sample in mind while examining the present comparative sample. | Comparing two or more samples for similarity differences allows for opportunities of unconscious bias to influence the analysis and interpretation of sample compositions. To encourage objectvitiy and reduce the potential for unconscious bias, it might be beneficial to have separate analysts investigate each sample. Alternatively, one analyst could anaylze each sample without knowing that the resulting analyses will be compared for similarity. | No change | In general, examiners know in advance that an exam will be a comparison. Best practice is to have a single analyst do the analysis for comparison. A second analyst could confirm those observations.
STR Comment | 65 | 514-517 | JCB | none provided | none provided | Why must these desciptors be defined in numerical terms within the report? They are qualitative assesements in the first place, not quantitative measures. | Revision was made | Removed sentence requiring description to be defined in notes/report and left the example scheme for reference.
STR Comment | 66 | 570 | JCB | or further | or to further | none provided | REvision was made | incorporated suggested language
STR Comment | 67 | 573-575 | Rolando Carol | Overall PLM performed a bit worse than the other three methods, but experienced participants in this study obtained results comparable to instrumental methods. | Should there be a recommendation to use at least one other method besides PLM when identifying/classifying? | If PLM performed worst among the four tested methods, should interpretations be verified by at least one superior method? | No change | As stated in 5.4 "This practice is intended to be used with other methods of analysis" and 5.7.2 "The identification of minerals might require confirmation with orthogonal techniques".
STR Comment | 68 | 578 | WAR | Overall PLM performed a bit worse than the other three methods, | Overall PLM did not perform quite as well as the other three methods, | The current wording sounds like all methods were sorta poor with PLM being the worst. New wording is more positive sounding. | revision was made | updated language based on reviewer's suggestion.
STR Comment | 69 | 577-578 | WAR | ...heavy mineral quantification by four methods, including PLM. | ...heavy mineral quantification by four methods: SEM/EDS, X-ray diffraction, Raman and PLM | It would be worthwhile to know all four methods. If I do not describe the methods correctly please adjust accordingly. | No change | Non-persuasive; the reference is provided should more detailed information be sought.
STR Comment | 70 | 598 | WAR | and were therefore derived from different | and were, therefore, derived from different | correcting punctuation | revision was made | corrected punctuation
STR Comment | 71 | 605-608 | Rolando Carol | Similar samples – The observation that multiple soil samples contain the same minerals or components with similar modal abundances and morphological characteristics supports the interpretation that the samples could have originated from a common source. | Could they clarify what counts as similar in terms of similar modal abundances? Is there a range that falls into similar enough or different enough? | none provided | No change | Due the wide range of sample quantity and quality, a set criterion for similar modal abundance cannot be specified.
STR Comment | 72 | 609-610 | JCB | none provided | none provided | I think this should be rephrased to something like: The size of the geographic area containing soil with similar properties is not known. | Revision of document | Expanded paragraph to include "The spatial extent of soils which share the same PLM characteristics can be constrained with sufficient known exemplars (E3272)."
STR Comment | 73 | 619 | JCB | bias | sample heterogeneity | none provided | revision of document | Language updated to "fractionation"
STR Comment | 74 | 623 | Kammrath | 30n | 30 | whats the n? | revision of document | deleted extra character
STR Comment | 75 | 626 | JCB | If the differences observed can be explained | If reasonable explanations exist for the observed differences | none provided | revision of document | incorporated suggested language
STR Comment | 76 | 626-630 | Rolando Carol | If the differences observed can be explained, then justification for the differences should be documented and the difference is not considered exclusionary. For these cases, use additional orthogonal methods (e.g., palynology, SEM-EDS, or XRD) to further evaluate for | When it states that differences can be explained, does that mean that an explanation is plausible, or that the explanation has been veririfed to be the case? Just trying to clarify if this means that there is a possible explanation for the differences from the same source or if an explanation has been confirmed as to why two samples from the same source actually did come from that same source even though they are different. | none provided | no change | The documention of explanable differnces should be logical, but, in general, the cause of the explanable difference cannot be definatively proven.
STR Comment | 77 | 640-641 | JCB | in geographic | in the geographic | none provided | no change | non-persuasive
STR Comment | 78 | 643 | JCB | dunes or | dunes, or | none provided | Revision was made | Added Oxford comma
STR Comment | 79 | 648 | JCB | case- specific | case-specific | none provided | revision was made | removed extra space character
STR Comment | 80 | 654 | JCB | environmental /ecological | environmental/ecological | none provided | revision was made | removed extra space character
STR Comment | 81 | 665-666 | Rolando Carol | The examiner’s analytical notes should provide a listing of the minerals, mineral varieties, and other components (characterized by their optical crystallographic and morphological properties) that are relevant for interpretation purposes. | Potential for "shalls" here? | Wondering if there is a listing of minimal things that should be mandatory for documentation. | Revision was made | updated should to shall
STR Comment | 82 | 671 | JCB | preparartion | preparartions | none provided | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 83 | 671 | Karas | GRAMMAR - Record any sample preparation (e.g., sieving, washing, density separation, mounting media). | Any sample preparation (e.g., sieving, washing, density separation, mounting media) should be recorded. | Tone changes from 3rd person to 2nd person which is inconsistent in document. | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 84 | 672 | JCB | media). | media) performed during the analysis. | none provided | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 85 | 673 | Karas | GRAMMAR - For comparisons, document similarities and differences among samples and describe... | For comparisons, similarities and differences among samples should be documented and include a description of the rationale for determining whether differences are explainable and exclusionary. | Tone changes from 3rd person to 2nd person which is inconsistent in document. | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 86 | 673-674 | Rolando Carol | For comparisons, document similarities and differences among samples and describe the rationale for determining whether differences are explainable or exclusionary. | Additional details regarding who performed the comparisons and what information was known about the samples before comparisons occurred. | This relates to a point I made earlier regarding potential unconcsious bias influencing judgments of similarity and differences when making comparisons. | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 87 | 675 | Karas | GRAMMAR - Document any referenced materials. | Referenced materials should be/will be documented. | Tone changes from 3rd person to 2nd person which is inconsistent in document. | Revision was made | Documentation section reorganized to mimic the similar guide to SEM-EDS of forensic geological mateirals currently at ASTM
STR Comment | 88 | 783 | Kammrath | Figures | n/a | These are beautiful photomicrographs that are very helpful for demonstrating the point in the text. Very well done. | No response needed.
STR Comment | 89 | General | Karas | None | No mention of maintence such as regular cleaning of optics with lens tissue and/or cleaning fluids, proper storage/dust cover and any potential professional servicing of the polorized light microscope. | Stated in QA section of instructions to address any calibrations or checks of equipment… | No change | Microscopes are not routinely calibrated. As such, only need to be serviced when not functioning or if required by the QA policy of the laboroatory.
STR Comment | 90 | General | Karas | None | No mention of handling, preservation or storage. | Stated in QA section to state requirements for sample handling, preparation, preservation, and storage. Preparation covered. | No change | Recommendations for sample preservation and storage are covered in E1492; further instructions are beyond the scope of this guide.
STR Comment | 91 | General | Karas | None | Environmental conditions and appropriate positive/negative controls and criteria for controls | Stated in QA section regarding environmental conditions and appropriate cotnrols - In reading this standard, it does seem that controls is applicable and it says any environmental conditions that must be present (alsodon't think any additional information likely needed here). | no change | Positive and Negative controls are not pertinent to this guide. However this document recommends the use of reference materials and reference documents, as available and applicable to the analysis.

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25