## START HERE Cover Sheet
OSAC Program Office Use Only |  |  | Comment Adjudication_TO SC
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2025-S-0013 Standard for a Quality Assurance Program in Forensic Anthropology
OSAC Unit
Unit Chair
Name: | Eric Bartelink
Affiliation:
Unit Technical Contact
Name: | Deborah Pinto
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome.
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition | Rationale
Not germane The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope. | No additional rationale from the SC
No response needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it. | No additional rationale from the SC
No change The OSAC Proposed standard will not be revised based on this comment. | The OSAC Proposed standard will not be revised based on this comment. | SC must state WHY the standard will not be revised.
Revision was made The OSAC Proposed standard was revised based on this comment. | The OSAC Proposed standard was revised based on this comment. | SC must state WHAT revisions were made to address the comment.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment. | No additional rationale from the SC
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision was made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale
Note on A16: ====== ID#AAAANtMpke8 OSAC for Forensic Science (2021-03-23 19:06:34) This link will be provided by OPO

## Comments
|  |  |  | OSAC Proposed Standard Number | 2025-S-0013
|  |  |  | Standard Title | Standard for a Quality Assurance Program in Forensic Anthropology
|  |  |  | Date of Open Comment Submission | 2025-02-04
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Comments - Summary comments
Public Comment | 1 | 187-188 | Vincent Sava | Individuals who meet the requirements needed to access the laboratory, access and/or handle evidence, perform tasks, etc. | Individuals approved by Laboratory Management,who meet the requirements needed to access the laboratory, access and/or handle evidence, perform tasks, etc. | Per ISO a person is not authorized until written approval is granted, usually by the lab director | Revision was made | Added "approved by laboratory management" but did not capitalize laboratory or management as this is not a term that is defined in the standard. Laboratory management is used a general term to indicate the person/entity that controls and/or directs the laboratory.
Public Comment | 2 | 203-204 | Vincent Sava | Evaluation of a person’s knowledge and ability to perform work before authorized to do so independently | Evaluation of a person’s knowledge and ability to independently perform work | A person can still be competency tested even if already or previously authorized in a respective area | Revision was made | Changed to "Evaluation of a person’s knowledge and ability to independently perform work."
Public Comment | 3 | 212-213 | Vincent Sava | A failure to follow a laboratory standard operating procedure (SOP) or controlled document in a process, design, documentation, or procedure. | A failure to follow provisions of laboratory standard operating procedure (SOP) or other controlled document | Clarification--SOPs are controlled documents | Revision was made | Added "other"
Public Comment | 4 | 216-218 | Vincent Sava | In the forensic community, refers to a technical and/or administrative review of the case file, including the report. | Refers to a technical and administrative review of case documents and usually includes the report. | In my QA experience, few in the forensic community outside of anthropologists use the term peer review to describe a technical/administrative review. It is a term used mostly by forensic anthropologists given the academic nature of our profession. We should get away from using this non-ISO term. It causes a lot of confusion since it means different things to different labs. For example, at DPAA peer review involves only the report and analytical notes. As well, the technical and administrative reviews are separate ISO requirements, which can be done as a concurrent operation. As such, the "and/or" in line 217 should read only “and.” | Revision was made | The term “peer review” is deleted from the terms and document text. The term was used to combine technical and administrative reviews, which are already defined. Since forensic Anthropology is the only discipline using an academic term to encompass these concepts, we are attempting to bring forensic anthropology practitioners into alignment with other disciplines via this standard.
Public Comment | 5 | 222-223 | Vincent Sava | Actions taken to reduce or eliminate the opportunities for nonconforming work or unexpected/undesirable events from occurring. | Proactive actions taken to reduce or eliminate the opportunities for nonconforming work or unexpected/undesirable events from occurring. | Clarification--Preventive action occurs when a problem is anticipated to occur. Corrective action is after a problem is discovered. | Revision was made | We agree with the commenter. Definition changed to "Proactive measure taken to reduce or eliminate the opportunities for nonconformance or unexpected/undesirable events from occurring. "Noncomforming work" is changed to "nonconformance" to be consistent with public comment #33
Public Comment | 6 | 227-228 | Vincent Sava | Evaluation of participant performance against pre-established criteria by means of interlaboratory comparisons. | Evaluation of laboratory performance against pre-established criteria by means of interlaboratory comparisons. | What is the "participant"? A laboratroy or an individual? A PT is not a QA measure for individual performance. That is a competency test. | No change | The SC determined that "participant" includes laboratories. This definition is based on OSAC preferred in the lexicon.
Public Comment | 7 | 255-257 | Vincent Sava | A qualified and authorized second party's evaluation of reports, notes, data, and other documentation to ensure there is appropriate and sufficient support for actions, results, conclusions, opinions, and interpretations. | An authorized second party evaluation of reports, notes, data, and other documentation to ensure there is appropriate and sufficient support for actions, results, conclusions, opinions, and interpretations. | Qualified and authorized are redundant. You have to be qualified to be authorized. | Revision was made | We agree with the commenter. Deleted "qualified" from the definition.
Public Comment | 8 | 282-283 | Vincent Sava | There should be at least one person, however named, that has the responsibility for the monitoring, maintenance, and execution of this quality assurance program. | There should be at least one person, however named, that has the responsibility for the monitoring, maintenance, and execution of the quality assurance program. | Wording: This--> the | Revision was made | Changed to "the"
Public Comment | 9 | 286-287 | Vincent Sava | The forensic anthropology laboratory shall have a health and safety program to address personal safety while in the laboratory and at the scene. | The forensic anthropology laboratory shall have a health and safety program to address personal safety while in the laboratory and during remote operations. | External lab ops include more than just scene. There is traveling, training, etc. | Revision was made | We agree with the commenter. "at the scene" changed to "during remote operations"
Public Comment | 10 | 292-293 | Vincent Sava | A forensic anthropology laboratory shall have measures to ensure the security of evidence to include evidence recovery, transportation, handling, and storage, as well as the security of case files (electronic and hard-copy documentation). | A forensic anthropology laboratory shall have measures, including a written policy or procedure, to ensure the security of evidence to include evidence recovery, transportation, handling, and storage, as well as the security of case files (electronic and hard-copy documentation). | Needs to iinclude a written policy and procedure. Why are case files being lumped with evidence? | Revision was made | Changed to: A forensic anthropology laboratory shall have written policies and/or procedures to ensure the security of evidence at all times, including during evidence recovery, transportation, handling, and storage. The laboratory shall also have written policies and/or procedures to ensure the security of case files, including electronic and hard-copy documentation.
Public Comment | 11 | 298-300 | Vincent Sava | At a minimum, the system shall include a list of all controlled documents used by the laboratory, the history of each document’s revisions and approvals, and a procedure for clearly marking documents as either controlled or uncontrolled. | At a minimum, the system shall include a list of all controlled documents used by the laboratory, the history of each document’s revisions and approvals, a procedure for clearly marking documents as either controlled or uncontrolled, and provisions for the archiving and disposition of obsolete documents. | Incomplete requrement. ISO includes more, e.g., the disposal and archiving of documents. | Revision was made | Added phrase about archiving and disposition of obsolete documents.
Public Comment | 12 | 303-306 | Vincent Sava | The forensic anthropology laboratory shall have written SOPs to ensure all tasks are performed consistently and with high quality. Procedures and processes used to perform tasks shall be clearly documented such that they can be repeated by another competent and qualified forensic anthropologist. | The forensic anthropology laboratory shall have written SOPs to ensure all operations are performed consistently and with high quality. Procedures and processes used to perform operations shall be clearly documented such that they can be repeated by another qualified person. | Multiple wording problems. Task is too restrictive a term. SOPs have content beyond merely listing analytical (?) tasks. There are management strategies, sequencing and synchronization of activity, coordinating instructions, organizational parameters, descriptions, etc. The term "operations" is more encompassing. Change forensic anthropologist to person. Other people are covered by SOPs as well, not just FAs. | Revision was made | Changed two instances of "tasks" to "operations" and Changed "another competent and qualified forensic anthropologist" to "another qualified person" to accommodate that operations may not be casework related.
Public Comment | 13 | 320-322 | Vincent Sava | Steps documented in SOPs may not encompass or be appropriate for all possible casework scenarios. Deviations from the SOP should be pre-approved. These deviations shall be documented by the laboratory management, and, when necessary, disclosed to the requesting agency prior tto their occurrence. | Operations documented in SOPs may not encompass or be appropriate for all possible scenarios. Deviations from the SOP should be pre-approved. These deviations shall be documented by the laboratory management, and, when necessary, disclosed to the requesting agency prior to their implementation. | "Steps" is too restrictive a work. Again, "operations" is more inclusive. SOPs cover more than casework. Lab staff must get preapproval for SOP deviations that do not involve casework. | Revision was made | Changed from "Steps" to "Operations" and deleted "casework". Changed "occurrence" to "implementation"
Public Comment | 14 | 329 | Vincent Sava | Calibration and Performance Checking | Metrological & Observation Reliability | Use this terminology since this is the broader purpose of this QA measure | Revision was made | Changed to " Accuracy and Reliability of Measurement and Observation" to better describe what is included in this section | SC is trying to keep core concepts accessible here without making this standard a copy of ISO 17020.
Public Comment | 15 | 330-334 | Vincent Sava | The forensic anthropology laboratory shall have a policy and procedure that addresses the calibration, performance, and maintenance of its instruments (e.g., calipers, mandibulometer, osteometric board), equipment (e.g., digitizer, digital microscopes), and comparative materials (e.g., pubic symphysis casts) used during testing that includes the interval/frequency of these actions. | The forensic anthropology laboratory shall have a policy and procedure that addresses the calibration, performance, and maintenance of its equipment (e.g., calipers, mandibulometer, osteometric board, digitizer, microscopes, pubic symphysis casts, FORDISC) used during analyses that includes the interval/frequency of these actions. | There can be a lot of confusion of what is defined as equipment versus instrument, versus lab standard, comparative material, etc. ISO uses the generic term “equipment” with a note about differing terminology. The standard should follow this model to avoid confusion. Note: FORDISC is considered a comparative standard and is included under this QA measure. Change “testing” to “analyses”. ISO 17020 labs do not do testing—they do inspections. The “interval/frequency of the actions” should be moved to 336-340 since it involves record keeping. | Revision was made | Changed to: To ensure accuracy and reliability of measurements (i.e., capturing the true measurement), the forensic anthropology laboratory shall have a policy and procedure that addresses the calibration and/or suitability (i.e., condition, completeness), performance, and maintenance of its equipment used during analyses. NOTE: the generic term “equipment” is used in this context to encompass equipment, instruments, comparative materials, etc. Examples of equipment commonly used during forensic anthropological analyses include, but are not limited to calipers, osteometric boards, digitizers, digital microscopes, reference casts of pubic symphyses and sternal rib ends, and Fordisc.
Public Comment | 16 | 336-340 | Vincent Sava | The laboratory shall maintain a list of equipment that requires calibration, performance checking, and maintenance, including each instrument’s serial number or other unique identifier, and the type or name of the instrument. A log of calibration, performance checking and check results, maintenance, and instrument repair shall be maintained. Instruments or equipment shall not be used for casework if satisfactory calibration, performance, and maintenance cannot be achieved. | The laboratory shall maintain a list of equipment that requires metrological traceability including each item’s serial number or other unique identifier, and the type or name of the instrument. A log of calibration, performance checking and check results, maintenance, and repair shall be maintained. Equipment shall not be used for casework if metrological traceability cannot be achieved. | Wording and terminology to bring the requirement in line with ISO. The requirement is for items needing metrological traceability but other categories of equipment can and should be subject to this measure when safety and integrity of evidence are concerned (e.g., x-ray emitters and evidence coolers, respectively). | Revision was made | Changed to: The laboratory shall maintain a list of equipment that requires calibration, performance checking, and maintenance; the list shall include each item’s description/name, serial number or other unique identifier, and acceptable tolerances (when applicable) . The laboratory policy and procedure addressing equipment shall provide the interval and frequency of calibrations, performance checks, and maintenance for all equipment that is in service. A log of calibration, performance checks and results, maintenance, and instrument repair shall be maintained. Equipment failing to meet minimum acceptable criteria shall be removed from service, labeled as such, and documented in laboratory management records. | this standard is intended to assist labs and practitioners improve quality measures as a step toward ISO accreditation. It is not intended to copy or replace ISO standards
Public Comment | 17 | 343-346 | Vincent Sava | All forensic anthropology personnel shall be qualified to perform the tasks outlined in the laboratory’s scope of work. The education and training of each individual authorized to perform tasks shall be documented and available upon request. A list of all authorized personnel should be maintained. | Any forensic anthropology laboratory personnel authorized to perform tasks listed in the laboratory’s scope of work shall hold the appropriate qualifications. The education and training of each of these individuals shall be documented and available upon appropriate request. A list of authorized personnel, and which tasks each are authorized to perform, shall be maintained by the laboratory. | The provision the way it is currently written makes it sound like all lab personnel need to be authorized in all analytical tasks. This is not realistic. The lab needs flexibility to authorize some personnel to perform some tasks and others anoher set based on experience level and other factors. | Revision was made | Accepted the commenter's recommendation. Changed "all" to "any"
Public Comment | 18 | 348-357 | Vincent Sava | The forensic anthropology laboratory shall identify its tasks and the relevant competencies required to achieve successful performance of the stated task covered under the scope of the laboratory’s work. Competency requirements may include a combination of knowledge, skills, and abilities evidenced through education and training. The laboratory shall identify or create a training program to ensure personnel have the required knowledge, skills, and abilities to perform the tasks. Training may be achieved through internal sources from qualified personnel or external training via a continuing professional development program. The laboratory shall maintain documentation of the training and education each authorized personnel receives to include the date the education or training was completed. | The forensic anthropology laboratory shall identify the relevant competencies required to successfulyl perform tasks covered under the laboratory’s scope of work. Competency requirements may include a combination of knowledge, skills, and abilities evidenced through education, external training, as well as internal laboratory training requirements. The laboratory shall maintain a training program to ensure personnel possess and retain the required knowledge, skills, and abilities. Training may be achieved internally from qualified personnel or externally via a continuing professional development program. The laboratory shall maintain documentation of the training and education each authorized personnel receives and the date it was completed. | This section is on training but it discusses qualifications as well. This section is verbose and unclear and is edited for clarity. Currently there is no formal CE program for anthropologists that I'm aware of. | Revision was made | Accepted the commenter's recommendation. Paragraph changed to" The forensic anthropology laboratory shall identify its tasks and the relevant competencies required to achieve successfully performance of the stated tasks covered under the scope of the laboratory’s work. Competency requirements may include a combination of knowledge, skills, and abilities evidenced through education and training, as well as internal laboratory training requirements. The laboratory shall identify or create maintain a training program to ensure personnel have possess and retain the required knowledge, skills, and abilities to perform the tasks. Training may be achieved through internally sources from qualified personnel or externally training via a continuing professional development program. The laboratory shall maintain documentation of the training and education each authorized personnel receives to include the date the education or trainingand the date it was completed."
Public Comment | 19 | 359 | Vincent Sava | Competency and Proficiency Testing | Competency Testing | Delete proficiency Testing--see below | No change | See below
Public Comment | 20 | 360-362 | Vincent Sava | The forensic anthropology laboratory shall have a program and procedure(s) for competency testing as well as external and/or internal proficiency testing that evaluates practitioners’ capabilities, performance, and overall laboratory practices. | The forensic anthropology laboratory shall have a program and procedure(s) for competency testing that evaluates practitioner capabilities, performance, and understanding of overall laboratory practices. | Remove proficiency testing from this standard. It has little utility in a forensic anthropology lab—especially a small lab or sole practitioner—the target audience for this standard. Proficiency testing is a useful QA measure for a lab using a small number of methods (e.g., a drug lab). Anthropologists have scores of methods for sex determination alone. Eventually, over a couple of years, the drug lab will be tested in all its methods. This will never happen in a FA lab. As well, obtaining suitable testing materials for external tests for anthropology labs has been problematic. Overall, the resources spent on proficiency testing in a FA lab far exceeds its value as a QA measure. Also, this section does not define the practitioner as the lab or the individual. If the latter, this is inappropriate since porficiency tests are not used to evaluate individual ability (competency tests do this); rather they are used as interlaboratory compairisons to gauge the efficacy of methods and processes. | No change | Although there are multiple methods that anthropologists are able to use for different analyses, proficiency tests could be set up to evaluate a specific method and not analysis. It is our opinion that proficiency tests are important to smaller labs and sole practitioners, as they may help to assess and identify potential improvements to lab processes or procedures. The SC opted to leave the text as-is. Given the intent of the standard (not to take the place of ISO or to be exhaustive, but to provide some steps that move practitioners and labs toward accreditation), this section is sufficient. The level of detail in the standard aligns with the scope and intent of this document, but the SC will entertain crafting more detailed guidance on this in a future document.
Public Comment | 21 | 365-369 | Vincent Sava | Evidence shall be received and accessioned into a forensic anthropology laboratory and handled within the laboratory in a manner that maintains the integrity of the evidence and protects evidence against commingling, contamination, deterioration, inadvertent loss, or destruction. Evidence shall be transported, secured, conserved, and stored to minimize loss, contamination, decomposition, and other changes. | Evidence transported by, and received and accessioned into, a forensic anthropology laboratory shall be secured, conserved, examined, stored and otherwise treated in a manner that maintains its integrity. Evidence in the custody of the laboratory is protected against loss, destruction, commingling, contamination, deterioration, decomposition, and other changes at all times. | This section is verbose and unclear and is edited for clarity. As well, lab evidence procedures for transport only apply when the evidence is in lab custody. You can't make other agencies transporting evidence follow your SOP. This section is woefully incomplete. For example, there is nothing about numbering evidence with unique identifiers, having that numbering system being able to track evidence items split out from the main assemblage, etc. | Revision was made | Accepted the commenter's recommendation. Added: All evidence entering the custody of the laboratory shall have a unique identifier, whether previously assigned or assigned by the laboratory. This number is used on the chain-of-custody and remains associated with the evidence through its final disposition. If smaller samples are separated from the submitted evidence, these shall be provided with their own unique identifier and include associated documentation about the origin of the sample.
Public Comment | 22 | 373-376 | Vincent Sava | The forensic anthropology laboratory shall maintain written documentation of all activities associated with an analysis or service provided, to include communications regarding the case. The documentation should be traceable and carry the same unique identifier as that assigned to the evidence, and it should be tracked and retrievable. | The forensic anthropology laboratory shall maintain documentation of all activities associated with an analysis or service provided, to include communications regarding the case. The documentation should be traceable and carry the same unique identifier as that assigned to the evidence. | Delete “written.” Not all documentation is written. There is imagery, recorded interviews, digital media (e.g., discs). Remove "and it should be tracked and retrievable." Same as traceable. However, there is no definition of traceable in the standard. This is a key forensic concept that needs to be defined here. | Revision was made | deleted "written" and added "traceable" in parentheses | We opted to keep both simple language and QA language to bridge the gap.
Public Comment | 23 | 378 | Vincent Sava | Technical and Administrative Review (Peer Review) | Technical and Administrative Review | In my QA experience, few in the forensic community outside of anthropologists use the term peer review to describe a technical/administrative review. It is a term used mostly by forensic anthropologists given the academic nature of our profession. We should get away from using this non-ISO term. It causes a lot of confusion since it means different things to different labs. For example, at DPAA peer review involves only the report and analytical notes. | Revision was made | Deleted "Peer Review" in text and in terms/definitions
Public Comment | 24 | 379-382 | Vincent Sava | The forensic anthropology laboratory shall have a written procedure for technical and administrative reviews of reports of analysis. The written procedure should identify the qualifications of the technical and administrative reviewer(s). The laboratory should maintain a list of personnel authorized to perform technical and administrative reviews. | The forensic anthropology laboratory shall have a written procedure for technical and administrative reviews of reports of analysis. The written procedure should identify the qualifications for technical and administrative reviewer(s). The laboratory should maintain a list of personnel authorized to perform technical and administrative reviews and, for the former, specify the analyses each individual is authorized to review. | “Of” replaced by “for.” Otherwise, the requirement can be interpreted that each individual performing reviews be identified in the procedure. “and, for the former, specify the analyses each individual is authorized to review” added since not all reviewers may be qualified to review all types of analyses. | Revision was made | Accepted the commenter's suggestions. Replaced "of" with "for" and added "and, for the former, specify the analyses each individual is authorized to review”
Public Comment | 25 | 385-390 | Vincent Sava | The forensic anthropology laboratory shall have a written policy and procedure to address continuous improvement which includes preventive actions and/or risk assessments and, in the event of nonconforming work, ensure that corrective actions are taken. Corrective action plans shall be proportionate to the severity of the incident. Additionally, the policy and procedure shall address a review of corrective actions, preventive actions, and risk assessments at least annually to ensure actions taken are effective and that process improvements are properly implemented. | The forensic anthropology laboratory shall have a written policy and procedure to address continuous improvement which includes preventive actions and/or risk assessments and, in the event of nonconforming work, ensure that corrective actions are taken. Corrective actions shall be proportionate to the severity of the incident. | I’m not sure what this section is about. The heading is “Preventive and Corrective Actions” but it also mentions continuous improvement and risk assessment in addition to preventive and corrective actions. All of these are different QA measures and should have their own respective sections. The standard has conflated multiple ISO sections to produce this section. Some of the content comes from a note in 8.6.1 of ISO 17025. Notes in ISO are NOT requirements and should not be turned into them. Any content from notes is better suited for the Guidelines document. This section is very superficial in its discussion of corrective action. Corrective action is a complicated QA measure. Corrective action plans are mentioned seemingly out of nowhere and their use is mis-stated. It is the corrective action, not the corrective action plan that is proportional to the non conformance ("plan" is removed in my suggested revision). In fact, in most non-conformances, a corrective action plan is not used or needed. For example, non-systemic "incidents" are handled with informal "corrections” that do not rise to the level of formal corrective action needing a corrective action plan. The last sentence seems to be alluding to an annual management review which is still another QA measure that needs its own section if addressed by this standard. I removed this sentence in my suggested version | Revision was made | we recognize that this section is not comparable to that of ISO, this standard is not a substitute for accreditation standards, and that adherence to this standard is not necessarily sufficient to satisfy accreditation requirements. However, we do feel that this section introduces topic areas that should be considered as steps toward accreditation, keeping in line with the scope and intent of this document. The level of detail in the standard aligns with the scope and intent of this document, but the SC will entertain crafting more detailed guidance on this in a future document.
Public Comment | 26 | Throughout | Vincent Sava | should | shall | This is a standards document, not a best practice document. As such, "should" should not appear in it's provisions. "Should" denotes a requirement is optional, highly recommended, etc. A standard sets hard requrements that have to be followed. | Revision was made | Changed most instances of "should" to "shall." remaining "shoulds" are located in 4.6 and 4.9
Public Comment | 27 | Summary and Conclusions | Vincent Sava | none provided | Summary and Conclusions: This standard does not do justice to QA in a forensic anthropology lab. It fails to capture and convey the complexity and interconnectedness of the QA requirements needed for a successful lab QA program. Several important and valuable QA measures are left out while others of low utility to the lab (e.g., proficiency tests) are addressed. Important omitted QA measures include but are not limited to: • Risk management • Facilities and environmental conditions • Internal auditing • Management of external providers • Uncertainty of measurement • Reporting Most of the measures that do appear in the standard are way understated (e.g., methods). The problem is to what degree should the standard address QA requirements? Lab QA requirements are massive and it may be impractical to regurgitate them all. Additionally, due to paraphrasing, the requirements may lose some of their original intent and meaning. However, the standard as it appears now is watered down and sometimes inaccurate in its paraphrasing of the original ISO requirements. If the minimalist approach is to be taken, then I propose the following content for the standard (continued in below cell): | none provided | No change | Although we appreciate the commenter's input which was invaluable, we feel that this document also has value. This document is the first step in getting forensic anthropology laboratories to begin operating within a quality framework. The commenter's suggestions of selecting an ISO standard, align with an accrediting body, and have laboratory management train and become well-versed in that standard is ideal, but unrealistic. Most laboratories employ a sole-practitioner with little to no help from their administration when it comes to developing a Quality program. Some offices that do have QM support may still not divert their resources to a laboratory with a sole practitioner. The QA measures that the commenter mentions are ones that are difficult to do as a sole practitioner who has limited funding. This document takes into account all the possible environments that forensic anthropologists practice in, i.e., academic institutions, local/state/federal governments, private practices. Those in large facilities with an invested QM department will supercede the requirements of this document. However, those that do not have access to such services need to begin with small managable steps that can result in small victories. Once practitioners are confident with their Quality foundation, then they can take the next steps to develop a more robust program. We are concerned that if practitioners find this standard unobtainable, it will be dismissed and no improvements will be implemented in their practice.
Public Comment | 28 | Summary and Conclusions (continued) | Vincent Sava | none provided | The laboratory shall: 1. Select an ISO standard (either ISO/IEC 17025 or ISO/IEC 17020). 2. Formally or informally align with an accrediting body and obtain their supplemental forensic requirements. 3. Have Laboratory Management develop a deep understanding of the ISO and supplemental requirements through training and education. 4. Implement the ISO and supplemental requirements within the laboratory to the fullest extent possible and practical regardless whether the laboratory is or is not actively seeking accreditation. That is about as simple as you can write it. The standard is now about process rather than hundreds of specific requirements. | none provided | No change | see response to PC#27
Public Comment | 29 | 4, line 99 | X | Currently, there is no guidance on… | Currently, there is no standardized guidance on… | There is guidance available, but it has not been standardized | Revision was made | Added "standardized"
Public Comment | 30 | 6, line 167 | X | …to ensure a consistent, trustworthy… | …to ensure a consistent, transparent… | "Trustworthy" is a subjective term. Suggestion to replace it with "transparent" to fit with forensic vernacular | Revision was made | Changed to "transparent"
Public Comment | 31 | 6, line 182 | X | An evaluation of the report… | An evaluation of a final report… | Suggest changing "the" to "a final" to indicate that an administrative review occurs at the end of the process, and not on an early draft report | Revision was made | Change to "a final"
Public Comment | 32 | Section 3 | X |  | Suggest adding "performance check" and "corrective action" | These terms are used in the document, but not defined | Revision was made | Both terms added to terms and definitions. OSAC lexicon definitions used
Public Comment | 33 | 3.7 (and everywhere else the term is used) | X | Nonconforming work | Nonconformance | Nonconformance is the noun that is being defined and can be used for issues beyond a work product such as procedural errors. Nonconforming is an adjective | Revision was made | Changed all instances of "non-confirming work" in the standard to "nonconformance"
Public Comment | 34 | 3.8, line 218 | X | …case file, including the report. | …case file. | The definiton of case file (3.4) already includes the report. | Revision was made | in response to PC comment 4, the term “peer review” is deleted from the terms and document text. Thus wording changes to the definition are no longer needed
Public Comment | 35 | 3.9 | X | preventive actions…Actions taken… | Change "actions" to singular "action" in both the term and defintion | It doesn't seem necessary to have this as a plural term | Revision was made | removed the "s" from "actions" in the term. In response to PC comment 5, the definition has been modified, replacing "actions" with measure
Public Comment | 36 | 3.1 | X | Evaluation of participant performance…by means of interlaboratory comparisons. | Evaluation of a person's performance…by means of comparison. | Change "participant" to "a person's" to align with the definiton of competency test (3.5). Remove "interlaboratory" since there are very few opportunites for this type of comparison. The CTS options are also not interlaboratory. | Revision was made | Definition provided is OSAC-preferred from lexicon. The SC determined "participant" includes people and laboratories. Added "typically" to address concern about interlaboratory comparison
Public Comment | 37 | 3.11, line 232 | X | The entity that requests forensic analysis or service. | The entity that requests an analysis or service. | Remove "forensic," because not all analyses or services are forensic (e.g., human/non-human, and search/recovery of potentially non-forensic material) | Revision was made | Removed "forensic"
Public Comment | 38 | line 238 | X | Evaluations | Evaluation | It doesn't seem necessary to have this as a plural term | Revision was made | definition changed from "Evaluations of…" to "Assessment of …"
Public Comment | 39 | line 242 | X | …recurring operations in a workplace;… | …recurring operations in a laboratory;… | "Laboratory" is a more appropriate term for the purpose of this document | No change | Most SOPs will cover operations in the lab, but if the suggested change is made, it does not cover remote operations. Workplace is a more general term for the settings in which work is done
Public Comment | 40 | line 255 | X | A qualified… | No suggestion, but this may be flagged by FSSB. What is "qualified?" Who decides? | none provided | No change | Revision was made in PC comment 7. Deleted "qualified" from the definition.
Public Comment | 41 | line 261 | X | …or component, to… | …or component to… | Remove extra comma after component | Revision was made | removed comma
Public Comment | 42 | line 300 | X | …controlled or uncontrolled. | What is an uncontrolled document? Define or explain | This is not a commonly used term in Anthropology and may not be well understood. | Revision was made | Term and definition added for uncontrolled document
Public Comment | 43 | lines 318-319 | X | none provided | Why is this sentence under the SOP heading? It doesn't seem to fit. Clarify where "the location shall be documented." | none provided | Revision was made | The sentence was deleted because it is unnecessary.
Public Comment | 44 | line 321 | X | Deviations from the SOP should be pre-approved. | Clarify who should pre-approve deviations, particularly for sole practitioners. | none provided | Revision was made | added clarification for sole practioners
Public Comment | 45 | line 327 | X | …new or modified methods. | …new or modified methods, equipment, and software. | Add additional laboratory components that need validation. | Revision was made | Added "equipment and software"
Public Comment | 46 | line 329 | X | Calibration and Performance Checking | Calibration and Performance Checks | Suggestion to use "checks" rather than "checking." | Revision was made | Revised in PC comment 14.
Public Comment | 47 | line 331 | X | …calibration, performance, and maintenance… | How is performance measured or addressed? | Perhaps provide a definition of performance check or add an example for those unfamiliar with the concept. | Revision was made | Term added to terms list
Public Comment | 48 | line 344 | X | …laboratory's scope of work. | …laboratory's scope of work at their designated level. | Not all analysts may be trained/permitted to perform all tasks in the scope. Add language to clarify that some may be differentiated by level. | Revision was made | Revised in PC comment 17. Changed "all" to "any"
Public Comment | 49 | line 354-355 | X | Training may be achieved through internal sources from qualified personnel or external training via… | Training may be achieved internally from qualified personnel or externally via… | Suggestion for clarity | Revision was made | Revised in PC comment 18. required change is included in the revised paragraph: "The forensic anthropology laboratory shall identify its tasks and the relevant competencies required to achieve successfully performance of the stated tasks covered under the scope of the laboratory’s work. Competency requirements may include a combination of knowledge, skills, and abilities evidenced through education and training, as well as internal laboratory training requirements. The laboratory shall identify or create maintain a training program to ensure personnel have possess and retain the required knowledge, skills, and abilities to perform the tasks. Training may be achieved through internally sources from qualified personnel or externally training via a continuing professional development program. The laboratory shall maintain documentation of the training and education each authorized personnel receives to include the date the education or trainingand the date it was completed."
Public Comment | 50 | line 375-376 | X | The documentation should be traceable…and it should be tracked… | The documentation shall be traceable…and it shall be tracked… | Change "should" to "shall." These are important requirements. | Revision was made | Revised in PC comment 22. Changed "should" to "shall"
Public Comment | 51 | line 380-381 | X | The written procedure should identify…The laboratory should maintain… | The written procedure shall identify…The laboratory shall maintain… | Change "should" to "shall." These are important requirements. | Revision was made | Revised in PC comment 26. Changed "should" to "shall"
Task Group Comment | 1 |  |  | None Received
STR Comment | 1 | 227-228 | Boyd | "Evaluation of participant performance against pre-established criteria by means of interlaboratory comparisons." | "Evaluation of participant performance against pre-established criteria." | Inclusion of the phrase "interlaboratory comparison" is confusing. What are the specific conditions within the context of proficiency testing that would require involvement of an outside laboratory? Are there conditions in which an outside laboratory does not need to be involved? | No change | This definition borrows phrasing from ISO 17043.
STR Comment | 2 | 238 | Boyd | "Evaluations of potential issues that could create undesirable events." | "Assessment of potential issues that could create undesirable events." | Evaluation and assessment mean different things and should be used in accordance with their individual meanings in standards documents. | Revision was made | Changed to "assessment"
STR Comment | 3 | 251 | Boyd | "Often requires an SOP to ensure it is performed consistently." | "Often requires an SOP to ensure it is performed correctly and consistently." | Just because something is peformed consistently does not mean that is performed correctly. It may be prudent to specifcy that the task requires training and an SOP to be done correctly AND consistently. | Revision was made | Added "correctly and"
STR Comment | 4 | 262 | Boyd | "…intended use or application have been fufilled." | "…intended use or application have been met." | Could be pedantic, but I think met is sufficient for explaining that a minimum requirement has been met to support the validation tool as originally intended. | Revision was made | Changed to "met."
STR Comment | 5 | 320-323 | Richard Remy | Steps documented in SOPs may not encompass or be appropriate for all possible casework scenarios. Deviations from the SOP should be pre-approved. These deviations shall be doucmented by the laboratory management, and, when necessary, disclosed to the requesting agency prior to their occurrence. | Steps documented in SOPs may not encompass or be appropriate for all possible casework scenarios. Deviations from the SOP should be pre-approved. These deviations shall be doucmented by the laboratory management, and, when necessary, disclosed to the requesting agency prior to their occurrence. Laboratory management shall take actions to minimize deviations. | Without Management's active participation in minimizing deviations then the laboratory could deviate from all policies at any time and keep the deviations active indefinately without having to commit to placing a deviation into a controlled document such a an SOP. | Revision was made | Added "Laboratory management and personnel shall take actions to minimize deviations from SOPs."
STR Comment | 6 | 360-362 | Richard Remy | The forensic anthropology laboratory shall have a program and procedure(s) for competency testing as well as external and/or internal proficiency testing that evaluates practitioners' capabilities, performance, and overall laboratory practices. | The forensic anthropology laboratory shall have a program and procredure(s) for competency testing, which shall include a practical component, and proficiency testing (internal and/or external) that evaluates practicitioners' capabilities, performance, and overall laboratory practices. | Proficiency testing does not initiated until after competence and authorization have been achieved. Without a practical component added to competency testing it is very hard to evaluate an anthropologists' application of testing methods. If no practical component exists then anthropologists' practical application is not evaluated until a proficiency test cycle begings for them, which could be up to 1 year after performing independent casework depending on how policy is written. | Revision was made | Added "which shall include a practical component"
STR Comment | 7 | 360-362 | Jennifer Fienup | capabilities, performance, and overall laboratory practices. | capabilities, performance, and overall laboratory practices. The competency testing should at a minimum include a practical component that covers the anticipated spectrum of testing. | competency test should include a practical component as necessary otherwise interpretation could be that a written/verbal exam only to show competence is sufficient. | Revision was made | Revised in STR comment 6. Added "which shall include a practical component"
STR Comment | 8 | 389 | Jennifer Fienup | address a review of corrective actions, preventive actions, and risk assessments at least annually to ensure actions taken are effective | address the monitoring of corrective actions, preventive actions, and risk assessments to ensure actions taken are effective | change wording to be less cumbersome/constrictive. Intent should be that effectiveness is monitored for a period of time as determined by the lab | Revision was made | Revised to commenter's suggestion
STR Comment | 9 | N/A | Richard Remy | No current language | The forensic anthropology laboratory shall adhere to a documented ethics policy. | I cannot stress enough how important ethics is in forensics. Additionally this document uses the word trustoworthy in section 1 but has no objective wording that states how this is to occur. | Revision was made | Added section 4.16 to address impartiality

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1 | Vincent Sava |  |  | Formerly Defense POW/MIA Accounting Agency (Retired QA Manager) |  | nboneapart@aol.com | 2025-03-03
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25