## START HERE Cover Sheet
OSAC Program Office Use Only |  |  | Comment Adjudication_TO SC
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2025-S-0014 Guidelines for a Quality Assurance Program in Forensic Anthropology.
OSAC Unit
Unit Chair
Name: | Eric Bartelink
Affiliation:
Unit Technical Contact
Name: | Deborah Pinto
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome.
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition | Rationale
Not germane The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope. | No additional rationale from the SC
No response needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it. | No additional rationale from the SC
No change The OSAC Proposed standard will not be revised based on this comment. | The OSAC Proposed standard will not be revised based on this comment. | SC must state WHY the standard will not be revised.
Revision was made The OSAC Proposed standard was revised based on this comment. | The OSAC Proposed standard was revised based on this comment. | SC must state WHAT revisions were made to address the comment.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment. | No additional rationale from the SC
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision was made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale
Note on A16: ====== ID#AAAANtMpke8 OSAC for Forensic Science (2021-03-23 19:06:34) This link will be provided by OPO

## Comments
|  |  |  | OSAC Proposed Standard Number | 2025-S-0014 | OSAC Proposed Standard Number | 2025-S-0014
|  |  |  | Standard Title | Guidelines for a Quality Assurance Program in Forensic Anthropology. | Standard Title | Guidelines for a Quality Assurance Program in Forensic Anthropology
|  |  |  | Date of Open Comment Submission | 2025-02-04 | Date of Open Comment Submission | 2025-02-04
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet) | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet) | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet) | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Comments - Summary comments
Public Comment | 1 | line 171 | x | The target audience are anthropologists… | The target audience is anthropologists… | Grammatical correction | Revision made | Grammatical. "Are" changed to "is" |  |  | .
Public Comment | 2 | line 174 | x | …standards such as ISO 17020. | …standards such as International Organization for Standardization (ISO) 17020. | Spell out ISO for those who may be unfamiliar | Revision made | Spelled out ISO. |  |  | .
Public Comment | 3 | line 180 | x | …are expected to seek formal accreditation… | Expected by whom? How is this enforced? Perhaps change expected to "encouraged." | This is a broad statement without clarification or details regarding expectations. | Revision made | Agreed that word "encouraged" is more approriate as there are no formal requirements of accreditation yet. "expected" replaced by "encouraged" |  |  | .
Public Comment | 4 | line 185 | x | ...such as the presence of task relevant… | ...such as exposure to task relevant… | Suggestion for clarity/specificity | Revision made | this suggestion was combined with the response to STR Comment 5, and additional sentences with clarifications were added |  |  | .
Public Comment | 5 | line 186 | x | Assessing what constitutes relevant versus irrelevant context in case analysis is case specific… | Assessing what constitutes relevant versus irrelevant information is case specific… | Suggestion for clarity/specificity | Revision made | More specific. Replaced "context in case analysis is" with "information is" |  |  | .
Public Comment | 6 | line 197 | x | ...potential contextual biasing information… | ...potential contextually biasing information… | Grammatical correction | Revision made | Grammatical. Changed "contextual" to "contextually" |  |  | .
Public Comment | 7 | line 206 | x | ...influence of human factors… | ...influence of human and cognitive factors… | Suggestion for clarity/specificity | Revision made | More specific. Added "and cognitive" |  |  | .
Public Comment | 8 | line 217-218 | x | A laboratory can expand the list of tasks with an appropriate expansion of the QA program. |  | What does this mean? If you add a task/service, what do you have to do (or change) about the QA program? How do you expand a QA program? Some clarification or an example may be helpful. | Revision made | Changed to: A laboratory can expand the list of tasks but will have to ensure that these tasks meet all the relevant requirements of the QA program. |  |  | .
Public Comment | 9 | line 218 | x | Laboratories do not perform ad hoc tasks… | Laboratories should not perform ad hoc tasks… | Should seems more appropriate here as a guideline. | Revision made | More appropriate. Replaced "do" with "should" |  |  | .
Public Comment | 10 | line 234 | x | ...encountered during casework, whether in-house or… | ...encountered during casework, whether in the laboratory or… | Use more formal language | Revision made | The statement was changed to:" The purpose of the program is to reduce and mitigate any potential hazards encountered during casework, whether in the laboratory or during remote operations." |  |  | .
Public Comment | 11 | line 238 | x | ...handling of biohazard chemicals… | ...handling of biohazardous chemicals… | Grammatical correction | Revision made | Grammatical. Replaced "biohazard" with "biohazardous" |  |  | .
Public Comment | 12 | line 277-78 | x | An SOP is a document designed to inform practitioners how to perform a specific task in a specific laboratory. | An SOP is a document which describes the regularly recurring operations in a [laboratory]. | Use the same definiton for SOP from the Standard for consistency and change "workplace" to "laboratory" in both documents. | no change | Most SOPs will cover operations in the lab, but if the suggested change is made, it does not cover remote operations. Workplace is a more general term for the setting in which work is done. The definition in the standard was not changed. |  |  | .
Public Comment | 13 | line 282 | x | ...compliance with the SOP to ensure quality assurance. | ...compliance with the SOP to ensure standardization. | Remove "quality assurance" since QA is the entire program. An SOP ensures tasks are done consistently. | Revision made | More specific. Changed "quality assurance" to "standardization" |  |  | .
Public Comment | 14 | line 284-291 | x | When the laboratory deviates from its SOPs, the deviation(s), the detailed reasoning for the deviation(s), and the authorization(s) are documented in the case file. When possible (and if appropriate), a planned departure from a procedure or process is pre-approved and documented by laboratory management. Additionally (when possible), the requesting agency is notified of potential deviations prior to their occurrence. The laboratory should foster open discussion with the requesting agency regarding potential deviations. The laboratory clearly explains the reasoning for the departure from the SOP and the justification for the proposed alternative procedure or process. | When an analyst deviates from a laboratory SOP, the deviation(s), the detailed reasoning for the deviation(s), the justification for the proposed alternative procedure or process, and the authorization(s) are documented in the case file. When possible (and if appropriate), a planned departure from a procedure or process is pre-approved and documented by laboratory management. Additionally (when possible), the requesting agency is notified of potential deviations prior to their occurrence. The laboratory should foster open discussion with the requesting agency regarding potential deviations. | A laboratory does not deviate from an SOP; an analyst does. Moved the justification statement to align with the deviations. I don't think it is necessary for the lab to explain their reasoning to the requesting agency as long as it is justified and documented. | Revision made | The commenters suggested language was used. We agree that the customers cannot opine on the methods we use since we are the experts. They do, however, have a say in how much of the sample is used. |  |  | .
Public Comment | 15 | line 291-294 | x | Prior to conducting the alternative procedure or process, the laboratory obtains consent/authorization from the requesting agency for deviating from laboratory SOPs, and whenever possible other downstream stakeholders (especially if the evidentiary material/remains will be entirely consumed or chemically, thermally, or structurally altered). | Prior to conducting additional (destructive) testing, the laboratory obtains consent/authorization from the requesting agency, especially if the evidentiary material/remains will be entirely consumed or chemically, thermally, or structurally altered. | This sentence addresses two different topics: SOP deviations and additional testing. The requesting agency does not need to provide consent for an alternative process. If this is referring to consent for destructive testing, that is different. It is unclear from this sentence what is being discussed. | Revision made | The commenters suggested language replaced the original text. |  |  | .
Public Comment | 16 | line 297-300 | x | ...accredited Standard Development Organizations such as the Academy Standards Board (ASB) can serve as a basis or component of an SOP. For example, a SOP for skeletal analysis may reference the American National Standards Institute (ANSI)/ASB standards for age, sex, and stature estimation. | ...accredited Standard Development Organizations such as the Academy Standards Board (ASB) can serve as a basis for, or component of, an SOP. For example, a SOP for skeletal analysis may reference the American National Standards Institute (ANSI)/ASB standards for age, sex, population affinity, and stature estimation. | Remove underline from ASB (and correct font). Grammatical suggestions. Add population affinity | Revision made | Grammatical. Adjusted formatting of "Academy Standards Board" and added "population affinity" |  |  | .
Public Comment | 17 | line 312 | x | ...personnel who are competent to perform the method development. | …competent personnel. | Suggestion for brevity | Revision made | Brief. Replaced "personnel who are competent to perform the method development" with "competent personnel" |  |  | .
Public Comment | 18 | line 315-316 | x | Some elements to be considered, as applicable, when performing method validation include accuracy, uncertainty of measured results, limit of detection, repeatability, reproducibility… | Some elements to be considered, as applicable, when performing method validation include: accuracy, uncertainty of measurement, limit of detection, repeatability, reproducibility… | Add a colon and change to uncertainty of measurement. Uncertainty of measurement and limit of detection either need a definition or explanation. Most anthropologists will be unfamiliar with these concepts. | Revision made | colon added and "accuracy and reliability of measurements" used to explain concept |  |  | .
Public Comment | 19 | Section 4.8 (title and text) | x | Calibration and Performance Checking | Calibration and Performance Checks | Suggestion to use "checks" rather than "checking." | Revision made | Grammatical. Remaining instances of "checking" are replaced by "checks" |  |  | .
Public Comment | 20 | line 326 | x | Typically, instrument calibration is performed by a calibration service provider | Typically, instrument calibration is performed by an external calibration service provider | Clarify that most service providers are external to the laboratory | Revision made | More specific. Replaced "a calibration service provider" with "an external calibration service provider" |  |  | .
Public Comment | 21 | line 328 | x | Performance checking is done in-house by measuring an item of known dimension and is done… | Performance checks are conducted within the laboratory by measuring an item of known dimension and is done… | Use more formal language | Revision made | More formal language. replaced "checking is done in-house" with "checks are performed within the laboratory" and changed "is" to "are" for noun-verb argreement |  |  | .
Public Comment | 22 | line 333-334 | x | ...are inspected for damage or wear and tear. | ...are inspected for damage or deterioration. | Use more formal language | Revision made | More formal language. replaced "wear and tear" with "deterioration" |  |  | .
Public Comment | 23 | Section 4.8 | x |  | What happens if instruments, equipment, and reference material do not pass calibration or performance checks? What do you do or say about them. May be helpful to provide guidance about taking them out of service. |  | Revision made | Added: Laboratory policy determines what level of variation is acceptable to scientifically support conclusions/interpretations and sets the appropriate tolerance levels for equipment. If an item’s performance falls outside the tolerated range (i.e., does not pass a calibration test and/or performance check), it is removed from service, labeled as such, and documented in laboratory management records.
Public Comment | 24 | Section 4.10 | x | A training program for authorized personnel ensures that a laboratory meets its own QA program requirements. It allows the laboratory to demonstrate competency and proficiency of authorized personnel/analyst-level through a training and testing program. The training program provides authorized personnel the knowledge, skills, and abilities tied to laboratory security and safety, evidence handling, cognitive bias and human factors... | A training program ensures that authorized personnel have learned the necessary protocols, skills, and techniques to carry out the laboratory's scope of work. The training program may include topics such as laboratory security and safety, evidence handling, cognitive bias and human factors... Testing (competency and proficiency) demonstrates understanding and mastery of the training. | What is meant by "meets its own QA program requirements?" How does training meet requirements? Training comes before competency and proficiency, and does not demonstrate it. Competency and proficiency reflect proper training. A training program provides what is included. Maybe make this a list of examples rather than stating what training provides since each lab will have different training requirments. | Revision made | Added: A training program ensures that laboratory personnel have learned the necessary protocols, skills, and techniques to carry out the laboratory’s scope of work. The training program may include topics such as laboratory security and safety, evidence handling, cognitive bias and human factors (see Appendix B and C for resources to facilitate human factors training), method validation, and other laboratory-specific topics. Testing demonstrates understanding and mastery of the training. |  |  | .
Public Comment | 25 | line 374-376 | x | Proficiency tests are analyses that mimic casework, but there is ground truth to the evidence and the expected result is known. An example is a DNA mixture created from three contributors. | Proficiency tests are mock analyses that mimic casework, but the results are known by those administering the tests. | What does "ground truth to the evidence" mean? Why is there a DNA example included? | Revision made | Changed to: Proficiency testing occurs at regular intervals to evaluate participants’ capabilities, performance, and overall laboratory practices. A laboratory completes at least one proficiency test per year but can administer more than one per year, if desired. Proficiency tests are analyses that mimic casework, but the results are known by those administering the tests. Due to the large amount of variation in the human body, proficiency test results in forensic anthropology may be consensus-based. For example, the pubic symphysis of a White 38-year-old male provided for a proficiency test is presented. Using the Hartnett (2010) phase-based method for aging pubic symphyses in males, an analyst scores the bone as a Phase 5 (range of 37 years to 72 years). Looking at the age ranges of the phases, a 38-year old male would fall in Phase 3, Phase 4, and Phase 5. Knowing the chronological age of the individual does not offer a benefit when proficiency testing for this anthropological analysis. Instead, the bone should be submitted to multiple experts to provide a consensus on the specific phase that best represents the morphology of the specimen being examined. If the experts evaluated the bone and agreed that the morphology was best described as Phase 5, then the analyst’s answer would be correct. If the experts agreed that the morphology was best described as Phase 3, then the analyst would be incorrect.
Public Comment | 26 | line 378-379 | x | ...but the expected result may not be clear due to human variation. Often anthropologists must work together to form the expected results through consensus. |  | It is unclear what these sentences mean. What is an unclear result? What is meant by "form the expected results"? | Revision made | Addressed in revision to paragraph on proficiency testing. See comment 25 response
Public Comment | 27 | line 384 | x | …the laboratory provides an explanation as to why blind proficiency testing was not used. |  | Provides an explanation to whom? | Revision made | Changed to: Blind proficiency testing, however, may not be feasible for all tasks in the laboratory’s scope of work. If non-blinded proficiency tests are used, the laboratory should document why this option was used instead of (preferred) blind proficiency testing. |  |  | .
Public Comment | 28 | line 423 | x | ...per the laboratory’s written police or SOP… | ...per the laboratory’s written policy or SOP… | Correct spelling | Revision made | Spelling corrected from "police" to "policy" |  |  | .
Public Comment | 29 | line 435 | x | Technical review is an independent evaluation by a qualified forensic anthropologist. | Technical review is an independent evaluation of the case file by a qualified forensic anthropologist. | Clarify what is being evaluated | Revision made | Added "of a case file" |  |  | .
Public Comment | 30 | line 441 | x | The reported results/findings are accurate… | The reported results/findings/opinions are accurate… | Suggestion to add "opinions" to what is being reviewed | Revision made | Added "opinion" |  |  | .
Public Comment | 31 | line 444 (g) | x |  |  | Is it possible for a sole practitioner to be evaluated for whether proper technical procedures were followed? If an outside technical reviewer is not familiar with another lab's SOPs, how is this accomplished? | Revision made | Added: "when possible" in the event that the laboratory has mulitple practitioners. It is true that an outside reviewer cannot comment on a laboratory's policies and procedures; however, they can comment on whether or not the procedure is unconventional or not accepted in the field. | SOPs/policy could be made available to the reviewer |  | .
Public Comment | 32 | lines 450-452 | x | A formal agreement between agencies may be required prior to providing technical review. The agreement may include an expected turnaround time for a review and how to handle discordance. | A formal agreement between agencies may be required prior to providing external technical review. The agreement may include an expected turnaround time for an external review and how to handle discordance. | Clarify that this is referring to an exteral reviewer. | Revision made | Added "external" to clarify the review is external |  |  | .
Public Comment | 33 | 4.15 (title and section) | x | Preventative and Corrective Actions | Preventive and Corrective Actions | The Standard has it as "preventive" rather than "preventative." Suggestion to change "nonconforming work" to "nonconformance" throughout. | Revision made | Changed all instances of "preventative" to "Preventive" and all "nonconforming work" to "nonconformances" |  |  | .
Public Comment | 34 | line 486 | x | perform a cause analysis |  | What is a cause analysis? Most anthropologists will not be familiar with this term or the process. An example is provided, but perhaps a defnition will be helpful | Revision made | Added definition |  |  | .
Public Comment | 35 | Appendix A | x | Diagram: "field-identified standards" Text (line 521): "discipline-identified standards" Being accredited encourages public trust in the quality of products produced by a laboratory. | Use either field or discipline for consistency. Regarding the diagram: it may be helpful to add in laboratory SOPs so readers know where these documents fit into the bigger picture; particularly since accreditation and laboratory QA are based on SOPs rather than discipline standards | Why does being accredited encourage public trust? This is a broad statement without any support. | Revision made | See STR comment 26. |  |  | .
Task Group Comment | 1 |  |  | None Received
STR Comment | 1 | 104 | Boyd | "…and examples of how the requirements …" | "…and examples of how the components…" | I favor components in place of requirements to be consistent with the Standard and because these are guidelines, not de facto requirements. (If they are de facto requirements, then that may need to be more clearly stated." | Revision made | "requirements" changed to "components" |  |  | .
STR Comment | 2 | 170 | Boyd | "requirements by …" | "by…" | I would just get rid of the word requirement if, again, the purpose is to develop Standards that provide best practices or guidelines that make QA programs accessible. Inclusion of the term 'requirement' changes the voice of the document away from encouraged to required. Not sure if that is the intention. (Similar comments for the inclusion of the word 'requirement' in subsequent lines of the document.) | No change | When we are referring to the standard, then it is a requirement as that document lists all the "shalls." These minimum components are basic tasks that all laboratories must do to maintain a high quality product. |  |  | .
STR Comment | 3 | 171 | Boyd | "The target audience are…" | "The target audience is…" | Grammar. | Revision made | Changed "are" to "is" for noun-verb agreement |  |  | .
STR Comment | 4 | 171 | APW | "The target audience are anthropologists" | "The target audience includes anthropologists…" | Editorial; mismatch between plural verb (are) and singular noun (audience) | Revision made | Changed "are" to "is" for noun-verb agreement |  |  | .
STR Comment | 5 | 184-185 | APW | "consider human and cognitive factors that impact procedures such as the presence of task relevant and irrelevant information" | "consider human and cognitive factors that impact procedures. For example, some information will never be relevant to a forensic anthropological analysis (e.g., a stakeholder's opinions about a decedent or perpetrator) and is thus considered "task irrelevant"; steps should be taken to prevent the introduction of task-irrelevant context into forensic anthropological work. Other information, however, may be "task relevant" (e.g., knowing that the ME suspects ballistic trauma so that this question can be explicitly addressed by the forensic anthropologist); this would constitute task-relevant information, and it must be included and addressed at some point during the analysis, but it also has the potential to bias an analyst if introduced before the conclusion of trauma analyses..." This is just a suggestion, but I can imagine people who don't think about this all the time going, "what does task relevant mean!?" | Technical; since this is a guideline aimed at people who may be unfamiliar with QA, accreditation, and SOPs, I think the terms "human and cognitive factors" and particularly "task relevant and irrelevant information" may require additional explanation. My suggested revision is just a placeholder, but I think something like this must appear to clarify these concepts. | revision made | The suggestion from the commenter is very helpful and so the text was updated to: "consider human and cognitive factors that impact procedures. For example, some information will never be relevant to a forensic anthropological analysis (e.g., a stakeholder's opinions about a perpetrator) and thus is considered "task irrelevant"; steps should be taken to prevent the introduction of task-irrelevant information into forensic anthropological work. Other information may be "task relevant" (e.g., knowing that the Medical Examiner suspects ballistic trauma so that this question can be explicitly addressed by the forensic anthropologist), and it shall be addressed at some point during the analysis. Task-relevant information, however, has the potential to bias an analyst if introduced prior to the completion of their analysis." |  |  | .
STR Comment | 6 | 191-192; also search for and fix throughout | APW | "(e.g.,case materials, photos from scene and autopsies, investigative summaries, etc.)" | "(e.g.,case materials, photos from scene and autopsies, investigative summaries)" | Editorial; "e.g." can't be used with "etc" because they mean the same thing | Revision made | Removed "etc." |  |  | .
STR Comment | 7 | 201-202 | APW | "analytical report, bench notes, diagrams, police reports, etc." | "e.g., analytical report, bench notes, diagrams, police reports" | Editorial; you've already established that the document is going to use "e.g" earlier in the document, and there's no need to use two terms that mean "for example." I'd suggest changing all instances of "etc" to "e.g." since the latter is more formal. | Revision made | Removed "etc." |  |  | .
STR Comment | 8 | 227-228 | APW | "such as a law enforcement agency, medicolegal authority, district attorney, defense counsel, etc." | "such as a law enforcement agency, medicolegal authority, district attorney, or defense counsel." | Editorial; "etc" is redundant, since "such as" specifies that this is only a list of possible examples. Also, etc is colloquial and should generally be avoided in formal writing (see above). | Revision made | Removed "etc." |  |  | .
STR Comment | 9 | 262-263 | APW | "(e.g., standard operating procedures (SOPs))" | "(e.g., standard operating procedures [SOPs])" | Editorial; use square brackets for a bracket-within-a-bracket situation | Revision made | Brackets changed |  |  | .
STR Comment | 10 | 271-275 | APW | "Several accredited forensic anthropology laboratories post their SOPs on the internet and have them marked with their effective dates. This allows laboratory personnel to access the documents and easily recognize the most current version. Some examples of offices that post their documents on the internet are included in Appendix C." | "For reference, SOPs from accredited laboratories can often be accessed online (Appendix C), marked with their effective dates for clear recognition of the most current version." (or a similarly shortened rephrasing) | Editorial; this content appears twice in quick succession, once here and then again in the SOP section. I think it makes more sense for the bulk of this to appear under the SOP section, so I'd recommend cutting most of it here. | Revision made | Edited for brevity: "For reference, SOPs from some accredited laboratories can be accessed online (Appendix C); these are marked with their effective dates for clear recognition of the most current version." |  |  | .
STR Comment | 11 | 277 | Jennifer Fienup | An SOP is a document | A SOP is a document | correct grammar | Revision made | Corrected grammar, changed "an" to "a" |  |  | .
STR Comment | 12 | 335-336 | APW | "(annually, semi-annually, etc.) " | "(e.g., annually, semi-annually) " | Editorial; See comment for line 271-275 | Revision made | Corrected grammar. Added "e.g.," and deleted "etc." |  |  | .
STR Comment | 13 | 346 | Jennifer Fienup | and/or performing tasks must be adequately trained… | and/or performing laboratory tasks must be adequately trained… | specify that this is for laboratory tasks not just any general task | Revision made | Used more specific language (added "laboratory") |  |  | .
STR Comment | 14 | 367 | APW | "An example is a DNA mixture created from three contributors." | "A concrete example from another forensic discipline is a DNA mixture created from three contributors." | Technical; the way this example is presented imples that it's a relevant example, but then you go on to accurately describe how we have to do things a bit differently in anthro. I'd just recommend specifying that this is a comparative (and more concrete) example from an other discipline. | Revision made | This example was removed per a different commenter's concern about using a DNA example for an anthropology guidance. |  |  | .
STR Comment | 15 | 373 | Richard Remy | Proficiency testing occurs at regular intervals to ensure that analysts are familiar with the SOPs and equipment as well as maintaining their skill level for routine analysis. | Proficiency testing occurs at regular intervals, at least once a year, to ensure that analysts are familiar with SOPs and equipment as well as maintaining their skill level for routine analyses. | Not defining at least once a year could lead laboratories to only proficiency test once every 5 years or ten years as this would still be a regular interval. Also performing zero proficiency tests is still an option under this guideance. | Revision made | Edit is combined with response to STR Comment 17
STR Comment | 16 | 376 | Jennifer Fienup | Am example is a DNA mixture created from three contributors | delete line | seems to be out of place | Revision made | Statement was deleted per previous commenter's suggestion. |  |  | .
STR Comment | 17 | 392-393 | Richard Remy | A laboratory can choose how many proficiency tests it requires in one year. | A laboratory must take at least one proficiency test per year but can administer more than one per year if the laboratory chooses. | Giving laboratories to choose the number of proficiency tests to take in a year without defining at least one per year can have laboratories who do not issue a proficiency test within a calendar year (i.e. zero proficiency tests in a year). See comment #1 above for additional reasoning. | Revision made | Accepted the suggestion from the commenter and moved "A laboratory must take at least one proficiency test per year but can administer more than one per year if desired." to the second paragraph under 4.11 |  |  | .
STR Comment | 18 | 422 | Richard Remy | The composition of the case file (i.e., case report, photographs, and other documents) is retained per the laboratory's written police or SOP for document retention. | The composition of the case file (i.e., case report, photographs, and other documents) is retained per the laboratory's written policy or SOP for document retention. | Administrative Error: Misspelled the word policy. | Revision made | Spelling corrected from "police" to "policy" |  |  | .
STR Comment | 19 | 423 | Boyd | "per the laboratory's written police…" | "per the laboratory's written policy…" | Spelling. | Revision made | Spelling corrected from "police" to "policy" |  |  | .
STR Comment | 20 | 423 | Jennifer Fienup | per the laboratory's written police | per the laboratory's written policy | wrong word | Revision made | Spelling corrected from "police" to "policy" |  |  | .
STR Comment | 21 | 457 | Jennifer Fienup | During the administrative review, the final report is checked for the | During the administrative review, the final report and any supporting documentation is checked for the | admin review can include more than just the report, it also includes supporting documentation (case notes, COC, images etc) to ensure those are grammatically correct and complete as well | Revision made | Added "and supporting documentation." |  |  | .
STR Comment | 22 | 463 | Boyd | "Risk assessments are evaluations of…" | "Risk assessments are assessments of…" | Evaluation and assessment mean different things and should be used in accordance with their individual meanings in standards documents. | Revision made | changed "evaluation" to "assessment" |  |  | .
STR Comment | 23 | 480 | Richard Remy | Nonconforming work is work performed which does not follow the laboratory's own policies/procedures, good laboratory practices or published standards. | Nonconforming work is work performed which does not follow the laboratory's own policies/procedures, implemented good laboratory practices, or implemented published standards. | Currently published standards are optional to implement and non-conforming work should not be written for any published standard that is not implemented. Good laboratory practice is best to follow, but if there are no documented procedures implemented then you cannot initiate a non-conforming work as no policy exist. | Revision made | Added "implemented" |  |  | .
STR Comment | 24 | 481 | Jennifer Fienup | Policies/procedures, good laboratory practices or published standards. | policies/procedures. | cannot assess to good laboratory practices or published standards unless incorporated into lab policy | no change | with "implemented" used as a qualifier for good lab practices and published standards, this implies that the lab has adopted them (or at least some provisions therein) |  |  | .
STR Comment | 25 | 518 (Figure) | APW | "Field-Identified Standards" | "Disciplinary Consensus Standards" | Technical; since the word "field" has another meaning for us (i.e., fieldwork, field recovery), I think it's clearer to use the same term in the figure that you use in the text itself—"Discipline." This could also be a change of the figure form "Field-Identified Standards" to "Discipline-Identified Standards," but since most of us are familiar with the concept of Consensus Bodies, tying the term into that known concept is helpful, I think. | Revision made | Changed to "discipline consensus standards" |  |  | .
STR Comment | 26 | 519-531 | APW | “Discipline-identified standards are narrowly focused, typically on a single task (e.g., estimating sex from skeletal remains; determination of medicolegal significance). They tend to be very general and provide the most basic consensus-based requirements. Practitioners are able to follow them with current resources. Accreditation program requirements are broader in scope and provide guidance on what elements are needed for a laboratory to create an efficient and rigorous Quality Assurance program. Being accredited encourages public trust in the quality of products produced by a laboratory. The laboratory Quality Assurance program is the broadest component and dictates how a laboratory operates.” | “Discipline-identified standards [or "discriplinary consensus standards," if you like my previous edit] are narrowly focused, typically on a single task (e.g., estimating sex from skeletal remains; determination of medicolegal significance). However, they tend to be very general and provide the most basic consensus-based requirements. Practitioners are able to follow them with current resources. Accreditation program requirements are broader in focus but more specific in content. They provide guidance on what elements are needed for a laboratory to create an efficient and rigorous Quality Assurance program. Being accredited encourages public trust in the quality of products produced by a laboratory. The laboratory Quality Assurance program is the broadest in its focus but the most specific in the guidance that it provides; it effectively dictates how a laboratory operates.” | Technical; I think it could be made clearer that, while Disciplinary, Accrediation, and Lab standards are moving from narrowest to broadest, the are also moving from most general to most specific. Right now, it's confusing that the narrowest category in the figure corresponds to the most general guidance. I think this could easily be clarififed using something similar to the verbiage I propose. | Revision made | Changed to include the commenter's verbiage. |  |  | .
STR Comment | 27 | 538 | APW | "Table of Relevant References with Recommendations for Bias Mitigation" | Same header, but followed by a brief introductory statement summarizing the conversations we've had around this, to the effect of, "While little published research has tested the efficacy of proposed bias-mitigation strategies, many helpful suggestions exist. They are summarized below." | Technical; I think people would engage more with this table if they knew just at a glance exactly what it included and why it was created. Sometimes people don’t read the actual text and go straight for the "tables 'n figures," so just in case that's happening with this document, I think a little context can't hurt. (And also—I love Appendix B :) | Revision made | added proposed language to Appendix B: "While little published research has tested the efficacy of proposed bias-mitigation strategies, many helpful suggestions exist. They are summarized below." |  |  | .

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25