## ASB 40 Worksheet
ASB 40 - Standard for Forensic DNA Interpretation and Comparison Protocols, First Edition - ASSESSMENT WORKSHEET
Laboratory name:
Interpretation and Comparison Protocol title and version/date:
Type of testing being assessed:
SECTION I
4.1 | INTERPRETATION AND COMPARISON PROTOCOL - VALIDATION STUDIES |  | Are the laboratory interpretation protocols and comparison protocols, including criteria for drawing conclusions from comparisons between evidentiary data and reference (or other evidentiary) data: |  |  |  | based on and developed from internal validation studies? | supported by internal validation studies?
Laboratory requested criteria for review to comply with 4.1 |  |  | Protocol Section/Link |  |  | Validation Study
1
2
3
4
5
(add more lines as needed)
Assessor selected criteria for review to comply with 4.1 |  |  | Protocol Section/Link |  |  | Validation Study
1
2
3
4
5
SECTION II |  | Prior to assessment
INTERPRETATION AND COMPARISON PROTOCOL - CRITERIA |  | Protocol Section/Link | Number of examples for review | Does the lab have a protocol? | Is the protocol followed? | Objective proof? (casework, interviews)
4.2 | Does the laboratory maintain and follow documented DNA interpretation protocols that address the following:
4.2.1 | Criteria for assessing the DNA data as originating from a single source?
4.2.1A | ...or multiple sources?
4.2.2 | Does the protocol state specific criteria upon which assumptions may be made and the types of assumptions that may be used in data interpretation including, but not limited to:
4.2.2A | The number of contributors ?
4.2.2B | The presence of assumed contributors?
4.2.2C | Other assumptions? (list)
4.2.2C | Other assumptions? (list)
4.2.3 | Does the protocol state specific criteria for evaluating other considerations used in the interpretation of the data, such as :
4.2.3A | The presence of major and minor contributors?
4.2.3B | The possibility of allele sharing?
4.2.3C | The relative mixture ratio for contributors?
4.2.3D | The possibility of inhibition or degradation for one or more contributors?
4.2.3E | The possibility of stochastic effects?
4.2.3F | The presence of stutter?
4.2.3G | Other considerations? (list)
4.2.4 | Does the protocol provide the limitations of the interpretation methods used such as:
4.2.4A | Characterizing and defining the maximum number of contributors?
4.2.4B | Issues associated with low-level data?
4.2.4C | Issues associated with low-level contributors?
4.2.4D | Issues associated with potential contamination events?
4.2.4E | Other limitations? (list)
4.2.5 | Does the protocol have criteria for defining data that can be interpreted versus data that cannot be interpreted?
4.2.6 | Does the protocol have criteria for defining data that are suitable for comparison versus data that are unsuitable for comparison.
INTERPRETATION POLICY AND CASE RECORD DOCUMENTATION |  | Protocol Section/Link | Number of examples for review | Does the lab have a protocol? | Is the protocol followed? | Objective proof? (casework, interviews)
4.3 | Does the laboratory have a documented policy requiring the interpretation of evidentiary data prior to the comparison to any reference data?
4.3A | Does the policy include documentation of interpretation prior to comparison?
4.3B | Does the policy include documentation of all assumptions used prior to comparison?
4.3.1 | Is there documentation of the suitability of the single source or DNA mixture data for comparison?
4.3.1.1 | If the data or a subset of the data [e.g., major contributor(s)] were deemed suitable for comparison, were the loci eligible for use in the comparison and in a subsequent statistical calculation(s) documented in the case record?
4.3.1.2 | If the data or a subset of the data [e.g., minor contributor(s)] were deemed unsuitable for comparison, was the qualitative reason(s) documented in the case record?
4.3.2 | Is the subsequent interpretation of new evidentiary data completed prior to comparison to any previously generated reference data?
4.3.2A | Was the subsequent analysis documented prior to comparison?
4.3.3 | When an assumption of an expected contributor was used for interpretation, was the use of that assumption documented in the case record along with the DNA data of the assumed contributor?
COMPARISON PROTOCOL AND DOCUMENTATION |  | Protocol Section/Link | Number of examples for review | Does the lab have a protocol? | Is the protocol followed? | Objective proof? (casework, interviews)
4.4 | Does the laboratory maintain and follow documented protocols for drawing conclusions from the comparison of suitable evidentiary data derived from single source, mixed, and limited quality/quantity samples to reference (or other evidentiary) data?
4.4A | Single source?
4.4B | Mixed source?
4.4C | Limited quality/quantity data?
4.4.1 | When the following terms are used by the laboratory, do the laboratory protocols describe the criteria used for concluding that the source of the reference data when compared to evidentiary data is:
4.4.1A | Included?
4.4.1B | Excluded?
4.4.1C | Inconclusive?
4.4.1D | If a comparison is deemed inconclusive, are the reason(s) documented in the case record?
4.4.1E | Are criteria given for other terms used?
4.4.2 | Does the laboratory have protocols that address reevaluation of evidentiary data after the comparison to reference (or other evidentiary) data has been performed?
4.4.2A | Are all re-evaluations of, and changes to, the original evidentiary data interpretation thoroughly documented within the case record?
SECTION III
Findings: