## Revision Data
Document Control
Revision Date | By | Comments
20180428 | T. Osmer | Original version for distribution.
20181022 | I. Chavez | Edits/Changes collected at MidMap, internal OWM evaluation, and audit against 17043
20190116 | G. Harris | Added the PT Report cover tab.
20190411 | V. Miller | Expanded Tolerance Source Drop-down list to include tolerance classes for OIML R111 and ASTM E617 selections.
20190425 | V. Miller | Changed some merged cells on P3 to single cells so that cell will automatically expand when needed, Set row 31 on PT Report at double height and wrap text to enable fit of long preprogrammed content. Verified that all data entry points are unlocked. Edited equation in C4 of P2, P3, P4, O1, O2 to reference P1 cell C4 only, not C4:D4 which results in an error.
20190429 | V. Miller | An issue was discovered on the PT Report tab that it did not display the full artifact owner name in the report. The cell was made wider by merging with the next one to the right, set to wrap text and a comment ws inserted to verify that the full owner name is visible and to expand the row height as necessary.
20190430 | V. Miller | An issue was discovered on the PT Report tab that it did not display the correct item description. The Calibration Item reference was edited to point to P3: Artifact & Shipping! B22.
20190820 | V. Miller | Removed FedEx account number and data validation from the P3; Artifact & Shipping!B47 cell. Removed Georgia Harris info from NIST Contacts list and added Micheal Hicks info.
2023-01-21 | G. Harris | Additional formatting and content additions based on ISO/IEC DIS 17043:2022 and PT quality system reviews. Updated admin team and date drop down options. Ensured PT report pages are compliant with 17043.
2023-02-13 | G. Harris | Standardizing naming and formats of the PT-Plan and PT-Analysis templates. Making sure the Revisions and User Instruction tabs are consistent.
20250310 | W. Ombati | Added the Software-V&V tab; Added "(Procedure: SAP 6)" to Cells B35 and B42 in worksheet "P4; Addresses & Contacts"; Reviewed Form F08 in worksheet "Receipt Form F08"; Updated "QMS References" worksheet to include PTP-01 (replacing SOP 1, as per recent internal audits), Forms F02 and F08, and SAP 6; Changed "PT Program" in Cell F4 in "R1; PT Report Cover" tab to "Proficiency Testing Services" Deleted "Name Printed Here," in cell B83 in "R1; PT Report Cover" tab; Replaced SOP and OWM Supplemental Report in PR Report template with PTP 1 and PT Guides, respectively; Added ": owm@nist.gov" in cell A85 in "R1; PT Report Cover" tab. Changed "Good Laboratory Practice (GLP) for follow-up" in cell A67 in "R1; PT Report Cover" tab to "Guide for PT follow-up and performance monitoring (PTG 2)"; Added "LookupTable" tab, in which all look-up tables and all important references are introduced, compiled/updated; Added dropdown menu for cells D32:D181 and G32:G181 in "P1;Organize the PT" tab; Added rows 47, 75 & 76, and added SOPs dropdown menu for cells B73:B76 in "P1;Organize the PT" tab; Renamed "SOP Outline" tab to "PTP1 Outline; Added Row 7 "PT Coordinator's Email/ Phone:" in "P4; Addresses & Contacts" tab and a function to autofill the details in cell B7; Added a function to autofill Columns D, E & F in "O2; Coordinator Feedback" tab. Added row 102 in "P2; Objectives & Details" tab, and included details on "Submission of Results/ Certificates".
20260708 | M. Hicks | Added Feedback links for users to use to provide feedback to OWM PT program. On report page, clearly stated OWM provides final decision on data analysis. Updated LookupTables to include artifacts supplied by participating laboratories.

## User Instructions
Filename: | \\elwood.nist.gov\680\NIST_Projects\OWM\Lab_Prgm\Proficiency Testing Prgm\Quality Documents\PT Templates\[PTT01_PT-Plan-template_20260708.xlsx]LookupTables
Feedback: | If you find errors, have feedback, questions or have suggestions on improvements, send an email to NIST Office of Weights and Measures, Laboratory Metrology Group: micheal.hicks@nist.gov, elizabeth.koncki@nist.gov.
Disclaimer for Users Outside the OWM PT Program | NOTICE: This PT Plan Template spreadsheet is a PT Planning "document" with no calculations or formula required to be validated. There are look-up tables and notes that should be approved as a part of the document approval process. Updated versions have dates saved in the yyyymmdd format at the end of the filename. These Spreadsheets and associated materials have been prepared for use in OWM proficiency tests (PTs), and it is believed that the Spreadsheets provide a useful and accurate approach. However, NIST OWM, is not liable for any changes performed by other parties. Each User outside the OWM PT program agrees to decide if, when and how to use the Spreadsheets, and does so at his or her risk. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in number generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these Spreadsheets or an inability to use them.
Verify Version at OWM Link | WARNING: If you distribute these tools through any means other than the NIST Office of Weights and Measures Laboratory Metrology group website at www.nist.gov/labmetrology, you should check that website to ensure the tool being provided is the latest version available, and provide information to users on how to check for updates and revisions to the tools.
Item | Instructions and Tips for Using this Workbook Ensure familiarity and use of Standard Operating Procedure for OWM PT Planning, Operating, Analyzing, and Reporting PT Results
1 | Read the OWM Disclaimer.
2 | Check the OWM website for the latest version before completing the PT Plan.
3 | Read and follow the instructions in the SOP for NIST OWM PT Planning, Operating, Analyzing, and Reporting PT Results. The SOP has additional step-by-step instructions to complete this workbook but by following the data entry cells from beginning to end, cell labels, notes, and instructions can guide the use of this planning template for trained and experienced users..
4 | All input cells for the Planning sections (P1, P2, P3, P4) are yellow.
5 | All input cells for the Operating sections (O1, O2) are green.
6 | Drop down lists: Some cells mandate the use of the list options. Some cells have selections that are typical of most PTs; if the drop down option is not applicable, input the appropriate information.
7 | PT Coordinators and the PT Administrative Team members complete this document during planning and operating of the PT; the first step is to "Save As" the name of the PT with "PT-Plan" kept in the file name and date entered at the end as yyyymmdd. PT Coordinators are authorized to unlock and make essential changes to this PT Plan with OWM staff approvals, provided changes are documented on the Revisions page and do not impact the PT Final Report page content or any calculations.
8 | The input cells for the R1 Report sections must be reviewed to ensure all participants are listed, rows expanded or reduced to accommodate text, and additional light yellow fields must completed as needed and will turn light blue when information is entered.
9 | Print the PT Final Report pages to PDF for compilation with the PT Analysis tables and graphs; OWM Staff must review all analysis for accuracy and completeness and approve and sign the PT final reports and any amendments.
If you find errors, have questions or have suggestions on improvements, send an email to NIST Office of Weights and Measures, Laboratory Metrology Group: georgia.harris@nist.gov, timothy.osmer@nist.gov or val.miller@nist.gov.
Though not recommended: To add lines of data beyond the planned 150 participants, do the following:
Failing to follow these instructions exactly will result in significant issues with the summary, data and graph tabs.
1: Unlock all workbook pages making certain that no pages have hidden lines.
2: Select (group) all workbook tabs from the PT Summary tab to Data (35). You want all changes to occur on all workbook tabs!
3: 'Select' the entire workbook line containing the last line of data (normally participant 150) by Left Clicking in the leftmost column of the workbook (where the numbers are located) and dragging the cursor down the column until you highlight the number of lines you wish to insert.
4: Right click on the highlighted area and select 'Insert'. The line originally selected will be pushed down the page and lines will be inserted above it. You must use this Insert process so that all of the calculation cells on the pages will be updated to cover all of the inserted lines.
5: Highlight(select) the last 2 or 3 lines of cells above the lines that were inserted, (Columns A through CD) then 'grab' the green dot in the lower right corner of the selection box and drag it down to copy the content of those cells to all of the newly inserted lines, including the last line that was pushed down the page. This will copy the column contents down the page so that all of the calculation cells are populated with the correct formulas. If you select only the last row of cells and copy those down, the column with the Pn and En limit of 1 will begin to increase by 1 for each line copied. Selecting more than 1 line locks the value so that it does not increase.
6: Verify that the equations in Data (x)! Cells C12 to C15, C17, C18, C20 to C23, C25, C26 AV11 and AW11 have updated to cover the newly defined data ranges. These cells all have cell ranges specified that must include the newly inserted lines and are good indicators that all other cells that analyze the full range of data will have been updated properly.
If done correctly, data entered in the last data line of the Data Entry Tab will appear in the last participant line of the Data (x) tabs, the graphs will display those values, and the Summary tab will show the results in the same correct line. Note that the line numbers of all data tab participant numbers align.
IT IS STRONGLY RECOMMENDED THAT ADDITIONAL DATA TABS, CHARTS AND GRAPHS NOT BE ADDED AS THAT PROCESS IS MUCH MORE INVOLVED AND FRAUGHT WITH PROBLEMS. IF MORE DATA TABS ARE NEEDED USE OF A SECOND WORKBOOK FOR THOSE EXCESS ITEMS, BEYOND 35 ARTIFACTS, IS RECOMMENDED.

## Software-V&V
| Software Verification and Validation |  |  | Form F14
Lab: |  |  | Date:
Software Description: PT Plan template
Codes | Assessment | Pass/Fail | Result/Observations (Attach Evidence or Describe)
A. Software Inspection | Spreadsheet is clear and makes sense
There are instructions for use
| Instructions and data input appear on the visible portion of the first worksheet |  |  |  | Pass
| Data-entry fields are labeled and color coded (it is recommended to avoid red and green) |  |  |  | Fail
| The type/name of procedure used is clearly specified |  |  |  | N/A
The number of digits to be rounded to is specified*
The user is warned/notified whenever data-entry fields are left blank*
Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations
The software opens at the right location within the file
Unused fields/cells are locked
Rows/columns that the operator need not see are hidden
Unused worksheets are removed
Worksheets are named appropriately
Pass/Fail criteria are specified in instructions*
Pass/Fail cells are automated (Not data-entry)
Calculation fields are properly labeled
Units are expressed properly and correctly*
B. Mathematical Specification | The appropriate procedure is used*
The formulae and methods chosen from that procedure are specified*
Sources and references for formulae are specified
The chosen procedure, its methods, and its formulae, are appropriate to the level of precision/uncertainty*
C. Code Review | The formulae in the fields exactly match the procedure*
Repeated calculations appropriately reference the correct cells*
Calculations, when tested using standard data or reference test data, show appropriate accuracy*
Rounding is done at the appropriate locations in the file*
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences.*
Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa
“Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used
E. Component Testing | Conditional logic cells handle negative values properly
Conditional logic cells withstand a Boundary Value test
Each macro used is functional*
Each command/button is functional*
Combinations of interdependent macros are functional
Plotted graphs are accurate*
Plotted graphs and its axes are properly labeled
Worksheets/reports print properly, if needed to
Conditional (color and non-color) formatting is functional
F. Numerical Reference Results | Look-up tables and lists match the latest calibration report.*
Uncertainties match the latest Scope*
Values that reference another workbook or spreadsheet are dated
When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct*
The evaluation of the embedded data is dated and documented
The instructions worksheet includes a list of all additional files and plug-ins needed for it to run properly
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented*
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty*
Conclusions and results are apparent (if appropriate)*
J. Security | Equation and calculation cells are protected against inadvertent editing
Cells are locked in place; they cannot be moved/dragged
Confidentiality of passwords is appropriate
Files are backed up automatically
Additional back-up is available at alternate facilities
Files on network drives cannot be accidentally deleted
*Failing these tests could drastically change results of spreadsheet
| Number of Passes | 0 | 0%
| Number of Fails | 0 | 0%
| Number of N/A's | 0 | 0%
Additional Notes:
| Signed |  | Title

## QMS Reference
REFERENCES:
NISTIR 7214: | Quality Manual, which includes all applicable procedures, forms and templates.
PTP-01 : | Operating Procedure for Planning, Operating, Analyzing, and Reporting of PT Results
is the specific procedure to be used with this PT Plan Template and the PT Analysis Template.
SAP-06 | Standard Administrative Procedure for Packaging, Shipping, Storage & Handling of PT Test Items
Form PTF02: | PT Participation Request -Training-Qualification Form
Form PTF08: | PT Items Receipt & Assessment Form
Form PTF01: | PT feedback form | https://forms.gle/3JRdxyeWovfmMdFRA

## PTP1 Outline
NIST OWM PT Process Outline (See SOP for specific details in each phase).
PDCA | NCSLI RP-15 | Phase and Action: What (do we do) | How (do we do it) | Who (does it) | When (do we do it) | Where (do we do it)
Plan | Need | Planning (PT Plan Template) | Identify the PT Recruit PT Administrative Team Identify Participants Define Objectives Define Details Addresses & Lab Contacts | Regional Coordinator RMAP Participants PT Coordinator NIST OWM (evaluates and approves participants and plan | During the RMAP (PT day) | PT Workbook Sections: P1: Organize the PT P2: Objectives & Details P3: Artifact & Shipping P4: Addresses & Contacts
Organize
| Plan |  | Selecting PT Items Provide Handling and Equilibration Instructions Packaging Instructions Shipping Instructions Create high level and detailed schedule | Plan: PT Coordinator Approvals: NIST OWM | As quickly as practicable | PT Workbook Sections: P1: Organize the PT P3: Artifact & Shipping
Do | Execute | Operating (PT Plan Template) | Coordinator and Participants Follow the Instructions Send Receipt Form KEEP IT MOVING; notify subsequent labs of delays Resolve and Record Issues | Participants: Follow Instructions and Send Receipt Form Coordinator: Monitor and Guide the PT Regional Coord.: Support Coordinators NIST OWM: Support | As quickly as practicable (Don't use all the time before your next RMAP, there might be plans to send the artifact to another region, or another lab) | PT Workbook Sections: Between P4 and O1: Receipt Form O1: Coordinator Tracking O2: Coordinator Feedback
Check | Analyze and Report | Analyzing (PT Analysis Templates) | Initial Analysis Draft Analysis Final Analysis | Initial & Drafts: Analyst Final: NIST OWM | Initial Analysis: As labs submit data Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP (These are minimum timelines) | PT Analysis Excel Template - includes PT data entry, data summary, data table for each item with Pass/Fail criteria, and associated graphs (printed to PDF) PT Analysis YOUDEN Template (includes Youden analysis tables and graphs)
|  | Reporting (PT Plan Template AND PT Analysis Templates) | Draft Report Final Report Distribution | Draft: Analyst and Coordinator Final & Distribution: NIST OWM | Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP Distribute: RMAP (These are minimum timelines) | R1. PT Plan Excel Template - includes PT Report Cover pages
Act | Action | Acting: Following Up | GLP for PT Follow-Up and Form (with NISTIR 7214) | Participants | After coordinator feedback. After receiving final report. | Follow-Up Forms
The PT Plan Template and PT Analysis Template are available at nist.gov/labmetrology on pages for "Proficiency Testing".
Note on C3: NCSLI Recommended Practice for Interlaboratory Comparisons

## P1; Organize the PT
PT Plan Template
SECTION P1: Organize the PT
| PT Title: | ----
Scope of the PT
Region:
Reporting Year:
Parameter:
Unit System:
PT Sequence Number:
Range or Nominal:
| PT Administrative Team | Name | Region/Laboratory | Email | Phone
PT Coordinator:
PT Analyst:
Mentor (Optional):
Observer (Optional):
| Regional Coordinator: |  | --- | --- | ---
| NIST Point of Contact: |  | --- | --- | ---
| Technical Advisor(Optional): |  | --- | --- | ---
Pivot Lab (if applicable):
| High-Level Schedule Overview (Critical Timelines) |  | Dates
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
| Circulation Plan and ALL Participants | [5 empty] | *Ensure approval from NIST OWM (Form F02 may be needed). If a participant needs to participate to complete LAP Problems, note it here.
# | Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory/Organization | Lab Code | Participant Name* | Participant ID | Training | LAP Problems | Oversight By
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Follow Link to share Feedback with NIST OWM:
https://docs.google.com/forms/d/e/1FAIpQLSeqO908_b1G689uCDeUFEnsSqf132wDT2Iz5nfuuQxcF-ro2Q/viewform?usp=header
Note on C4: Title is automatically generated from the drop down choices in the Scope of the PT section.
Note on C12: Start with the largest nominal to the smallest nominal. (e.g. 1 kg to 1 mg)
Note on D25: Typically the next RMAP, but sometimes it is needed earlier for another PT.
Note on D26: At least 2 months prior to the date the PT report is to be presented (your RMAP).
Note on D27: At the RMAP, or earlier if the PT is completed.
Note on H31: Enter options: 1. OK (determined from OWM Records, History, or Form 2) 2. Requires Oversight (include name of person providing Oversight in Column H)
Note on I31: Default - blank. Only used if someone might need the results for the PT to use in their LAP Problem analysis. Also select LAP problems as one of the PT objectives on sheet P2.
Note on J31: Oversight By (Enter Name)
Note on F32: Participant Name e.g., Wilson Ombati. (If an organization has more than one individual with the same first and last initial, the middle name/initial should be added.)

## P2; Objectives & Details
PT Plan Template
SECTION P2: Objectives and Details
ILC Title: | ----
Range or Nominal:
Coordinator:
Unique Considerations (comments, discussion) | Artifacts require equilibration per laboratory policy for artifacts of this classification. Standards shall not be cleaned or adjusted (unless otherwise specified in this PT Plan). (Additional notes here or delete this sentence).
PT Objectives
| x | Demonstration of Competency for Accreditation or Recognition
| x | Validation of Expanded Uncertainties
Evaluation of Calibration Certificates
Method Validation (New Methods/Procedures ONLY)
Laboratory Auditing Program (LAP) problems (For new employees/participants)
Demonstration of Effective Corrective Action from previously failed PTs
Conformance or Suitability Evaluation of Artifact
Identifying Artifact Characteristics (stability, material, density, etc.)
Customer Service & Contract Review (e.g. timeliness, follow instructions)
Other:
Other:
Other:
PT Performance Evaluations | Select the check boxe(s) that will apply during the PT Analysis! (The OWM PT Analysis Template will be used to perform analyses, select reference values, ensure metrological traceability of results, and evaluate PT performance.)
| x | Difference from the Reference Value (Bias)
| x | Normalized Error (En) - Used for Pass/Fail Assessment
| X | Precision Assessment (Pn) - Used for Pass/Fail Assessment
Z Score
2 Standard Deviations (used when identifying outliers or selecting reference values)
SOP 1 Calibration Certificate Review Checklist (qualitative review vs ISO/IEC 17025)
SP 811 Check List for Reviewing Manuscripts (qualitative review)
Other:
Other:
Other:
PT Design and Pivot Lab | Select ONE! If no box checked 'Other" box must have entry.
| x | Circular
Petal (Pivot laboratory must be designated and approved by OWM)
Modified Petal (pivot laboratory must be designated and approved by OWM)
Other Design (specify below)
Designate Pivot Laboratory Intended Purpose, and if applicable Other Design: | See also P1 cell C22 with explanation of purpose here.
Additional Planning Details
Calibration Procedure to be used:
Environmental Conditions during storage, handling or calibrations: | As outlined in the designated calibration procedure(s) which are followed to ensure PT standard(s) artifacts are not compromised. Conditions to be specified on calibration certificate (ranges acceptable).
Equilibration requirements: | As outlined in the designated calibration procedure and as routinely managed for similar types of calibrations (unless additional requirements specified here). Equilibration conditions to be included on calibration certificate if supplemental to the calibration procedure.
Required Equipment: | Participants will use equipment that they typically use for this measurement parameter ensuring that accuracy and repeatability requirements of the procedure and this PT are met.
Measurand and/or Characteristics of Interest to be Reported:
Units to be Reported:
Number of Significant Figures: | 2 |  | (unless otherwise noted in the instructions)
Is there a Supplemental Data Sheet?: | No
Tolerance Source and Class (Update the list if documentary standard or class is not listed):
The Percentage or Fraction of Tolerance used for Assessing Pn: | 100 %
Expected Uncertainties from participants: | Uncertainties must represent the actual uncertainties used by the laboratory. The expected value must be small enough to pass the Pn statistical test and includes all critical components identified in the NIST SOPs.
Expected Range of Values from the Participants: | The expected range of values from participants is less than the tolerance.
Expected Limits of Stability: | When there is no significant observed shift or drift, and the first and last measurements are not outliers, the comparison should result in an En value of less than 1.
Submission of Results/ Certificates: | Certificate file(s) submitted to the PT Analyst should be named as “PT-ID_Participant-ID_Cert-YYYYMMDD”. For Example:----__Cert-20250623
Note on B73: Be specific with full document, title, and date of SOP: "NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers" vs. "SOP 19" Note if any laboratories request alternative procedures to be approved by OWM (must provide equivalent uncertainties to the standard SOP).
Note on B74: Be specific with full document, title, and date of SOP: "NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers" vs. "SOP 19" Note if any laboratories request alternative procedures to be approved by OWM (must provide equivalent uncertainties to the standard SOP).
Note on B75: Be specific with full document, title, and date of SOP: "NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers" vs. "SOP 19" Note if any laboratories request alternative procedures to be approved by OWM (must provide equivalent uncertainties to the standard SOP).
Note on B76: Be specific with full document, title, and date of SOP: "NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers" vs. "SOP 19" Note if any laboratories request alternative procedures to be approved by OWM (must provide equivalent uncertainties to the standard SOP).
Note on B84: Be specific: e.g., Conventional Mass correction, Volume at the '0' graduation mark, Volume at the '0' graduation mark and 4 neck scale intervals, length between 7 inch and 13 inch graduations
Note on B92: This is the tolerance used to evaluate participants' data, and may differ from the classification for the artifact.
Note on B93: This is the tolerance used to evaluate participants' data, and may differ from the classification for the artifact.
Note on B95: Typically: 1/3 for Mass and Length 100 % for Volume

## P3; Artifact & Shipping
PT Plan Template
SECTION P3: Artifacts & Shipping
Do NOT delete this cell, used for formatting!
ILC Title: | ----
Range or Nominal:
Coordinator:
|  |  | FEDEX Express (Customer Service #: 800-463-3339) | 2 Day (2nd Business Day) | 3rd Party | NIST Div 680.02, (your RMAP group)
Artifact Description and Ownership
Artefact Description
Serial Number: |  | (Select the artifact ID)
Description: | #N/A
Manufacturer: | #N/A
Model / Design: | #N/A
Range or Nominal: | #N/A
Number of Pieces: | #N/A
Tolerance Classification: | #N/A
Material: | #N/A
Density: | #N/A
Coefficient of Expansion (specify linear or cubical): | #N/A | (complete as necessary)
Neck Graduation Size: | #N/A | (complete as necessary)
Other: |  | (complete as necessary)
Other: |  | (complete as necessary)
Other: |  | (complete as necessary)
Owner
Laboratory: | #N/A
Contact: | #N/A
Email: | #N/A
Phone: | #N/A
Shipping Address: | #N/A
City: | #N/A
State: | #N/A
Zip Code: | #N/A
Handling Instructions | (Procedure: SAP 6)
Instructions: | · Handle in the same manner as routine calibrations of similar type items (unless otherwise specified). · Do not clean or adjust any standards unless it is specified in the procedure. · Report any breakage or damage to the PT Coordinator and NIST. · (Add additional instructions if needed here.)
Packing | (Procedure: SAP 6)
Description: | Add necessary details as necessary. | (add necessary details)
Add pictures of artifact and packaging.
Instructions: | · Ensure standards are packed to prevent damage or breakage · Notify the PT Coordinator and NIST OWM if any deviations are observed. · (Add additional instructions if needed here.)
Shipping & Insurance | (Procedure: SAP 6)
Where To Next? Ask the coordinator, get confirmation from the next lab, (check the schedule).
Carrier: | FEDEX Express (Customer Service #: 800-463-3339)
Method: | 2 Day (2nd Business Day)
Billing*: | 3rd Party
Account Number:
Internal Billing Reference: | NIST Div 680.02, (your RMAP group)
Insurance: | #N/A | (autofilled)
Ship Weight (lb): | #N/A | (autofilled)
Comments: | Do NOT use Ground Shipping without OWM permission. | (see below)
*Non-State labs must pay shipping costs from their lab to the next lab.
Note on B39: Details and/or pictures specific to this ILC.

## P4; Addresses & Contacts
PT Plan Template
SECTION P4: Addresses, Contacts, Shipping/Routing
| ILC Title: | ----
Range or Nominal:
PT Coordinator's Name:
| PT Coordinator's Email/ Phone: | /
NIST will supply a regional list at each RMAP, based on the NIST database.
# | Laboratory/Organization | Lab Contact | Email | Phone | Shipping Address | City | State | Zip Code | MUST SHIP ON THIS DATE
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35

## Receipt Form F08
PT Identification No.: | ----
PT Item(s) Details
Manufacturer: | #N/A
Serial Number:
Model / Design: | #N/A
Range/ Nominal: | #N/A
Number of Pieces: | #N/A
Laboratory: |  | Date:
Date of arrival of the PT items/standards: |  | From:
Condition of packaging and shipping materials (noting any improper packaging, damage to shipping materials, or damage to PT items):
Condition of the standards/visual inspection of the PT items (as received):
Other remarks (anticipated completion of calibrations is helpful to the PT coordinator):
Name of the contact person:
E-mail:
Note: Please complete and submit this form via email to the PT Coordinator upon the arrival and inspection of the PT item(s). This form may be substituted with an email provided it contains all information.

## LookupTables
|  | Lab Codes for OWM PT/ILC Participants | [11 empty] | Measurement Units |  |  | SOP used |  | Documentary Standards (Tolerances to be Applied to Decision Rules and Pn Assessment) |  | Measurement Parameter(s) and Range(s) |  | PT Administrative Team |  |  |  |  | Official Data validation list | Artifacts Inventory
| Laboratory Name | Lab Code | Region | Category | Lab Contact | Email | Phone | Shipping Address | City | State | Zip Code |  |  | Units | Units |  | SOP #: Title (Year) |  | Documentary Standards (Tolerances Applied to Decision Rules and Pn Assessment) | Region | Parameter | Range | Regional Coordinator's Name | Email | Phone | Laboratory | Region | Official Data validation list | ID | Artifact Serial Number | Description | Manufacturer | Model/Design | Range/ Nominal | Number of pieces | Tolerance classification | Material | Density | Coefficient of Expansion (specify linear or cubical): | Replacement Value | Ship Weight (lb) | Neck graduation | File name containing Ref value & U | Owner | Contact's Name | Email | Phone | Address | City | State | Zip Code: | Notes | Column1
| State of Alaska Metrology Laboratory | AK | WRAP | State Lab | Travis Garding | travis.garding@alaska.gov | 907-365-1222 | State of Alaska Metrology Laboratory, 12050 Industry Way, Bldg "O" #6, Anchorage, AK 99515 | Anchorage | AK | 99515 | - | - | µg | microgram | SOP 1 | SOP 1: Preparation of Calibration Certificates (2019) | NIST HB 105-1 (1990) | NIST HB 105-1: Specifications and Tolerances for Field Standard Weights (NIST Class F) - 1990 | CaMAP |  |  | Nicholas Santini | santinin@michigan.gov | (517) 655-7229 | Michigan | MidMAP | * | 1 | 1F6R | Metric Weights Kit (5 kg to 1 mg) | Rice Lake Weighing Instruments | Class F | 5 kg to 1 mg | 33 | NIST HB 105-1 (1990) | Stainless steel | 7.84 g/cm³ (5 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | $4400 | 60 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | 2 mg weight loss in SEMAP-25-MIII-M-01
| Alabama Weights and Measures Laboratory | AL | SEMAP | State Lab | Michael Bridges | michael.bridges@agi.alabama.gov | 334-240-7138 | Alabama Weights and Measures Laboratory, Weights and Measures Laboratory, 1445 Federal Drive, Montgomery, AL 36107 | Montgomery | AL | 36107 | - | - | mg | milligram | SOP 2 | SOP 2: Applying Air Buoyancy Corrections (2019) | NIST HB 105-2 (1996) | NIST HB 105-2: Specifications and Tolerances for Field Standard Measuring Flasks - 1996 | MidMAP | Mass Echelon I | 10 kg to 1 mg | Anna Pierce | anna.pierce@state.mn.us | 651-539-1562 | Minnesota | MidMAP |  | 2 | 1F6S | Metric Weights Kit (5 kg to 1 mg) | Rice Lake Weighing Instruments | Class F | 5 kg to 1 mg | 33 | NIST HB 105-1 (1990) | Stainless steel | 7.84 g/cm³ (5 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | $4400 | 60 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Arkansas Bureau of Standards | AR | SWAP | State Lab | Kayla Hankins | kayla.hankins@agriculture.arkansas.gov | 501.570.1159 | Arkansas Bureau of Standards, 4608 W 61st Street, Little Rock, AR 72209-2408 | Little Rock | AR | 72209-2408 | - | - | g | gram | SOP 3 | SOP 3: Weighing by Double Substitution Using an Equal-Arm Balance (1986) | NIST HB 105-3 (2010) | NIST HB 105-3: Specifications and Tolerances for Graduated Neck Type Volumetric Field Standards - 2010 | NEMAP | Mass Echelon II |  | Brad Bachelder | bradford.bachelder@maine.gov | 207-287-7587 | Maine | NEMAP |  | 3 | 1F6Q | Metric Weights Kit (5 kg to 1 mg) | Rice Lake Weighing Instruments | Class F | 5 kg to 1 mg | 34 | NIST HB 105-1 (1990) | Stainless steel | 7.84 g/cm³ (5 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | $4400 | 60 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Arizona Department of Agriculture - Metrology Laboratory | AZ | SWAP | State Lab | Brian Sellers | bsellers@azda.gov | 602.771.4938 | Arizona Department of Agriculture - Metrology Laboratory, 4425 West Olive Avenue, Suite 134, Glendale, AZ 85302-3844 | Glendale | AZ | 85302-3844 | - | - | kg | kilogram | SOP 4 | SOP 4: Weighing by Double Substitution (2019) | NIST HB 105-4 (2016) | NIST HB 105-4: Specifications and Tolerances for Liquefied Petroleum Gas and Anhydrous Ammonia Liquid Volumetric Provers - 2016 | SEMAP | Mass Echelon III |  | Jonathan Fox | Jonathan.Fox@agriculture.ny.gov | 518-457-3146 | New York | NEMAP |  | 4 | 1F6H | US Mass III Weight Set (10 lb to 1/32 oz) | Rice Lake Weighing Instruments | Class F | 10 lb to 1/32 oz | 27 | NIST HB 105-1 (1990) | Stainless steel | - | N/A | $3500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| State of California Metrology Laboratory | CA | WRAP | State Lab | Tony Gruneisen | anthony.gruneisen@cdfa.ca.gov | (916) 229-3000 | State of California Metrology Laboratory, Division of Measurement Standards, 6790 Florin Perkins Road, Suite 100, Sacramento, CA 95828 | Sacramento | CA | 95828 | - | - | µlb | micropound | SOP 5 | SOP 5: Using a 3-1 Weighing Design (IR5672) (2019) | NIST HB 105-5 (1997) | NIST HB 105-5: Specifications and Tolerances for Field Standard Stopwatches - 1997 | SWAP | Volume Echelon I, VG |  | Megan Money | Megan.Money@FDACS.gov | 850-921-1572 | Florida | SEMAP | Tolerance for Assessing Pn: | 5 | 1F6J | US Mass III Weight Set (10 lb to 1/32 oz) | Rice Lake Weighing Instruments | Class F | 10 lb to 1/32 oz | 27 | NIST HB 105-1 (1990) | Stainless steel | - | N/A | $3500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Colorado Department of Agriculture - Metrology Lab | CO | SWAP | State Lab | Kate Smetana | kate.smetana@state.co.us | 303.869.9241 | Colorado Department of Agriculture - Metrology Lab, 300 South Technology Court, Broomfield, CO 80021 | Broomfield | CO | 80021 | - | - | lb | pound | SOP 6 | SOP 6: Weighing By Transposition | NIST HB 105-6 (1997) | NIST HB 105-6: Specifications and Tolerances for Thermometers - 1997 | WRAP | Volume Echelon II, VT |  | Clay Ivey | civey@nmda.nmsu.edu | (575) 646-1551 | New Mexico | SWAP | 1/3 | 6 | 1F6L | US Mass III Weight Set (10 lb to 1/32 oz) | Rice Lake Weighing Instruments | Class F | 10 lb to 1/32 oz | 27 | NIST HB 105-1 (1990) | Stainless steel | - | N/A | $3500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Connecticut Food and Standards Division | CT | NeMAP | State Lab | Christopher David | Christopher.David@connecticut.gov |  | Connecticut Food and Standards Division, Metrology Lab, 9 Windsor Avenue, Windsor, CT 06095-4312 | Windsor | CT | 06095-4312 | - | - | in | inch | SOP 7 | SOP 7: Weighing by Single Substitution Using a Single Pan Mechanical Balance, a Full Electronic Balance, or a Balance with Digital Indications and Built in Weights (2019) | NIST HB 105-7 (1997) | NIST HB 105-7: Specifications and Tolerances for Dynamic Small Volume Provers - 1997 | National | Length, Tape |  | Michael Tang | Michael.Tang@hawaii.gov | 808-832-0682 | Hawaii | WRAP | 100 % | 7 | 1F6K | US Mass III Weight Set (10 lb to 1/32 oz) | Rice Lake Weighing Instruments | Class F | 10 lb to 1/32 oz | 1 | NIST HB 105-1 (1990) | Stainless steel | - | N/A | $3500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| District of Columbia | DC | SEMAP | State Lab* | - | - | - | District of Columbia - Weights, Measures, and Markets Branch, 1110 U Street S.E., Washington, DC 20001 | - | DC | - | - | - | in² | square inch | SOP 8 | SOP 8: Medium Accuracy Calibrations of Mass Standards by Modified Substitution (2019) | NIST HB 105-8 (2019) | NIST HB 105-8: Specifications and Tolerances for Field Standard Weight Carts – 2019 |  | Length, Ruler |  | Kiara Saunders | kriske@agri.nv.gov | (775) 353-3794 | Nevada | WRAP |  | 8 | DC tag 3249 | Slicker Plate Standard (5 gal) | Seraphin | Slicker Plate Standard | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $7500 | 65 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Delaware Department of Agriculture | DE | NeMAP | State Lab | - | - | - | Delaware Department of Agriculture, Weights and Measures Section, 2320 S. DuPont Highway Dover, DE 19901-5515 | - | DE | - | - | - | in³ | cubic inch | SOP 9 | SOP 9: Control Charts for Calibration of Mass Standards | OIML R 111-1 (2004) | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class E1 |  | Temperature Class I | [7 empty] | 9 | SN 179367 (NIST Tag 596649) | Slicker Plate Standard (5 gal) | Seraphin | Slicker Plate Standard | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $7500 | 65 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Florida Metrology Laboratory | FL | SEMAP | State Lab | Megan Money | Megan.Money@fdacs.gov | 850-921-1572 | Florida Metrology Laboratory, 3125 Conner Boulevard, Lab 2, Tallahassee, FL 32399 | Tallahassee | FL | 32399 | - | - | pt | pint | SOP 10 | SOP 10: Calibration of Rigid Rules (2014) | ASTM E617-23 (2023) | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class E2 |  | Temperature Class II | [7 empty] | 10 | 02-17530-10 | 5 gal Special J | Seraphin | Special J | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $3700 | 80 | 1 in³ & 20 mL | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Georgia Department of Agriculture Metrology Laboratory | GA | SEMAP | State Lab | Stan Diffie | stan.diffie@agr.georgia.gov | 229-386-4120 | Georgia Department of Agriculture Metrology Laboratory, 3150 U.S. Highway 41 South, Tifton, GA 31794 | Tifton | GA | 31794-8877 | - | - | qt | quart | SOP 11 | SOP 11: Calibration of Metal Tapes, Bench Method (2014) | ASTM E288 | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class F1 |  | Temperature Class III | [6 empty] | Expected Range of Values from the Participants: | 11 | 10-07343 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | 0.5 in³ | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Hawaii Measurement Standards Laboratory | HI | WRAP | State Lab | Michael Tang | Michael.Tang@Hawaii.gov | 808-832-0682 | Hawaii Measurement Standards Laboratory, Quality Assurance Division, 1851 Auiki Street, Honolulu, HI 96819 | Honolulu | HI | 96819 | - | - | gal | gallon | SOP 12 | SOP 12: Calibration of Steel Tapes, Tape-to-Tape Method (2014) | ASTM E74 | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class F2 | Seq. # | Temperature Class IV | [6 empty] | The expected range of values from participants is less than the tolerance. | 12 | 10-07350 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | 0.5 in³ | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Iowa Department of Agriculture & Land Stewardship | IA | MidMAP | State Lab | - | - | - | Iowa Department of Agriculture & Land Stewardship, 2230 South Ankeny Boulevard, Ankeny, IA 50023 | - | IA | - | - | - | mL | milliliter | SOP 13 | SOP 13: Calibration of Volumetric Ware, Gravimetric Method (2006) |  | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M1 |  | Frequency | [7 empty] | 13 | 10-07345 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | 0.5 in³ | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Idaho Weights & Measures Metrology Laboratory | ID | WRAP | State Lab | David Bennett | david.bennet@isda.idaho.gov | 208-332-8691 | Idaho Weights & Measures Metrology Laboratory, 2216 Kellogg Lane, Boise, ID 83712-8265 | Boise | ID | 83712 | - | - | L | liter | SOP 14 | SOP 14: Gravimetric Calibration of Volumetric Ware Using an Electronic Balance (2019) |  | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M1-2 | 01 | Time |  | NIST OWM PT Coordinators | [5 empty] | 14 | 10-07348 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | 0.5 in³ | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Illinois Department of Agriculture | IL | MidMAP | State Lab | John Satterlee | john.satterlee@illinois.gov | 217-785-8480 | Illinois Department of Agriculture, Bureau of Weights and Measures Metrology Laboratory, 801 Sangamon Avenue East, Springfield, IL 62702-9281 | Springfield | IL | 62702 | - | - | nm | nanometer | SOP 15 | SOP 15: Calibration of Intermediate and Large Volume Standards Gravimetric Method Using an Equal-Arm Balance (2006) |  | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M2 | 02 | Grain Moisture |  | Name | Email | Phone |  | Laboratory |  | 15 | 10-07347 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | 0.5 in³ | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Indiana State Department of Health | IN | MidMAP | State Lab | William Geisler | wgeisler@health.in.gov | 317-682-9028 | Indiana State Department of Health, Weights and Measures Laboratory, 2525 North Shadeland Avenue Building 30 Suite D3, Indianapolis, IN 46219-1791 | Indianapolis | IN | 46219 | - | - | mm | millimeter | SOP 16 | SOP 16: Calibration of Measuring Flasks, Volume Transfer Method (2019) |  | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M2-3 | 03 | Wheel Load Weigher |  | Micheal Hicks | micheal.hicks@nist.gov | 301-975-4615 |  | NIST Office of Weights and Measures | Expected Limits of Stability: | 16 | 1F6P | Metric Mass III weight Set | Rice Lake Weighing Instruments | Class F | 5 kg to 1 mg | 34 | NIST HB 105-1 (1990) | Stainless steel | 7.84 g/cm³ (5 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | $4400 | 60 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Kansas Metrology Laboratory | KS | SWAP | State Lab | Kevin Uphoff | kevin.uphoff@ks.gov | 785.564.7447 | Kansas Metrology Laboratory, 2004 Research Park Circle, Manhattan, KS 66502 | Manhatton | KS | 66502 | - | - | cm | centimeter | SOP 17 | SOP 17: Control Charts of Laboratory-Owned Check Standards (2019) |  | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M3 | 04 |  |  | Elizabeth Koncki | elizabeth.koncki@nist.gov | 301-975-4859 |  | NIST Office of Weights and Measures | When there is no significant observed shift or drift, and the first and last measurements are not outliers, the comparison should result in an En value of less than 1. | 17 | 1F6A | Metric Precision Weights Kit (100 g to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 2 | 100 g to 1 mg | 21 |  | - | 7.95 g/cm³ (100 g to 10 mg ); 2.7 g/cm³ (5 mg to 1 mg) | N/A | $1100 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Kentucky Regulations and Inspections | KY | SEMAP | State Lab | Jason Glass | jason.glass@ky.gov | 502-573-0282 | Kentucky Regulations and Inspections, 107 Corporate Drive, Frankfort, KY 40601-8311 | Frankfort | KY | 40601-8311 | - | - | cm² | square centimeter | SOP 18 | SOP 18: Calibration of Graduated Neck-Type Metal Volumetric Field Standards, Volumetric Transfer Method (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 00 | 05 |  |  | Tobias Herman | tobias.herman@nist.gov | 301-975-4808 |  | NIST Office of Weights and Measures |  | 18 | A, A* | Metric Weight (1 kg) | Rice Lake Weighing Instruments | - | 1 kg | 2 | OIML R 111-1 (2004) | - | 7.84 g/cm³ | N/A | $1160 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Louisiana Department of Agriculture and Forestry | LA | SWAP | State Lab | Whitney Corley | wcorley@ldaf.state.la.us | 225.922.1381 | Louisiana Department of Agriculture and Forestry, Metrology Laboratory, 5825 Florida Boulevard,, Baton Rouge, LA 70806-4259 | Baton Rouge | LA | 70806-4259 | - | - | cm³ | cubic centimeter | SOP 19 | SOP 19: Calibration of Large Neck-Type Metal Provers, Volume Transfer Method (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 0 | [9 empty] | 19 | 08-05104 | Test measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | 80 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Massachusetts Division of Standards Metrology Laboratory | MA | NeMAP | State Lab | Raymond Costa | ray.costa@mass.gov | 617-947-7584 | Massachusetts Division of Standards Metrology Laboratory, 250 Eliot Street, Suite 10-D, Ashland, MA 01721 | Ashland | MA | 1721 | - | - | m | meter | SOP 20 | SOP 20: Standard Deviation and Range Charts (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 1 | [9 empty] | 20 | 1F6B | Metric Precision Weights kit (100 g to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 2 | 100 g to 1 mg | 21 | ASTM E617-23 (2023) | Stainless steel | 7.95 g/cm³ (100 g to 10 mg ); 2.7 g/cm³ (5 mg to 1 mg) | N/A | $1100 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Maryland Department of Agriculture | MD | SEMAP | State Lab | Tong Hsu | tong.hsu@maryland.gov | 410-841-5790 | Maryland Department of Agriculture - Weights and Measures Calibration Laboratory, 50 Harry S. Truman Parkway, Annapolis, MD 21401-8960 | Annapolis | MD | 21401-8960 | - | - | m² | square meter | SOP 21 | SOP 21: Calibration of LPG Provers (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 2 | [8 empty] | Expected Uncertainties from participants: | 21 | 1F6C | Metric Precision Weights kit (100 g to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 2 | 100 g to 1 mg | 21 | ASTM E617-23 (2023) | Stainless steel | 7.95 g/cm³ (100 g to 10 mg ); 2.7 g/cm³ (5 mg to 1 mg) | N/A | $1100 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Maine Metrology Laboratory | ME | NEMAP | State Lab | Brad Bachelder | Bradford.Bachelder@maine.gov | 207-287-7587 | Maine Metrology Laboratory, 333 Cony Road, Augusta, ME 04330 | Agusta | ME | 4330 | - | - | m³ | cubic meter | SOP 22 | SOP 22: Calibration of Traffic Speed Guns and Tuning Forks (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 3 | Unit System | Training | [6 empty] | Uncertainties must represent the actual uncertainties used by the laboratory. The expected value must be small enough to pass the Pn statistical test and includes all critical components identified in the NIST SOPs. | 22 | 1F6D | Metric Precision Weights kit (100 g to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 2 | 100 g to 1 mg | 21 | ASTM E617-23 (2023) | Stainless steel | 7.95 g/cm³ (100 g to 10 mg ); 2.7 g/cm³ (5 mg to 1 mg) | N/A | $1100 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Michigan Department of Agriculture and Rural Development | MI | MidMAP | State Lab | Nick Santini | santinin@michigan.gov | 517-655-7229 | Michigan Department of Agriculture and Rural Development, E.C. Heffron Metrology Laboratory, 940 Venture Lane, Williamston, MI 48895-9028 | Williamston | MI | 48895 | - | - |  |  | SOP 23 | SOP 23: Calibrations of PI Tapes Bench Method (2014) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 4 |  | Volume Metrology seminar | [7 empty] | 23 | 1F6E | Metric Precision Weights kit (100 g to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 2 | 100 g to 1 mg | 21 | ASTM E617-23 (2023) | Stainless steel | 7.95 g/cm³ (100 g to 10 mg ); 2.7 g/cm³ (5 mg to 1 mg) | N/A | $1100 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Minnesota Metrology Laboratory | MN | MidMAP | State Lab | Benj FitzRysler | benjamin.fitzrysler@state.mn.us | 651-539-1562 | 14305 Southcross Drive W Suite 150 | Burnsville | MN | 55306 | - | - | °F | degrees Fahrenheit | SOP 24 | SOP 24: Calibration of Field Standard Stopwatches (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 5 | US Customary | Mass Metrology seminar | [7 empty] | 24 | B, B* | Metric Weight (1 kg) | Rice Lake Weighing Instruments | ASTM Class 2 | 1 kg | 2 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | $1160 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Missouri Department of Agriculture | MO | SWAP | State Lab | John Bell | Johnny.bell@mda.mo.gov | 573-751-3440 | Missouri Department of Agriculture, Weights, Measures & Consumer Protection Division, Metrology Laboratory, 1616 Missouri Boulevard, Jefferson City, MO 65109 | Jefferson City | MO | 65102 | - | - | °C | degrees Celsius | SOP 26 | SOP 26: Gravimetric Calibration of Dynamic Volumetric Systems used as Standards (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 6 | Metric | Advanced Mass Metrology seminar |  | PT Coordinators | [5 empty] | 25 | 3155 | US SS Handle Weight | Rice Lake Weighing Instruments | ASTM Class 3 | 10 lb | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | 1500 | 30 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Mississippi Department of Agriculture & Commerce | MS | SEMAP | State Lab | Gene Robertson | gene@mdac.ms.gov | 502-573-0282 | Mississippi Department of Agriculture & Commerce, Metrology Lab, 1000-A ASU Drive, Bldg #10, Lorman, MS 39096 | Lorman | MS | 39096 | - | - | K | Kelvin | SOP 27 | SOP 27: Calibration of Railroad Test Cars (Mass) (2019) |  | ASTM E617-23: Standard Specification for Laboratory Weights and Precision Mass Standards – 2023 Class 7 |  | OJT (On-Job-Training) |  | Name | Email | Phone |  | Region/Laboratory | Environmental Conditions during storage, handling or calibrations: | 26 | C, C* | Metric Weight (1 kg) | Rice Lake Weighing Instruments | ASTM Class 2 | 1 kg | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | $1160 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Montana Bureau of Weights and Measures | MT | WRAP | State Lab | David Fraser | dafraser@mt.gov | 406-461-4168 | Montana Bureau of Weights and Measures, 3806 US-12 / 287, East Helena, MT 59635 | Helena | MT | 59620-0516 | - | - | fl dr | fluid drams | SOP 28 | SOP 28: Using Advanced Weighing Designs (IR5672) (2019) |  | ASTM E288: Single Mark Laboratory Glassware |  | Fundamentals of Metrology |  | Micheal Hicks | micheal.hicks@nist.gov | 301-975-4615 |  | NIST Office of Weights and Measures | As outlined in the designated calibration procedure(s) which are followed to ensure PT standard(s) artifacts are not compromised. Conditions to be specified on calibration certificate (ranges acceptable). | 27 | 3 | US Class 3 SS Weight | Troemner | ASTM Class 3 | 50 lb | 1 | ASTM E617-23 (2023) | Stainless steel | - | N/A | - | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| North Carolina Department of Agriculture and Consumer Services | NC | SEMAP | State Lab | Sharon Woodard | Sharon.Woodard@ncagr.gov | 984) 236-4802 | North Carolina Department of Agriculture and Consumer Services, Metrology Laboratory, 4400 Reedy Creek Road, Raleigh, NC 27607 | Raleigh | NC | 27607 | - | - | fl oz | Fluid ounce(s) | SOP 29 | SOP 29: Assignment of Uncertainty (2019) |  | ASMT E74 or Handbook 44: Wheelload Weighers | Vital |  |  | Elizabeth Koncki | elizabeth.koncki@nist.gov | 301-975-4859 |  | NIST Office of Weights and Measures |  | 28 | D, D* | Metric Weight (1 kg) | Rice Lake Weighing Instruments | ASTM Class 2 | 1 kg | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | $1160 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| North Dakota Public Service Commission | ND | MidMAP | State Lab | - | - | - | North Dakota Public Service Commission, 605 E. Boulevard Avenue - Dept. 408, State Capitol 12th Floor, Bismark, ND 58505-0480 | - | ND | - | - | - | ft | foot | SOP 30 | SOP 30: Process Measurement Assurance Program |  | Other: | No |  |  | Tobias Herman | tobias.herman@nist.gov | 301-975-4808 |  | NIST Office of Weights and Measures |  | 29 | TN01 | 25 lb Cast Iron Class F | Rice Lake Weighing Instruments | ASTM Class 6 | 25 lb | 1 | ASTM E617-23 (2023) | Stainless steel | - | N/A | - | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Nebraska Standards Laboratory | NE | MidMAP | State Lab | Joel Lavicky | joel.lavicky@nebraska.gov | 402-471-2087 | Nebraska Standards Laboratory, 3721 West Cuming Street, Lincoln, NE 68524 | Lincoln | NE | 68524 | - | - | Pa | Pascal | SOP 31 | SOP 31: Scale Plate Calibration for Volumetric Field Standards (2019) |  | Other: | Yes |  |  | James Gownley | jgownley@pa.gov | 717-787-4707 |  | NEMAP/Pennsylvania Standards Lab |  | 30 | E, E* | Metric Weight (1 kg) | Rice Lake Weighing Instruments | ASTM Class 2 | 1 kg | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | $1160 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| New Hampshire Metrology Laboratory | NH | NeMAP | State Lab | John Abasto | John.F.Abasto@agr.nh.gov | 603-271-0894 | New Hampshire Metrology Laboratory, 25 Capitol Street, Room 31, Concord, NH 03301 | Concord | NH | 3031 | - | - | kPa | Kilopascal | SOP 33 | SOP 33: Calibration of Weights Carts (2019) | [5 empty] | John Abasto | john.f.abasto@agr.nh.gov | 603-271-0894 |  | NEMAP/New Hampshire | Equilibration requirements: | 31 | 1F6N | Metric Weight Set (5 kg to 1 mg) | Rice Lake Weighing Instruments | ASTM Class 3 | 5 kg to 1 mg | 34 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ (5 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | $4400 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | ASTM Class 3 used as Class F, very low susceptibility to magnetism)
| State of New Jersey - Office of Weights and Measures, Metrology Laboratory | NJ | NeMAP | State Lab | Michael Cecere | cecerem@dca.njoag.gov | 732-621-2554 | State of New Jersey - Office of Weights and Measures, Metrology Laboratory, 1261 Routes 1 & 9 South, Avenel, NJ 07001-1647 | Avenel | NJ | 07001-1647 | - | - | s | second | SOP 34 | SOP 34: Selection and Use of Sensitivity Weights and Tare Weights in Weighing Procedures (2019) |  |  | Year | [7 empty] | As outlined in the designated calibration procedure and as routinely managed for similar types of calibrations (unless additional requirements specified here). Equilibration conditions to be included on calibration certificate if supplemental to the calibration procedure. | 32 | 1F6I | US Mass III Weight Set | Rice Lake Weighing Instruments | ASTM Class 3 | 10 lb to 1/32 oz | 27 | ASTM E617-23 (2023) | Stainless steel | - | N/A | $3500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| New Mexico Department of Agriculture | NM | SWAP | State Lab | Clay Ivey | civey@nmda.nmsu.edu | 575.646.1551 | New Mexico Department of Agriculture, Standards and Consumer Services, 973 Agriculture Way, Las Cruces, NM 88003 | Las Cruces | NM | 88003 | - | - | min | minute | SOP 49 | SOP 49: Calibration of Environmental Monitoring Standards by Direct Comparison (2019) | [11 empty] | 33 | 16004-4 (NIST tag: 539857) | Trailer mounted prover (100 gal) | Seraphin | "J" | 100 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $14,500 for prover and pallet, $17,000 for whole assembly. | 875 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| State of Nevada Metrology Laboratory | NV | WRAP | State Lab | James Kellames | metrology@agri.nv.gov | (775) 353-3788 | State of Nevada Metrology Laboratory, 2150 Frazer Avenue, Sparks, NV 89431 | Sparks | NV | 89431 | - | - | h | hour | SOP 52 | SOP 52: Verification and Adjustment of Digital Conductivity Meter and Measuring Water Conductivity (2019) |  |  | 2023 | [8 empty] | 34 | 00-18085 | Sensitive Neck Prover (15 gal) | Seraphin | "M" | 15 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | - | 0.0000265 / ° F | $8000 | 300 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| New York State Bureau of Weights and Measures | NY | NeMAP | State Lab | Michael LeJeune | Michael.Lejeune@agriculture.ny.gov | 518-457-3146 | New York State Bureau of Weights and Measures, 6 Harriman Campus Road, Albany, NY 12206 | Albany | NY | 12206 | - | - | A | Ampere | OIML R111 | OIML R111 |  |  | 2024 | [8 empty] | 35 | V1 & V2 | 500 lb SS weight | Troemner | ASTM Class 2 | 500 lb | 2 | ASTM E617-23 (2023) | Stainless steel | - | N/A | $50000 | 1300 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Ohio Department of Agriculture | OH | MidMAP | State Lab | Tom Buck | Tom.Buck@agri.ohio.gov | 614-728-6429 | Ohio Department of Agriculture, 8995 East Main Street, Bldg 5, Reynoldsburg, OH 43068-3398 | Reynoldsburg | OH | 43068 | - | - | C | coulomb |  |  |  |  | 2025 | [7 empty] | Required Equipment: | 36 | OWM NBS #545 | 18 in Steel Ruler | Lufkin | C-2207R | 18 in | 1 |  | Steel | - | N/A | $500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Oklahoma Bureau of Standards | OK | SWAP | State Lab | William Krivanek | william.krivanek@ag.ok.gov | 405.522.5459 | Oklahoma Bureau of Standards, 2800 North Lincoln Boulevard, Oklahoma City, OK 73105 | Oklahoma City | OK | 73105 | - | - | V | volt |  |  |  |  | 2026 | [7 empty] | Participants will use equipment that they typically use for this measurement parameter ensuring that accuracy and repeatability requirements of the procedure and this PT are met. | 37 | A | Phase II 10 kg to 1 mg | Mettler Toledo | OIML Class E2 | 10 kg to 1 mg | 28 | OIML R 111-1 (2004) | Stainless steel | 7.84 g/cm³ (10 kg to 1 g); 7.95 g/cm³(500 mg to 1 mg) | N/A | 5000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Oregon Department of Agriculture (non-palletized items only) | OR | WRAP | State Lab | Aaron Aydelotte | aaron.aydelotte@oda.oregon.gov | 503-986-4669 | Oregon Department of Agriculture, Weights and Measures Program, 635 Capitol Street NE, Suite 100, Salem, OR 97301-2532151 Shipping address for palletized PT items: Oregon Department of Agriculture, Weights and Measures Program, 151 Hawthorne Avenue, NE, Salem, OR 97301 | Salem | OR | 97301-2532 | - | - | J | joule |  |  |  |  | 2027 | [8 empty] | 38 | B | Phase II 10 kg to 1 mg | Mettler Toledo | OIML Class E2 | 10 kg to 1 mg | 28 | OIML R 111-1 (2004) | Stainless steel | 7.84 g/cm³ (10 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | 5000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Pennsylvania Standards Lab | PA | NeMAP | State Lab | James Gownley | jgownley@pa.gov | (717) 787-4707 | Pennsylvania Standards Lab, 2221 Forster Street, Rm G-44A, Harrisburg, PA 17125 | Harrisburg | PA | 17125 | - | - | W | watt |  |  |  |  | 2028 | [8 empty] | 39 | C | Phase II 10 kg to 1 mg | Mettler Toledo | OIML Class E2 | 10 kg to 1 mg | 28 | OIML R 111-1 (2004) | Stainless steel | 7.84 g/cm³ (10 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | 5000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Puerto Rico Department of Consumer Affairs | PR | CaMAP | State Lab | Abner Rodriguez-Velentin | abrodriguez@daco.gobierno.pr | 787-725-4414 | Puerto Rico Department of Consumer Affairs, 140 Federico Costas Street, San Juan, PR 00918 | San Juan | PR | 918 | - | - | Hz | hertz |  |  |  |  | 2029 | [8 empty] | 40 | D | Phase II 10 kg to 1 mg | Mettler Toledo | OIML Class E2 | 10 kg to 1 mg | 28 | OIML R 111-1 (2004) | Stainless steel | 7.84 g/cm³ (10 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | 5000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Rhode Island Department of Labor | RI | NeMAP | State Lab | - | - | - | Rhode Island Department of Labor, 610 Manton Avenue, Providence, RI 02909 | - | RI | - | - | - | H | Henry |  |  |  |  | 2030 | [8 empty] | 41 | E | Phase II 10 kg to 1 mg | Mettler Toledo | OIML Class E2 | 10 kg to 1 mg | 28 | OIML R 111-1 (2004) | Stainless steel | 7.84 g/cm³ (10 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | 5000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| South Carolina Department of Agriculture, | SC | SEMAP | State Lab | Timothy Jones | tjones@scda.sc.gov | 803-253-4052 | South Carolina Department of Agriculture, D. Leslie Tindal Metrology Laboratory, 129 Ballard Court, West Columbia, SC 29172 | West Columbia | SC | 29172 | - | - | F | farad |  |  |  |  | 2031 | [8 empty] | 42 | 64 | Glass Flask (1 quart) | SGA | - | 1 qt | 1 |  | Quartz | - | N/A | 1500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| South Dakota State Metrology Laboratory | SD | MidMAP | State Lab | Ron Peterson | ron.peterson@state.sd.us | 605-347-7541 | South Dakota State Metrology Laboratory, 1100 Otter Road, Building D, Sturgis, SD 57785 | Sturgis | SD | 57785 | - | - | Ω | ohm |  |  |  |  | 2032 | [8 empty] | 43 | NIST Tag 536316 | 10 lb and 5 lb weights | Troemner | ASTM Class 3 | 10 lb & 5 lb | 2 | ASTM E617-23 (2023) | Stainless steel | - | N/A | 3000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Tennessee Department of Agriculture | TN | SEMAP | State Lab | Rong Zhang | Rong.Zhang@tn.gov | 6158375158 | Tennessee Department of Agriculture, Julius T. Johnson Metrology Laboratory, Ellington Agriculture Center, 5203 Marchant Drive, Nashville, TN 37204 | Nashville | TN | 37211 | - | - | S | Siemens |  |  |  |  | 2033 | [8 empty] | 44 | 15962 | Metric Weight | Mettler Toledo | OIML Class F1 | 10 kg | 1 | OIML R 111-1 (2004) | - | - | N/A | 2000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Texas Department of Agriculture | TX | SWAP | State Lab | Lisa Corn | lisa.corn@texasagriculture.gov | 979.542.3231 | Texas Department of Agriculture, Giddings Metrology Laboratory, 1258 CR 226, Giddings, TX 78942 | Giddings | TX | 78942 | - | - | Wb | Weber |  |  |  |  | 2034 | [8 empty] | 45 | NIST Tag 596651 (50) & 3155 (10) | US Mass III weights (50 lb & 10 lb SS) | Troemner/RLWS | ASTM Class 3 | 50 lb & 10 lb | 2 | ASTM E617-23 (2023) | Stainless steel | - | N/A | 2500 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Utah Metrology Laboratory | UT | WRAP | State Lab | Bill Rigby | brigby@utah.gov | 801-982-2267 | Utah Metrology Laboratory, 4315 S 2700 W, TSOB South Bldg, Floor 2, Taylorsville, UT 84129-2128 | Taylorsville | UT | 84129 | - | - | T | tesla |  |  |  |  | 2035 | [8 empty] | 46 | Mass MAP 2 | Metric Precision Weights kit (1 kg to 1 mg) | Rice Lake Weighing Instruments | - | 1 kg to 1 mg | 23 | ASTM E617-23 (2023) | Stainless steel | - | N/A | 4000 | - | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Virginia Department of Agriculture | VA | SEMAP | State Lab | William Scott | william.scott@vdacs.virginia.gov | 804-786-6799 | Virginia Department of Agriculture, Metrology Laboratory, 600 North 4th Street, Richmond, VA 23219 | Richmond | VA | 23219 | - | - | A/m | Ampere per meter |  |  |  |  | 2036 | [8 empty] | 47 | Mass MAP 1 | Metric Precision Weights kit (1 kg to 1 mg) | Troemner | - | 1 kg to 1 mg | 23 | ASTM E617-23 (2023) | Stainless steel | - | N/A | 4000 | 45 | N/A | - | NIST Office of Weights and Measures | Michael Hicks | micheal.hicks@nist.gov | +1 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | Maryland | 20899 | -
| Virgin Islands Department of Licensing and Consumer Affair | VI | CaMAP | State Lab | - | - | - | VI Department of Licensing and Consumer Affairs, Golden Rock Shopping Center, Christiansted, St. Croix, VI | - | VI | - | - | - | cd | candela |  |  |  |  | 2037 | [8 empty] | 48 | WA001 | Test Weight (10 lb) | Troemner | - | 10 lb | 1 | ASTM E617-23 (2023) | Stainless steel | - | N/A | - | - | N/A | - | WA State Department of Agriculture | - | - | - | WA State Department of Agriculture (WSDA), Metrology Laboratory, 2747 29th Avenue SW, Ste B, Tumwater, WA 98512-6104 | - | WA | - | -
| State of Vermont Metrology Laboratory | VT | NeMAP | State Lab | Scott Dolan | scott.dolan@vermont.gov | 802-522-5415 | State of Vermont Metrology Laboratory, 163 Administration Drive, Randolph Center, VT 05061 | Randolph Center | VT | 5061 | - | - | lm | lumen |  |  |  |  | 2038 | [8 empty] | 49 | - | US Customary Flask (32 oz) | - | - | 32 oz | 1 |  | - | - | N/A | - | - | N/A |  | State of Vermont Metrology Laboratory | Scott Dolan | scott.dolan@vermont.gov | 802-522-5415 | State of Vermont Metrology Laboratory, 163 Administration Drive, Randolph Center, VT 05061 | Randolph Center | VT | 5061 | Flask will be use to perform Neck Calibration on 15 gal PT artifact S/N 00-18085
| Washington State Department of Agriculture | WA | WRAP | State Lab | Leslie German | lgerman@agr.wa.gov | 360-764-0199 | WA State Department of Agriculture (WSDA), Metrology Laboratory, 2747 29th Avenue SW, Ste B, Tumwater, WA 98512-6104 | Olympia | WA | 98504 | - | - | lx | lux |  |  |  |  | 2039 | [8 empty] | 50 | 2013 | Metric Weights set (Decades) | Rice Lake Weighing Instruments | - | 1 kg to 10 mg | 34 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ (1 kg to 1 g ); 7.95 g/cm³ (500 mg to 10 mg) | N/A | - | - | N/A | - | Rice Lake Weighing Systems | [7 empty] | -
| Wisconsin Weights and Measures Laboratory | WI | MidMAP | State Lab | Justin Lien | Justin.Lien@wisconsin.gov | 608-224-4913 | Wisconsin Weights and Measures Laboratory, 3601 Galleon Run, Madison, WI 53718-6921 | Madison | WI | 53718 | - | - | cd/m² | candela per square meter |  |  |  |  | 2040 | [8 empty] | 51 | 7 | Grip Handle cast iron weight | Troemner | - | 20 kg | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | - | - | N/A | - | Ohio Department of Agriculture | Tom Buck | Tom.Buck@agri.ohio.gov | 614-728-6290 | Ohio Department of Agriculture, 8995 East Main Street, Bldg 5, Reynoldsburg, OH 43068-3398 | Reynoldsburg | OH | 43068 | -
| West Virginia Division of Labor, Weights & Measures | WV | NeMAP | State Lab | Tory Brewer | tory.d.brewer@wv.gov | 304-722-0605 | West Virginia Division of Labor, Weights & Measures, Metrology Laboratory, WV Weights & Measures, 570 McCorkle Avenue SW, St. Albans, WV 25177-1795 | St. Albans | WV | 25177-1795 | - | - | rad | radian |  |  |  |  | 2041 | [8 empty] | 52 | MET3 | Stainless steel polished weight (10 kg) | Troemner | - | 10 kg | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | - | - | N/A | - | Ohio Department of Agriculture | Tom Buck | Tom.Buck@agri.ohio.gov | 614-728-6290 | Ohio Department of Agriculture, 8995 East Main Street, Bldg 5, Reynoldsburg, OH 43068-3398 | Reynoldsburg | OH | 43068 | -
| Wyoming Department of Agriculture | WY | WRAP | State Lab | Robert Weidler | robert.weidler@wyo.gov | 307-777-7556 | Wyoming Department of Agriculture, 6607 Campstool Road, Cheyenne, WY 82002 | Cheyenne | WY | 82002 | - | - | kg/m³ | kilogram per cubic meter |  |  |  |  | 2042 | [8 empty] | 53 | 04-00404 | Test Measure (5 gal) | Seraphin | E3 | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $1000 | - | 0.25 in³ | - | New Mexico Department of Agriculture | Clay Ivey | civey@nmda.nmsu.edu | 575.646.1551 | New Mexico Department of Agriculture, Standards and Consumer Services, 973 Agriculture Way, Las Cruces, NM 88003 | Las Cruces | NM | 88003 | -
| Los Angeles County Department of Agriculture | LAC | WRAP | State Lab | Lina Ng | lng@acwm.lacounty.gov | 562-622-0419 | Los Angeles County Department of Agriculture, Weights and Measures Metrology Laboratory, 11012 Garfield Avenue, South Gate, CA 90280-7504 | South Gate | CA | 90280-7504 | - | - | g/cm³ | grams per cubic centimeter | [13 empty] | 54 | NH 001204 (Tag 7437) | Slicker (5 gal) | Seraphin | Slicker Plate Standard | 5 gal | 1 | NIST HB 105-3 (2010) | Stainless steel | N/A | 0.0000265 / °F | $7500 | - | N/A | - | New Hampshire Metrology Laboratory | John Abasto | John.F.Abasto@agr.nh.gov | 603-271-0894 | New Hampshire Metrology Laboratory, 25 Capitol Street, Room 31, Concord, NH 03301 | Concord | NH | 3031 | -
| U.S. Department of Agriculture, Agricultural Marketing Service, Federal Grain Inspection Service (USDA, AMS, FGIS) | FGIS | MidMAP | Federal Lab | Oscar Porter | oscar.kc.porter@usda.gov | (708) 514-9043 | USDA/AMS/FGIS, Master Scale Depot, 5800 West 69th Street, Chicago, IL 60638 | Chicago | IL | 60638 | - | - | kg/L | kilograms per liter | [13 empty] | 55 | NC200001 | Cast Iron weight (50 lb) | Unknown | Class F | 20 lb | 1 | ASTM E617-23 (2023) | Cast Iron | - | N/A | 150 | 70 | N/A | - | North Carolina Department of Agriculture and Consumer Services | Sharon Woodard | Sharon.Woodard@ncagr.gov | 984) 236-4802 | North Carolina Department of Agriculture and Consumer Services, Standards Laboratory, 4400 Reedy Creek Road, Raleigh, NC 27607 | Raleigh | NC | 27607 | -
| NIST Office of Weights and Measures | OWM | ALL | NIST | Micheal Hicks | micheal.hicks@nist.gov | 301-975-4615 | 100 Bureau Drive, Bldg 101/ Rm B07 | Gaithersburg | MD | 20899 |  |  | m/s | meters per second | [13 empty] | 56 | F | Cast Iron weight (50 lb) | Fairbanks | Class F | 50 lb | 1 | NIST HB 105-1 (1990) | Cast Iron | - | N/A | - | 85 | N/A | - | North Carolina Department of Agriculture and Consumer Services | Sharon Woodard | Sharon.Woodard@ncagr.gov | 984) 236-4802 | North Carolina Department of Agriculture and Consumer Services, Standards Laboratory, 4400 Reedy Creek Road, Raleigh, NC 27607 | Raleigh | NC | 27607 | -
| New York City | NYC | NEMAP | Industry lab | - | - | - | - | - | - | - | - | - | km/h | kilometers per hour | [7 empty] | PT Analysts | [5 empty] | 57 | NC WORKING STD/NC 81 | Metric Mass III Cast Iron Weight (20 kg) | Rice Lake Weighing Instruments | - | 20 kg | 1 |  | Cast Iron Weight | 7.84 g/cm³ | N/A | - | - | N/A | - | North Carolina Department of Agriculture and Consumer Services | Sharon Woodard | Sharon.Woodard@ncagr.gov | 984) 236-4802 | North Carolina Department of Agriculture and Consumer Services, Standards Laboratory, 4400 Reedy Creek Road, Raleigh, NC 27607 | Raleigh | NC | 27607 | -
| Abbott Laboratories | ABL | MidMAP | Industry lab | Charles.Brown | Charles.Brown@abbott.com | 224-668-9146 | AP52N Metrology / Rutherford Abbott Laboratories 3561 Burwood Drive - Dock 3 | Waukegan | IL | 60085 | - | - | m/s² | meter per second squared | [7 empty] | Name | Email | Phone |  | Region/Laboratory |  | 58 | 73592 | US Mass I weights set (0.5 lb to 0.001 lb) | Troemner | ASTM Class 1 | 0.5 lb to 0.001 lb | 23 | ASTM E617-23 (2023) | Stainless steel | - | N/A | - | - | N/A | - | Missouri Department of Agriculture | - | - | - | Missouri Department of Agriculture, Weights, Measures & Consumer Protection Division, Metrology Laboratory, 1616 Missouri Boulevard, Jefferson City, MO 65109 | - | MO | - | -
| Absolute Weighing Inc. | ABI | SEMAP | Industry lab | - | - | - | - | - | - | - | - | - | m²/s | meter squared per second | [7 empty] | Micheal Hicks | micheal.hicks@nist.gov | 301-975-4615 |  | NIST Office of Weights and Measures |  | 59 | 105719269 | Digital Thermometer (0 °C to 100 °C ± 0.05 °C) | Control Company | 4000 | 0 °C to 100 °C | 1 |  | - | N/A | - | - | - | N/A | - | Rice Lake Weighing Systems (formely Heusser Neweigh) | [7 empty] | -
| ACS Aldinger | ALD | SWAP | Industry lab | - | - | - | - | - | - | - | - | - | Pa·s | Pascal second | [7 empty] | Elizabeth Koncki | elizabeth.koncki@nist.gov | 301-975-4859 |  | NIST Office of Weights and Measures |  | 60 | COLO W&M DD-0003 | 20 kg Mass III Cast Iron Weight | Cardinal | - | 20 kg | 1 | ASTM E617-23 (2023) | Cast Iron Weight | 7.84 g/cm³ | N/A | - | - | N/A | - | Colorado Department of Agriculture | Kate Smetana | kate.smetana@state.co.us | 303.869.9241 | Colorado Department of Agriculture - Metrology Lab, 300 South Technology Court, Broomfield, CO 80021 | Broomfield | CO | 80021 | -
| Antibus Scales and Systems | ASS | MidMAP | Industry lab | - | - | - | - | - | - | - | - | - | ns | nanosecond | [7 empty] | Tobias Herman | tobias.herman@nist.gov | 301-975-4808 |  | NIST Office of Weights and Measures |  | 61 | 950 | Atrifacts are cylindrical showing no signs of wear in excellent shape | Mettler Toledo | OIML E2 weight set | 5 kg to 100 g | 7 | ASTM E617-23 (2023) | Stainless steel | 8.0 g/cm³ Borrowed 3 kg @7.95 g/cm³ | N/A | 2500 | 150 | N/A | - | Ohio Metrology Laboratory (The 3 kg weight is owned by the Minnesota lab) | Tom Buck and Anna Pierce for the 3 kg weight | tom.buck@agri.ohio.gov | 614-728-6290 | 8995 E Main St, Building 5 | Reynoldsburg | OH | 43068 | -
| Atlantic Scale | ATS | NeMAP | Industry lab | - | - | - | - | - | - | - | - | - | N·m | Newton meter | [7 empty] | James Gownley | jgownley@pa.gov | 717-787-4707 |  | Pennsylvania Standards Lab |  | 62 | B | 250 kg cast iron mass standard |  |  | 250 | 1 | ASTM E617-23 (2023) | Cast Iron Weight |  |  |  |  | N/A |  | Minnesota Weights and Measures |  | anna.pierce@state.mn.us | 651-539-1562 | 14305 Southcross Drive #150 | Brunsville | MN | 55306 | To be moved and transferred by lab truck
| Barbados | BBS | CaMAP | Industry lab | - | - | - | - | - | - | - | - | - | mN·m | millinewton meter | [13 empty] | 63 | S (IN) | 50 lb SS weight from Indiana | Rice Lake Weighing Instruments | ASTM Class 2 | 50 lb | 1 | ASTM E617-23 (2023) | Stainless steel | 7.84 g/cm³ | N/A | 1500 | 60 | N/A |  | Indiana Weights and Measures | Howard Wickersham | William Geisler | (317) 356-7078 | 2525 N Shadeland Avenue, D3 | Indianapolis | IN | 46219
| Certified Measurements Inc. | CMI | SEMAP | Industry lab | Jeremy Nading | jnading@cmi-labs.com | 478-953-5171 | 510 N. Houston Lake Blvd. | Centerville | GA | 31028 | - | - | N | Newton | [13 empty] | 64 | 102 | 25 kg Mass III Cast Iron Weight | Troemner | - | 25 kg |  | NIST HB 105-1 (1990) | Cast Iron Weight | 7.2 g/cm³ | N/A | 200 | 75 | N/A |  | Maine Metrology Laboratory | Brad Bachelder | bradford.bachelder@maine.gov | 207-287-7587 | 333 Cony Rd | Augusta | ME | 04330
| Consumer Power/Energy | CPE | MidMAP | Industry lab | - | - | - | - | - | - | - | - | - | ft³/min | cubic feet per minute | [13 empty] | 65 | PA0009998 | Stopwatch | Robic | SC-808 | s | 1 | NIST HB 105-5 (1997) | N/A | N/A | N/A | 350 | 30 | N/A |  | Pennsylvania Standards Lab | Jim Gownley | jgownley@pa.gov | (717) 787 - 0937 | 2221 Forster Street Room G-44A | Harrisburg | PA | 17125
| Dominican Republic | DOR | CaMAP | Industry lab | - | - | - | - | - | - | - | - | - | in³/min | cubic inches per minute | [13 empty] | 66 | 00-60-768 | Stopwatch | Accusplit | AX605 | s | 1 | NIST HB 105-5 (1997) | N/A | N/A | N/A | 350 | 30 | N/A |  | California Department of Food and Agriculture Division of Measurement Standards | Tony Gruneisen | anthony.gruneisen@cdfa.ca.gov | (916) 798-2121 | 6790 Florin Perkins Road, Suite 100 | Sacramento | CA | 95828
| Duke Energy Corporation | DEC | SEMAP | Industry lab | - | - | - | - | - | - | - | - | - | mol | mole | [13 empty] | 67 | [12 empty] | N/A
| Ecuador | INEN | CaMAP | Industry lab | - | - | - | - | - | - | - | - | - | minims | minim(s) | [13 empty] | 68 | [12 empty] | N/A
| Edgerton, Germeshausen, and Grier, Inc | EG&G | NEMAP | Industry lab | - | - | - | - | - | - | - | - | - | [15 empty] | 69 | [12 empty] | N/A
| Eli Lilly and Company | ELC | MidMAP | Industry lab | Jeff Andrews | andrews_jeffrey_ja@lilly.com | 317-668-8059 | 1402 S Dakota St | Indianapolis | IN | 46225 | - | - | [15 empty] | 70 | [12 empty] | N/A
| Empire Scale Corporation | ESS | NEMAP | Industry lab | - | - | - | - | - | - | - | - | - | [15 empty] | 71 | [12 empty] | N/A
| Georgia (State) Fuel Oil Lab | GAF | SEMAP | Industry lab | - | - | - | - | - | - | - | - | - | [15 empty] | 72 | [12 empty] | N/A
| Grand Rapid Scale | GRS | MidMAP | Industry lab | - | - | - | - | - | - | - | - | - | [15 empty] | 73 | [12 empty] | N/A
| Guam | GU | CaMAP | Industry lab | - | - | - | - | - | - | - | - | - | [15 empty] | 74 | [12 empty] | N/A
| Rice Lake Weighing System (formerly Heusser Neweigh) | RLWS | WRAP | Industry lab | David Wingo | dwingo@ricelake.com | 925-798-8900 | 1400 Willow Pass Court | Concord | CA | 94520 | - | - | [15 empty] | 75 | [12 empty] | N/A
| Hi-Tech | HT | SEMAP | Industry lab | - | - | - | - | - | - | - | - | - | Equipment Types | [14 empty] | 76 | [12 empty] | N/A
| Jamaica Bureau of Standards | JBS | CaMAP | Industry lab* | - | - | - | - | - | - | - | - | - | Metric Precision Weight Kit | [14 empty] | 77 | [12 empty] | N/A
| Lockheed Martin Corporation | LMC | SEMAP | Industry lab | - | - | - | - | - | - | - | - | - | Metric Field Weight Kit | [14 empty] | 78 | [12 empty] | N/A
| Los Alamos National Laboratory | LANL | SWAP | Federal Lab | Douglas Waz | waz@lanl.gov | - | Bikini Atoll Rd bldg. SM 30 TA 3, bldg. 39 | Los Alamos | NM | 87545 | - | - | Avd Field Weight Kit | [14 empty] | 79 | [12 empty] | N/A
| Measurements Canada | MCN | NEMAP | Industry lab* | - | - | - | - | - | - | - | - | - | Avd Precision Weight Kit | [14 empty] | 80 | [12 empty] | N/A
| Mettler Toledo | MTO | NEMAP | Industry lab | - | - | - | - | - | - | - | - | - | LPG Prover | [14 empty] | 81 | [12 empty] | N/A
| Minnesota Mining & Manufacturing | 3M | MidMAP | Industry lab | - | - | - | - | - | - | - | - | - | Open Neck Prover | [14 empty] | 82 | [12 empty] | N/A
| National Standards of Puerto Rico | NSPR | CaMAP | Industry lab | - | - | - | - | - | - | - | - | - | Slicker Plate Standard | [14 empty] | 83 | [12 empty] | N/A
| Nevada Las Vegas | NVLV | WRAP | Industry lab | - | - | - | - | - | - | - | - | - | Stop Watch | [14 empty] | 84 | [12 empty] | N/A
| Coast to Coast (Northern Balance and Scales) | NBS | MidMAP | Industry lab | Jacob Christianson | jacobc@nbscalibrations.com | 800-722-5398 | 9150 Isanti St. NE | Blaine | MN | 55449 | - | - | Glassware
| Oak Ridge Metrology Center Y-12 | ORMC | SEMAP | Federal Lab | Braden Wilkinson | william.wilkinson@y12nsc.doe.gov | 865-241-2753 | 765 Perimeter Road | Oak Ridge | TN | 37830 | - | -
| Oak Ridge National Labs X10 | ORNL | SEMAP | Federal Lab | Blake Layfield | layfieldbd@ornl.gov | 865-576-3519 | 1 Bethel Valley Road | Oak Ridge | TN | 37830 | - | -
| Ohaus | OHA | NEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Phillip Morris | PM | SEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Premier Scale | PSI | MidMAP | Industry lab | Mollie Wilson | mowilson@premierscales.com | 812-422-9838 | 4901 N. St. Joseph Avenue | Evansville | IN | 47712 | - | -
| Quality Control Services | QCS | WRAP | Industry lab | David Thompson | dthompson@qc-services.com | 800-843-1237 x3090 | 5777 SE International Way | Milwaukie | OR | 97222 | - | -
| Quality Control Services East | QCE | NEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Redstone - Army Primary Stds Lab | APSL | SEMAP | Federal Lab | Bradford Suggs | braford.c.suggs.civ@army.mil | 2568768615 | AMAM-TMS Buildings 5435 and 5417 U.S. ARMY PRIMARY STANDARDS LABORATORY | Redstone Arsenal | AL | 35898-5000 | - | -
| Rice Lake Weighing Systems | RLWS | MidMAP | Industry lab | Dan Demers | ddemers@ricelake.com | 715-234-9171 | 230 W Coleman Street Small Package Door E48 | Rice Lake | WI | 54868 | - | -
| Sandia National Laboratory | SNL | SWAP | Federal Lab | - | - | - | - | - | - | - | - | -
| Savannah River National Lab | SRNL | SEMAP | Federal Lab | Robert McGee | robert.mcgee@srs.gov | 803-725-1131 | Building 736-A, 203 Laurens st sw Savannah River Standards Lab | Aiken | SC | 29808-0001 | - | -
| Seraphin/Pemberton Industries | SPS | NEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| St Lucia Bureau of Standards | SLBS | CaMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Texas Instruments | TI | SWAP | Industry lab | - | - | - | - | - | - | - | - | -
| Trinidad and Tobago | T&T | CaMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Troemner | TR | NEMAP | Industry lab | Paul Vecchio | paul.vecchio@troemner.com | 856-994-9415 | 201 Wolf Drive | West Deptford | NJ | 8086 | - | -
| VWR (PR) | VWR | CaMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Westinghouse, Savannah River | WSR | SEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Wyeth Ayerst | WYA | NEMAP | Industry lab | - | - | - | - | - | - | - | - | -
| Alcami | ALC | NEMAP |  | Christina Rasmuson | Christina.Rasmuson@alceminow.com |  | 27 Lomar Park Drive | Pepperil | MA | 1463
| Essco | ESS | NEMAP |  | Mike Olsen | molsen@esscolab.com | 800-325-2201 ex130 | 27 industrial avenue | chelmsford | MA | 1824
| HoneyWell | HON | SWAP |  | Matthew Greef | mgreeff@kcp.com |  | 14520 Botts Road, National Security Campus, Building 2 Care of Justin Gnad, Drop Bay 02.1.B04 | Kansas City | MO | 64147-1302
[5 empty] | - | - | - | - | - | - | - | - | -
[5 empty] | - | - | - | - | - | - | - | - | -
[5 empty] | - | - | - | - | - | - | - | - | -
0 | PT Coordinator- |  |  |  | 0 | 0 | 0

## O1; Coordinator Tracking
PT Plan Template
SECTION O1: Coordinator Tracking
ILC Title: | ----
Range or Nominal:
Coordinator:
|  | Today's Date: | 2026-09-25
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
Coordinator Tracking
Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory | Participant Name | # | Official Lab Values | Date Received | Measurements Completed | Calibration Certificate Received | Date Shipped | Shipped To | Number of Days at lab | Data Input Confirmed
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Note on D10: At least 2 months prior to your RMAP.
Note on D11: At the RMAP, or earlier if things are completed.

## O2; Coordinator Feedback
PT Plan Template
SECTION O2: Coordinator Feedback
ILC Title: | ----
Range or Nominal:
Coordinator:
Coordinator Tracking - Feedback
ID | Type | Laboratory/ Organization | Lab Contact | (Email) | (Phone) | Issue | Notify NIST? | Suggested Resolution | Assigned To | Due Date | Evaluation | Comments
1
NOTE:
Note on F10: Format: 123-456-7890
Note on K10: Enter format: 20XX-MM-DD

## R1; PT Report Cover
Enter the date for the PT Report signature block:
Office of Weights and Measures
Laboratory Metrology Program
|  |  |  | Proficiency Testing Services |  |  |  | Use Link to share Feedback with NIST OWM:
|  |  |  | 100 Bureau Dr, MS 2600 |  |  |  | https://docs.google.com/forms/d/e/1FAIpQLSeqO908_b1G689uCDeUFEnsSqf132wDT2Iz5nfuuQxcF-ro2Q/viewform?usp=header
Gaithersburg, MD 20899
Phone: (301) 975-4004
Proficiency Testing Report for Region
| PT Identification: | ---- |  |  |  | PT Coordinator:
| Region: |  |  |  |  | Email:
| Reporting Year: |  |  |  |  | PT Analyst:
| Parameter: |  |  |  |  | Email:
| Unit System: |  |  |  |  | NIST Point of Contact:
| PT Sequence Number: |  |  |  |  | Email: | ---
Range or Nominal:
Measurand or Characteristics: |  | -
Applicable Tolerances: |  | -
| Portion of Tolerance for Pn: | 100 %
Description of Standard(s)
| Calibration Item: | #N/A |  |  |  | Owner: | #N/A
| Serial No: | 0 |  |  |  | Model/Design: | #N/A
| Manufacturer: | #N/A |  |  |  | Class and Type: | #N/A
[6 empty] | Number of Items: | #N/A
History/Stability:
Operation of PT
| PT Plan Filename: | PTT01_PT-Plan-template_20260708.xlsx
| Design/Scheme: | Circular
| Procedure(s) Used: | -.
PT Objectives
Demonstration of Competency for Accreditation or Recognition, Validation of Expanded Uncertainties, End of Objectives.
PT Statements
Procedures Used for PT Evaluation
· The OWM operating procedure for PT Planning, Operating, Analyzing, and Reporting PT Results (PTP 1) was used with the OWM PT Program Excel templates for planning, operating, analyzing, and reporting PTs. · Robust statistical tools were used and are consistent with ISO/IEC 17043:2023 and ISO 13528:2022 and are used to assign reference values and associated uncertainties for each standard artifact in the PT. · Standard analyses provided in each PT include evaluation of: bias, normalized error (En), normalized precision (Pn) and Z values. · Summary tables, graphs, and statistical results follow and are created from the PT Analysis templates. · The OWM PT Guide 1 (PTG 1) provides additional information regarding the analysis of the participant results. - NIST OWM performs all final data analysis for PT reports.
Metrological Traceability
The calibration item(s) described in this report has/have assigned measurement results that have demonstrated metrological traceability referenced to the International System of Units (SI). The assigned reference values are identified on the applicable tabulated page for each standard PT artifact and are consistent with reference value selection methods in ISO 13528:2022. The OWM PTP1 (procedure for PT Planning, Operating, Analyzing, and Reporting PT Results) and the OWM PT Guides provide descriptions of methods used to ensure metrological traceability. Each laboratory participant is expected to demonstrate metrological traceability to the SI. Descriptions of En and Pn analysis methods are further described in the OWM PT Guide 1 (PTG 1).
Uncertainty Statement
The expanded uncertainty reported for the assigned reference value(s) defines an interval with a 95.45 % level of confidence. The expanded uncertainty presented in this report is consistent with ISO/IEC 17043, ISO 13528:2022 for assigning PT reference values, and is consistent with the BIPM JCGM 100:2008, Evaluation of measurement data — Guide to the expression of uncertainty in measurement (GUM 1995 with minor corrections). See the OWM SOP for PT Coordination, Analysis, and Reporting or the PT Guide 1 (PTG 1) for descriptions of methods used to assign expanded uncertainties for reference values.
PT Participant Information
Participant ID |  | Participant Name |  |  | Laboratory Name
Additional PT Summary Information, Comments or Recommendations for Participants
- All participants should follow the Guide for PT follow-up and performance monitoring (PTG 2) to further analyze this PT data with laboratory measurement assurance data, monitor results for trends, and evaluate marginal or failing data further. All statistical analyses that indicate failing results require corrective action. State laboratories are required to complete a PT Follow-up Form for each PT. - OWM PT Guide 1 (PTG 1) should be used to interpret pass/fail criteria and statistical analyses.
Final/Approved |  |  | The Office of Weights and Measures PT Program operates according a documented quality system that includes NISTIR 7082, Proficiency Test Policy and Plan and NISTIR 7214, Office of Weights and Measures, Quality Manual For Proficiency Testing and Interlaboratory Comparisons which incorporate by reference ISO/IEC 17043 and ISO 13528.
This final PT Report has or has not been amended. (If it has not been amended, delete "has or" and delete the next row). If it has been amended, delete the "or has not", and complete the explanation in the next row.
If the report was amended, reasons for amendment were the following: (If not amended, delete this row).
Signed on this 0th day of January, 1900, Gaithersburg, MD 20899
Signature: |  |  |  |  | NIST Office of Weights and Measures
OWM Staff
This report is to be used for laboratory measurement assurance activities and may be shared with laboratory management and a laboratory's accreditation or recognition bodies. The report or data herein may not be used for advertising, publication, sharing of another laboratory's results, or marketing and is considered confidential other than for expressly stated purposes. Sharing for alternative purposes is expressly prohibited without the written approval of OWM and all participants. Complaints or feedback regarding this Proficiency Test, its operation, analysis, or reporting may be submitted to NIST OWM Laboratory Metrology Program staff using Form 1 (available on the NIST OWM website). General PT or program feedback and opportunities for improvement may be submitted to OWM Laboratory Metrology Program staff via email: owm@nist.gov.
Note on A9: This section is automatically completed from the PT planning sheets.
Note on I24: Verify that the complete owner information is visible. NOTE: Expand the row height as needed to make the full owner information visible.
Note on C28: OWM to provide historical information for standards where available and relevant. OWM to review technical analysis and provide overall assessment of PT item stability as part of the PT Report. NOTE: Adjust row height manually to fit text. To do this, multiply row height by number of lines of text.
Note on A101: Insert row here. Highlight entire new row. Press Ctrl+D to copy down formulas.
Note on A103: NOTE: Adjust row height manually to fit text.
Note on A104: NOTE: Adjust row height manually to fit text.
Note on A105: NOTE: Adjust row height manually to fit text.
Note on A106: NOTE: Adjust row height manually to fit text.
Note on A107: NOTE: Adjust row height manually to fit text.