## Revision Data
Document Control
Revision Date | By | Comments
20180428 | T. Osmer | Original version for distribution.
20181022 | I. Chavez | Edits/Changes collected at MidMap, internal OWM evaluation, and audit against 17043
20190116 | G. Harris | Added the PT Report cover tab.
20190411 | V. Miller | Expanded Tolerance Source Drop-down list to include tolerance classes for OIML R111 and ASTM E617 selections.
20190425 | V. Miller | Changed some merged cells on P3 to single cells so that cell will automatically expand when needed, Set row 31 on PT Report at double height and wrap text to enable fit of long preprogrammed content. Verified that all data entry points are unlocked. Edited equation in C4 of P2, P3, P4, O1, O2 to reference P1 cell C4 only, not C4:D4 which results in an error.
20190429 | V. Miller | An issue was discovered on the PT Report tab that it did not display the full artifact owner name in the report. The cell was made wider by merging with the next one to the right, set to wrap text and a comment ws inserted to verify that the full owner name is visible and to expand the row height as necessary.
20190430 | V. Miller | An issue was discovered on the PT Report tab that it did not display the correct item description. The Calibration Item reference was edited to point to P3: Artifact & Shipping! B22.
20190820 | V. Miller | Removed FedEx account number and data validation from the P3; Artifact & Shipping!B47 cell. Removed Georgia Harris info from NIST Contacts list and added Micheal Hicks info.
2023-01-21 | G. Harris | Additional formatting and content additions based on ISO/IEC DIS 17043:2022 and PT quality system reviews. Updated admin team and date drop down options. Ensured PT report pages are compliant with 17043.
2023-02-13 | G. Harris | Standardizing naming and formats of the PT-Plan and PT-Analysis templates. Making sure the Revisions and User Instruction tabs are consistent.

## User Instructions
Filename: | https://nistgov.sharepoint.com/sites/OWM/Shared Documents/0. Program -- Laboratory Metrology/PT QMS Files 2023 - Drafts for Review/Template Excel Files/[pt-plan-template-20230301.xlsx]QMS Reference
Feedback: | If you find errors, have feedback, questions or have suggestions on improvements, send an email to NIST Office of Weights and Measures, Laboratory Metrology Group: micheal.hicks@nist.gov, elizabeth.koncki@nist.gov, isabel.chavez.baucom@nist.gov.
Disclaimer for Users Outside the OWM PT Program | NOTICE: This PT Plan Template spreadsheet is a PT Planning "document" with no calculations or formula required to be validated. There are look-up tables and notes that should be approved as a part of the document approval process. Updated versions have dates saved in the yyyymmdd format at the end of the filename. These Spreadsheets and associated materials have been prepared for use in OWM proficiency tests (PTs), and it is believed that the Spreadsheets provide a useful and accurate approach. However, NIST OWM, is not liable for any changes performed by other parties. Each User outside the OWM PT program agrees to decide if, when and how to use the Spreadsheets, and does so at his or her risk. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in number generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these Spreadsheets or an inability to use them.
Verify Version at OWM Link | WARNING: If you distribute these tools through any means other than the NIST Office of Weights and Measures Laboratory Metrology group website at www.nist.gov/labmetrology, you should check that website to ensure the tool being provided is the latest version available, and provide information to users on how to check for updates and revisions to the tools.
Item | Instructions and Tips for Using this Workbook Ensure familiarity and use of Standard Operating Procedure for OWM PT Planning, Operating, Analyzing, and Reporting PT Results
1 | Read the OWM Disclaimer.
2 | Check the OWM website for the latest version before completing the PT Plan.
3 | Read and follow the instructions in the SOP for NIST OWM PT Planning, Operating, Analyzing, and Reporting PT Results. The SOP has additional step-by-step instructions to complete this workbook but by following the data entry cells from beginning to end, cell labels, notes, and instructions can guide the use of this planning template for trained and experienced users..
4 | All input cells for the Planning sections (P1, P2, P3, P4) are yellow.
5 | All input cells for the Operating sections (O1, O2) are green.
6 | Drop down lists: Some cells mandate the use of the list options. Some cells have selections that are typical of most PTs; if the drop down option is not applicable, input the appropriate information.
7 | PT Coordinators and the PT Administrative Team members complete this document during planning and operating of the PT; the first step is to "Save As" the name of the PT with "PT-Plan" kept in the file name and date entered at the end as yyyymmdd. PT Coordinators are authorized to unlock and make essential changes to this PT Plan with OWM staff approvals, provided changes are documented on the Revisions page and do not impact the PT Final Report page content or any calculations.
8 | The input cells for the R1 Report sections must be reviewed to ensure all participants are listed, rows expanded or reduced to accommodate text, and additional light yellow fields must completed as needed and will turn light blue when information is entered.
9 | Print the PT Final Report pages to PDF for compilation with the PT Analysis tables and graphs; OWM Staff must review all analysis for accuracy and completeness and approve and sign the PT final reports and any amendments.
If you find errors, have questions or have suggestions on improvements, send an email to NIST Office of Weights and Measures, Laboratory Metrology Group: georgia.harris@nist.gov, timothy.osmer@nist.gov or val.miller@nist.gov.
Though not recommended: To add lines of data beyond the planned 150 participants, do the following:
Failing to follow these instructions exactly will result in significant issues with the summary, data and graph tabs.
1: Unlock all workbook pages making certain that no pages have hidden lines.
2: Select (group) all workbook tabs from the PT Summary tab to Data (35). You want all changes to occur on all workbook tabs!
3: 'Select' the entire workbook line containing the last line of data (normally participant 150) by Left Clicking in the leftmost column of the workbook (where the numbers are located) and dragging the cursor down the column until you highlight the number of lines you wish to insert.
4: Right click on the highlighted area and select 'Insert'. The line originally selected will be pushed down the page and lines will be inserted above it. You must use this Insert process so that all of the calculation cells on the pages will be updated to cover all of the inserted lines.
5: Highlight(select) the last 2 or 3 lines of cells above the lines that were inserted, (Columns A through CD) then 'grab' the green dot in the lower right corner of the selection box and drag it down to copy the content of those cells to all of the newly inserted lines, including the last line that was pushed down the page. This will copy the column contents down the page so that all of the calculation cells are populated with the correct formulas. If you select only the last row of cells and copy those down, the column with the Pn and En limit of 1 will begin to increase by 1 for each line copied. Selecting more than 1 line locks the value so that it does not increase.
6: Verify that the equations in Data (x)! Cells C12 to C15, C17, C18, C20 to C23, C25, C26 AV11 and AW11 have updated to cover the newly defined data ranges. These cells all have cell ranges specified that must include the newly inserted lines and are good indicators that all other cells that analyze the full range of data will have been updated properly.
If done correctly, data entered in the last data line of the Data Entry Tab will appear in the last participant line of the Data (x) tabs, the graphs will display those values, and the Summary tab will show the results in the same correct line. Note that the line numbers of all data tab participant numbers align.
IT IS STRONGLY RECOMMENDED THAT ADDITIONAL DATA TABS, CHARTS AND GRAPHS NOT BE ADDED AS THAT PROCESS IS MUCH MORE INVOLVED AND FRAUGHT WITH PROBLEMS. IF MORE DATA TABS ARE NEEDED USE OF A SECOND WORKBOOK FOR THOSE EXCESS ITEMS, BEYOND 35 ARTIFACTS, IS RECOMMENDED.

## QMS Reference
See NISTIR 7214, Appendix A for a list of applicable procedures.
Appendix B: OWM PT Standard Operating Procedure (SOP) 1 for Planning, Operating, Analyzing, and Reporting of PT Results
is the specific procedure to be used with this PT Plan Template and the PT Analysis Template.

## SOP Outline
NIST OWM PT Process Outline (See SOP for specific details in each phase).
PDCA | NCSLI RP-15 | Phase and Action: What (do we do) | How (do we do it) | Who (does it) | When (do we do it) | Where (do we do it)
Plan | Need | Planning (PT Plan Template) | Identify the PT Recruit PT Administrative Team Identify Participants Define Objectives Define Details Addresses & Lab Contacts | Regional Coordinator RMAP Participants PT Coordinator NIST OWM (evaluates and approves participants and plan | During the RMAP (PT day) | PT Workbook Sections: P1: Organize the PT P2: Objectives & Details P3: Artifact & Shipping P4: Addresses & Contacts
Organize
| Plan |  | Selecting PT Items Provide Handling and Equilibration Instructions Packaging Instructions Shipping Instructions Create high level and detailed schedule | Plan: PT Coordinator Approvals: NIST OWM | As quickly as practicable | PT Workbook Sections: P1: Organize the PT P3: Artifact & Shipping
Do | Execute | Operating (PT Plan Template) | Coordinator and Participants Follow the Instructions Send Receipt Form KEEP IT MOVING; notify subsequent labs of delays Resolve and Record Issues | Participants: Follow Instructions and Send Receipt Form Coordinator: Monitor and Guide the PT Regional Coord.: Support Coordinators NIST OWM: Support | As quickly as practicable (Don't use all the time before your next RMAP, there might be plans to send the artifact to another region, or another lab) | PT Workbook Sections: Between P4 and O1: Receipt Form O1: Coordinator Tracking O2: Coordinator Feedback
Check | Analyze and Report | Analyzing (PT Analysis Templates) | Initial Analysis Draft Analysis Final Analysis | Initial & Drafts: Analyst Final: NIST OWM | Initial Analysis: As labs submit data Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP (These are minimum timelines) | PT Analysis Excel Template - includes PT data entry, data summary, data table for each item with Pass/Fail criteria, and associated graphs (printed to PDF) PT Analysis YOUDEN Template (includes Youden analysis tables and graphs)
|  | Reporting (PT Plan Template AND PT Analysis Templates) | Draft Report Final Report Distribution | Draft: Analyst and Coordinator Final & Distribution: NIST OWM | Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP Distribute: RMAP (These are minimum timelines) | R1. PT Plan Excel Template - includes PT Report Cover pages
Act | Action | Acting: Following Up | GLP for PT Follow-Up and Form (with NISTIR 7214) | Participants | After coordinator feedback. After receiving final report. | Follow-Up Forms
The PT Plan Template and PT Analysis Template are available at nist.gov/labmetrology on pages for "Proficiency Testing".
Note on C3: NCSLI Recommended Practice for Interlaboratory Comparisons

## P1; Organize the PT
PT Plan Template
SECTION P1: Organize the PT
| PT Title: | ----
Scope of the PT
Region:
Reporting Year:
Parameter:
Unit System:
PT Sequence Number:
Range or Nominal:
| PT Administrative Team | Name | Laboratory | Email | Phone
PT Coordinator:
PT Analyst:
(Optional Mentor:)
(Optional Observer:)
| Regional Coordinator: |  | --- | --- | ---
| NIST Point of Contact: |  | --- | --- | ---
| (Optional Technical Advisor:) |  | --- | --- | ---
Pivot Lab (if applicable):
| High-Level Schedule Overview (Critical Timelines) |  | Dates
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
| Circulation Plan and ALL Participants |  |  |  |  | *Ensure approval from NIST OWM (Form 2 may be needed). If a participant needs to participate to complete LAP Problems, note it here.
# | Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory/Organization | Participant Name* | Training | LAP Problems | Oversight By
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52 | [8 empty] | Do NOT delete this cell, used for formatting!
53 | [7 empty] | Drop Down Menus
54 | [7 empty] | Region | Year | Parameter | Range | Reg./OWM Coord. |  |  |  | Unit System | Seq. # | Vital
55
56 | [7 empty] | CaMAP | 2023 | Mass Echelon I |  | Select Name | Laboratory | Email | Phone | US Customary | 01 | Yes
57 | [7 empty] | MidMAP | 2024 | Mass Echelon II |  | Dan Walker | Ohio | daniel.walker@agri.ohio.gov | 614-728-6290 | Metric | 02
58 | [7 empty] | NEMAP | 2025 | Mass Echelon III |  | Brad Bachelder | Maine | bradford.bachelder@maine.gov | 207-287-7587 |  | 03
59 | [7 empty] | SEMAP | 2026 | Volume Echelon I, VG |  | Van Hyder | North Carolina | Van.Hyder@ncagr.gov | 984-236-4803 |  | 04
60 | [7 empty] | SWAP | 2027 | Volume Echelon II, VT |  | Clay Ivey | New Mexico | jeremy.nading@ag.ok.gov | 405-522-5459 |  | 05
61 | [7 empty] | WRAP | 2028 | Length, Tape |  | Michael Tang | Hawaii | Michael.Tang@hawaii.gov | 808-832-0682
62 | [7 empty] | National | 2029 | Length, Ruler |  | Megan Money | Florida | Megan.Money@FDACS.gov | 850-921-1572
63 | [8 empty] | 2030 | Temperature Class I |  | Anna Pierce | Minnesota | anna.pierce@state.mn.us | 651-539-1562
64 | [8 empty] | 2031 | Temperature Class II |  | Jonathan Fox | New York | Jonathan.Fox@agriculture.ny.gov | 518-457-3146
65 | [8 empty] | 2032 | Temperature Class III
66 | [8 empty] | 2033 | Temperature Class IV
67 | [8 empty] | 2034 | Frequency
68 | [8 empty] | 2035 | Time
69 | [9 empty] | Hydrometer |  | Select Name | Laboratory | Email | Phone
70 | [9 empty] | Grain Moisture |  | Isabel Chavez | OWM | isabel.chavez@nist.gov | 301-975-2128
71 | [9 empty] | Wheel Load Weigher |  | Micheal Hicks | OWM | micheal.hicks@nist.gov | 301-975-4615
72 | [11 empty] | Elizabeth Koncki | OWM | elizabeth.koncki@nist.gov | 301-975-4859
73 | [11 empty] | Georgia Harris | OWM | gharris@nist.gov | 301-975-4004
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Note on C4: Title is automatically generated from the drop down choices in the Scope of the PT section.
Note on C12: Start with the largest nominal to the smallest nominal. (e.g. 1 kg to 1 mg)
Note on D25: Typically the next RMAP, but sometimes it is needed earlier for another PT.
Note on D26: At least 2 months prior to the date the PT report is to be presented (your RMAP).
Note on D27: At the RMAP, or earlier if the PT is completed.
Note on F31: Enter options: 1. OK (determined from OWM Records, History, or Form 2) 2. Requires Oversight (include name of person providing Oversight in Column H)
Note on G31: Default - blank. Only used if someone might need the results for the PT to use in their LAP Problem analysis. Also select LAP problems as one of the PT objectives on sheet P2.
Note on H31: Oversight By (Enter Name)

## P2; Objectives & Details
PT Plan Template
SECTION P2: Objectives and Details
ILC Title: | ----
Range or Nominal:
Coordinator:
Unique Considerations (comments, discussion) | Artifacts require equilibration per laboratory policy for artifacts of this classification. Standards shall not be cleaned or adjusted (unless otherwise specified in this PT Plan). (Additional notes here or delete this sentence).
PT Objectives
| x | Demonstration of Competency for Accreditation or Recognition
| x | Validation of Expanded Uncertainties
Evaluation of Calibration Certificates
Method Validation (New Methods/Procedures ONLY)
Laboratory Auditing Program (LAP) problems (For new employees/participants)
Demonstration of Effective Corrective Action from previously failed PTs
Conformance or Suitability Evaluation of Artifact
Identifying Artifact Characteristics (stability, material, density, etc.)
| x | Customer Service & Contract Review (e.g. timeliness, follow instructions)
Other:
Other:
Other:
PT Performance Evaluations | Select the check boxe(s) that will apply during the PT Analysis! (The OWM PT Analysis Template will be used to perform analyses, select reference values, ensure metrological traceability of results, and evaluate PT performance.)
| x | Difference from the Reference Value (Bias)
| x | Normalized Error (En) - Used for Pass/Fail Assessment
| x | Precision Assessment (Pn) - Used for Pass/Fail Assessment
| x | Z Score
| x | 2 Standard Deviations (used when identifying outliers or selecting reference values)
SOP 1 Calibration Certificate Review Checklist (qualitative review vs ISO/IEC 17025)
SP 811 Check List for Reviewing Manuscripts (qualitative review)
Other:
Other:
Other:
PT Design and Pivot Lab | Select ONE! If no box checked 'Other" box must have entry.
| x | Circular
Petal (Pivot laboratory must be designated and approved by OWM)
Modified Petal (pivot laboratory must be designated and approved by OWM)
Other Design (specify below)
Designate Pivot Laboratory Intended Purpose, and if applicable Other Design: | See also P1 cell C22 with explanation of purpose here.
Additional Planning Details
Calibration Procedure to be used:
Environmental Conditions during storage, handling or calibrations: | As outlined in the designated calibration procedure(s) which are followed to ensure PT standard(s) artifacts are not compromised. Conditions to be specified on calibration certificate (ranges acceptable).
Equilibration requirements: | As outlined in the designated calibration procedure and as routinely managed for similar types of calibrations (unless additional requirements specified here). Equilibration conditions to be included on calibration certificate if supplemental to the calibration procedure.
Required Equipment: | Participants will use equipment that they typically use for this measurement parameter ensuring that accuracy and repeatability requirements of the procedure and this PT are met.
Measurand and/or Characteristics of Interest to be Reported:
Units to be Reported:
Number of Significant Figures: | 2 |  | (unless otherwise noted in the instructions)
Is there a Supplemental Data Sheet?: | No
Tolerance Source and Class (Update the list if documentary standard or class is not listed):
The Percentage or Fraction of Tolerance used for Assessing Pn:
Expected Uncertainties from participants: | Uncertainties must represent the actual uncertainties used by the laboratory. The expected value must be small enough to pass the Pn statistical test and includes all critical components identified in the NIST SOPs.
Expected Range of Values from the Participants: | The expected range of values from participants is less than the applicable tolerance(s) of selected documentary standards.
Expected Limits of Stability: | When there is no significant observed shift or drift, and the first and last measurements are not outliers, the comparison should result in an En value of less than 1.
|  |  | Drop Down Menu |  | Drop Down Menu for Documentary Standards (Tolerances to be Applied to Decision Rules and Pn Assessment) |  | Do NOT delete this cell, used for formatting!
[5 empty] | 105-1: Specifications and Tolerances for Field Standard Weights (NIST Class F) - 1990 | Drop Down Menus | [5 empty] | Sup. Chklst
|  |  | µg | microgram | 105-2: Specifications and Tolerances for Field Standard Measuring Flasks - 1996
|  |  | mg | milligram | 105-3: Specifications and Tolerances for Graduated Neck Type Volumetric Field Standards - 2010 | Participants will use suitable equipment that they typically use for this measurement parameter. | Uncertainties must represent the actual uncertainties used by the laboratory. The expected value is small enough to pass the Pn statistical test and includes the components identified in the NIST SOPs. | The expected range of values from participants is less than the tolerance. | When there is no significant observed shift or drift, and the first and last measurements are not outliers, the comparison should result in an En value of less than 1. | As outlined in the designated calibration procedure. | x | Yes | 1/3
|  |  | g | gram | 105-4: Specifications and Tolerances for Liquefied Petroleum Gas and Anhydrous Ammonia Liquid Volumetric Provers - 2016 | [6 empty] | No | 100 %
|  |  | kg | kilogram | 105-5: Specifications and Tolerances for Field Standard Stopwatches - 1997
|  |  | µlb | micropound | 105-6: Specifications and Tolerances for Thermometers - 1997
|  |  | lb | pound | 105-7: Specifications and Tolerances for Dynamic Small Volume Provers - 1997
|  |  | in | inch | 105-8: Specifications and Tolerances for Field Standard Weight Carts – 2019
|  |  | in² | square inch | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class E1
|  |  | in³ | cubic inch | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class E2
|  |  | pt | pint | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class F1
|  |  | qt | quart | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class F2
|  |  | gal | gallon | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M1
|  |  | mL | milliliter | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M1-2
|  |  | L | liter | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M2
|  |  | nm | nanometer | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M2-3
|  |  | mm | millimeter | OIML R 111-1: Weights of classes E1, E2, F1, F2, M1, M1–2, M2, M2–3 and M3, Part 1: Metrological and Technical Requirements – 2004 Class M3
|  |  | cm | centimeter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 00
|  |  | cm² | square centimeter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 0
|  |  | cm³ | cubic centimeter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 1
|  |  | m | meter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 2
|  |  | m² | square meter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 3
|  |  | m³ | cubic meter | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 4
|  |  | °F | degrees Fahrenheit | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 5
|  |  | °C | degrees Celcius | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 6
|  |  | K | Kelvin | ASTM E617-18: Standard Specification for Laboratory Weights and Precision Mass Standards – 2018 Class 7
|  |  | fl dr | fluid drams | ASTM E288: Single Mark Laboratory Glassware
|  |  | fl oz | Fluid ounce(s) | ASMT E74 or Handbook 44: Wheelload Weighers
|  |  | ft | foot | Other:
|  |  | Pa | Pascal | Other:
|  |  | kPa | Kilopascal
|  |  | s | second
|  |  | min | minute
|  |  | h | hour
|  |  | A | Ampere
|  |  | C | coulomb
|  |  | V | volt
|  |  | J | joule
|  |  | W | watt
|  |  | Hz | hertz
|  |  | H | henry
|  |  | F | farad
|  |  | Ω | ohm
|  |  | S | siemens
|  |  | Wb | weber
|  |  | T | tesla
|  |  | A/m | Ampere per meter (magnetic field strength)
|  |  | cd | candela
|  |  | lm | lumen
|  |  | lx | lux
|  |  | cd/m² | candela per square meter
|  |  | rad | radian
|  |  | kg/m³ | kilogram per cubic meter
|  |  | g/cm³ | grams per cubic centimeter
|  |  | kg/L | kilograms per liter
|  |  | m/s | meters per second
|  |  | km/h | kilometers per hour
|  |  | m/s² | meter per second squared
|  |  | m²/s | meter squared per second
|  |  | Pa·s | Pascal second
|  |  | ns | nanosecond
|  |  | N·m | newton meter
|  |  | mN·m | millinewton meter
|  |  | N | newton
|  |  | ft³/min | cubic feet per minute
|  |  | in³/min | cubic inches per minute
|  |  | mol | mole
minums
Note on B73: Be specific with full document, title, and date of SOP: "NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers" vs. "SOP 19" Note if any laboratories request alternative procedures to be approved by OWM (must provide equivalent uncertainties to the standard SOP).
Note on B81: Be specific: e.g., Conventional Mass correction, Volume at the '0' graduation mark, Volume at the '0' graduation mark and 4 neck scale intervals, length between 7 inch and 13 inch graduations
Note on B89: This is the tolerance used to evaluate participants' data, and may differ from the classification for the artifact.
Note on B91: Typically: 1/3 for Mass and Length 100 % for Volume

## P3; Artifact & Shipping
PT Plan Template
SECTION P3: Artifacts & Shipping
Do NOT delete this cell, used for formatting!
ILC Title: | ----
Range or Nominal:
Coordinator:
|  |  | FEDEX Express (Customer Service #: 800-463-3339) | 2 Day (2nd Business Day) | 3rd Party | NIST Div 680.02, (your RMAP group)
Artifact Owner and Description
Owner
Laboratory:
Contact:
Email:
Phone:
Address:
Address 2:
City:
State:
Zip Code:
Manufacturer:
Serial Number:
Description:
Range or Nominal:
Number of Pieces:
Model / Design:
Tolerance Classification:
Material:
Density:
Coefficient of Expansion (specify linear or cubical):
Neck Graduation Size:
Other:
Other:
Other:
Handling Instructions
Instructions: | Handle in the same manner as routine calibrations of similar type items (unless otherwise specified). Do not clean or adjust any standards unless it is specified in the procedure. Report any breakage or damage to the PT Coordinator and NIST. (Add additional instructions if needed here.)
Packing
Description:
Instructions: | Ensure standards are packed to prevent damage or breakage and notify PT Coordinator and NIST OWM if any deviations are observed. (Add additional instructions if needed here.)
Shipping
Where To Next? Ask the coordinator, get confirmation from the next lab, (check the schedule).
Carrier: | FEDEX Express (Customer Service #: 800-463-3339)
Method: | 2 Day (2nd Business Day)
Billing*: | 3rd Party
Account Number:
Internal Billing Reference: | NIST Div 680.02, (your RMAP group)
Insurance: |  | (see below)
Ship Weight (lb):
Comments: | Do NOT use Ground Shipping without OWM permission. | (see below)
*Non-State labs must pay shipping costs from their lab to the next lab.
Artifact Insurance Reference Information
Artifact | Insurance Amount | Ship Weight (lb)
100 gal Prover | 25000 | 875
15 gal Sensitive Neck Prover | 8000 | 300
5 gal Slicker | 7500 | 65
5 gal Special J | 3700 | 80
5 gal Test Measure | 1500 | 80
1 qt Glass Flask
Digital Thermometer ± 0.05 °C
Precision 5 kg to 1 mg | 4400 | 60
Precision 1 kg to 1 mg | 4000 | 45
Precision Decades 1 kg to 10 mg | 1000 | 20
Precision 1 kg pair | 1200 | 30
Precision 100 g set | 1100 | 30
500 lb SS pair | 50000 | 1300
Cast Iron weight < 25 kg | 150 | 70
Mass III Metric weight set | 4900 | 60
Mass III US Cust. weight set | 4000 | 60
Note on B23: Start with the largest nominal to the smallest nominal (e.g. 1 kg to 1 mg).
Note on B26: This is the specification to which the artifact was manufactured, and may differ from the tolerance used to evaluate participants' data.
Note on B39: Details and/or pictures specific to this ILC.

## P4; Addresses & Contacts
PT Plan Template
SECTION P4: Addresses, Contacts, Shipping/Routing
ILC Title: | ----
Range or Nominal:
Coordinator:
NIST will supply a regional list at each RMAP, based on the NIST database.
Do NOT delete this cell, used for formatting!
Laboratory/Organization | Participant Name | Email | Phone | Shipping Address |  |  |  |  | MUST SHIP ON THIS DATE
|  |  |  | Address 1 | Address 2 | City | State | Zip Code |  | NIST OWM 100 Bureau Drive, Stop 2600 Gaithersburg, MD 20899
Drop Down Menu
[5 empty] | State | Abbreviation
[5 empty] | ALABAMA | AL
[5 empty] | ALASKA | AK
[5 empty] | ARIZONA | AZ
[5 empty] | ARKANSAS | AR
[5 empty] | CALIFORNIA | CA
[5 empty] | COLORADO | CO
[5 empty] | CONNECTICUT | CT
[5 empty] | DELAWARE | DE
[5 empty] | FLORIDA | FL
[5 empty] | GEORGIA | GA
[5 empty] | HAWAII | HI
[5 empty] | IDAHO | ID
[5 empty] | ILLINOIS | IL
[5 empty] | INDIANA | IN
[5 empty] | IOWA | IA
[5 empty] | KANSAS | KS
[5 empty] | KENTUCKY | KY
[5 empty] | LOUISIANA | LA
[5 empty] | MAINE | ME
[5 empty] | MARYLAND | MD
[5 empty] | MASSACHUSETTS | MA
[5 empty] | MICHIGAN | MI
[5 empty] | MINNESOTA | MN
[5 empty] | MISSISSIPPI | MS
[5 empty] | MISSOURI | MO
[5 empty] | MONTANA | MT
[5 empty] | NEBRASKA | NE
[5 empty] | NEVADA | NV
[5 empty] | NEW HAMPSHIRE | NH
[5 empty] | NEW JERSEY | NJ
[5 empty] | NEW MEXICO | NM
[5 empty] | NEW YORK | NY
[5 empty] | NORTH CAROLINA | NC
[5 empty] | NORTH DAKOTA | ND
[5 empty] | OHIO | OH
[5 empty] | OKLAHOMA | OK
[5 empty] | OREGON | OR
[5 empty] | PENNSYLVANIA | PA
[5 empty] | RHODE ISLAND | RI
[5 empty] | SOUTH CAROLINA | SC
[5 empty] | SOUTH DAKOTA | SD
[5 empty] | TENNESSEE | TN
[5 empty] | TEXAS | TX
[5 empty] | UTAH | UT
[5 empty] | VERMONT | VT
[5 empty] | VIRGINIA | VA
[5 empty] | WASHINGTON | WA
[5 empty] | WEST VIRGINIA | WV
[5 empty] | WISCONSIN | WI
[5 empty] | WYOMING | WY
[5 empty] | GUAM | GU
[5 empty] | PUERTO RICO | PR
[5 empty] | VIRGIN ISLANDS | VI
Note on E11: Keep mailing address up to date!!! Coordinator can verify during RMAP.

## Receipt Form
PT Receipt and Assessment
Receipt and Assessment
Name of PT or PT Items
Laboratory: | Date:
Date of arrival of the PT items/standards: | From:
Condition of the standards/visual inspection of the PT items and condition of packaging and shipping materials (noting any improper packaging, damage to shipping materials, or damage to PT items):
Other remarks (anticipated completion of calibrations is helpful to the PT coordinator):
Name of the contact person:
E-mail:
Note: Fill and send this form by e-mail to the PT Coordinator upon arrival of the standards.
This form may be substituted with an email provided it contains all information.

## O1; Coordinator Tracking
PT Plan Template
SECTION O1: Coordinator Tracking | [13 empty] | Do NOT delete this cell, used for formatting!
ILC Title: | ---- | [11 empty] | Official
Range or Nominal:
Coordinator: | [12 empty] | * | Y
|  | Today's Date: | 2023-03-01
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
Coordinator Tracking
Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory | Participant Name | # | Official Lab Values | Date Received | Measurements Completed | Calibration Certificate Received | Date Shipped | Shipped To | Number of Days at lab | Data Input Confirmed
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Note on D10: At least 2 months prior to your RMAP.
Note on D11: At the RMAP, or earlier if things are completed.

## O2; Coordinator Feedback
PT Plan Template
SECTION O2: Coordinator Feedback | [11 empty] | Drop Down Menus
ILC Title: | ---- | [10 empty] | Complaint | Yes
Range or Nominal: | [11 empty] | Nonconformity | No
Coordinator: | [11 empty] | Corrective Action | TBD
Suggestion
Other
Coordinator Tracking - Feedback
ID | Type | Person / Lab | (Email) | (Phone) | Issue | Notify NIST? | Suggested Resolution | Assigned To | Due Date | Evaluation | Comments
NOTE:
Note on E10: Format: 123-456-7890
Note on J10: Enter format: 20XX-MM-DD

## R1; PT Report Cover
Enter the date for the PT Report signature block:
Office of Weights and Measures
Laboratory Metrology Program
PT Program
100 Bureau Dr, MS 2600
Gaithersburg, MD 20899
Phone: (301) 975-4004
Proficiency Testing Report for Region
| PT Identification: | 0----0 |  |  |  |  | PT Coordinator: | 0
| Region: | 0 |  |  |  |  | Email: | 0
| Reporting Year: | 0 |  |  |  |  | PT Analyst: | 0
| Parameter: | 0 |  |  |  |  | Email: | 0
| Unit System: | 0 |  |  |  |  | NIST Point of Contact: | 0
| PT Sequence Number: | 0 |  |  |  |  | Email: | ---
| Range or Nominal: | 0
Measurand or Characteristics: |  | 0
Applicable Tolerances: |  | 0
| Portion of Tolerance for Pn: | 0
Description of Standard(s)
| Calibration Item: | 0 |  |  |  |  | Owner: | 0
| Serial No: | 0 |  |  |  |  | Model/Design: | 0
| Manufacturer: | 0 |  |  |  |  | Class and Type: | 0
[7 empty] | Number of Items: | 0
History/Stability:
Operation of PT
| PT Plan Filename: | pt-plan-template-20230301.xlsx
| Design/Scheme: | Circular
| Procedure(s) Used by Participants: | 0
PT Objectives
Demonstration of Competency for Accreditation or Recognition, Validation of Expanded Uncertainties, Customer Service & Contract Review (e.g. timeliness, follow instructions), End of Objectives.
PT Statements
Procedures Used for PT Evaluation
The OWM SOP for PT Planning, Operating, Analyzing, and Reporting PT Results was used with the OWM PT program Excel templates for planning, operating, analyzing and reporting this PT. Robust statistical tools were used and are consistent with ISO/IEC DIS 17043:2022 and ISO 13528:2022 and are used to assign reference values and associated uncertainties for each standard artifact in the PT. Standard analyses provided in each PT include evaluation of: bias, normalized error (En), normalized precision (Pn) and Z values. Portions of this completed PT Plan template are used to create the leading pages of the approved PT Final Report. Summary tables, graphs, and statistical results follow and are created from the PT Analysis templates. The OWM Supplemental Report provides additional information regarding analysis of the participant results.
Metrological Traceability
The calibration item(s) described in this report has/have assigned measurement results that have demonstrated metrological traceability referenced to the International System of Units (SI). The assigned reference values are identified on the applicable tabulated page for each standard PT artifact and are consistent with reference value selection methods in ISO 13528:2022. The OWM SOP for PT Planning, Operating, Analyzing, and Reporting PT Results and the OWM PT Supplemental Report provide descriptions of methods used to ensure metrological traceability. Each laboratory participant is expected to demonstrate metrological traceability to the SI. Descriptions of En and Pn analysis methods are further described in the OWM PT Supplemental Report.
Uncertainty Statement
The expanded uncertainty reported for the assigned reference value(s) defines an interval with a 95.45 % level of confidence. The expanded uncertainty presented in this report is consistent with ISO/IEC 17043, ISO 13528:2022 for assigning PT reference values, and is consistent with the BIPM JCGM 100:2008, Evaluation of measurement data — Guide to the expression of uncertainty in measurement (GUM 1995 with minor corrections). See the OWM SOP for PT Coordination, Analysis, and Reporting or the PT Supplemental Report for descriptions of methods used to assign expanded uncertainties for reference values.
PT Participant Information
Participant Name |  |  |  | Laboratory
Additional PT Summary Information, Comments or Recommendations for Participants
- OWM PT Supplemental Report should be used to interpret pass/fail criteria and statistical analyses.
- All particpants should follow the Good Laboratory Practice (GLP) for PT follow Up to further analyze this PT data with laboratory measurement assurance data, monitor results for trends, and evaluate marginal or failing data further. All statistical anayses that indicate failing results require corrective action. State laboratories are required to complete a PT Follow-up Form for each PT.
Final/Approved |  |  | The Office of Weights and Measures PT Program operates according a documented quality system that includes NISTIR 7082, Proficiency Test Policy and Plan and NISTIR 7214, Office of Weights and Measures, Quality Manual For Proficiency Testing and Interlaboratory Comparisons which incorporate by reference ISO/IEC 17043 and ISO 13528.
This final PT Report has or has not been amended. (If it has not been amended, delete "has or" and delete the next row). If it has been amended, delete the "or has not", and complete the explanation in the next row.
If the report was amended, reasons for amendment were the following: (If not amended, delete this row).
Signed on this 0th day of January, 1900, Gaithersburg, MD 20899
Signature: | [5 empty] | NIST Office of Weights and Measures
Name Printed Here, OWM Staff
This report is to be used for laboratory measurement assurance activities and may be shared with laboratory management and a laboratory's accreditation or recognition bodies. The report or data herein may not be used for advertising, publication, sharing of another laboratory's results, or marketing and is considered confidential other than for expressly stated purposes. Sharing for alternative purposes is expressly prohibited without the written approval of OWM and all participants. Complaints or feedback regarding this Proficiency Test, its operation, analysis, or reporting may be submitted to NIST OWM Laboratory Metrology Program staff using Form 1 (available on the NIST OWM website). General PT or program feedback and opportunities for improvement may be submitted to OWM Laboratory Metrology Program staff via email.
Note on A9: This section is automatically completed from the PT planning sheets.
Note on I23: Verify that the complete owner information is visible. NOTE: Expand the row height as needed to make the full owner information visible.
Note on C27: OWM to provide historical information for standards where available and relevant. OWM to review technical analysis and provide overall assessment of PT item stability as part of the PT Report. NOTE: Adjust row height manually to fit text. To do this, multiply row height by number of lines of text.
Note on A62: Insert row here. Highlight entire new row. Press Ctrl+D to copy down formulas.
Note on A68: NOTE: Adjust row height manually to fit text.
Note on A69: NOTE: Adjust row height manually to fit text.
Note on A70: NOTE: Adjust row height manually to fit text.
Note on A71: NOTE: Adjust row height manually to fit text.
Note on A72: NOTE: Adjust row height manually to fit text.