## OWM Disclaimer
Disclaimer
These Spreadsheets and associated materials have been prepared for use in OWM proficiency tests (PTs), and it is believed that the Spreadsheets provide a useful and accurate approach. However, NIST OWM, and any other organization involved in their development, collectively and individually, do not warrant these Spreadsheets for any purpose, nor do they make any representations regarding their fitness for any use or purpose whatsoever. Each User agrees to decide if, when and how to use the Spreadsheets, and does so at his or her risk. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in number generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these Spreadsheets or an inability to use them.

## Revisions
Revisions
Date | Initials | Comments
20180428 | T. Osmer | Original version for distribution.

## Instructions
Instructions
1 | Read the OWM Disclaimer.
2 | Check the OWM website for the latest version.
3 | Read and follow the instructions in the SOP for NIST OWM Proficiency Tests. This SOP has step-by-step instructions to complete this workbook.
4 | All input cells for the Planning sections (P1, P2, P3, P4) are yellow.
5 | All input cells for the Operation sections (O1, O2) are green.
6 | Drop down lists: Some cells mandate the use of the list options. Some cells have selections that are typical of most PTs; if the drop down option is not applicable, input the appropriate information.

## SOP PT
(PT SOP will be embedded here.)

## PT Outline
NIST OWM PT Process Outline
PDCA | NCSLI RP-15 | What (do we do) | How (do we do it) | Who (does it) | When (do we do it) | Where (do we do it)
Plan | Need | Planning | Identify the PT Recruit Volunteers Idendtify Participants Define Objectives Define Details Addresses & Lab Contacts | Regional Coordinator RMAP Participants PT Coordinator NIST OWM | During the RMAP (PT day) | PT Workbook Section: P1: Organize the PT P2: Objectives & Details P3: Artifact & Shipping P4: Addresses & Contacts
Organize
| Plan |  | Artifact Selection Handling Instructions Packaging Instructions Shipping Instructions Create schedule | Plan: Coordinator Approvals: NIST OWM | As quickly as practicable | PT Workbook Section: P1: Organize the PT P3: Artifact & Shipping
Do | Execute | Operation | Follow the Instructions KEEP IT MOVING | Participants: Follow Instructions Coordinator: Shepherd the PT Regional Coord.: Support Coordinators NIST OWM: Support | As quickly as practicable (Don't use all the time before your next RMAP, there might be plans to send the artifact to another region, or another lab) | PT Workbook Section: O1: Coordinator Tracking O2: Coordinator Feedback
Check | Analyze and Report | Analysis | Initial Analysis Draft Analysis Final Analysis | Initial & Drafts: Analyst Final: NIST OWM | Initial Analysis: As labs submit data Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP (These are minimum timelines) | PT Analysis Excel Template
|  | Reporting | Draft Report Final Report Distribution | Draft: Analyst and Coordinator Final & Distribution: NIST OWM | Draft: Due 2 month Prior to RMAP Final: Due 1 month Prior to RMAP Distribute: RMAP (These are minimum timelines) | PT Reporting Word Template
Act | Action | Follow-Up Actions | Follow-Up Form CCAIA | Participants | After coordinator feedback. After receiving final report. | Follow-Up and CCAIA Forms
The PT Workbook, PT Analysis Template, and PT Reporting Template are available at nist.gov/labmetrology under "Round Robin Tools".
Note on C3: Osmer, Tim (Fed): NCSLI Recommended Practice for Interlaboratory Comparisons

## P1; Organize the PT
PT Workbook
SECTION P1: Organize the PT
ILC Title: | ----
Region:
Reporting Year:
Parameter:
Unit System:
PT Sequence Number:
Range or Nominal:
| Name | Laboratory | Email | Phone
Coordinator:
Analyst:
(Mentor:)
(Observer:)
Regional Coordinator:
NIST Coord./Analyst:
(NIST Technical Contact:)
Pivot Lab:
Date
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory | Participant Name*
*Need approval from NIST OWM; See NISTIR 7082
Do NOT delete this cell, used for formatting!
Drop Down Menus
[5 empty] | Region | Year | Parameter | Range | Reg./OWM Coord. |  |  |  | Unit System | Seq. # | Vital
[5 empty] | CaMAP | 2018 | Mass Echelon I | [5 empty] | US Customary | 01 | Yes
[5 empty] | MidMAP | 2019 | Mass Echelon II |  | Dan Walker | Ohio | daniel.walker@agri.ohio.gov | 614-728-6290 | Metric | 02
[5 empty] | NEMAP | 2020 | Mass Echelon III |  | Brad Bachelder | Maine | bradford.bachelder@maine.gov | 207-287-7587 |  | 03
[5 empty] | SEMAP | 2021 | Volume Echelon I, VG |  | Van Hyder | North Carolina | Van.Hyder@ncagr.gov | 919-733-4411 |  | 04
[5 empty] | SWAP | 2022 | Volume Echelon II, VT |  | Jeremy Nading | Oklahoma | jeremy.nading@ag.ok.gov | 405-522-5459 |  | 05
[5 empty] | WRAP | 2023 | Length |  | Michael Tang | Hawaii | Michael.Tang@hawaii.gov | 808-832-0682
[5 empty] | National | 2024 | Temperature Class I
[6 empty] | 2025 | Temperature Class II
[6 empty] | 2026 | Temperature Class III |  | Tim Osmer | OWM | timothy.osmer@nist.gov | 301-975-4615
[6 empty] | 2027 | Temperature Class IV |  | Val Miller | OWM | val.miller@nist.gov | 301-975-3602
[6 empty] | 2028 | Frequency
[6 empty] | 2029 | Time
[6 empty] | 2030 | Hydrometer
Grain Moisture
Wheel Load Weigher
Note on B11: Osmer, Tim (Fed): Start with the largest nominal to the smallest nominal. (e.g. 1 kg to 1 mg)
Note on C24: Osmer, Tim (Fed): Typically the next RMAP, but sometimes it is needed earlier for another PT.
Note on C25: Osmer, Tim (Fed): At least 2 months prior to your RMAP.
Note on C26: Osmer, Tim (Fed): At the RMAP, or earlier if things are completed.

## P2; Objectives & Details
PT Workbook
SECTION P2: Objectives & Details
ILC Title: | ----
Range or Nominal:
Coordinator:
Unique Considerations: (comments, discussion)
Objectives:
Demonstration of Competency for Accreditation or Recognition
Validation of Expanded Uncertainties
Evaluation of Calibration Certificates
Method Validation
Laboratory Auditing Program (LAP) problems
Demonstration of Effective Corrective Action from previously failed PTs
Conformance or Suitability Evaluation of Artifact
Identifying Artifact Characteristics (stability, material, density, etc.)
| x | Customer Service & Contract Review (e.g. timeliness, follow instructions)
Other:
Other:
Other:
Evaluation Methods:
Bias
Normalized Error (En)
Precision Assessment (Pn)
Z Score
2 Standard Deviations
SOP 1 Calibration Certificate Review Checklist
SP 811 Check List for Reviewing Manuscripts
Other:
Other:
Other:
Design Pattern:
Circular
Petal
Modified Petal
Other:
Calibration Procedure to be used:
Environmental Conditions during measurements:
Equilibration Time:
Equipment required:
Measurand and/or Characteristics of Interest:
Units to be Reported:
Number of Significant Figures:
Is there a Supplemental Data Sheet?:
Tolerance and/or Source:
The Percentage or Fraction of Tolerance used for Assessing Pn:
Expected Uncertainties from participants:
Expected Range of values from the participants:
Expected Limits of Stability:
|  |  | Drop Down Menu |  |  | Do NOT delete this cell, used for formatting!
[5 empty] | Drop Down Menus | [5 empty] | Sup. Chklst
|  |  | µg | microgram
|  |  | mg | milligram | Participants will use suitable equipment that they typically use for this measurement parameter. | Uncertainties must represent the actual uncertainties used by the laboratory. The expected value is small enough to pass the Pn statistical test and includes the components identified in the NIST SOPs. | The expected range of values from participants is less than the tolerance. | When there is no significant observed shift or drift, and the first and last measurements are not outliers, the comparison should result in an En value of less than 1. | As outlined in the designated calibration procedure. | x | Yes | 1/3
|  |  | g | gram | [6 empty] | No | 100 %
|  |  | kg | kilogram
|  |  | µlb | micropound
|  |  | lb | pound
|  |  | in | inch
|  |  | in² | square inch
|  |  | in³ | cubic inch
|  |  | pt | pint
|  |  | qt | quart
|  |  | gal | gallon
|  |  | mL | milliliter
|  |  | L | liter
|  |  | nm | nanometer
|  |  | mm | millimeter
|  |  | cm | centimeter
|  |  | cm² | square centimeter
|  |  | cm³ | cubic centimeter
|  |  | m | meter
|  |  | m² | square meter
|  |  | m³ | cubic meter
|  |  | °F | degrees Fahrenheit
|  |  | °C | degrees Celcius
|  |  | K | Kelvin
|  |  | fl dr | fluid drams
|  |  | fl oz | Fluid ounce(s)
|  |  | ft | foot
|  |  | Pa | Pascal
|  |  | kPa | Kilopascal
|  |  | s | second
|  |  | min | minute
|  |  | h | hour
|  |  | A | Ampere
|  |  | C | coulomb
|  |  | V | volt
|  |  | J | joule
|  |  | W | watt
|  |  | Hz | hertz
|  |  | H | henry
|  |  | F | farad
|  |  | Ω | ohm
|  |  | S | siemens
|  |  | Wb | weber
|  |  | T | tesla
|  |  | A/m | Ampere per meter (magnetic field strength)
|  |  | cd | candela
|  |  | lm | lumen
|  |  | lx | lux
|  |  | cd/m² | candela per square meter
|  |  | rad | radian
|  |  | kg/m³ | kilogram per cubic meter
|  |  | g/cm³ | grams per cubic centimeter
|  |  | kg/L | kilograms per liter
|  |  | m/s | meters per second
|  |  | km/h | kilometers per hour
|  |  | m/s² | meter per second squared
|  |  | m²/s | meter squared per second
|  |  | Pa·s | Pascal second
|  |  | ns | nanosecond
|  |  | N·m | newton meter
|  |  | mN·m | millinewton meter
|  |  | N | newton
|  |  | ft³/min | cubic feet per minute
|  |  | in³/min | cubic inches per minute
|  |  | mol | mole
minums
Note on B71: Osmer, Tim (Fed): Be Specific: SOP 19 vs. NISTIR 7383 (2017 Ed), NIST SOP 19 (March 2017) Calibration of Graduated Neck-Type Metal Provers
Note on B87: Osmer, Tim (Fed): This is the tolerance used to evaluate participants' data, and may differ from the classification for the artifact. Be Specific: F2 vs. OIML R 111 (1994), Class F2
Note on B89: Osmer, Tim (Fed): Typically: 1/3 for Mass and Length 100 % for Volume

## P3; Artifact & Shipping
PT Workbook
SECTION P3: Artifacts & Shipping
Do NOT delete this cell, used for formatting!
ILC Title: | ----
Range or Nominal:
Coordinator:
|  |  | FEDEX Express (Customer Service #: 800-463-3339) | 2 Day (2nd Business Day) | 3rd Party | 242 949 366 | NIST Div 680.02, (your RMAP group)
ARTIFACT
Owner
Laboratory:
Contact:
Email:
Phone:
Address:
Manufacturer:
Serial Number:
Identification:
Range or Nominal:
Number of Pieces:
Model / Design:
Tolerance Classification:
Material:
Density:
Coefficient of Cubical Expansion:
Neck Graduation Size:
Other:
Other:
Other:
HANDLING
Instructions:
PACKAGING
Description:
Instructions: | Any participant that receives the artifact packaged in a manner that is not appropriate, or mishandling by the shipper is evident, must contact the coordinator and the OWM.
SHIPPING
Where To Next? Ask the coordinator, get confirmation from the next lab, (check the schedule).
Carrier:
Method:
Billing*:
Account Number:
Internal Billing Reference:
Insurance:
Ship Weight (lb):
Comments: | Do NOT use Ground Shipping without OWM permission.
*Non-State labs must pay shipping costs from their lab to the next lab.
Artifact Information
Artifact | Insurance Amount | Ship Weight (lb)
100 gal Prover | 25000
15 gal Sensitive Neck Prover | 8000
5 gal Slicker | 7500
5 gal Special J | 3700
5 gal Test Measure | 1500
1 qt Glass Flask
Digital Thermometer ± 0.05 °C
Precision 5 kg to 1 mg | 4400
Precision 1 kg to 1 mg | 4000
Precision Decades 1 kg to 10 mg | 1000
Precision 1 kg pair | 1200
Precision 100 g set | 1100
500 lb SS pair | 50000
Cast Iron weight < 25 kg | 150
Mass III Metric weight set | 4900
Mass III US Cust. weight set | 4000
Note on B19: Osmer, Tim (Fed): Start with the largest nominal to the smallest nominal. (e.g. 1 kg to 1 mg)
Note on B22: Osmer, Tim (Fed): This is for the artifact, and may differ from the tolerance used to evaluate participants' data.
Note on B36: Osmer, Tim (Fed): Details and/or pictures specific to this ILC.

## P4; Addresses & Contacts
PT Workbook
SECTION P4: Addresses & Contacts
ILC Title: | ----
Range or Nominal:
Coordinator:
NIST will supply a regional list at each RMAP, based on the NIST database.
Do NOT delete this cell, used for formatting!
Laboratory | Contact | Email | Phone | Shipping Address
NIST OWM 100 Bureau Drive, Stop 2600 Gaithersburg, MD 20899
Note on E11: Osmer, Tim (Fed): Keep mailing address up to date!!! Coordinator can verify during RMAP.

## O1; Coordinator Tracking
PT Workbook
SECTION O1: Coordinator Tracking | [12 empty] | Do NOT delete this cell, used for formatting!
ILC Title: | ---- | [10 empty] | Official
Range or Nominal:
Coordinator: | [11 empty] | * | Y
|  | Today's Date: | 2018-07-26
Artifact is available until this date:
Draft Analysis and Report Due to NIST:
NIST Distribution of Final Report:
Time in calendar days allotted per lab:
Coordinator Tracking
Vital (Hard Scheduled) | Scheduled Receive Date | Laboratory | Participant Name | Official Lab Values | Date Received | Measurements Completed | Calibration Certificate Received | Date Shipped | Shipped To | Number of Days at lab | Data Input Confirmed
Notes:
Note on D10: Osmer, Tim (Fed): At least 2 months prior to your RMAP.
Note on D11: Osmer, Tim (Fed): At the RMAP, or earlier if things are completed.

## O2; Coordinator Feedback
PT Workbook
SECTION O2: Coordinator Feedback | [11 empty] | Drop Down Menus
ILC Title: | ---- | [10 empty] | Complaint | Yes
Range or Nominal: | [11 empty] | Nonconformity | No
Coordinator: | [11 empty] | Corrective Action | TBD
Suggestion
Other
Coordinator Tracking - Feedback
ID | Type | Person / Lab | (Email) | (Phone) | Issue | Notify NIST? | Suggested Resolution | Assigned To | Due Date | Evaluation | Comments
Note on E10: Format: 123-456-7890
Note on J10: Enter format: 20XX-MM-DD