## Traceability RISK Assessment Form

Objective:  Identify and analyze potential events and risks in the Calibration Laboratory related to the essential elements of Traceability.

|  |  | IDENTIFY |  | ANALYZE |  |
| --- | --- | --- | --- | --- | --- |
| Essential Element | Element Description | RISKS | CONTROLS IN PLACE | PROBABILITY (0 % to 100 %) | IMPACT 0 % NO IMPACT 100 % CATASTROPHIC |
| 1 | Realization of SI Units |  |  |  |  |
| 2 | Unbroken Chain of Comparisons |  |  |  |  |
| 3 | Calibration Program |  |  |  |  |
| 4 | Documented Measurement Uncertainty |  |  |  |  |
| 5 | Documented Procedures |  |  |  |  |
| 6 | Accredited Technical Competence |  |  |  |  |
| 7 | Ensuring Validity (Measurement Assurance) |  |  |  |  |

Note: Modified tables from those presented in “Managing the Metrology System” by C. Robert Pennella, ASQC Press, 1997.

## Calibration Program Components

| Iterative steps – review and update if needed during the program. |  | IDENTIFY |  | ANALYZE |  |
| --- | --- | --- | --- | --- | --- |
| Component | Component Description | RISKS | CONTROLS IN PLACE | PROBABILITY (0 % to 100 %) | IMPACT 0 % NO IMPACT 100 % CATASTROPHIC |
| 1 PLAN | Identify Scope, Maintain a Complete Inventory (Equipment and Standards, Calibration Certificates) for your laboratory; update CMC when appropriate (consider “internal scope” needed to support your own traceability) |  |  |  |  |
| 2 | Ensure staff are competent through training, proficiency testing, and ongoing monitoring of competency in providing calibrations and document all training and monitoring of staff competency. |  |  |  |  |
| 3 | Ensure suitable calibration intervals are planned and documented, determine an established baseline (plus DO monitoring); update if/as needed |  |  |  |  |
| 4 DO | Schedule Calibrations (on your calendar, with supplier(s) – even if that is your own lab; will likely require evaluating your own workload and availability of standards) |  |  |  |  |
| 5 | Document and follow shipping, handling, use, storage, maintenance procedure(s) are defined and followed |  |  |  |  |
| 6 | Schedule Internal Audits (Specifically in this case to assess “traceability” and the “calibration program”. Conduct assessments. Document observations from all steps in the calibration program |  |  |  |  |
| 7 | Implement procedure for calibration supplier selection and Perform complete Supplier Evaluation (including maintaining history); evaluate and save the supplier CMC prior to use |  |  |  |  |
| 8 | Request budget approvals and process financial requests |  |  |  |  |
| 9 | Conduct Contract Review discussions with Supplier (include discussion and agreement of decision rules and specification evaluations) – expect and plan for this step; they are required to do this with you as the customer |  |  |  |  |
| 10 CHECK | Evaluate Returned Calibrations and Certificates, Evaluate “calibration stickers” or “due dates” if present (request action from suppliers) |  |  |  |  |
| 11 | Update Supplier Evaluation history, Provide customer feedback to your supplier |  |  |  |  |
| 12 | Document any corrective or preventive action taken based on the evaluation of returning artifacts (and document observations and guidance for future use) |  |  |  |  |
| 13 ACT | Update Laboratory Documents and Records (hierarchies, inventories, spreadsheets, uncertainties, observations, corrective actions); File and retain certificates |  |  |  |  |
| 14 | Conduct statistical evaluation and adjust Intervals (if needed) using data following documented procedures and using data from control charts, uncertainties, PTs, calibration history (i.e., adjustment is a defendable and documented technical assessment, not a financial decision) |  |  |  |  |