## Sheet1
Template for Reporting Data: Resonant Mass Measurement
Please complete the green boxes to the extent possible.
Lab name (e.g. NIST)
1. Method Information
Manufacturer
Model
Sensor type | Hi-Q Micro Sensor
Software version
Flow Rate |  | (e.g. 0.25 nL/min)
Initial sample load time | 40 s | (e.g. 40 s)
Limit of Detection | automatic
Number of measured particles OR duration of run | 1000 particles | 30 min
Density of polystyrene beads in solution | 1.05 g/cm3
Density of protein particles in solution | 1.34 g/cm3
Controls (e.g., polystyrene latex beads)-specify material and size
2. Summary of data
Analyst Initials
Dates of Measurements
Sample Identity | Shipping #1 Amgen mAb Stir |  | Shipping #1 NIST mAb Stir |  | Shipping #2 Amgen mAb Stir |  | Shipping #2 NISTmAb Stir |  | Amgen mAb light |  | NISTmAb light |  | Amgen Unstressed |  | NISTmAb Unstressed |  | Amgen mAb buffer |  | NISTmAb buffer
Sample Name
Hours samples were stored at (2-6)˚C prior to measurement
Sample volume analyzed (µL) (list for run 1,2, and 3) | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3: |  | run 1: run 2: run 3:
Dilution factor
Centrifugation speed and time (rcf and min), if performed
Coincidence (%)
Number of replicate meas. | 3
Diameter (ESD), nm | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1 | Avg Particle Concentration (Adjusted for dilution), mL-1 | Stdev, mL-1
≥ 200 nm
≥ 250 nm
≥ 300 nm
≥ 350 nm
≥ 400 nm
≥ 450 nm
≥ 500 nm
≥ 550 nm
≥ 600 nm
≥ 650 nm
≥ 700 nm
≥ 750 nm
≥ 800 nm
≥ 850 nm
≥ 900 nm
≥ 950 nm
≥ 1000 nm
≥ 1050 nm
≥ 1100 nm
≥ 1150 nm
≥ 1200 nm
≥ 1250 nm
≥ 1300 nm
≥ 1350 nm
≥ 1400 nm
≥ 1450 nm
≥ 1500 nm
≥ 1550 nm
≥ 1600 nm
≥ 1650 nm
≥ 1700 nm
≥ 1750 nm
≥ 1800 nm
≥ 1850 nm
≥ 1900 nm
≥ 1950 nm
≥ 2000 nm
≥ 2050 nm
≥ 2100 nm
≥ 2150 nm
≥ 2200 nm
≥ 2250 nm
≥ 2300 nm
≥ 2350 nm
≥ 2400 nm
≥ 2450 nm
≥ 2500 nm
≥ 2550 nm
≥ 2600 nm
≥ 2650 nm
≥ 2700 nm
≥ 2750 nm
≥ 2800 nm
≥ 2850 nm
≥ 2900 nm
≥ 2950 nm
≥ 3000 nm
≥ 3050 nm
≥ 3100 nm
3. Additional Notes/Comments:
(i.e. were samples run concurrently with other particle methods and if so, what other methods?)