## Slide 1: Scattering Theory: Transmission & Multiple Scattering
By: John Barker
Date: 7/22/2024

## Slide 2
Sample Transmission Measurement:
Transmission Detector collects over large solid angle, +/- 10˚ in both directions
Main Detector collects scattering from analyzer crystal rotated to obtain rocking curve with few arc-sec resolution in one direction
Transmission:

## Slide 3
3-Bounce
Channel-Cut
Silicon (220)
Analyzer
Goniometer
Transmission
Detector

## Slide 4
1) Subtracting Instrument background:
(q)-
2) Placing scattering on absolute scale
3) Fraction of Small angle scattering
events: TSAS
=
Sample transmissions are needed for three calculations:

## Slide 5
Multiple Scattering
Higher order scattering is ‘background’
To mitigate:
Choose shorter wavelength l
Thinner sample tS
Reduce contrast Dr2
Bgd ~ dS Dr2l2
Jensen (2018) J. Appl. Cryst. 51, 1455
Scattering from Spheres
Single
Double
Triple