## Sheet1
All values in millimeters unless noted otherwise
| Nominal Value | Measured Value |  | Nominal Value | Measured Value |  |  | Nominal Value | Measured Value |  | Measured Value
Top Surface |  |  | Negative Staircase |  |  |  | Pins and Holes |  |  | Surface Roughness
Flatness | 0 |  | Z Positions | -7 |  |  | X Pins |  |  | Top Surface
Center Hole |  |  |  | -6 |  |  | Position | -50.000, 0.000 |  | Side Surface
Roundness | 0 |  |  | -5 |  |  |  | -40.000, 0.000 |  | Ramp
Straightness | 0 |  |  | -4 |  |  |  | -30.000, 0.000
Perpendicularity with Top Surface | 0 |  |  | -3 |  |  |  | -20.000, 0.000 |  | Fine Features | Yes/No
Central Cylinders |  |  | Straightness of x Vertical Surface | 0 |  |  |  | 20.000, 0.000 |  | Positive Features
Roundness of Inner Cylinder | 0 | [6 empty] | 30.000, 0.000 |  | 2.0 mm
|  |  | Straightness of y Vertical Surface | 0 |  |  |  | 40.000, 0.000 |  | 1.5 mm
Roundness of Outer Cylinder | 0 | [6 empty] | 50.000, 0.000 |  | 1.0 mm
|  |  | Perpendicularity of y Vertical Surface to x Vertical Surface | 0 |  |  | Average Diameter | 4 |  | 0.5 mm
Concentricity of Inner Cylinder to Central Hole | 0 | [5 empty] | X Holes |  |  | 0.25 mm
[7 empty] | Position | -60.000, 0.000 |  | Negative Features
Concentricity of Outer Cylinder to Central Hole | 0 |  | Parallelism of x surfaces | 0 |  |  |  | 60.000, 0.000 |  | 2.0 mm
[7 empty] | Average Diameter | 4 |  | 1.5 mm
Outer Edges |  |  | Parallelism of y surfaces | 0 |  |  | Y Pins |  |  | 1.0 mm
Straightness of primary surface (H) | 0 | [5 empty] | Position | 0.000, -50.000 |  | 0.5 mm
|  |  | Positive Staircase |  |  |  |  | 0.000, -40.000 |  | 0.25 mm
Parallelism of opposite surface to H | 0 |  | Z Positions | 3 |  |  |  | 0.000, -30.000 |  | Pins
|  |  |  | 4 |  |  |  | 0.000, -20.000 |  | 2.0 mm
Perpendicularity of adjacent surface to H | 0 |  |  | 5 |  |  |  | 0.000, 20.000 |  | 1.5 mm
|  |  |  | 6 |  |  |  | 0.000, 30.000 |  | 1.0 mm
Distance from side H to opposite side | 100 |  |  | 7 |  |  |  | 0.000, 40.000 |  | 0.5 mm
|  |  | Straightness of x Vertical Surface | 0 |  |  |  | 0.000, 50.000 |  | 0.25 mm
Lateral Features | [6 empty] | Average Diameter | 4 |  | Holes
Hole Diameter | 3 |  | Straightness of y Vertical Surface | 0 |  |  | Y Holes |  |  | 2.0 mm
| 6 | [5 empty] | Position | 0.000, -60.000 |  | 1.5 mm
Hole Roundness | 0 |  | Perpendicularity of y Vertical Surface to x Vertical Surface | 0 |  |  |  | 0.000, 60.000 |  | 1.0 mm
| 0 | [5 empty] | Average Diameter | 4 |  | 0.5 mm
Square Width | 3 | [8 empty] | 0.25 mm
| 6 |  | Parallelism of x surfaces | 0
Square Height | 3 | [5 empty] | Build Time (hours:minutes:seconds)
| 6 |  | Parallelism of y surfaces | 0
State uncertainty of measurement device(s)
Surface Roughness: state selected cutoff wavelenghts and length of measurement
Straightness: recommend minimum of 10 measurement points distributed over 90 % of surface | [5 empty] | Fine features: recommend viewing under optical microscope at 5x
Roundness: recommend minimum of 10 measurement points distributed overy 360 degrees
Flatness: recommend minimum of 10 measurement points
Parallelism and Perpendicularity: recommend minimum of 5 measurement points to form lines or planes
Diameter: recommend minimum of 6 measurement points distributed over 360 degrees