## Page 1
National Voluntary Laboratory Accreditation Program
Date: | NVLAP Lab Code:
NATIONAL VOLUNTARY LABORATORY ACCREDITATION PROGRAM ONSITE ASSESSMENT - TEST METHOD REVIEW SUMMARY
Instructions to the Assessor: During the on-site visit you will be required to assess the laboratory’s ability to conduct the specific test methods for which it has applied for accreditation. In some cases, this will involve many test methods, and you may not have sufficient time to perform an in-depth assessment of each method. In all cases, the number of tests assessed in-depth should be sufficient to support a determination of the laboratory’s competence for the full Scope of Accreditation. For renewal assessments, absent any program-specific requirements, choose methods for in-depth assessment that were not assessed in depth during the previous assessment. Use the Excel worksheet (Page 2) to list the test methods you assessed at the laboratory, and the extent of your assessment. Indicate whether you performed an in-depth review, including a full review of laboratory activities (i.e., sample control and preparation, procedure review, observation of actual testing, environmental control check, equipment review, calibration checks, record-keeping practices and report forms), OR that you observed selected items to determine that the laboratory demonstrated the ability to conduct the test.
In column A enter either the test method designation or NVLAP test method code (if you are not sure which one to enter, ask your NVLAP Program Manager). All test methods should be given the greatest depth of assessment that time and practicality allow. Indicate on the summary the DEPTH of the assessment for each test method you reviewed, using one of the following hierarchical entries: OT – Observed Test (includes the three options listed below) W/TT – Walked/Talked Through (includes listening and examining apparatus below) LDP – Listened to Description of Procedures EA – Examined Apparatus. Mark each one of the remaining categories as follows: X – a nonconformity has been identified C – a comment has been documented OK – all requirements have been met. When citing nonconformities and comments, the following definitions will be used to classify the findings: Nonconformity: nonfulfillment of NVLAP requirements for accreditation Comment: A finding where the requirements related to the laboratory's practices or documented information are fulfilled but there is potential for improvement. For your convenience, there is a dropdown menu of abbreviations associated with each cell in every category except "Staff Interviewed" (see Special Instructions below).
Record the nonconformity explanation and/or comment in the Non-Conformity Report cerated in the assessor portal under the laboratory's assessment record. Special Instructions: In the column labeled "Staff Interviewed" on Page 2 enter the name(s) of the laboratory staff member interviewed regarding the assessed test method. Enter in the block on the right the number of staff members authorized to perform testing (see ISO/IEC 17025:2017, 6.2.6 ): Enter the number of test methods on the proposed scope of accreditation:

## Page 2
Date: | [8 empty] | NVLAP Lab Code:
Test Method Designation or Test Method Code | Test Method Description | Status | Depth of Assessment | Accommodation/ Environment | Equipment/ Reference Materials | Calibration | Test Method Procedures | Handling/ Prep. of Test Items | Test Reports | Staff Interviewed | Other Considerations
[12 empty] | OT | X
[12 empty] | W/TT | C
[12 empty] | LDP | OK
EA
Menu Data Sources - Do Not Delete