## Disclaimer
Disclaimer | You must validate all spreadsheets for use in your laboratory!!!
2013-01-15 | These spreadsheets are provided as a useful approach for metrology calculations according to the SOP represented here. However, NIST OWM or any other organization involved in their development, collectively and individually, do not warrant this spreadsheets for any specific purpose, nor do they make any representations regarding their fitness for any use or purpose whatsoever. Each user agrees to decide if, when and how to use the spreadsheets, does so at his or her sole risk, and is responsible to suitable and applicable verification prior to use. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to hold NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in numbers generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these spreadsheets or an inability to use them.
If you distribute these tools through any means other than the NIST OWM website at www.nist.gov/labmetrology, you should check the website to ensure the tool being provided is the latest version available, and provide information to users on how to check for updates and revisions to the tools.

## SoftwareTechnical Assessment
W:\Yvonne\OWM Website\Lab Metrology\[Traceability RISK Assessment 20210902.xlsx]SoftwareTechnical Assessment
2021-09-02
Software Technical Assessment
Software Description | Risk Analysis Table and Chart (DRAFT) | Approval Date | Enter Date ( {ctrl}; )
Assessed By | Your Name | Approved By | Your Name
Codes | Assessment | Pass/Fail | Evidence
A. Software Inspection | Spreadsheet is clear and makes sense
There are instructions for use
Instructions and data input appear on the visible portion of the first worksheet
Data-entry fields are labeled and color coded (it is recommended to avoid red and green)
The Standard Operating Procedure (SOP) used is clearly specified
The number of digits to be rounded to is specified
The user is warned/notified whenever data-entry fields are left blank
Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations
The software opens at the right location within the file
Unused fields/cells are locked
Rows/columns that the operator need not see are hidden
Unused sheets are removed
Worksheets are named appropriately
B. Mathematical Specification | The correct SOP is used
The formulae and methods chosen from that SOP are specified
Sources and references for formulae are specified
The chosen SOP, its methods, and its formulae, are appropriate to the level of precision/uncertainty
C. Code review | The formulae in the fields exactly match the SOP
Repeated calculations appropriately reference the correct cells
Calculations, when tested using standard data or reference test data, show appropriate accuracy
Rounding is done at the appropriate locations in the file
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences
Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa
“Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used
E. Component Testing | Each macro used is functional
Each command/button is functional
Combinations of interdependent macros are functional
Plotted graphs are accurate
Worksheets/Certificates print properly, if needed to
Conditional (color and non-color) formatting is functional
F. Numerical Reference | Look-up tables and lists match the latest calibration certificate.
Uncertainties match the latest Scope
Values that reference another workbook or spreadsheet are dated
When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc.) is correct
The evaluation of the embedded data is dated and documented
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty
J. Security | Equation and calculation cells are protected against inadvertent editing
Cells are locked in place; they cannot be moved/dragged
Confidentiality of passwords is appropriate
Files are backed up automatically
Additional back-up is available at alternate facilities
Files on network drives cannot be accidentally deleted

## Document Control
Document Control
Status/Update | Date | Person Responsible
Initially created from Traceability Risk assessment form; software V&V tab added; chart created to show risk | 2021-09-01 | LF Eason (rEason Metrology)
Updated to add Calibration Program risk, OWM disclaimer, delete observations on software V&V form; added chart for calibration program; added document control sheet. | 2021-09-02 | G. Harris (NIST)

## Instructions
W:\Yvonne\OWM Website\Lab Metrology\[Traceability RISK Assessment 20210902.xlsx]SoftwareTechnical Assessment
2021-09-02
Date of review on Software Technical Assessment
Examine and identify all of the risk factors in you laboratory for each of the seven requirements for Metrological Traceability in ISO/IEC 17025:2017: Realization of SI Units, Unbroken Chain of Comparisons, Calibration Program, Documented Measurement Uncertainty, Documented Procedures, Accredited Technical Competence, and Measurement [Validity] Assurance.
Record the top five risk factors for each requirement in the "RISKS" column of the table on the "RiskTable" page (tab).
Identify all of the controls you currently have in place to mitigate each of these risks in the "CONTROLS IN PLACE" column of the table on the "RiskTable" page (tab).
Evaluate the cumulative risks in relation to the controls currently in place in your laboratory for each of the seven metrology traceability requirements.
What is the probability that the risks identified will occur despite the controls you have in place? Record the probability for each of the seven components of metrological traceability in the "PROBABILITY" column of the table on the "RiskTable" page (tab).
Example Probability Rating Factors
Probability | Description
< 10 % | Remote
10 % to 35 % | Highly Unlikely
36 % to 50 % | Possible
51 % to 60 % | Probable
61 % to 90 % | Highly Likely
> 90 % | Certain
If the risks identified occurs, how severe will the impact be on your laboratory? Record the severity of the impacts for each of the seven components of metrological traceability in the "IMPACT" column of the table on the "RiskTable" page (tab).
Example Impact Rating Factors
Consequence/Impact | Description
< 10 | Insignificant; easily handled in the normal course of operations with no additional costs
10 to 25 | Minor; some disruption within normal functions and minimum estimated costs
26 to 50 | Moderate; immediate time/resource reallocations with moderate costs
51 to 75 | Major; operations severely disrupted and failure to part of operations is possible
> 76 | Critical; significant concerns with ability to maintain operations
After completing this analysis, examine the chart on the "RiskChart" page (tab). The risks to measurement traceability will be shown on the chart based on their combined probability and impact. Risk factors in the upper right quadrant of the chart represent higher probability, more severe consequences. These are the risk factors you should focus on first. As additional controls are put into place, reevaluate the probability and impact on the requirement.
As the probability of risk factors are reduced, they will move toward the bottom of the chart. Is the severity of the impact can be reduced, they move to the left of the chart into the green area. Work through the risks to each requirement until all are minimized to an acceptable level.
NOTE: If design changes are needed on the RiskTable page of the spreadsheet, the password is Metrology.

## Traceability RiskTable
W:\Yvonne\OWM Website\Lab Metrology\[Traceability RISK Assessment 20210902.xlsx]SoftwareTechnical Assessment
2021-09-02
Date of review on Software Technical Assessment
Traceability RISK Assessment Form
Objective: Identify and analyze potential events and risks in the Calibration Laboratory related to the essential elements of Traceability
Traceability RISK Assessment Form
|  | IDENTIFY |  | ANALYZE
Essential Element | Element Description | RISKS | CONTROLS IN PLACE | PROBABILITY (0 % to 100 %) | IMPACT 0 = NO IMPACT TO 100 = CATASTROPHIC
1 | Realization of SI Units |  |  | 50 | 50
2 | Unbroken Chain of Comparisons |  |  | 25 | 75
3 | Calibration Program |  |  | 75 | 25
4 | Documented Measurement Uncertainty |  |  | 10 | 80
5 | Documented Procedures |  |  | 40 | 30
6 | Accredited Technical Competence |  |  | 5 | 90
7 | Measurement [Validity] Assurance |  |  | 60 | 70
Note on E9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Replace template numbers. They are here to show values on the Risk Cart for validation.

## Cal Prgm RiskTable
W:\Yvonne\OWM Website\Lab Metrology\[Traceability RISK Assessment 20210902.xlsx]SoftwareTechnical Assessment
2021-09-02
Date of review on Software Technical Assessment
Calibration Program RISK Assessment Form
Objective: Identify and analyze potential events and risks in the Calibration Laboratory related to the essential elements of Traceability
Calibration Program RISK Assessment Form
|  |  | IDENTIFY |  | ANALYZE
Essential Element | Element Title | Element Description | RISKS | CONTROLS IN PLACE | PROBABILITY (0 % to 100 %) | IMPACT 0 = NO IMPACT TO 100 = CATASTROPHIC
1 | Inventory | Identify Scope, Maintain a Complete Inventory (Equipment and Standards, Calibration Certificates) for your laboratory; update CMC when appropriate (consider “internal scope” needed to support your own traceability) |  |  | 70 | 90
2 | Staffing | Ensure staff are competent through training, proficiency testing, and ongoing monitoring of competency in providing calibrations and document all training and monitoring of staff competency. |  |  | 15 | 90
3 | Cal Intervals | Ensure suitable calibration intervals are planned and documented, determine an established baseline (plus DO monitoring); update if/as needed |  |  | 40 | 50
4 | Schedule Cals | Schedule Calibrations (on your calendar, with supplier(s) – even if that is your own lab; will likely require evaluating your own workload and availability of standards) |  |  | 70 | 100
5 | Handling | Document and follow shipping, handling, use, storage, maintenance procedure(s) are defined and followed |  |  | 30 | 75
6 | Int Audits | Schedule Internal Audits (Specifically in this case to assess “traceability” and the “calibration program”. Conduct assessments. Document observations from all steps in the calibration program |  |  | 10 | 60
7 | Supplier Eval - Approve | Implement procedure for calibration supplier selection and Perform complete Supplier Evaluation (including maintaining history); evaluate and save the supplier CMC prior to use |  |  | 70 | 60
8 | Budgeting | Request budget approvals and process financial requests |  |  | 10 | 95
9 | Contract Review - Supplier | Conduct Contract Review discussions with Supplier (include discussion and agreement of decision rules and specification evaluations) – expect and plan for this step; they are required to do this with you as the customer |  |  | 70 | 50
10 | Eval Calibrations | Evaluate Returned Calibrations and Certificates, Evaluate “calibration stickers” or “due dates” if present (request action from suppliers) |  |  | 50 | 50
11 | Supplier Eval - History | Update Supplier Evaluation history, Provide customer feedback to your supplier |  |  | 70 | 20
12 | IA/CA for Calibrations | Document any corrective or preventive action taken based on the evaluation of returning artifacts (and document observations and guidance for future use) |  |  | 80 | 15
13 | Implement Cal Values | Update Laboratory Documents and Records (hierarchies, inventories, spreadsheets, uncertainties, observations, corrective actions); File and retain certificates |  |  | 65 | 90
14 | Statistics Eval on Stds | Conduct statistical evaluation and adjust Intervals (if needed) using data following documented procedures and using data from control charts, uncertainties, PTs, calibration history (i.e., adjustment is a defendable and documented technical assessment, not a financial decision) |  |  | 80 | 10
Note on F9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Replace template numbers. They are here to show values on the Risk Cart for validation.