# Enter Date:       	Enter NVLAP Lab Code:

| NIST HANDBOOK 150-1 CHECKLIST ENERGY EFFICIENT LIGHTING PRODUCTS PROGRAM Instructions to the Assessor: This checklist addresses specific accreditation requirements prescribed in NIST Handbook 150-1, Energy Efficient Lighting Products. The Test Method Review Summary, which is used to review the laboratory’s ability to perform Energy Efficient Lighting Products test methods, is to be used in conjunction with this checklist. All items on this checklist shall be addressed. Select "X" for each item that represents a nonconformity. Select "C" for each item on which you are commenting for other reasons. Select "OK" for each item you observed or verified as compliant at the laboratory. Record the item number and the nonconformity explanation and/or comment on the appropriate comment sheet. Note: The numbering of the checklist items correlates to the numbering scheme in NIST Handbook 150-1, clauses 3, 4, and 5. |
| --- |
| 3 | Accreditation process |
|  | 3.3 | On-site assessment |
|  | 3.3.3 |  |
|  | a) | All laboratory equipment required to perform accredited testing shall be available for assessment and in good working order. |
|  | b) | Although all test methods need not be set up during the on-site assessment, the laboratory shall be prepared to demonstrate selected test methods as requested by the assessor. |
|  | c) | For those cases where a demonstration is not requested, the laboratory shall be prepared to describe the test method and procedures it would follow and show the actual equipment, fixtures and arrangements that would be used. |
|  | 3.4 | Proficiency testing |
|  | 3.4.2 | Laboratories applying for initial accreditation for solid state test methods shall participate satisfactorily in bilateral proficiency testing with NIST. |
|  | 3.4.5 | Laboratories renewing accreditation shall have satisfactorily participated in all required proficiency testing during their previous accreditation period. |
|  | 3.4.6 | The proficiency testing shall not be contracted to another laboratory. |
|  | 3.4.7 | In no case shall proficiency test samples be considered as calibration standards or standard reference materials or be used as substitutes for calibration standards that are traceable to NIST or other national metrology institutes (NMIs). |
|  | 3.4.8 | All proficiency test samples, like all other samples received by the laboratory, shall be listed or entered into the normal sample tracking and identification system for control and data recording. |
|  | 3.4.9 |  |
|  | a) | Using the test data from proficiency testing, the laboratory shall monitor its own testing performance. |
|  | b) | Procedures for analyzing and monitoring the laboratory’s own test results shall be documented in its management system. |
|  | 3.4.10 |  |
|  | a) | Unsatisfactory performance in proficiency testing (e.g., outlying results) as determined by NVLAP is a technical nonconformity that shall be resolved by the laboratory through its corrective action process to maintain its accreditation for the test method(s) in question. |
|  | b) | If the laboratory performs unsatisfactorily in any proficiency test, it shall take corrective action to investigate and resolve nonconformities in a timely manner, according to the requirements in 4.9 of NIST Handbook 150 for the control of nonconforming work. |
|  | 3.4.11 |  |
|  | a) | The results of proficiency testing shall be made available to NVLAP assessors for review during laboratory on-site assessment visits. |
|  | b) | Any problems indicated by proficiency testing shall be discussed with appropriate laboratory personnel responsible for developing and implementing plans for resolving the problems. |
| 4 | Management requirements for accreditation |
|  | 4.2 | Management system |
|  | 4.2.1 | The laboratory shall create a cross-reference document that facilitates verification by both the laboratory and the NVLAP assessor that all program requirements have been addressed by the management system if the quality manual does not follow the outline of ISO/IEC 17025. |
|  | 4.2.2 | The laboratory shall have readily available, in either electronic or paper format, all technical standards for which accreditation is being requested. |
|  | 4.2.3 | When a documentary standard contains normative references, the laboratory shall have readily available the referenced documents, where necessary for proper implementation of the standard. |
|  | 4.11 | Corrective action |
|  |  | Records of corrective action activities including but not limited to root cause investigation, corrective action, monitoring of effectiveness, and associated additional audits shall be maintained. |
|  | 4.12 | Preventive action |
|  |  | Records of preventive action activities including but not limited to the preventive action plan and monitoring of effectiveness shall be maintained. |
|  | 4.13 | Control of Records |
|  |  | Records shall be kept for a period of at least three years, unless a longer period is required by the customer, regulation, or the laboratory’s own procedures. |
|  | 4.14 | Internal audits |
|  | 4.14.1 | The internal audit shall cover compliance with NVLAP, laboratory management system, contractual, testing, and test method requirements, and shall be completed at an interval of no greater than two years. A NVLAP on-site assessment does not take the place of an internal audit. |
|  | 4.14.2 | An applicant laboratory shall conduct at least one complete internal audit, including the test methods on the laboratory’s proposed scope of accreditation, prior to the first on-site assessment. |
|  | 4.15 | Management reviews |
|  | 4.15.1 | Periodic reviews of the management system shall reflect adherence to NVLAP requirements and the laboratory’s quality objectives and shall be completed, at a minimum, on an annual basis. |
|  | 4.15.2 | An applicant laboratory shall perform at least one complete management review prior to the first on-site assessment. |
| 5 | Technical requirements for accreditation |
|  | 5.2 | Personnel |
|  | 5.2.1 | Personnel records |
|  | 5.2.1.1 | Key NVLAP accreditation personnel — The laboratory shall maintain a document of personnel designated to fulfill NVLAP requirements including: laboratory manager, technical manager, NVLAP authorized representative, NVLAP approved signatories, and staff responsible for conducting testing. |
|  | 5.2.1.2 | All testing laboratory staff — The laboratory shall document and maintain records of each staff member, including a résumé of qualifications; laboratory testing procedures to which the person is assigned and authorized to perform; and the results of periodic testing performance (competency) reviews (see also 5.2.3.4). |
|  | 5.2.1.3 | Notification of changes — The laboratory shall notify NVLAP within 30 days of a change in the NVLAP authorized representative or approved signatories. Notification to NVLAP of personnel changes shall include a current résumé for each new staff member. |
|  | 5.2.2 | Specific experience and competence of technical manager |
|  |  | The laboratory’s technical manager shall have a combination of knowledge, experience, and training in testing energy efficient lighting products defined on the (proposed) scope of accreditation and shall have technical competence and supervisory capability to direct the work of professionals and technicians in testing energy efficient lighting products. |
|  | 5.2.3 | Competency reviews |
|  | 5.2.3.1 | The laboratory shall develop an appropriate list of staff member competencies for each test method. |
|  | 5.2.3.2 | The laboratory shall evaluate the competency of each staff member for each test method or part of a test method the staff member is authorized to conduct. |
|  | 5.2.3.3 | For each staff member, the staff member’s immediate supervisor or designee shall conduct annually an assessment of performance competence. |
|  | 5.2.3.4 | These annual performance competency reviews shall be documented, dated, signed by the supervisor and employee, retained in the personnel files, and be available for review by the assessor. |
|  | 5.2.4 | Training |
|  | a) | A training program shall be maintained and documented. |
|  | b) | Authorized staff members shall be given additional training when accredited test methods are updated or procedures change, or when the individuals are assigned new responsibilities. |
|  | 5.4 | Test and calibration methods and method validation |
|  | 5.4.1 | Standard test methods |
|  | 5.4.1.1 |  |
|  | a) | The management system documentation shall contain or make reference to detailed written documentation of the procedures, practices, instructions, and equipment that the laboratory uses in conducting the test methods for the different types of lamps, luminaires, solid state lighting products or LED devices for which it seeks or holds accreditation. |
|  | b) | These detailed instructions, including those for equipment operation, calibration checks, quality control checks, and operation of particular type(s) of devices tested shall address any laboratory-specific information not contained in the standard method and shall be supplemented with additional detailed instructions beyond the test method to ensure consistent application. |
|  | 5.4.1.2 | Self-absorption correction procedures shall be applied for sphere measurements, or documented evidence shall be collected demonstrating that self-absorption correction is not required. |
|  | 5.4.2. | Estimation of measurement uncertainty |
|  | a) | The management system documentation shall list the important components that substantially affect the measurement uncertainty of the test results for each test method on the (proposed) scope of accreditation. |
|  | b) | Further, an estimate of the magnitude of identified uncertainty contributions shall be provided. |
|  | c) | The uncertainty shall be calculated and reported if required by the test method, the regulator, or the customer. |
|  | 5.5 | Equipment |
|  | 5.5.1 | Standard (or reference) lamps shall be recalibrated at appropriate intervals determined by the laboratory. |
|  | 5.5.2 | The laboratory shall maintain a record of usage, in hours, of standard (or reference) lamps. |
|  | 5.6 | Measurement traceability |
|  | 5.6.1 | The laboratory shall determine equipment calibration intervals based on the equipment’s frequency of use and the environment in which it is used, and also in accordance with standard test methods and/or manufacturer’s recommendations. |
|  | 5.6.2 |  |
|  | a) | Proper performance and calibration of measurement and test equipment shall be periodically verified as needed through the use of cross-checks and/or working standards. |
|  | b) | The periodical verification shall be documented. |
|  | 5.6.3 | The reference standards used and the environmental conditions at the time of calibration shall be documented for all calibrations. |
|  | 5.6.4 | The following requirements apply for calibrations and calibration certificates. |
|  | a) | Certificates shall be required for calibrations performed by outside services. A calibration certificate shall indicate measurement uncertainty or accuracy tolerance limits. |
|  | b) | Records shall be required when a laboratory performs its own calibration including the identity of the properly trained personnel involved, the standard metrological procedures used, the environmental conditions, and the measurement uncertainty. Evidence and demonstration of traceability as required in NIST Handbook 150, Annex B, shall be documented. Records shall contain sufficient information to permit repetition of the calibration. |
|  | c) | Laboratories using standard (or reference) lamps and/or standard photometers shall document the traceability chain and, for each step, the magnitude of the associated measurement uncertainty. |
|  | 5.7 | Sampling |
|  |  | All requirements of ISO/IEC 17025 for sampling apply to subsampling. When a laboratory tests some subset of the test items supplied by the customer, it is subsampling. |
|  | 5.9 | Assuring the quality of test and calibration results |
|  | 5.9.1 | The laboratory shall conduct a test after every calibration to assure and validate that the calibration of the system is acceptable. |
|  | 5.9.2 | The laboratory shall have a documented method to assure that the check lamps used to verify calibration results are valid; i.e., the measured values have not changed but are within a given limit of repeatability. |
|  | 5.9.3 | The laboratory shall document the frequency or schedule at which check or working standards are measured. |
|  | 5.9.4 | Procedures for the laboratory’s participation in NVLAP proficiency testing, including analyzing and monitoring the laboratory’s results, a description of any corrective actions taken because of the results, and procedures for comparing the laboratory’s proficiency test results with those from NIST or other NVLAP-accredited laboratories shall be documented. |
|  | 5.10 | Reporting the results |
|  | 5.10.1 | General |
|  |  | Test reports shall clearly reference the test method and edition, including the published year, used for testing. |
|  | 5.10.2 | Data analysis and report generation |
|  |  | The laboratory personnel responsible for report writing and generation shall be available to be interviewed by the assessor during the laboratory’s on-site assessment. |

NIST HANDBOOK 150-1 CHECKLIST

# COMMENTS AND NONCONFORMITIES

# Instructions to the Assessor:  Use this sheet to document comments and nonconformities.  For each, identify the appropriate item number from the checklist.  Identify each comment with a “C” and each nonconformity with an “X.”  If additional space is needed, make copies of this page or use additional blank sheets.

| Item No. |  | C or X |  | Comments and/or Nonconformities |
| --- | --- | --- | --- | --- |