## test
metRology for Microsoft Excel Uncertainty Template |  |  | 1 Input
Uncertainty Analysis Input Table
Input Variable Name | x1
Units | mg
Input Value, xi | 1
Standard Uncertainty, ui | 0.12
Degrees of Freedom, νi | 60
Type of Uncertainty Evaluation | A
Distribution | Normal
Measurement Equation | exp(x1)
Correlation Matrix | x1
x1 | 1
ç Show/Hide Correlations
x1
ui's Based on Shared Value | x1
ç Show/Hide Shared ui's
Nominal Level of Confidence | 95%
Type of Coverage Factor, k | Student's t
Significant Digits for U(y) | 2
ç Show/Hide Optional Inputs
ç Show/Hide Options
Uncertainty Analysis Results
| Output Value | Combined Standard Uncertainty | Effective Degrees of Freedom | Nominal Level of Confidence | Coverage Factor = | Expanded Uncertainty | Approximate Attained Confidence Level
| y=f(x1,…,xp) | uc(y) | νeff | 100(1-a)% | k | U(y)
x1
Contribution to [uc(y)]2, %
Sensitivity Coefficient
ç More
ç Show/Hide Warnings and Error Messages