## Descriptive Information
Experiment related information | Input
Date of analysis
Element
Identification label of the Test Sample
Lot number of the Test Sample
Nominal mass fraction of Test Sample (mg/g)
SRM 3100 series number
SRM lot number
Certified Mass Fraction (mg/g) of SRM , lot 000000
Uncertainty of Certified Mass Fraction (mg/g)
Coverage Factor, k, for the SRM Certified Uncertainty
SRM Certificates of Analysis can be found at
https://srmors.nist.gov/tables/view_table.cfm?table=104-5.htm
Instrument related information | Input
Instrumental comparison method
Working Response Level
Mass of Working Solutions (g)
Internal standard element
Mass fraction of Internal Standard Stock Solution (mg/g)
Note on B7: For example, SRM 3101a for Arsenic.
Note on B8: Six digit number found on the SRM label and the matching Certificate of Analysis.
Note on B9: As found on the SRM Certificate of Analysis
Note on B10: The expanded uncertainty as found on the Certificate of Analysis
Note on B11: The coverage factor, k, for a 95 % confidence interval is usually given on the Certificate of Analysis of the SRM. If k is not given, a value of 2 should be assumed.
Note on B17: For example, ICP-OES.

## Instrument Sensitivity Test
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
F | measure instrument response for the Sensitivity Solutions of the analyte and internal standard
|  | ug/g | response | Sensitivity (response/(µg/g)) | Target working mass fraction | Sensitivity ratio
(Analyte) Sensitivity Solution |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
(Int. Std.) Sensitivity Solution |  |  |  | #DIV/0! | #DIV/0!

## Solution Preparation
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
F | Prepare Internal Standard Spike Solution. |  |  |  | #DIV/0!
#DIV/0!
F | Into labeled bottles, prepare spiked Test Samples and SRMs following the target values listed below:
|  | g of Test Sample |  |  |  | g of SRM |  |  |  | g of IS Spike Solution
|  | Target | Actual |  |  | Target | Actual |  |  | Target | Actual
|  |  | Tare | Gross | Net |  | Tare | Gross | Net |  | Tare | Gross | Net
| SRM 1 |  |  |  |  | 2.5 |  |  | 0 | #DIV/0! |  |  | 0
| SRM 2 |  |  |  |  | 2.5 |  |  | 0 | #DIV/0! |  |  | 0
| SRM 3 |  |  |  |  | 2.5 |  |  | 0 | #DIV/0! |  |  | 0
| SRM 4 |  |  |  |  | 2.5 |  |  | 0 | #DIV/0! |  |  | 0
| Test Sample 1 | #DIV/0! |  |  | 0 |  |  |  |  | #DIV/0! |  |  | 0
| Test Sample 2 | #DIV/0! |  |  | 0 |  |  |  |  | #DIV/0! |  |  | 0
| Test Sample 3 | #DIV/0! |  |  | 0 |  |  |  |  | #DIV/0! |  |  | 0
| Test Sample 4 | #DIV/0! |  |  | 0 |  |  |  |  | #DIV/0! |  |  | 0
F | Prepare Working Solutions by dilution of spiked solutions.
g of spiked solution to dilute to g
[5 empty] | SRM Samples |  | #DIV/0!
[5 empty] | Test Samples |  | #DIV/0!

## Instrument Measurements
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
F | Each solution must be measured 5 times in the order specified in the ID column.
Each measurement may include as many as 10 readings, but fewer readings may be made.
Instrument response values for analyte and internal standard must be entered in the table below.
Repeat # | ID | Element | Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Reading 6 | Reading 7 | Reading 8 | Reading 9 | Reading 10 | Average | sd | rsd
1 | SRM 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
2 | SRM 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
3 | SRM 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
4 | SRM 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
5 | SRM 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 1 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 2 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 3 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| SRM 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Test Sample 4 | Analyte | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  | IS | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0!

## Ratio Calculations
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
Repeat # | ID | Ratio 1 | Ratio 2 | Ratio 3 | Ratio 4 | Ratio 5 | Ratio 6 | Ratio 7 | Ratio 8 | Ratio 9 | Ratio 10 | Average | sd | rsd | n | sd mean
1 | SRM 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 | SRM 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| SRM 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
| Test Sample 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | SRM 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | Test Sample 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | SRM 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | Test Sample 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | SRM 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | Test Sample 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | SRM 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | Test Sample 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | SRM 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | Test Sample 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | SRM 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | Test Sample 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | SRM 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | Test Sample 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | SRM 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | Test Sample 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | SRM 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | Test Sample 1 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | SRM 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | Test Sample 2 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | SRM 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | Test Sample 3 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | SRM 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | Test Sample 4 | [10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!

## Results (no drift correction)
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
SRM Measurements | Average Signal Ratio | sd | rsd | Mass Ratio | Slope of Calibration Curve | Apparent Mass Fraction | sd
|  |  |  | (mg analyte/g IS) | (signal ratio/mass ratio) | mg/g | mg/g
SRM 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Average slope | #DIV/0!
|  |  |  | sd of slope | #DIV/0!
Measurements | Average Signal Ratio | sd | rsd | Observed Mass Fraction | sd | Observed /Nominal
|  |  |  | mg/g | mg/g
Test Sample 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Average mass fraction | #DIV/0!
|  |  | sd of mass fraction | #DIV/0!
Uncertainty Budget
Source | (mg/g) | relative | df | coverage factor, k
SRM Measurements | #DIV/0! | #DIV/0! | 3
Measurements | #DIV/0! | #DIV/0! | 3
Certified Value of SRM | #DIV/0! | #DIV/0! | #N/A
Combined Uncertainty | #DIV/0! | #DIV/0! | #DIV/0!
Coverage Factor, k |  |  |  | #DIV/0!
Expanded Uncertainty | #DIV/0! | #DIV/0!
#DIV/0!
Note on G3: The apparent mass fractions of the different calibrants, treating them as samples.

## Results (drift corrected)
Comparison of (lot ) to NIST SRM (lot 000000), 12/30/1899.
SRM Measurements | Average Signal Ratio | sd | rsd | Mass Ratio | Slope of Calibration Curve | Apparent Mass Fraction | sd
|  |  |  | (mg analyte/g IS) | (signal ratio/mass ratio) | mg/g | mg/g
SRM 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SRM 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Average slope | #DIV/0!
|  |  |  | sd of slope | #DIV/0!
Measurements | Average Signal Ratio | sd | rsd | Observed Mass Fraction | sd | Observed /Nominal
|  |  |  | mg/g | mg/g
Test Sample 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Test Sample 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Average mass fraction | #DIV/0!
|  |  | sd of mass fraction | #DIV/0!
Uncertainty Budget
Source | (mg/g) | relative | df | coverage factor, k
SRM Measurements | #DIV/0! | #DIV/0! | 3
Measurements | #DIV/0! | #DIV/0! | 3
Certified Value of SRM | #DIV/0! | #DIV/0! | #N/A
Combined Uncertainty | #DIV/0! | #DIV/0! | #DIV/0!
Coverage Factor, k |  |  |  | #DIV/0!
Expanded Uncertainty | #DIV/0! | #DIV/0!
#DIV/0!
Note on G3: The apparent mass fractions of the different calibrants, treating them as samples.

## Correlation Diagnostic
Point | index 1 | index 2 | Analyte | IS | Avg Anal | Avg IS | Ratio | NormAnalyte | NormIS
1 | 1 | 1 | 0 | 0 | 0 | 0
2 | 1 | 2 | 0 | 0 | 0 | 0
3 | 1 | 3 | 0 | 0 | 0 | 0
4 | 1 | 4 | 0 | 0 | 0 | 0
5 | 1 | 5 | 0 | 0 | 0 | 0
6 | 1 | 6 | 0 | 0 | 0 | 0
7 | 1 | 7 | 0 | 0 | 0 | 0
8 | 1 | 8 | 0 | 0 | 0 | 0
9 | 1 | 9 | 0 | 0 | 0 | 0
10 | 1 | 10 | 0 | 0 | 0 | 0
11 | 3 | 1 | 0 | 0 | 0 | 0
12 | 3 | 2 | 0 | 0 | 0 | 0
13 | 3 | 3 | 0 | 0 | 0 | 0
14 | 3 | 4 | 0 | 0 | 0 | 0
15 | 3 | 5 | 0 | 0 | 0 | 0
16 | 3 | 6 | 0 | 0 | 0 | 0
17 | 3 | 7 | 0 | 0 | 0 | 0
18 | 3 | 8 | 0 | 0 | 0 | 0
19 | 3 | 9 | 0 | 0 | 0 | 0
20 | 3 | 10 | 0 | 0 | 0 | 0
21 | 5 | 1 | 0 | 0 | 0 | 0
22 | 5 | 2 | 0 | 0 | 0 | 0
23 | 5 | 3 | 0 | 0 | 0 | 0
24 | 5 | 4 | 0 | 0 | 0 | 0
25 | 5 | 5 | 0 | 0 | 0 | 0
26 | 5 | 6 | 0 | 0 | 0 | 0
27 | 5 | 7 | 0 | 0 | 0 | 0
28 | 5 | 8 | 0 | 0 | 0 | 0
29 | 5 | 9 | 0 | 0 | 0 | 0
30 | 5 | 10 | 0 | 0 | 0 | 0
31 | 7 | 1 | 0 | 0 | 0 | 0
32 | 7 | 2 | 0 | 0 | 0 | 0
33 | 7 | 3 | 0 | 0 | 0 | 0
34 | 7 | 4 | 0 | 0 | 0 | 0
35 | 7 | 5 | 0 | 0 | 0 | 0
36 | 7 | 6 | 0 | 0 | 0 | 0
37 | 7 | 7 | 0 | 0 | 0 | 0
38 | 7 | 8 | 0 | 0 | 0 | 0
39 | 7 | 9 | 0 | 0 | 0 | 0
40 | 7 | 10 | 0 | 0 | 0 | 0
41 | 9 | 1 | 0 | 0 | 0 | 0
42 | 9 | 2 | 0 | 0 | 0 | 0
43 | 9 | 3 | 0 | 0 | 0 | 0
44 | 9 | 4 | 0 | 0 | 0 | 0
45 | 9 | 5 | 0 | 0 | 0 | 0
46 | 9 | 6 | 0 | 0 | 0 | 0
47 | 9 | 7 | 0 | 0 | 0 | 0
48 | 9 | 8 | 0 | 0 | 0 | 0
49 | 9 | 9 | 0 | 0 | 0 | 0
50 | 9 | 10 | 0 | 0 | 0 | 0
51 | 11 | 1 | 0 | 0 | 0 | 0
52 | 11 | 2 | 0 | 0 | 0 | 0
53 | 11 | 3 | 0 | 0 | 0 | 0
54 | 11 | 4 | 0 | 0 | 0 | 0
55 | 11 | 5 | 0 | 0 | 0 | 0
56 | 11 | 6 | 0 | 0 | 0 | 0
57 | 11 | 7 | 0 | 0 | 0 | 0
58 | 11 | 8 | 0 | 0 | 0 | 0
59 | 11 | 9 | 0 | 0 | 0 | 0
60 | 11 | 10 | 0 | 0 | 0 | 0
61 | 13 | 1 | 0 | 0 | 0 | 0
62 | 13 | 2 | 0 | 0 | 0 | 0
63 | 13 | 3 | 0 | 0 | 0 | 0
64 | 13 | 4 | 0 | 0 | 0 | 0
65 | 13 | 5 | 0 | 0 | 0 | 0
66 | 13 | 6 | 0 | 0 | 0 | 0
67 | 13 | 7 | 0 | 0 | 0 | 0
68 | 13 | 8 | 0 | 0 | 0 | 0
69 | 13 | 9 | 0 | 0 | 0 | 0
70 | 13 | 10 | 0 | 0 | 0 | 0
71 | 15 | 1 | 0 | 0 | 0 | 0
72 | 15 | 2 | 0 | 0 | 0 | 0
73 | 15 | 3 | 0 | 0 | 0 | 0
74 | 15 | 4 | 0 | 0 | 0 | 0
75 | 15 | 5 | 0 | 0 | 0 | 0
76 | 15 | 6 | 0 | 0 | 0 | 0
77 | 15 | 7 | 0 | 0 | 0 | 0
78 | 15 | 8 | 0 | 0 | 0 | 0
79 | 15 | 9 | 0 | 0 | 0 | 0
80 | 15 | 10 | 0 | 0 | 0 | 0
81 | 17 | 1 | 0 | 0 | 0 | 0
82 | 17 | 2 | 0 | 0 | 0 | 0
83 | 17 | 3 | 0 | 0 | 0 | 0
84 | 17 | 4 | 0 | 0 | 0 | 0
85 | 17 | 5 | 0 | 0 | 0 | 0
86 | 17 | 6 | 0 | 0 | 0 | 0
87 | 17 | 7 | 0 | 0 | 0 | 0
88 | 17 | 8 | 0 | 0 | 0 | 0
89 | 17 | 9 | 0 | 0 | 0 | 0
90 | 17 | 10 | 0 | 0 | 0 | 0
91 | 19 | 1 | 0 | 0 | 0 | 0
92 | 19 | 2 | 0 | 0 | 0 | 0
93 | 19 | 3 | 0 | 0 | 0 | 0
94 | 19 | 4 | 0 | 0 | 0 | 0
95 | 19 | 5 | 0 | 0 | 0 | 0
96 | 19 | 6 | 0 | 0 | 0 | 0
97 | 19 | 7 | 0 | 0 | 0 | 0
98 | 19 | 8 | 0 | 0 | 0 | 0
99 | 19 | 9 | 0 | 0 | 0 | 0
100 | 19 | 10 | 0 | 0 | 0 | 0
101 | 21 | 1 | 0 | 0 | 0 | 0
102 | 21 | 2 | 0 | 0 | 0 | 0
103 | 21 | 3 | 0 | 0 | 0 | 0
104 | 21 | 4 | 0 | 0 | 0 | 0
105 | 21 | 5 | 0 | 0 | 0 | 0
106 | 21 | 6 | 0 | 0 | 0 | 0
107 | 21 | 7 | 0 | 0 | 0 | 0
108 | 21 | 8 | 0 | 0 | 0 | 0
109 | 21 | 9 | 0 | 0 | 0 | 0
110 | 21 | 10 | 0 | 0 | 0 | 0
111 | 23 | 1 | 0 | 0 | 0 | 0
112 | 23 | 2 | 0 | 0 | 0 | 0
113 | 23 | 3 | 0 | 0 | 0 | 0
114 | 23 | 4 | 0 | 0 | 0 | 0
115 | 23 | 5 | 0 | 0 | 0 | 0
116 | 23 | 6 | 0 | 0 | 0 | 0
117 | 23 | 7 | 0 | 0 | 0 | 0
118 | 23 | 8 | 0 | 0 | 0 | 0
119 | 23 | 9 | 0 | 0 | 0 | 0
120 | 23 | 10 | 0 | 0 | 0 | 0
121 | 25 | 1 | 0 | 0 | 0 | 0
122 | 25 | 2 | 0 | 0 | 0 | 0
123 | 25 | 3 | 0 | 0 | 0 | 0
124 | 25 | 4 | 0 | 0 | 0 | 0
125 | 25 | 5 | 0 | 0 | 0 | 0
126 | 25 | 6 | 0 | 0 | 0 | 0
127 | 25 | 7 | 0 | 0 | 0 | 0
128 | 25 | 8 | 0 | 0 | 0 | 0
129 | 25 | 9 | 0 | 0 | 0 | 0
130 | 25 | 10 | 0 | 0 | 0 | 0
131 | 27 | 1 | 0 | 0 | 0 | 0
132 | 27 | 2 | 0 | 0 | 0 | 0
133 | 27 | 3 | 0 | 0 | 0 | 0
134 | 27 | 4 | 0 | 0 | 0 | 0
135 | 27 | 5 | 0 | 0 | 0 | 0
136 | 27 | 6 | 0 | 0 | 0 | 0
137 | 27 | 7 | 0 | 0 | 0 | 0
138 | 27 | 8 | 0 | 0 | 0 | 0
139 | 27 | 9 | 0 | 0 | 0 | 0
140 | 27 | 10 | 0 | 0 | 0 | 0
141 | 29 | 1 | 0 | 0 | 0 | 0
142 | 29 | 2 | 0 | 0 | 0 | 0
143 | 29 | 3 | 0 | 0 | 0 | 0
144 | 29 | 4 | 0 | 0 | 0 | 0
145 | 29 | 5 | 0 | 0 | 0 | 0
146 | 29 | 6 | 0 | 0 | 0 | 0
147 | 29 | 7 | 0 | 0 | 0 | 0
148 | 29 | 8 | 0 | 0 | 0 | 0
149 | 29 | 9 | 0 | 0 | 0 | 0
150 | 29 | 10 | 0 | 0 | 0 | 0
151 | 31 | 1 | 0 | 0 | 0 | 0
152 | 31 | 2 | 0 | 0 | 0 | 0
153 | 31 | 3 | 0 | 0 | 0 | 0
154 | 31 | 4 | 0 | 0 | 0 | 0
155 | 31 | 5 | 0 | 0 | 0 | 0
156 | 31 | 6 | 0 | 0 | 0 | 0
157 | 31 | 7 | 0 | 0 | 0 | 0
158 | 31 | 8 | 0 | 0 | 0 | 0
159 | 31 | 9 | 0 | 0 | 0 | 0
160 | 31 | 10 | 0 | 0 | 0 | 0
161 | 33 | 1 | 0 | 0 | 0 | 0
162 | 33 | 2 | 0 | 0 | 0 | 0
163 | 33 | 3 | 0 | 0 | 0 | 0
164 | 33 | 4 | 0 | 0 | 0 | 0
165 | 33 | 5 | 0 | 0 | 0 | 0
166 | 33 | 6 | 0 | 0 | 0 | 0
167 | 33 | 7 | 0 | 0 | 0 | 0
168 | 33 | 8 | 0 | 0 | 0 | 0
169 | 33 | 9 | 0 | 0 | 0 | 0
170 | 33 | 10 | 0 | 0 | 0 | 0
171 | 35 | 1 | 0 | 0 | 0 | 0
172 | 35 | 2 | 0 | 0 | 0 | 0
173 | 35 | 3 | 0 | 0 | 0 | 0
174 | 35 | 4 | 0 | 0 | 0 | 0
175 | 35 | 5 | 0 | 0 | 0 | 0
176 | 35 | 6 | 0 | 0 | 0 | 0
177 | 35 | 7 | 0 | 0 | 0 | 0
178 | 35 | 8 | 0 | 0 | 0 | 0
179 | 35 | 9 | 0 | 0 | 0 | 0
180 | 35 | 10 | 0 | 0 | 0 | 0
181 | 37 | 1 | 0 | 0 | 0 | 0
182 | 37 | 2 | 0 | 0 | 0 | 0
183 | 37 | 3 | 0 | 0 | 0 | 0
184 | 37 | 4 | 0 | 0 | 0 | 0
185 | 37 | 5 | 0 | 0 | 0 | 0
186 | 37 | 6 | 0 | 0 | 0 | 0
187 | 37 | 7 | 0 | 0 | 0 | 0
188 | 37 | 8 | 0 | 0 | 0 | 0
189 | 37 | 9 | 0 | 0 | 0 | 0
190 | 37 | 10 | 0 | 0 | 0 | 0
191 | 39 | 1 | 0 | 0 | 0 | 0
192 | 39 | 2 | 0 | 0 | 0 | 0
193 | 39 | 3 | 0 | 0 | 0 | 0
194 | 39 | 4 | 0 | 0 | 0 | 0
195 | 39 | 5 | 0 | 0 | 0 | 0
196 | 39 | 6 | 0 | 0 | 0 | 0
197 | 39 | 7 | 0 | 0 | 0 | 0
198 | 39 | 8 | 0 | 0 | 0 | 0
199 | 39 | 9 | 0 | 0 | 0 | 0
200 | 39 | 10 | 0 | 0 | 0 | 0
201 | 41 | 1 | 0 | 0 | 0 | 0
202 | 41 | 2 | 0 | 0 | 0 | 0
203 | 41 | 3 | 0 | 0 | 0 | 0
204 | 41 | 4 | 0 | 0 | 0 | 0
205 | 41 | 5 | 0 | 0 | 0 | 0
206 | 41 | 6 | 0 | 0 | 0 | 0
207 | 41 | 7 | 0 | 0 | 0 | 0
208 | 41 | 8 | 0 | 0 | 0 | 0
209 | 41 | 9 | 0 | 0 | 0 | 0
210 | 41 | 10 | 0 | 0 | 0 | 0
211 | 43 | 1 | 0 | 0 | 0 | 0
212 | 43 | 2 | 0 | 0 | 0 | 0
213 | 43 | 3 | 0 | 0 | 0 | 0
214 | 43 | 4 | 0 | 0 | 0 | 0
215 | 43 | 5 | 0 | 0 | 0 | 0
216 | 43 | 6 | 0 | 0 | 0 | 0
217 | 43 | 7 | 0 | 0 | 0 | 0
218 | 43 | 8 | 0 | 0 | 0 | 0
219 | 43 | 9 | 0 | 0 | 0 | 0
220 | 43 | 10 | 0 | 0 | 0 | 0
221 | 45 | 1 | 0 | 0 | 0 | 0
222 | 45 | 2 | 0 | 0 | 0 | 0
223 | 45 | 3 | 0 | 0 | 0 | 0
224 | 45 | 4 | 0 | 0 | 0 | 0
225 | 45 | 5 | 0 | 0 | 0 | 0
226 | 45 | 6 | 0 | 0 | 0 | 0
227 | 45 | 7 | 0 | 0 | 0 | 0
228 | 45 | 8 | 0 | 0 | 0 | 0
229 | 45 | 9 | 0 | 0 | 0 | 0
230 | 45 | 10 | 0 | 0 | 0 | 0
231 | 47 | 1 | 0 | 0 | 0 | 0
232 | 47 | 2 | 0 | 0 | 0 | 0
233 | 47 | 3 | 0 | 0 | 0 | 0
234 | 47 | 4 | 0 | 0 | 0 | 0
235 | 47 | 5 | 0 | 0 | 0 | 0
236 | 47 | 6 | 0 | 0 | 0 | 0
237 | 47 | 7 | 0 | 0 | 0 | 0
238 | 47 | 8 | 0 | 0 | 0 | 0
239 | 47 | 9 | 0 | 0 | 0 | 0
240 | 47 | 10 | 0 | 0 | 0 | 0
241 | 49 | 1 | 0 | 0 | 0 | 0
242 | 49 | 2 | 0 | 0 | 0 | 0
243 | 49 | 3 | 0 | 0 | 0 | 0
244 | 49 | 4 | 0 | 0 | 0 | 0
245 | 49 | 5 | 0 | 0 | 0 | 0
246 | 49 | 6 | 0 | 0 | 0 | 0
247 | 49 | 7 | 0 | 0 | 0 | 0
248 | 49 | 8 | 0 | 0 | 0 | 0
249 | 49 | 9 | 0 | 0 | 0 | 0
250 | 49 | 10 | 0 | 0 | 0 | 0
251 | 51 | 1 | 0 | 0 | 0 | 0
252 | 51 | 2 | 0 | 0 | 0 | 0
253 | 51 | 3 | 0 | 0 | 0 | 0
254 | 51 | 4 | 0 | 0 | 0 | 0
255 | 51 | 5 | 0 | 0 | 0 | 0
256 | 51 | 6 | 0 | 0 | 0 | 0
257 | 51 | 7 | 0 | 0 | 0 | 0
258 | 51 | 8 | 0 | 0 | 0 | 0
259 | 51 | 9 | 0 | 0 | 0 | 0
260 | 51 | 10 | 0 | 0 | 0 | 0
261 | 53 | 1 | 0 | 0 | 0 | 0
262 | 53 | 2 | 0 | 0 | 0 | 0
263 | 53 | 3 | 0 | 0 | 0 | 0
264 | 53 | 4 | 0 | 0 | 0 | 0
265 | 53 | 5 | 0 | 0 | 0 | 0
266 | 53 | 6 | 0 | 0 | 0 | 0
267 | 53 | 7 | 0 | 0 | 0 | 0
268 | 53 | 8 | 0 | 0 | 0 | 0
269 | 53 | 9 | 0 | 0 | 0 | 0
270 | 53 | 10 | 0 | 0 | 0 | 0
271 | 55 | 1 | 0 | 0 | 0 | 0
272 | 55 | 2 | 0 | 0 | 0 | 0
273 | 55 | 3 | 0 | 0 | 0 | 0
274 | 55 | 4 | 0 | 0 | 0 | 0
275 | 55 | 5 | 0 | 0 | 0 | 0
276 | 55 | 6 | 0 | 0 | 0 | 0
277 | 55 | 7 | 0 | 0 | 0 | 0
278 | 55 | 8 | 0 | 0 | 0 | 0
279 | 55 | 9 | 0 | 0 | 0 | 0
280 | 55 | 10 | 0 | 0 | 0 | 0
281 | 57 | 1 | 0 | 0 | 0 | 0
282 | 57 | 2 | 0 | 0 | 0 | 0
283 | 57 | 3 | 0 | 0 | 0 | 0
284 | 57 | 4 | 0 | 0 | 0 | 0
285 | 57 | 5 | 0 | 0 | 0 | 0
286 | 57 | 6 | 0 | 0 | 0 | 0
287 | 57 | 7 | 0 | 0 | 0 | 0
288 | 57 | 8 | 0 | 0 | 0 | 0
289 | 57 | 9 | 0 | 0 | 0 | 0
290 | 57 | 10 | 0 | 0 | 0 | 0
291 | 59 | 1 | 0 | 0 | 0 | 0
292 | 59 | 2 | 0 | 0 | 0 | 0
293 | 59 | 3 | 0 | 0 | 0 | 0
294 | 59 | 4 | 0 | 0 | 0 | 0
295 | 59 | 5 | 0 | 0 | 0 | 0
296 | 59 | 6 | 0 | 0 | 0 | 0
297 | 59 | 7 | 0 | 0 | 0 | 0
298 | 59 | 8 | 0 | 0 | 0 | 0
299 | 59 | 9 | 0 | 0 | 0 | 0
300 | 59 | 10 | 0 | 0 | 0 | 0
301 | 61 | 1 | 0 | 0 | 0 | 0
302 | 61 | 2 | 0 | 0 | 0 | 0
303 | 61 | 3 | 0 | 0 | 0 | 0
304 | 61 | 4 | 0 | 0 | 0 | 0
305 | 61 | 5 | 0 | 0 | 0 | 0
306 | 61 | 6 | 0 | 0 | 0 | 0
307 | 61 | 7 | 0 | 0 | 0 | 0
308 | 61 | 8 | 0 | 0 | 0 | 0
309 | 61 | 9 | 0 | 0 | 0 | 0
310 | 61 | 10 | 0 | 0 | 0 | 0
311 | 63 | 1 | 0 | 0 | 0 | 0
312 | 63 | 2 | 0 | 0 | 0 | 0
313 | 63 | 3 | 0 | 0 | 0 | 0
314 | 63 | 4 | 0 | 0 | 0 | 0
315 | 63 | 5 | 0 | 0 | 0 | 0
316 | 63 | 6 | 0 | 0 | 0 | 0
317 | 63 | 7 | 0 | 0 | 0 | 0
318 | 63 | 8 | 0 | 0 | 0 | 0
319 | 63 | 9 | 0 | 0 | 0 | 0
320 | 63 | 10 | 0 | 0 | 0 | 0
321 | 65 | 1 | 0 | 0 | 0 | 0
322 | 65 | 2 | 0 | 0 | 0 | 0
323 | 65 | 3 | 0 | 0 | 0 | 0
324 | 65 | 4 | 0 | 0 | 0 | 0
325 | 65 | 5 | 0 | 0 | 0 | 0
326 | 65 | 6 | 0 | 0 | 0 | 0
327 | 65 | 7 | 0 | 0 | 0 | 0
328 | 65 | 8 | 0 | 0 | 0 | 0
329 | 65 | 9 | 0 | 0 | 0 | 0
330 | 65 | 10 | 0 | 0 | 0 | 0
331 | 67 | 1 | 0 | 0 | 0 | 0
332 | 67 | 2 | 0 | 0 | 0 | 0
333 | 67 | 3 | 0 | 0 | 0 | 0
334 | 67 | 4 | 0 | 0 | 0 | 0
335 | 67 | 5 | 0 | 0 | 0 | 0
336 | 67 | 6 | 0 | 0 | 0 | 0
337 | 67 | 7 | 0 | 0 | 0 | 0
338 | 67 | 8 | 0 | 0 | 0 | 0
339 | 67 | 9 | 0 | 0 | 0 | 0
340 | 67 | 10 | 0 | 0 | 0 | 0
341 | 69 | 1 | 0 | 0 | 0 | 0
342 | 69 | 2 | 0 | 0 | 0 | 0
343 | 69 | 3 | 0 | 0 | 0 | 0
344 | 69 | 4 | 0 | 0 | 0 | 0
345 | 69 | 5 | 0 | 0 | 0 | 0
346 | 69 | 6 | 0 | 0 | 0 | 0
347 | 69 | 7 | 0 | 0 | 0 | 0
348 | 69 | 8 | 0 | 0 | 0 | 0
349 | 69 | 9 | 0 | 0 | 0 | 0
350 | 69 | 10 | 0 | 0 | 0 | 0
351 | 71 | 1 | 0 | 0 | 0 | 0
352 | 71 | 2 | 0 | 0 | 0 | 0
353 | 71 | 3 | 0 | 0 | 0 | 0
354 | 71 | 4 | 0 | 0 | 0 | 0
355 | 71 | 5 | 0 | 0 | 0 | 0
356 | 71 | 6 | 0 | 0 | 0 | 0
357 | 71 | 7 | 0 | 0 | 0 | 0
358 | 71 | 8 | 0 | 0 | 0 | 0
359 | 71 | 9 | 0 | 0 | 0 | 0
360 | 71 | 10 | 0 | 0 | 0 | 0
361 | 73 | 1 | 0 | 0 | 0 | 0
362 | 73 | 2 | 0 | 0 | 0 | 0
363 | 73 | 3 | 0 | 0 | 0 | 0
364 | 73 | 4 | 0 | 0 | 0 | 0
365 | 73 | 5 | 0 | 0 | 0 | 0
366 | 73 | 6 | 0 | 0 | 0 | 0
367 | 73 | 7 | 0 | 0 | 0 | 0
368 | 73 | 8 | 0 | 0 | 0 | 0
369 | 73 | 9 | 0 | 0 | 0 | 0
370 | 73 | 10 | 0 | 0 | 0 | 0
371 | 75 | 1 | 0 | 0 | 0 | 0
372 | 75 | 2 | 0 | 0 | 0 | 0
373 | 75 | 3 | 0 | 0 | 0 | 0
374 | 75 | 4 | 0 | 0 | 0 | 0
375 | 75 | 5 | 0 | 0 | 0 | 0
376 | 75 | 6 | 0 | 0 | 0 | 0
377 | 75 | 7 | 0 | 0 | 0 | 0
378 | 75 | 8 | 0 | 0 | 0 | 0
379 | 75 | 9 | 0 | 0 | 0 | 0
380 | 75 | 10 | 0 | 0 | 0 | 0
381 | 77 | 1 | 0 | 0 | 0 | 0
382 | 77 | 2 | 0 | 0 | 0 | 0
383 | 77 | 3 | 0 | 0 | 0 | 0
384 | 77 | 4 | 0 | 0 | 0 | 0
385 | 77 | 5 | 0 | 0 | 0 | 0
386 | 77 | 6 | 0 | 0 | 0 | 0
387 | 77 | 7 | 0 | 0 | 0 | 0
388 | 77 | 8 | 0 | 0 | 0 | 0
389 | 77 | 9 | 0 | 0 | 0 | 0
390 | 77 | 10 | 0 | 0 | 0 | 0
391 | 79 | 1 | 0 | 0 | 0 | 0
392 | 79 | 2 | 0 | 0 | 0 | 0
393 | 79 | 3 | 0 | 0 | 0 | 0
394 | 79 | 4 | 0 | 0 | 0 | 0
395 | 79 | 5 | 0 | 0 | 0 | 0
396 | 79 | 6 | 0 | 0 | 0 | 0
397 | 79 | 7 | 0 | 0 | 0 | 0
398 | 79 | 8 | 0 | 0 | 0 | 0
399 | 79 | 9 | 0 | 0 | 0 | 0
400 | 79 | 10 | 0 | 0 | 0 | 0

## ttable (hidden)
t | nu
1.9794 | 123
1.9796 | 122
1.9798 | 121
1.9799 | 120
1.9801 | 119
1.9803 | 118
1.9804 | 117
1.9806 | 116
1.9808 | 115
1.981 | 114
1.9812 | 113
1.9814 | 112
1.9816 | 111
1.9818 | 110
1.982 | 109
1.9822 | 108
1.9824 | 107
1.9826 | 106
1.9828 | 105
1.983 | 104
1.9833 | 103
1.9835 | 102
1.9837 | 101
1.984 | 100
1.9842 | 99
1.9845 | 98
1.9847 | 97
1.985 | 96
1.9853 | 95
1.9855 | 94
1.9858 | 93
1.9861 | 92
1.9864 | 91
1.9867 | 90
1.987 | 89
1.9873 | 88
1.9876 | 87
1.9879 | 86
1.9883 | 85
1.9886 | 84
1.989 | 83
1.9893 | 82
1.9897 | 81
1.9901 | 80
1.9905 | 79
1.9908 | 78
1.9913 | 77
1.9917 | 76
1.9921 | 75
1.9925 | 74
1.993 | 73
1.9935 | 72
1.9939 | 71
1.9944 | 70
1.9949 | 69
1.9955 | 68
1.996 | 67
1.9966 | 66
1.9971 | 65
1.9977 | 64
1.9983 | 63
1.999 | 62
1.9996 | 61
2.0003 | 60
2.001 | 59
2.0017 | 58
2.0025 | 57
2.0032 | 56
2.004 | 55
2.0049 | 54
2.0057 | 53
2.0066 | 52
2.0076 | 51
2.0086 | 50
2.0096 | 49
2.0106 | 48
2.0117 | 47
2.0129 | 46
2.0141 | 45
2.0154 | 44
2.0167 | 43
2.0181 | 42
2.0195 | 41
2.0211 | 40
2.0227 | 39
2.0244 | 38
2.0262 | 37
2.0281 | 36
2.0301 | 35
2.0322 | 34
2.0345 | 33
2.0369 | 32
2.0395 | 31
2.0423 | 30
2.0452 | 29
2.0484 | 28
2.0518 | 27
2.0555 | 26
2.0595 | 25
2.0639 | 24
2.0687 | 23
2.0739 | 22
2.0796 | 21
2.086 | 20
2.093 | 19
2.1009 | 18
2.1098 | 17
2.1199 | 16
2.1314 | 15
2.1448 | 14
2.1604 | 13
2.1788 | 12
2.201 | 11
2.2281 | 10
2.2622 | 9
2.306 | 8
2.3646 | 7
2.4469 | 6
2.5706 | 5
2.7764 | 4
3.1824 | 3
4.3027 | 2
12.7062 | 1

## Drift Correction Module (hidden)
linest
[10 empty] | x6 | x5 | x4 | x3 | x2 | x | b
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Repeat # | ID | Average | Residual Ratio | x | x^2 | x^3 | x^4 | x^5 | x^6 | Drift Line |  | Drift Corrected Average
1 | SRM 1 | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | 1 | 1 | #DIV/0! |  | #DIV/0!
0 | Test Sample 1 | #DIV/0! | #DIV/0! | 2 | 4 | 8 | 16 | 32 | 64 | #DIV/0! |  | #DIV/0!
0 | SRM 2 | #DIV/0! | #DIV/0! | 3 | 9 | 27 | 81 | 243 | 729 | #DIV/0! |  | #DIV/0!
0 | Test Sample 2 | #DIV/0! | #DIV/0! | 4 | 16 | 64 | 256 | 1024 | 4096 | #DIV/0! |  | #DIV/0!
0 | SRM 3 | #DIV/0! | #DIV/0! | 5 | 25 | 125 | 625 | 3125 | 15625 | #DIV/0! |  | #DIV/0!
0 | Test Sample 3 | #DIV/0! | #DIV/0! | 6 | 36 | 216 | 1296 | 7776 | 46656 | #DIV/0! |  | #DIV/0!
0 | SRM 4 | #DIV/0! | #DIV/0! | 7 | 49 | 343 | 2401 | 16807 | 117649 | #DIV/0! |  | #DIV/0!
0 | Test Sample 4 | #DIV/0! | #DIV/0! | 8 | 64 | 512 | 4096 | 32768 | 262144 | #DIV/0! |  | #DIV/0!
2 | SRM 1 | #DIV/0! | #DIV/0! | 9 | 81 | 729 | 6561 | 59049 | 531441 | #DIV/0! |  | #DIV/0!
0 | Test Sample 1 | #DIV/0! | #DIV/0! | 10 | 100 | 1000 | 10000 | 100000 | 1000000 | #DIV/0! |  | #DIV/0!
0 | SRM 2 | #DIV/0! | #DIV/0! | 11 | 121 | 1331 | 14641 | 161051 | 1771561 | #DIV/0! |  | #DIV/0!
0 | Test Sample 2 | #DIV/0! | #DIV/0! | 12 | 144 | 1728 | 20736 | 248832 | 2985984 | #DIV/0! |  | #DIV/0!
0 | SRM 3 | #DIV/0! | #DIV/0! | 13 | 169 | 2197 | 28561 | 371293 | 4826809 | #DIV/0! |  | #DIV/0!
0 | Test Sample 3 | #DIV/0! | #DIV/0! | 14 | 196 | 2744 | 38416 | 537824 | 7529536 | #DIV/0! |  | #DIV/0!
0 | SRM 4 | #DIV/0! | #DIV/0! | 15 | 225 | 3375 | 50625 | 759375 | 11390625 | #DIV/0! |  | #DIV/0!
0 | Test Sample 4 | #DIV/0! | #DIV/0! | 16 | 256 | 4096 | 65536 | 1048576 | 16777216 | #DIV/0! |  | #DIV/0!
3 | SRM 1 | #DIV/0! | #DIV/0! | 17 | 289 | 4913 | 83521 | 1419857 | 24137569 | #DIV/0! |  | #DIV/0!
3 | Test Sample 1 | #DIV/0! | #DIV/0! | 18 | 324 | 5832 | 104976 | 1889568 | 34012224 | #DIV/0! |  | #DIV/0!
3 | SRM 2 | #DIV/0! | #DIV/0! | 19 | 361 | 6859 | 130321 | 2476099 | 47045881 | #DIV/0! |  | #DIV/0!
3 | Test Sample 2 | #DIV/0! | #DIV/0! | 20 | 400 | 8000 | 160000 | 3200000 | 64000000 | #DIV/0! |  | #DIV/0!
3 | SRM 3 | #DIV/0! | #DIV/0! | 21 | 441 | 9261 | 194481 | 4084101 | 85766121 | #DIV/0! |  | #DIV/0!
3 | Test Sample 3 | #DIV/0! | #DIV/0! | 22 | 484 | 10648 | 234256 | 5153632 | 113379904 | #DIV/0! |  | #DIV/0!
3 | SRM 4 | #DIV/0! | #DIV/0! | 23 | 529 | 12167 | 279841 | 6436343 | 148035889 | #DIV/0! |  | #DIV/0!
3 | Test Sample 4 | #DIV/0! | #DIV/0! | 24 | 576 | 13824 | 331776 | 7962624 | 191102976 | #DIV/0! |  | #DIV/0!
4 | SRM 1 | #DIV/0! | #DIV/0! | 25 | 625 | 15625 | 390625 | 9765625 | 244140625 | #DIV/0! |  | #DIV/0!
4 | Test Sample 1 | #DIV/0! | #DIV/0! | 26 | 676 | 17576 | 456976 | 11881376 | 308915776 | #DIV/0! |  | #DIV/0!
4 | SRM 2 | #DIV/0! | #DIV/0! | 27 | 729 | 19683 | 531441 | 14348907 | 387420489 | #DIV/0! |  | #DIV/0!
4 | Test Sample 2 | #DIV/0! | #DIV/0! | 28 | 784 | 21952 | 614656 | 17210368 | 481890304 | #DIV/0! |  | #DIV/0!
4 | SRM 3 | #DIV/0! | #DIV/0! | 29 | 841 | 24389 | 707281 | 20511149 | 594823321 | #DIV/0! |  | #DIV/0!
4 | Test Sample 3 | #DIV/0! | #DIV/0! | 30 | 900 | 27000 | 810000 | 24300000 | 729000000 | #DIV/0! |  | #DIV/0!
4 | SRM 4 | #DIV/0! | #DIV/0! | 31 | 961 | 29791 | 923521 | 28629151 | 887503681 | #DIV/0! |  | #DIV/0!
4 | Test Sample 4 | #DIV/0! | #DIV/0! | 32 | 1024 | 32768 | 1048576 | 33554432 | 1073741824 | #DIV/0! |  | #DIV/0!
5 | SRM 1 | #DIV/0! | #DIV/0! | 33 | 1089 | 35937 | 1185921 | 39135393 | 1291467969 | #DIV/0! |  | #DIV/0!
5 | Test Sample 1 | #DIV/0! | #DIV/0! | 34 | 1156 | 39304 | 1336336 | 45435424 | 1544804416 | #DIV/0! |  | #DIV/0!
5 | SRM 2 | #DIV/0! | #DIV/0! | 35 | 1225 | 42875 | 1500625 | 52521875 | 1838265625 | #DIV/0! |  | #DIV/0!
5 | Test Sample 2 | #DIV/0! | #DIV/0! | 36 | 1296 | 46656 | 1679616 | 60466176 | 2176782336 | #DIV/0! |  | #DIV/0!
5 | SRM 3 | #DIV/0! | #DIV/0! | 37 | 1369 | 50653 | 1874161 | 69343957 | 2565726409 | #DIV/0! |  | #DIV/0!
5 | Test Sample 3 | #DIV/0! | #DIV/0! | 38 | 1444 | 54872 | 2085136 | 79235168 | 3010936384 | #DIV/0! |  | #DIV/0!
5 | SRM 4 | #DIV/0! | #DIV/0! | 39 | 1521 | 59319 | 2313441 | 90224199 | 3518743761 | #DIV/0! |  | #DIV/0!
5 | Test Sample 4 | #DIV/0! | #DIV/0! | 40 | 1600 | 64000 | 2560000 | 102400000 | 4096000000 | #DIV/0! |  | #DIV/0!