| X = Nonconformity C = Comment |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LAB NAMES: |  |  |  |  |  |  |  |  |  |  |
| 5.10.1 |  |  |  |  |  |  |  |  |  |  |
| Test Reports and Calibration Certificates Include at least the following information, unless valid reasons for not |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 a) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 b) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 c) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 d) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 e) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 f) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 g) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 h) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 i) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 j) |  |  |  |  |  |  |  |  |  |  |
| 5.10.2 k) |  |  |  |  |  |  |  |  |  |  |
| Test Reports In addition to 5.10.2, test reports shall include the following |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.1a) |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.1b) |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.1c) |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.1d) |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.1e) |  |  |  |  |  |  |  |  |  |  |
| Test Reports Containing the results of sampling |  |  |  |  |  |  |  |  |  |  |
| 5.10.3.2 a-f) |  |  |  |  |  |  |  |  |  |  |
| Calibration Certificates In addition to 5.10.2, where necessary |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.1 a) |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.1 b) |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.1 c) |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.2 |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.3 |  |  |  |  |  |  |  |  |  |  |
| 5.10.4.4 |  |  |  |  |  |  |  |  |  |  |
| Opinions and Interpretations |  |  |  |  |  |  |  |  |  |  |
| 5.10.5 |  |  |  |  |  |  |  |  |  |  |
| Format of Reports and Certificates |  |  |  |  |  |  |  |  |  |  |
| 5.10.8 |  |  |  |  |  |  |  |  |  |  |
| Amendments to Test Reports and Calibration Certificates |  |  |  |  |  |  |  |  |  |  |
| 5.10.9 |  |  |  |  |  |  |  |  |  |  |
| * Participants that apply tolerances |  |  |  |  |  |  |  |  |  |  |

| Criteria Guide |  |
| --- | --- |
| 5.10.1 | Reported accurately, clearly, unambiguously and objectively; in accordance with method instructions; include all info requested by customer, necessary for interpretation of the results, & required by the method |
| Test Reports and Calibration Certificates Include at least the following information, unless valid reasons for not |  |
| 5.10.2 a) | Title |
| 5.10.2 b) | Laboratory name & address; location where tests/calibrations carried out, if different from lab |
| 5.10.2 c) | Unique certificate/test report ID (e.g., SN #); ID on each page; clearly ID document end Note: Hard copies should include page number and total number of pages |
| 5.10.2 d) | Customer name & address |
| 5.10.2 e) | ID method used |
| 5.10.2 f) | Description of, the condition of, & unambiguous identification of the item(s) calibrated/tested |
| 5.10.2 g) | Item(s) receipt date where critical to validity/application of results; date(s) of cal/test performance |
| 5.10.2 h) | Reference to sampling plan & procedures used where relevant to validity or application of results |
| 5.10.2 i) | Calibration/test results with units of measurement, where appropriate |
| 5.10.2 j) | Name(s), function(s) & signature(s) or equivalent ID of person(s) authorizing the certificate/report |
| 5.10.2 k) | Where relevant, a statement to the effect that the results relate only to the items tested or calibrated Note: Recommend statement shall not be reproduced except in full, without written lab approval |
| Test Reports In addition to 5.10.2, test reports shall include the following |  |
| 5.10.3.1a) | Deviations, additions, exclusions from method; info on specific test conditions (e.g., environmental conditions) |
| 5.10.3.1b) | Statement of compliance/non-compliance with requirements and/or specifications, where relevant |
| 5.10.3.1c) | Statement on estimated uncertainty, where applicable; uncertainty info needed when: relevant to results validity/application, customer’s instructions requires, or uncertainty affects specification limit compliance |
| 5.10.3.1d) | Opinions and interpretations, where appropriate and needed |
| 5.10.3.1e) | Additional information which may be required by specific methods, customers or groups of customers |
| Test Reports Containing the results of sampling |  |
| 5.10.3.2 a-f) | Sampling date, ID substance, material or product, location, diagrams, sketches, photographs; reference plan & procedures; environmental conditions; method/procedure, deviations, additions, or exclusions from specification |
| Calibration Certificates In addition to 5.10.2, where necessary |  |
| 5.10.4.1 a) | Calibration conditions (e.g., environmental) that have an influence on the measurement results |
| 5.10.4.1 b) | Uncertainty and/or statement of compliance with an identified metrological specification or its clauses |
| 5.10.4.1 c) | Evidence that the measurements are traceable |
| 5.10.4.2 | Relate only to quantities/ results of functional tests. IF compliance statement is made: ID clauses met/not met & account for uncertainty; Record & maintain results for reference if results/uncertainties omitted |
| 5.10.4.3 | Report before and after adjustment or repair results, if available, when adjusted/repair are made |
| 5.10.4.4 | No calibration interval on certificate/label except if agreed w/customer (superseded by legal regulations) |
| Opinions and Interpretations |  |
| 5.10.5 | Document basis of opinions and interpretations when included; clearly mark them |
| Format of Reports and Certificates |  |
| 5.10.8 | The format shall be designed to accommodate each type of test or calibration carried out and to minimize the possibility of misunderstanding or misuse |
| Amendments to Test Reports and Calibration Certificates |  |
| 5.10.9 | Amendments after issue made as further document/data transfer with statement, meet all requirements; New report/certificate is uniquely identified & reference to the original that it replaces |